DRINKING WATER MICROBIAL SAMPLE COLLECTION

& LABORATORY REPORTING FORMAT

(62-550.730 Reporting Format Effective 01/1995, Revised 02/2010)	Lab Receipt Date & Time:

Analysis Date & Time:

Sample Acceptance Criteria:

[INSERT LAB NAME, ADDRESS, 	Sample Preservation: On Ice	Not On Ice	       (C

& CERTIFICATION NUMBER]	Disinfectant Check: Not Detected	      	 mg/L

This sample does not meet the following NELAC requirements:

Report Number:      		Sub-Contract Lab ID:

Analysis Requested: (check all that apply)

Total Coliform/E. coli	Total Coliform/Fecal	Enterococci	Coliphage	HPC	Other:

Public Water System (PWS) Name:      		PWS I.D.

PWS Address:      		City:

PWS or PWS Owner’s Phone #:      		Fax #:

Collector:      		Collector’s Phone #:

Type of Supply: (check only one)

Community Water System	Non-Transient Non-community Water System	Transient Non-community Water System

Limited Use System	Bottled Water	Private Well	Swimming Pool	Other:

Reason for Sampling: (check all that apply)

Distribution Routine	Distribution Repeat	Raw (triggered or assessment)	Raw (triggered or assessment) additional	Well Survey

Clearance	Replacement (also check type of sample being replaced)	Boil Water Notice    Other:

Sample Collection Date:

| To be completed by collector of sample |  | To be completed by lab |
| --- | --- | --- |
| Sample # | Sample Point (Location or Specific Address) | Sample Collection Time | Sample Type | Disin-fectant Residual (mg/L) | pH |  | Analysis Method(s): |
|  |  |  |  |  |  |  | Non- Coliform | Total Coliform | Fecal, E. coli, Enterococci, or Coliphage | Data Qualifier | Lab Sample # |
| Average of disinfectant residuals for distribution routine & repeat samples. Free chlorine or Total chlorine (circle one) |  | Unless otherwise noted, all tests are performed in accordance with NELAC standards, and the results relate only to the samples. Date and time PWS notified by lab of positive results: Date and time DEP/DOH notified by lab of positive results: Date Report Issued: Lab Signature: Title: |
| Disinfectant Residual Analysis Method: DPD Colorimetric Other: Person performing disinfectant analysis is (see instructions on reverse): A certified operator (# ) Supervised by certified operator (# ) Employed by a certified lab Employed by DEP or DOH Authorized representative of supplier of water |  |

Satisfactory

Incomplete Collection Information

Repeat Samples Required

Replacement Samples Required

Date Reviewed by DEP/DOH: 		DEP/DOH Reviewing Official:

DRINKING WATER MICROBIAL SAMPLE COLLECTION

& LABORATORY REPORTING FORMAT

### INSTRUCTIONS

The attached is an example of the reporting format specified in Rule 62-550.730, Florida Administrative Code (F.A.C.).  This format is to be used by laboratories for reporting drinking water analyses to the appropriate Department of Environmental Protection (DEP) or Department of Health (DOH) office.  For analysis results to be acceptable for compliance with Chapter 62-550, F.A.C., laboratories performing the analyses must be certified to perform drinking water analyses by the DOH and must report results in accordance with Chapter 62-160, F.A.C.  Computer-generated or otherwise personalized reports will be accepted as long as they conform to this format.

# Fields to be completed by the sample collector:

- Analysis Requested	Check the box next to the type of test being requested.

- Public Water System (PWS)	Provide the full name of the public water system.

- PWS I.D.	Provide the 7-digit DEP PWS ID number.

- PWS Address	Indicate the PWS’s mailing address.

- City	Indicate the city in which the PWS is located (if not in a city, indicate county).

- PWS or Owner’s Phone #	Provide the PWS or PWS owner’s phone number in case there are positive results.

- PWS or PWS Owner’s Fax #	Provide the PWS or PWS owner’s fax number.

- Collector	Provide the sample collector’s first and last name.

- Collector’s Phone #	Provide the sample collector’s phone number.

- Type of Supply	Check the box next to the type of PWS or source being tested.

- Reason for Sampling	Check the box next to the reason the samples are being collected.

- Sample Collection Date	Provide the date the samples are collected.  If samples are collected on more than one day, provide the collection date for each sample.

- Sample #	Provide a unique number for each sample.

- Sample Point	Provide the specific street address (or equivalent) for each sample collected.

- Sample Collection Time	Provide the time of collection for each sample collected.

- Sample Type	Indicate the sample type for each sample collected.  Sample type codes are: D = Distribution (routine compliance), C = Repeat/Check, R = Raw, N = Entry Point to Distribution, P = Plant Tap, S = Special (clearance, etc.).

- Disinfectant Residual	Indicate the disinfectant residual in mg/L (Chlorine, Chloramines, Chlorine Dioxide, etc.).

- pH	Not required for drinking water samples.

- Average of Disinfectant Residuals	Indicate the average of the disinfectant residuals for type “D” and “C” samples at community and non-transient non-community public water systems.

- Disinfectant Residual Analysis Method	Indicate the method used to determine disinfectant residual(s).

- Person performing disinfectant analysis	Indicate the qualifying status of the person performing disinfectant analyses.  This only applies to disinfectant analyses for type “D” and “C” samples at community and non-transient non-community public water systems.

- Name and Mailing Address of Person to

Receive Report	Provide the name and mailing address of the PWS owner or representative who will receive the report.

# Fields to be completed by the laboratory:

- Lab Name, Address, & Certification Number	This information may be stamped or permanently added to the format.

- Lab Receipt Date & Time	Indicate the date and time samples were received in the lab.

- Analysis Date & Time	Indicate the date and time of analysis.

- Sample Preservation	Indicate whether or not the samples were on ice and the temperature of the samples.

- Disinfectant Check	Indicate whether or not a disinfectant was detected and at what level.  Circle free or total.

- Analysis Method(s)	Indicate analysis methodology and method citation used (e.g. “Colilert, SM9223B”).  The laboratory must be certified by DOH for the method indicated for the results to be accepted.

- Non-Coliform	Indicate the presence or absence of non-coliform bacteria. *

- Total Coliform	Indicate the presence or absence of total coliform bacteria.*

- Fecal Coliform	Indicate the presence or absence of fecal coliform bacteria.*

- E. coli	Indicate the presence or absence of E. coli bacteria.*

- Enterococci	Indicate the presence or absence of enterococci bacteria.*

- Coliphage	Indicate the presence or absence of coliphage. *

- Data Qualifier	Provide a data qualifier if necessary. (See F.A.C. Rule 62-160.)

- Lab Sample #	Provide a unique number for each sample.

- Date and time PWS notified by lab of positive

results					    In the event of positive results, indicate the date and time the lab notified the PWS.

- Date and time DEP/DOH notified by lab of

positive results	In the event of fecal coliform, E. coli, enterococci, or coliphage positive results, indicate  the date and time the lab notified the appropriate DEP or DOH Office.

- Lab Signature	Signature of lab director or other authorized representative of the lab.

- Title	Provide the title of the lab representative signing the report.

* A = Bacteria/Coliphage Absent, P = Bacteria/Coliphage Present, C = Confluent Growth, TNTC = Too Numerous To Count

# Footnotes

For Sample Types see Instructions item I 16.

For Analysis Methods see Instructions item II 6.

Please circle appropriate selection.

Defined in Florida Administrative Code Rule 62-160, Table 1.

Complete for community & non-transient non-community systems serving populations up to and including 4,900.  Do not include raw or plant samples in the average.

# Text boxes

DEP/DOH USE ONLY

[INSERT NAME AND MAILING ADDRESS

OF PERSON TO RECEIVE REPORT]