| Rule Section | Rule Section Title | Proposed Changes |
| --- | --- | --- |
| 62-160.110 | Purpose, Scope and Applicability | - Update reference to EPA Quality Assurance Project Plan (QAPP) Standards. - Removed unnecessary language stating that the requirements within the chapter shall take effect on the date the chapter is effective. |
| 62-160.120 | Definitions and Standards | - Incorporated the Florida Department of Health Chapter 64E-1, F.A.C., into this rule by reference. - Clarified that holding time is the maximum storage time between sample collection and sample preparation and/or analysis. - Updated the reference to NELAC Standards from 2003 to 2016 in the definition of Field of Accreditation Matrix. - Updated reference to EPA QAPP Standards in the definition of QAPP. - Revised definition of spike to include quality control samples using analyte-free water. |
| 62-160.210 | Approved Field Procedures | - Added a paragraph to address activities not included in DEP SOPs. In such cases, methods specified in Department rules, permits, contracts, or orders shall be used. If methods are not specified, any method that satisfies data quality objectives established for the Department project may be used if approved by the DEP project manager. |
| 62-160.220 | Approval of Alternative and Modified Field Procedures | - Added field procedures used in place of traditional laboratory analyses as a scenario that would fall under the DEP alternative method approval process. All requirements applicable to other alternative procedures will apply in these cases. - Numerous minor edits to update reference to incorporated documents or to make language more consistent. |
| 62-160.240 | Record Keeping and Reporting Requirements for Field Procedures | - Removed outdated documentation requirements for monitoring location data. - Corrected paragraph numbering errors. |
| 62-160.300 | Laboratory Certification | - Removed duplicative text. - Changed the reference for the Department of Health Environmental Lab Certification program Rule from 2005 to 2018. |
| 62-160.320 | Approved Laboratory Methods | - Updated the DEP website reference for method lists. - Specified that laboratories analyzing for chlorophyll a must use methods in the newly incorporated document titled, “Applicability of Chlorophyll a Methods.” |
| 62-160.330 | Approval of Alternative and Modified Laboratory Methods | - Minor edits to update references to incorporated documents or to make language more consistent. |
| 62-160.340 | Record Keeping and Reporting Requirements for Laboratory Procedures | - Changed the reference for the Department of Health Environmental Lab Certification program Rule from 2005 to 2018. - Added requirement for sample preparation (if applicable) and analysis time to be documented for all samples, rather than only samples with a holding time equal to or less than 72 hours. |
| 62-160.400 | Sample Preservation and Holding Times | - Minor edits to update references to incorporated documents. |
| 62-160.405 | Electronic signatures | No revisions. |
| 62-160.600 | Research Field and Laboratory Procedures | - Removed outdated reference to a Department project manager’s ability to waive the laboratory certification requirement. |
| 62-160.650 | Field and Laboratory Audits | - Added a statement that the failure of any party to provide applicable records regarding data collection and analysis upon request by DEP may result in a recommendation that data generated by that party not be used by DEP programs. |
| 62-160.670 | Data Validation | - Minor edits to update references to incorporated documents. |
| 62-160.700 | Data Qualifier Codes (Table 1) | - Combined tables for lab and field qualifiers into a single table, with a column indicating whether lab or field personnel typically apply the qualifier. - Added “C” for ambient continuous monitoring results that were adjusted based on estimates of instrument drift or fouling. - Added Secchi Depth to the examples of field measurements that do not require a “D” qualifier. Removed the reference to parameter code from the definition of “D.” - Added unapproved field testing procedure (i.e., probe) used in place of a laboratory procedure as a reason to use the “H” qualifier. - Added continuous field monitoring examples to potential uses of “J” qualifier. Revised examples of when the “J” qualifier may be used. - Clarified the definition for “L” by removing the phrase, “and the calibration curve is known to exhibit a negative deflection.” - Clarified the definition of “Q.” - Amended the definition of “T” to state that its use is only acceptable under rare circumstances and if requested by the client. - Clarified the definition of “V” as it applies to microbiological tests. - Expanded the definition of “Z” to be used when enzymatic substrate methods show a positive result for all wells of the tray in all dilutions of the sample tested. - Added continuous field monitoring examples to potential uses of “?” qualifier. |
| 62-160.800 | Documents Incorporated by Reference | - Updated references applicable to current revisions to this Chapter and incorporated documents. |