Environmental Resource and Consumptive Use Permitting Concurrency

If an individual Consumptive Use Permit (CUP) application includes either of the following two requests for a consumptive use of water, then the CUP application shall not be considered complete until the applicant has submitted a complete application for an environmental resource permit (ERP), pursuant to Chapter 62-330, F.A.C.:

A. Requests to irrigate golf course areas, cemeteries, nursery plants, agriculture crops, or landscaped areas, that are a part of an artificially-created surface water management system that requires an individual or general ERP; or

B. Requests to dewater for a project that requires an individual or general ERP under Chapter 373, F.S.

In all other cases, the District can take final agency action on the CUP application without regard for the status of the ERP application.

The requirement to submit a complete application for an ERP shall not apply to:

A. Requests for a consumptive use of water associated with phosphate mining with an approved reclamation plan pursuant Chapter 378, F.S.;

B. Requests for a consumptive use of water associated with an ERP project that qualifies for a general permit under section 403.814(12), F.S.; or

C. A CUP application that does not meet the conditions for issuance in Rule 62-41.301, F.A.C.

Public Supply Water Conservation Plan

Within the North Florida Regional Water Supply Partnership Area, section XX, inclusive of subsections X through Y, of the Supplemental North Florida Regional Water Supply Partnership Handbook supersedes section 2.2.2.5, inclusive of subsections 2.2.2.5.1 through 2.2.2.5.1B, of the SJRWMD Applicant’s Handbook and (add superseded parts) SRWMD Applicant’s Handbook.

Public Supply Water Conservation Requirements

All public water supply applicants shall implement a standard water conservation plan, as described in Section A or a goal-based water conservation plan, as described in Section B. The proposed water conservation plan shall allow no reduction in, and increase where environmentally, technically, and economically feasible, overall utility-specific water conservation effectiveness.  The applicant may use publications and materials from the American Water Works Association Water Conservation Programs, the Alliance for Water Efficiency, and other similar industry guidance to assist in developing and supporting the selection of measures in its conservation plan and in demonstrating that increases in water use efficiency were achieved through water conservation.

The elements and implementation schedule for the water conservation plan shall be developed by the applicant. The District shall review and approve the plan submitted by the applicant as part of the public water supply permit. In reviewing the applicant’s proposed plan for sufficiency, the District will consider whether the elements and sub-elements proposed to be implemented in the plan, taken as a whole, will promote effective conservation. The water conservation plan shall be subject to the schedule and reporting requirements specified in the permit.

Public supply permittees whose allocation is xxx,xxx gpd or greater shall evaluate the effectiveness of their water conservation plan on an annual basis.  Permittees shall submit an annual report (Water Conservation Annual Report) by October 1 of each year evaluating the effectiveness of their water conservation program, including all of the sub-elements discussed below.  The annual report shall describe how programs are implemented to maximize conservation potential and quantify any savings achieved.  For public supply permittees whose allocation is greater than xxx,xxx gpd, the report shall also include data analytics to demonstrate the effectiveness of the water conservation program.  To satisfy this requirement, the permittee may utilize water conservation tracking and quantification tools (e.g., the Alliance for Water Efficiency Water Conservation Tracking tool and for outdoor water use reduction programs, IFAS H2O Save).

A. Standard Water Conservation Plan

The applicant shall implement each of the following five elements as necessary to achieve efficient water use to the extent economically, environmentally, and technically feasible. The applicant will explain how its proposed plan will effectively promote water conservation.

- A water conservation public education program.  A program shall consist of one or more sub-elements.  The applicant will consider education sub-elements such as those listed below. Implementation of sub-elements may be achieved through collaboration with other entities, including the District. For each educational sub-element included in the applicant’s program, the applicant’s program shall identify the frequency, duration, and implementation schedule for the sub-element.

  - Water conservation public service announcements;

  - Water conservation speakers, posters, literature, videos, and/or other information provided to schools and community organizations;

  - Public water conservation exhibits;

  - Water conservation articles and/or reports provided to local news media;

  - A water audit customer assistance program to address indoor and outdoor water use;

  - Water conservation information provided to customers regarding year-round landscape irrigation conservation measures;

  - Water conservation information posted on the applicant’s website;

  - The construction, maintenance, and publication of water efficient landscape demonstration projects;

  - Water conservation information provided in customer bills or separate mailings; or,

  - Other means of communication proposed by the applicant.

- An outdoor water use reduction program.

The applicant shall implement the following sub-elements:

  - The provision of a landscape irrigation audit/evaluation program for the highest quartile of users among businesses and residents, including the provision of information to assist customers in implementing the recommendations of the audit. The applicant shall provide a description of the program including implementation details and the content of the audits to be provided.  At a minimum, such audit program shall include education on applicable irrigation restrictions and rain sensor installation and replacement.  If data analytics tools (e.g., AMI, AMR, AMA) are available, this data shall be provided to customers to assist them in understanding their water use practices and to target more effective conservation BMPs.

  - An education element focusing on outdoor conservation as part of the water conservation public education program required by paragraph A.1.

The applicant shall consider the following sub-elements.

  - The adoption of an ordinance or condition of service limiting lawn and landscape irrigation that is provided to the District, and is either no less stringent than or consistent with any irrigation restrictions adopted by the District.  This sub-element shall include details regarding how the applicant intends to enforce such lawn and landscape irrigation ordinance or condition of service.

  - The adoption of an ordinance or condition of service requiring the use of Florida-Friendly landscaping principles, Florida Water Star Gold, EPA Water Sense Gold, EPA Water Sense, or other generally accepted water conservation programs, guidelines, or criteria that address outdoor water conservation.

  - The adoption of an ordinance or condition of service consistent with Section 373.62, F.S. relating to automatic landscape irrigation systems.

  - Any other conservation measures or programs proposed by the applicant designed to reduce outdoor water use.

- The selection of a rate structure designed to promote the efficient use of water by providing economic incentives. A rate structure may include, but not be limited to, increasing block rates, seasonal rates, quantity based surcharges, and/or time of day pricing as a means of reducing demands.  The District shall afford a utility wide latitude in adopting a rate structure in accordance with Section 373.227(3), F.S.  Upon request, the District will assist the applicant by providing available demographic data, computer models, and literature.  In evaluating whether a proposed rate structure promotes water conservation, the District will consider customer demographics, the potential for effectiveness, the appropriateness to the applicant’s particular circumstances, and other relevant factors specific to the service area.

- A water loss reduction program, if water losses exceed 10%.  The water loss reduction program must include the following sub-elements.

(a)  An audit of the amount of water used in the applicant's production and treatment facilities, transmission lines, and distribution system using the District’s Water Audit Form No. 40C-2.900(7) (see Appendix E) must be submitted.  The audit shall include all existing production, treatment and distribution systems accessible to the applicant.  The audit period must include at least 12 consecutive months within the three-year period preceding the application submittal.

(b)  An applicant is required to perform a meter survey, and to correct the water audit to account for meter error, if the initial unaccounted for water is 10% or greater based on the results of the initial water audit.  The purpose of this survey is to determine a potential correction factor for metered water use by testing a representative sample of meters of various ages.  The survey also helps to determine the appropriateness of a meter change-out program.  As part of the survey, the applicant must randomly test 5% or 100 meters, whichever is less.  The sampling must be of meters representing an even distribution of type and age, or cumulative lifetime flow.  A documented meter change-out program that can provide an estimate of the overall meter accuracy may be substituted for this requirement.

(c) An applicant whose water audit, as required under paragraph A.4.(a), shows greater than 10% unaccounted for water use, must complete the leak detection evaluation portion of Form 40C-2.900(7).  Based upon this evaluation, an applicant may choose to implement a leak detection program immediately or develop an alternative plan of corrective action to address water use accountability and submit a new water audit to the District within two years.  If the subsequent audit shows greater than 10% unaccounted for water, the applicant must implement a leak detection and repair program within one year unless the applicant demonstrates that implementation is not economically feasible.  In all cases, this evaluation and the repair program may be designed by the applicant to first address the areas which are most suspect for major leaks.  The evaluation and repair program may be terminated when the permittee demonstrates that its unaccounted for water loss no longer exceeds 10%.

(d) 	Implementation within the first year after permit issuance of a meter replacement program will be required for those applicants whose small and medium meter survey indicates that a group or type of meters is not 95% accurate.  Permittees will be required to replace meters which have been in operation for 15 years or longer or have a cumulative lifetime flow exceeding the maximum lifetime operational flow specified by the manufacturer, unless a comparison of meter survey information to meter manufacturer specifications indicates a decreased accuracy of the meters.  An alternative meter replacement schedule shall be approved by the District upon a showing by the applicant that the meter manufacturer specifications predict a different lifetime or gallonage capacity or based upon the results of a meter survey performed by the applicant.

(e) When an audit and/or other available information indicates that there is a need for additional water conservation measures in order to reduce a project’s water use to a level consistent with projects of a similar type, or when an audit and/or other information indicates that additional significant water conservation savings can be achieved by implementing additional measures, other specific measures will be required by the District, to the extent feasible, as a condition of the permit.

- An indoor water use conservation program.  The applicant will consider indoor conservation sub-elements such as those listed below. Implementation of these sub-elements may be achieved through collaboration with other entities, including the District. For each indoor conservation sub-element included in the applicant’s program, the applicant’s program shall provide the frequency, duration, and implementation schedule for the element.

  - Plumbing retrofit rebates;

  - Faucet aerator and showerhead giveaways;

  - The adoption of an ordinance or condition of service requiring the use of Florida Water Star Gold, EPA Water Sense or other generally accepted water conservation programs, guidelines, or criteria that are designed to reduce indoor water consumption.

  - An education element focusing on indoor conservation as part of the water conservation public education program required by paragraph A.1.; or,

  - Other indoor conservation measures proposed by the applicant.

6.	A plan for reducing gross per capita and residential per capita water use.  An applicant whose gross per capita or residential per capita water use is greater than the average gross per capita or residential per capita water use for the North Florida Regional Water Supply Partnership Area  will be required to submit end-of-permit gross per capita or residential per capita conservation goals and a plan to achieve whichever per capita average is not being met.  The plan must demonstrate how the applicant will reduce its per capita water use to, or below, the aforementioned average gross per capita or residential per capita.  The plan shall include interim per capita targets (e.g., every five years).  If the permittee is unable to achieve the goals, the permittee shall submit documentation upon request from the District that explains the reasons for not being able to meet the per capita goals.

B. Goal-Based Water Conservation Plan

A public water supply applicant may propose a goal-based water conservation plan in lieu of a standard water conservation plan. A goal-based plan allows the applicant to demonstrate effective water conservation by selecting plan elements that are different from those in the standard water conservation plan, but which are appropriate to the applicant’s service area. A permittee operating under a standard conservation plan pursuant to this rule, or conservation plan required by a permit issued prior to August 14, 2014, may request to convert its current conservation plan to a goal-based plan through a letter modification.

A goal-based water conservation plan shall contain the following:

- A water conservation public education program consistent with Section A.1.;

- An outdoor water use reduction program consistent with Section A.2;

- A water loss reduction program, if water losses exceed 10%, consistent with Section A.4.;

- A plan for reducing gross per capita and residential per capita water use consistent with Section A.6;

- A description of water conservation measures selected for implementation based on the service area analysis, and an implementation schedule for each measure;

- An explanation of why the alternative elements included in the goal-based plan are appropriate to achieve effective water conservation in the applicant’s service area if an outdoor water use conservation program, rate structure designed to promote efficient use, or indoor water conservation program are not selected for inclusion in the goal-based plan.

If a public water supply utility provides reasonable assurance that the goal-based plan will achieve efficient water use by meeting the above criteria, the District shall consider the goal based plan to achieve effective water conservation at least as well as a standard water conservation plan.

C.   Uniform Method for Calculating Gross Per Capita Daily Water Use

Gross Per Capita is defined as: (WD + IM – EX) / RP Where:

          - WD = groundwater, surface water and stormwater withdrawals.

          - IM = water imported/purchased from other supplier(s). Irrigation water, excluding Reclaimed Water, provided to the applicant’s service area by a separate utility shall be counted as imported water

          - EX = water exported/sold to other supplier(s)

          - RP = Residential Population (for a Utility Service Area) is based upon total residential dwelling units served, which include Single Family Residential, Multi-Family Residential (apartments, townhomes, condos, duplexes) and Mobile Homes, multiplied by a utility-specific estimate of persons per household. The applicant shall provide reasonable assurance that the utility specific persons per household figure used demonstrates a reasonable method for determining persons per household within its service area. Examples of typically reliable data include census-based averages, BEBR persons per household estimates, and utility documented surveys.

D.  Uniform Method for Calculating Residential Per Capita Daily Water Use

Residential Per Capita is defined as Total Residential Water Use (or Water Use by Dwelling Units) divided by Service Area Residential Population (RP)

E. Compliance Monitoring

For all public supply permits with an annual average daily quantity of xxx,xxx gpd or greater, the permittee is required to submit a completed Form XXX, Public Supply Annual Report (PSAR), by October 1of each year.