


Chapter 62-701 Solid Waste Management Facilities

62-701.520 Special Waste Handling.
(1) through (5) No change.
(6) Aqueous Film-Forming Foam (AFFF) containment, collection, and disposal. AFFF as defined in Section 376.911, F.S., must be contained, collected, and disposed pursuant to the following requirements.
(a) Container management. General requirements for the storage of AFFF.
1. AFFF containers must be:
a. Clearly labeled with the words “AFFF”,
b. In good condition (no rusting, structural defects or deterioration), and
c. Not leaking (there are no visible leaks).
2. AFFF containers must be closed and stored inside a building with an impervious floor or, if exposed to the elements, the container must be closed and inside a protective weatherproof cabinet, box, or cover on a concrete slab and must have secondary containment which has the capacity to hold 110 percent of the volume of the largest container within the containment area.
(b) Collection and transportation. AFFF must be collected and transported by a transporter authorized to transport manifested waste pursuant to Rule 62-730.170, F.A.C.
(c) Disposal. AFFF must be disposed at permitted facilities authorized for AFFF disposal. Effective July 1, 2027, a disposal plan of remaining inventories of AFFF must be submitted to the department pursuant to s. 376.911(3)(b), F.S., and specify which registered Hazardous Waste (HW) transporter will collect/transport the AFFF and at what permitted disposal facility the AFFF will be disposed and when. For any amount of AFFF inventory not being disposed, the disposal plan must identify the amount not being disposed, and detail which exclusion under s. 376.911(5), F.S., applies, and how the planned use meets the exclusion. Disposal plans must be submitted to AFFFInventory@FloridaDEP.gov, or to the Department of Environmental Protection, Solid Waste Section, MS 4565, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400.
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