## Sheet1
PWS_ID | SYSTEM_NAME | COUNTY | SYSTEM TYPE | CONTAMINANT GROUP | CONTAMINANT NAME | FREQUENCY | SAMPLES NEXT DUE | SAMPLING PERIOD | SAMPLING LOCATION | LOCATION DESCRIPTION | COMMENTS
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | JULY | L1 | 11808 NW 74 TER
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | JULY | L1 | 11808 NW 74 TER
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 20 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | JULY | L3 | 6915 SW 55TH PLACE
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | JULY | L3 | 6915 SW 55TH PLACE
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 10 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | AUGUST | L2 | LOT 2607
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | AUGUST | L2 | LOT 2607
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 10 SAMPLE SITES
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | AUGUST | L1 | FIRE HYDRANT 11582 SW 168TH DR
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | AUGUST | L1 | FIRE HYDRANT 11582 SW 168TH DR
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 10 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | VOCS | ETHYLBENZENE | ANNUAL | 2024 | JULY - SEPT | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | VOCS | TOT XYLENE | ANNUAL | 2024 | JULY - SEPT | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2024 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | NOVEMBER | L1 | CITY HALL (110 NW 1ST AVE, 23718 HWY 27)
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | NOVEMBER | L1 | CITY HALL (110 NW 1ST AVE, 23718 HWY 27)
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | MAY | L2 | BOAT RAMP (25083 NW 210TH LN)
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | MAY | L2 | BOAT RAMP (25083 NW 210TH LN)
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 20 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | JULY | L1 | SW 242 TERRACE, LS 21
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | JULY | L1 | SW 242 TERRACE, LS 21
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 20 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010212 | WALDO WTP | ALACHUA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010212 | WALDO WTP | ALACHUA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010212 | WALDO WTP | ALACHUA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2010212 | WALDO WTP | ALACHUA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010212 | WALDO WTP | ALACHUA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010212 | WALDO WTP | ALACHUA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010212 | WALDO WTP | ALACHUA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010212 | WALDO WTP | ALACHUA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2010212 | WALDO WTP | ALACHUA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010212 | WALDO WTP | ALACHUA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | JULY | L2 | 15185 NE WALDO ROAD
2010212 | WALDO WTP | ALACHUA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | JULY | L2 | 15185 NE WALDO ROAD
2010212 | WALDO WTP | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 10 SAMPLE SITES
2010212 | WALDO WTP | ALACHUA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | 002- BLUE TOWER | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | 002- BLUE TOWER | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | 002- BLUE TOWER | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2024 | N/A | 002- BLUE TOWER | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | 002- BLUE TOWER | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | 002- BLUE TOWER | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | 002- BLUE TOWER | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | 002- BLUE TOWER | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | 002- BLUE TOWER | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | 003- RAILROAD | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | 003- RAILROAD | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | 003- RAILROAD | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | 003- RAILROAD | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | 003- RAILROAD | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | 003- RAILROAD | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | 003- RAILROAD | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | 003- RAILROAD | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | 003- RAILROAD | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | AUGUST | L2 | HOSE BIB @ REC FACILITY
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | AUGUST | L2 | HOSE BIB @ REC FACILITY
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 10 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | JULY | L1 | 2226 SE 45 TERRACE
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | JULY | L2 | 3088 SE 18 AVE
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 10 SAMPLE SITES
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | JULY | L2 | 13289 NE 181 ST
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | JULY | L2 | 13289 NE 181 ST
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | AUGUST | L1 | SW 1ST & CHURCH STREET
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | AUGUST | L1 | SW 1ST & CHURCH STREET
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 10 SAMPLE SITES
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2029 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | SOCS | DI(2-ETHYLHEXYL)PHTHALATE | ANNUAL | 2024 | JAN - MAR | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | FIRST MONTH, 3RD WEEK | L1 | CD ACSO
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | FIRST MONTH, 3RD WEEK | L1 | CD ACSO
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | FIRST MONTH, 3RD WEEK | L3 | CD2 LS158
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | FIRST MONTH, 3RD WEEK | L3 | CD2 LS158
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | FIRST MONTH, 3RD WEEK | L4 | CD2 LS136
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | FIRST MONTH, 3RD WEEK | L4 | CD2 LS136
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | FIRST MONTH, 3RD WEEK | L5 | CD2 SANTAFE
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | FIRST MONTH, 3RD WEEK | L5 | CD2 SANTAFE
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | FIRST MONTH, 3RD WEEK | L6 | CD2 DGS
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | FIRST MONTH, 3RD WEEK | L6 | CD2 DGS
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | FIRST MONTH, 3RD WEEK | L7 | CD2_IDY LS-34
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | FIRST MONTH, 3RD WEEK | L7 | CD2_IDY LS-34
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 50 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | AUGUST | L2 | 16731 NW 173 TERRACE
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | AUGUST | L2 | 16731 NW 173 TERRACE
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | ANNUAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | AUGUST | L1 | LAST TRAILER
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | AUGUST | L1 | LAST TRAILER
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | LEAD | QUARTERLY | 2024 | ONCE PER CALENDAR QTR | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | JULY | L1 | HAND SINK, ROOM 109
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | JULY | L1 | HAND SINK, ROOM 109
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | JULY | L1 | CROSS CREEK LIFT STATION
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | JULY | L1 | CROSS CREEK LIFT STATION
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2014203 | ALACHUA LEARNING ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014203 | ALACHUA LEARNING ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014203 | ALACHUA LEARNING ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2014203 | ALACHUA LEARNING ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2014203 | ALACHUA LEARNING ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014203 | ALACHUA LEARNING ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | AUGUST | L1 | OUTSIDE HOSE BIBB OFF CLASSROOM
2014203 | ALACHUA LEARNING ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | AUGUST | L1 | OUTSIDE HOSE BIBB OFF CLASSROOM
2014203 | ALACHUA LEARNING ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2014203 | ALACHUA LEARNING ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2014209 | CHRISTIAN LIFE WORLD ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014209 | CHRISTIAN LIFE WORLD ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014209 | CHRISTIAN LIFE WORLD ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2014209 | CHRISTIAN LIFE WORLD ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2014209 | CHRISTIAN LIFE WORLD ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014209 | CHRISTIAN LIFE WORLD ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | JULY | L1 | LADIES RESTROOM SINK
2014209 | CHRISTIAN LIFE WORLD ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | JULY | L1 | LADIES RESTROOM SINK
2014209 | CHRISTIAN LIFE WORLD ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES
2014209 | CHRISTIAN LIFE WORLD ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2014214 | USGS-WETLAND & AQUATIC RESEARCH CENTER | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014214 | USGS-WETLAND & AQUATIC RESEARCH CENTER | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014214 | USGS-WETLAND & AQUATIC RESEARCH CENTER | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2014214 | USGS-WETLAND & AQUATIC RESEARCH CENTER | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2014214 | USGS-WETLAND & AQUATIC RESEARCH CENTER | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014214 | USGS-WETLAND & AQUATIC RESEARCH CENTER | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | AUGUST | L1 | TAP OUTSIDE KITCHEN (ROOM 56)
2014214 | USGS-WETLAND & AQUATIC RESEARCH CENTER | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | AUGUST | L1 | TAP OUTSIDE KITCHEN (ROOM 56)
2014214 | USGS-WETLAND & AQUATIC RESEARCH CENTER | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2024 | JAN -JUN, JUL - DEC | PER SAMPLING PLAN | 10 SAMPLE SITES
2014214 | USGS-WETLAND & AQUATIC RESEARCH CENTER | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2014215 | WINDSOR BAPTIST CHURCH & ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014215 | WINDSOR BAPTIST CHURCH & ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014215 | WINDSOR BAPTIST CHURCH & ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2014215 | WINDSOR BAPTIST CHURCH & ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2014215 | WINDSOR BAPTIST CHURCH & ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014215 | WINDSOR BAPTIST CHURCH & ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | AUGUST | L1 | ANNEX KITCHEN SINK
2014215 | WINDSOR BAPTIST CHURCH & ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | AUGUST | L1 | ANNEX KITCHEN SINK
2014215 | WINDSOR BAPTIST CHURCH & ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2014215 | WINDSOR BAPTIST CHURCH & ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | AUGUST | L1 | SINK ON EAST SIDE OF TEMPLE
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | AUGUST | L1 | SINK ON EAST SIDE OF TEMPLE
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2014223 | DEERHAVEN RENEWABLE | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | SEPTEMBER | L1 | SCALEHOUSE BLDG SINK (1ST FLR BATHROOM)
2014223 | DEERHAVEN RENEWABLE | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | SEPTEMBER | L1 | SCALEHOUSE BLDG SINK (1ST FLR BATHROOM)
2014223 | DEERHAVEN RENEWABLE | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2014223 | DEERHAVEN RENEWABLE | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2014223 | DEERHAVEN RENEWABLE | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014223 | DEERHAVEN RENEWABLE | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014223 | DEERHAVEN RENEWABLE | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2014223 | DEERHAVEN RENEWABLE | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2014223 | DEERHAVEN RENEWABLE | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014226 | LHS 360 INNOVATION CAMPUS | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | QUARTERLY | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014226 | LHS 360 INNOVATION CAMPUS | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014226 | LHS 360 INNOVATION CAMPUS | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2014226 | LHS 360 INNOVATION CAMPUS | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2014226 | LHS 360 INNOVATION CAMPUS | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014226 | LHS 360 INNOVATION CAMPUS | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | AUGUST | OFFICE | OFFICE RESTROOM SINK
2014226 | LHS 360 INNOVATION CAMPUS | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | AUGUST | OFFICE | OFFICE RESTROOM SINK
2014226 | LHS 360 INNOVATION CAMPUS | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2014226 | LHS 360 INNOVATION CAMPUS | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2028 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | AUGUST | L1 | RESTROOM #4 SINK
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | AUGUST | L1 | RESTROOM $4 SINK
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2014231 | WE WOULD AGRICULTURAL HOLDINGS, LP. | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014231 | WE WOULD AGRICULTURAL HOLDINGS, LP. | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014231 | WE WOULD AGRICULTURAL HOLDINGS, LP. | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2014231 | WE WOULD AGRICULTURAL HOLDINGS, LP. | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2014231 | WE WOULD AGRICULTURAL HOLDINGS, LP. | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2014231 | WE WOULD AGRICULTURAL HOLDINGS, LP. | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | AUGUST | L1 | BATHROOM SINK
2014231 | WE WOULD AGRICULTURAL HOLDINGS, LP. | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | AUGUST | L1 | BATHROOM SINK
2014231 | WE WOULD AGRICULTURAL HOLDINGS, LP. | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | ANNUAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES
2014231 | WE WOULD AGRICULTURAL HOLDINGS, LP. | ALACHUA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE