## Sheet1
PWS_ID | SYSTEM_NAME | COUNTY | SYSTEM_TYPE | CONTAM_GROUP | CONTAMINANT NAME | FREQUENCY | YEAR NEXT DUE | SAMPLING PERIOD | SAMPLING LOCATION | COMMENTS
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | JULY | 11808 NW 74 TER
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2028 | JUNE THROUGH SEPTEMBER | 20 SITES PER LCR SAMPLING PLAN
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2029 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026* | N/A | POINT OF ENTRY TO DISTRIBUTION | *MUST BE SAMPLED TWICE IN TWO DIFFERENT QUARTERS; SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2010017 | ALACHUA WTP | ALACHUA | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | JULY | 6915 SW 55TH PLACE
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2010041 | ARREDONDO ESTATES | ALACHUA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | AUGUST | LOT 2607
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2010042 | PALMS OF ARCHER | ALACHUA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | AUGUST | FIRE HYDRANT 11582 SW 168TH DR
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 001 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 003 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 002 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 001 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 002 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 003 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | 003 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | 001 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | 002 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 001 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 002 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 003 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 002 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 003 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 001 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 002 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 003 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 001 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | 001 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | 002 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | 003 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | 001 - POE | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | 003 - POE | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | 002 - POE | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | VOC | ETHYLBENZENE | ANNUAL | 2026 | JULY THROUGH SEPTEMBER | 001 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | VOC | TOT XYLENE | ANNUAL | 2026 | JULY THROUGH SEPTEMBER | 001 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | 001 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | 002 - POE
2010199 | ARCHER WATER SYSTEM | ALACHUA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | 003 - POE
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | 2ND MONTH, 3RD WEEK | BOAT RAMP (25083 NW 210TH LN)
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | 2ND MONTH, 3RD WEEK | CITY HALL (110 NW 1ST AVE, 23718 HWY 27)
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JULY THROUGH SEPTEMBER | 20 SITES PER LCR SAMPLING PLAN
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2029 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026* | N/A | POINT OF ENTRY TO DISTRIBUTION | *MUST BE SAMPLED TWICE IN TWO DIFFERENT QUARTERS; SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2010201 | HIGH SPRINGS WTP | ALACHUA | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | JULY | LIFT STATION #21 (SW 242 TERR)
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | WTP1 - POE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | WTP3 - POE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | WTP1 - POE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | WTP3 - POE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | WTP1 - POE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | WTP3 - POE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 20 SITES PER LCR SAMPLING PLAN
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | WTP1 - POE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | WTP3 - POE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | WTP1 - POE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | WTP3 - POE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | WTP1 - POE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | WTP3 - POE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | WTP1 - POE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | WTP3 - POE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026* | N/A | WTP1 - POE | *MUST BE SAMPLED TWICE IN TWO DIFFERENT QUARTERS; SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026* | N/A | WTP3 - POE | *MUST BE SAMPLED TWICE IN TWO DIFFERENT QUARTERS; SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | WTP1 - POE
2010207 | NEWBERRY WTP | ALACHUA | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | WTP3 - POE
2010212 | WALDO WTP | ALACHUA | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | JULY | 15185 NE WALDO ROAD
2010212 | WALDO WTP | ALACHUA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2010212 | WALDO WTP | ALACHUA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010212 | WALDO WTP | ALACHUA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010212 | WALDO WTP | ALACHUA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010212 | WALDO WTP | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2010212 | WALDO WTP | ALACHUA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010212 | WALDO WTP | ALACHUA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010212 | WALDO WTP | ALACHUA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010212 | WALDO WTP | ALACHUA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010212 | WALDO WTP | ALACHUA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2010212 | WALDO WTP | ALACHUA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | AUGUST | HOSE BIB @ REC FACILITY
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 002- BLUE TOWER - POE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 003- RAILROAD - POE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 002- BLUE TOWER - POE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 003- RAILROAD - POE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | 002- BLUE TOWER - POE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | 003- RAILROAD - POE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 003- RAILROAD - POE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 002- BLUE TOWER - POE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 002- BLUE TOWER - POE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 003- RAILROAD - POE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 002- BLUE TOWER - POE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 003- RAILROAD - POE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 002- BLUE TOWER - POE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | 002- BLUE TOWER - POE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | 003- RAILROAD - POE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | 003- RAILROAD - POE | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | 002- BLUE TOWER - POE | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | 002- BLUE TOWER - POE
2010477 | HAWTHORNE WTP | ALACHUA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | 003- RAILROAD - POE
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | DBP | HAA5S | ANNUAL | 2026 | JULY | 3088 SE 18 AVE
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | DBP | TTHMS | ANNUAL | 2026 | JULY | 2226 SE 45 TERRACE
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2010612 | GATOR WATERWORKS WATER SYSTEM | ALACHUA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | JULY | 13829 NE 180 ST
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2010625 | LAKE ALTO ESTATES MHP | ALACHUA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | AUGUST | SW 1ST & CHURCH STREET
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2010749 | MICANOPY WATER SYSTEM | ALACHUA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | FIRST MONTH, THIRD WEEK | CD2 IDY LS-34 (IDYLWILD ELEM)
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | FIRST MONTH, THIRD WEEK | CD2 DGS (DEERHAVEN GENERATING)
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | FIRST MONTH, THIRD WEEK | CD2 SANTAFE (SANTA FE REPUMP)
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | FIRST MONTH, THIRD WEEK | CD2 LS136 (LIFT STATION #136)
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | FIRST MONTH, THIRD WEEK | CD2 LS158 (LIFT STATION #158)
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | FIRST MONTH, THIRD WEEK | CD2 ACSO (AC SHERIFF'S OFFICE)
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2028 | JUNE THROUGH SEPTEMBER | 50 SITES PER LCR SAMPLING PLAN
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2032 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2032 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2032 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | SOC | DI(2-ETHYLHEXYL)PHTHALATE | ANNUAL | 2026 | JANUARY THROUGH MARCH | POINT OF ENTRY TO DISTRIBUTION
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026* | N/A | POINT OF ENTRY TO DISTRIBUTION | *MUST BE SAMPLED TWICE IN TWO DIFFERENT QUARTERS; SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2010946 | GRU - MURPHREE WTP | ALACHUA | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | AUGUST | 16731 NW 173 TERRACE
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2011006 | SANTA FE HILLS SUBDIVISION | ALACHUA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | AUGUST | LAST TRAILER
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 001 - POE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 002 - POE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 001 - POE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 002 - POE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | 002 - POE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | 001 - POE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | 002 - POE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | 001 - POE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | 002 - POE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 001 - POE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | 001 - POE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | 002 - POE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | 001 - POE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | 002 - POE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | 002 - POE | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | 001 - POE | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | 001 - POE
2011251 | WESTGATE MANOR MHP | ALACHUA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | 002 - POE
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | JULY | HAND SINK, ROOM 109
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2028 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2014164 | UF-CENTER FOR AQUATIC WEEDS | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | JULY | CROSS CREEK LIFT STATION
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2014196 | CROSS CREEK MHP | ALACHUA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014203 | ALACHUA LEARNING ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | AUGUST | OUTSIDE HOSE BIBB OFF CLASSROOM
2014203 | ALACHUA LEARNING ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2014203 | ALACHUA LEARNING ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014203 | ALACHUA LEARNING ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014203 | ALACHUA LEARNING ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014203 | ALACHUA LEARNING ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2014203 | ALACHUA LEARNING ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2014203 | ALACHUA LEARNING ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014209 | CHRISTIAN LIFE WORLD ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | JULY | LADIES RESTROOM SINK
2014209 | CHRISTIAN LIFE WORLD ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2014209 | CHRISTIAN LIFE WORLD ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014209 | CHRISTIAN LIFE WORLD ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014209 | CHRISTIAN LIFE WORLD ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014209 | CHRISTIAN LIFE WORLD ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2014209 | CHRISTIAN LIFE WORLD ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2014209 | CHRISTIAN LIFE WORLD ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014214 | USGS-WETLAND & AQUATIC RESEARCH CENTER | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | AUGUST | TAP OUTSIDE KITCHEN (ROOM 56)
2014214 | USGS-WETLAND & AQUATIC RESEARCH CENTER | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2014214 | USGS-WETLAND & AQUATIC RESEARCH CENTER | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014214 | USGS-WETLAND & AQUATIC RESEARCH CENTER | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014214 | USGS-WETLAND & AQUATIC RESEARCH CENTER | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014214 | USGS-WETLAND & AQUATIC RESEARCH CENTER | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2014214 | USGS-WETLAND & AQUATIC RESEARCH CENTER | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2014214 | USGS-WETLAND & AQUATIC RESEARCH CENTER | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014215 | WINDSOR BAPTIST CHURCH & ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | AUGUST | ANNEX KITCHEN SINK
2014215 | WINDSOR BAPTIST CHURCH & ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2014215 | WINDSOR BAPTIST CHURCH & ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014215 | WINDSOR BAPTIST CHURCH & ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014215 | WINDSOR BAPTIST CHURCH & ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014215 | WINDSOR BAPTIST CHURCH & ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2014215 | WINDSOR BAPTIST CHURCH & ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2014215 | WINDSOR BAPTIST CHURCH & ACADEMY | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | AUGUST | SINK ON EAST SIDE OF TEMPLE
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2028 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOC | TOTAL XYLENES | QUARTERLY | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014218 | ISKCON OF ALACHUA COUNTY, INC | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014223 | DEERHAVEN RENEWABLE | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | SEPTEMBER | SCALE HOUSE - 1ST FLOOR BATHROOM
2014223 | DEERHAVEN RENEWABLE | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2014223 | DEERHAVEN RENEWABLE | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 001 - POE
2014223 | DEERHAVEN RENEWABLE | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 001 - POE
2014223 | DEERHAVEN RENEWABLE | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | 001 - POE
2014223 | DEERHAVEN RENEWABLE | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2014223 | DEERHAVEN RENEWABLE | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | 001 - POE | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2014223 | DEERHAVEN RENEWABLE | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | 001 - POE
2014226 | AYR WELLNESS WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | AUGUST | OFFICE RESTROOM SINK
2014226 | AYR WELLNESS WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2014226 | AYR WELLNESS WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | ARSENIC | QUARTERLY | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014226 | AYR WELLNESS WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014226 | AYR WELLNESS WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014226 | AYR WELLNESS WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014226 | AYR WELLNESS WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2026 | JANUARY THROUGH JUNE | 5 SITES PER LCR SAMPLING PLAN
2014226 | AYR WELLNESS WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | QUARTERLY | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014226 | AYR WELLNESS WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | QUARTERLY | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014226 | AYR WELLNESS WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED URANIUM | QUARTERLY | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014226 | AYR WELLNESS WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | QUARTERLY | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014226 | AYR WELLNESS WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | QUARTERLY | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | AUGUST | RESTROOM #4 SINK
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2028 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2014229 | GAINESVILLE AREA ROWING WTP | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014231 | WE WOULD AGRICULTURAL HOLDINGS, LP. | ALACHUA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | AUGUST | BATHROOM SINK
2014231 | WE WOULD AGRICULTURAL HOLDINGS, LP. | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2014231 | WE WOULD AGRICULTURAL HOLDINGS, LP. | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014231 | WE WOULD AGRICULTURAL HOLDINGS, LP. | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014231 | WE WOULD AGRICULTURAL HOLDINGS, LP. | ALACHUA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2014231 | WE WOULD AGRICULTURAL HOLDINGS, LP. | ALACHUA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2014231 | WE WOULD AGRICULTURAL HOLDINGS, LP. | ALACHUA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2014231 | WE WOULD AGRICULTURAL HOLDINGS, LP. | ALACHUA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION