## Sheet1
County | PWS.ID | SYSTEM_NAME | Office | TYPE | SUBPART_H | POPULATION | CONTAM_GROUP | Contam.Code | CONTAM_NAME | FREQUENCY | WAIVER_EFF_DATE | WAIVER_EXP_DATE | SAMPLES DUE | LOCATION | DESCRIPTION | QUARTER | MAX.QTR.x | MAX.MONTH.x | QTR.MONTH.x | QTR.WEEK.x | DATE | COMMENTS1
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | ANNUALLY | 2013-10-01 | NA | July 2022 | L2 | BAKER CO HIGH SCHOOL | 3 | 3 | 7 | NA | NA | 2022-07-31 | Initial Stage 2 Monitoring., Week of July 7 - 11, new plan requested
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | ANNUALLY | 2013-10-01 | NA | July 2022 | L2 | BAKER CO HIGH SCHOOL | 3 | 3 | 7 | NA | NA | 2022-07-31 | Initial Stage 2 Monitoring., Week of July 7 - 11, new plan requested
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2029-01-01 | NA | 2029 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2023-12-31 | DUE 2029
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | PLANT 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | PLANT 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2023 | PLANT 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31 | DUE 2023
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2015-01-01 | NA | 2022 | PLANT 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2015-01-01 | NA | 2022 | PLANT 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | INORGANICS | NA | NA | TRIENNIALLY | 2017-01-01 | NA | 2023 | PLANT 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31 | DUE 2023
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2015-01-01 | NA | 2022 | PLANT 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2015-01-01 | NA | 2022 | PLANT 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | INORGANICS | NA | NA | TRIENNIALLY | 2017-01-01 | NA | 2023 | PLANT 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31 | DUE 2023
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2029-01-01 | 2031-12-31 | 2029 | PLANT 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2031-12-31 | DUE 2029, 9 Year Waiver
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2029-01-01 | 2031-12-31 | 2029 | PLANT 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2031-12-31 | DUE 2029, 9 Year Waiver
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2029-01-01 | 2031-12-31 | 2029 | PLANT 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2031-12-31 | DUE 2029, 9 Year Waiver
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | PLANT 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31 | 6 Year Waiver
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | PLANT 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31 | 6 Year Waiver
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2029-01-01 | 2031-12-31 | 2029 | PLANT 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2031-12-31 | 9 Year Waiver
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2029-01-01 | NA | 2029 | PLANT 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2031-12-31 | 9 Year Waiver
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2029-01-01 | NA | 2029 | PLANT 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2031-12-31 | 9 Year Waiver
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2029-01-01 | NA | 2029 | PLANT 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2031-12-31 | 9 Year Waiver
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2011-01-01 | NA | 2023 | PLANT 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31 | DUE 2023
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2015-01-01 | NA | 2023 | PLANT 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31 | DUE 2023
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2015-01-01 | NA | 2023 | PLANT 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31 | DUE 2023
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2023 | PLANT 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31 | DUE 2023
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2023 | PLANT 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31 | DUE 2023
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2023 | PLANT 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31 | DUE 2023
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2023 | PLANT 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31 | DUE 2023
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 2015-01-01 | NA | 2023 | PLANT 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31 | DUE 2023
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 2015-01-01 | NA | 2023 | PLANT 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31 | DUE 2023
BAKER | 2020204 | MACCLENNY WTP | NED | COMMUNITY (LARGE) | N | 6391 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2010-01-01 | NA | June - Sep 2024 | 20 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2023-09-30
BAKER | 2020815 | NORTHEAST FLORIDA STATE HOSPITAL | NED | COMMUNITY | N | 1800 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | ANNUALLY | 2013-10-01 | NA | July 2022 | L1 | FIRE HYDRANT (FH) #33 | 3 | 3 | 7 | NA | NA | 2022-07-31 | Initial Stage 2 Monitoring.
BAKER | 2020815 | NORTHEAST FLORIDA STATE HOSPITAL | NED | COMMUNITY | N | 1800 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | ANNUALLY | 2013-10-01 | NA | July 2022 | L1 | FIRE HYDRANT (FH) #33 | 3 | 3 | 7 | NA | NA | 2022-07-31 | Initial Stage 2 Monitoring.
BAKER | 2020815 | NORTHEAST FLORIDA STATE HOSPITAL | NED | COMMUNITY | N | 1800 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
BAKER | 2020815 | NORTHEAST FLORIDA STATE HOSPITAL | NED | COMMUNITY | N | 1800 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
BAKER | 2020815 | NORTHEAST FLORIDA STATE HOSPITAL | NED | COMMUNITY | N | 1800 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2020-01-01 | NA | 2030 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2024-12-31
BAKER | 2020815 | NORTHEAST FLORIDA STATE HOSPITAL | NED | COMMUNITY | N | 1800 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
BAKER | 2020815 | NORTHEAST FLORIDA STATE HOSPITAL | NED | COMMUNITY | N | 1800 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31 | DUE 2027
BAKER | 2020815 | NORTHEAST FLORIDA STATE HOSPITAL | NED | COMMUNITY | N | 1800 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31 | DUE 2027
BAKER | 2020815 | NORTHEAST FLORIDA STATE HOSPITAL | NED | COMMUNITY | N | 1800 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31 | DUE 2027
BAKER | 2020815 | NORTHEAST FLORIDA STATE HOSPITAL | NED | COMMUNITY | N | 1800 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2011-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
BAKER | 2020815 | NORTHEAST FLORIDA STATE HOSPITAL | NED | COMMUNITY | N | 1800 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
BAKER | 2020815 | NORTHEAST FLORIDA STATE HOSPITAL | NED | COMMUNITY | N | 1800 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
BAKER | 2020815 | NORTHEAST FLORIDA STATE HOSPITAL | NED | COMMUNITY | N | 1800 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2009-01-01 | NA | June - Sep 2023 | 10 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2024-09-30 | DUE 2023
BAKER | 2021272 | INSTEEL WIRE PRODUCTS | NED | NONTRANSIENT NONCOMMUNITY | N | 45 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | TRIENNIALLY | 2017-01-01 | NA | 2022-07-01 | L1 | SHIPPING OFFICE SINK | 3 | 3 | 7 | NA | NA | 2022-07-31 | DUE 2022
BAKER | 2021272 | INSTEEL WIRE PRODUCTS | NED | NONTRANSIENT NONCOMMUNITY | N | 45 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | TRIENNIALLY | 2017-01-01 | NA | 2022-07-01 | L1 | SHIPPING OFFICE SINK | 3 | 3 | 7 | NA | NA | 2022-07-31 | DUE 2022
BAKER | 2021272 | INSTEEL WIRE PRODUCTS | NED | NONTRANSIENT NONCOMMUNITY | N | 45 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2020-01-01 | NA | 2022 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2022-12-31 | DUE 2022
BAKER | 2021272 | INSTEEL WIRE PRODUCTS | NED | NONTRANSIENT NONCOMMUNITY | N | 45 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
BAKER | 2021272 | INSTEEL WIRE PRODUCTS | NED | NONTRANSIENT NONCOMMUNITY | N | 45 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
BAKER | 2021272 | INSTEEL WIRE PRODUCTS | NED | NONTRANSIENT NONCOMMUNITY | N | 45 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | DUE 2022
BAKER | 2021272 | INSTEEL WIRE PRODUCTS | NED | NONTRANSIENT NONCOMMUNITY | N | 45 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | DUE 2022. WAIVER APPROVED 10/30/19 - SF
BAKER | 2021272 | INSTEEL WIRE PRODUCTS | NED | NONTRANSIENT NONCOMMUNITY | N | 45 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | DUE 2022
BAKER | 2021272 | INSTEEL WIRE PRODUCTS | NED | NONTRANSIENT NONCOMMUNITY | N | 45 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2009-01-01 | NA | June - Sep 2023 | 5 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2022-09-30 | DUE 2023
BAKER | 2021356 | BAKER COUNTY C. I. | NED | COMMUNITY | N | 1500 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | ANNUALLY | 2021-07-01 | NA | July 2022 | L1 | TRAINING BLDG | 3 | 3 | 7 | NA | NA | 2022-07-31
BAKER | 2021356 | BAKER COUNTY C. I. | NED | COMMUNITY | N | 1500 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | ANNUALLY | 2021-07-01 | NA | July 2022 | L1 | TRAINING BLDG | 3 | 3 | 7 | NA | NA | 2022-07-31
BAKER | 2021356 | BAKER COUNTY C. I. | NED | COMMUNITY | N | 1500 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | ANNUALLY | 2021-07-01 | NA | April 2022 | L2 | RE-ENTRY (SALLY PORT BLDG) | 2 | 2 | 4 | NA | NA | 2022-10-31
BAKER | 2021356 | BAKER COUNTY C. I. | NED | COMMUNITY | N | 1500 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | ANNUALLY | 2021-07-01 | NA | October 2022 | L2 | RE-ENTRY (SALLY PORT BLDG) | 4 | 4 | 10 | NA | NA | 2022-04-30
BAKER | 2021356 | BAKER COUNTY C. I. | NED | COMMUNITY | N | 1500 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2029-01-01 | NA | 2030 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2024-12-31 | DUE 2030
BAKER | 2021356 | BAKER COUNTY C. I. | NED | COMMUNITY | N | 1500 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | Location set by PWS - 10-APR-15.
BAKER | 2021356 | BAKER COUNTY C. I. | NED | COMMUNITY | N | 1500 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | Location set by PWS - 10-APR-15.
BAKER | 2021356 | BAKER COUNTY C. I. | NED | COMMUNITY | N | 1500 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
BAKER | 2021356 | BAKER COUNTY C. I. | NED | COMMUNITY | N | 1500 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2026-01-01 | 2023-01-01 | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-01-01 | DUE 2027. 6-YEAR WAIVER
BAKER | 2021356 | BAKER COUNTY C. I. | NED | COMMUNITY | N | 1500 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31 | 6 Year Waiver
BAKER | 2021356 | BAKER COUNTY C. I. | NED | COMMUNITY | N | 1500 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2022-01-01 | 2025-12-31 | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2025-12-31 | 3 Year Waiver
BAKER | 2021356 | BAKER COUNTY C. I. | NED | COMMUNITY | N | 1500 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2016-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31 | NEXT DUE 2024
BAKER | 2021356 | BAKER COUNTY C. I. | NED | COMMUNITY | N | 1500 | SYNTHETIC ORGANICS | 2032 | DIQUAT | ANNUALLY | 2022-01-01 | NA | Jan-Mar 2022 | ENTRY | POINT OF ENTRY | 1 | NA | NA | NA | NA | 2022-03-31
BAKER | 2021356 | BAKER COUNTY C. I. | NED | COMMUNITY | N | 1500 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2002-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31 | NEXT DUE 2024
BAKER | 2021356 | BAKER COUNTY C. I. | NED | COMMUNITY | N | 1500 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31 | NEXT DUE 2024
BAKER | 2021356 | BAKER COUNTY C. I. | NED | COMMUNITY | N | 1500 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2009-01-01 | NA | June - Sep 2023 | 10 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2024-09-30 | DUE 2023
BAKER | 2024880 | FLORIDA GATEWAY COLLEGE | NED | NONTRANSIENT NONCOMMUNITY | N | 90 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | TRIENNIALLY | 2013-10-01 | NA | 2022-07-01 | L1 | BLDG 1, MENS RESTROOM SINK | 3 | 3 | 7 | NA | NA | 2022-07-31 | DUE 2022
BAKER | 2024880 | FLORIDA GATEWAY COLLEGE | NED | NONTRANSIENT NONCOMMUNITY | N | 90 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | TRIENNIALLY | 2013-10-01 | NA | 2022-07-01 | L1 | BLDG 1, MENS RESTROOM SINK | 3 | 3 | 7 | NA | NA | 2022-07-31 | DUE 2022
BAKER | 2024880 | FLORIDA GATEWAY COLLEGE | NED | NONTRANSIENT NONCOMMUNITY | N | 90 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2029-01-01 | NA | 2031 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2022-12-31
BAKER | 2024880 | FLORIDA GATEWAY COLLEGE | NED | NONTRANSIENT NONCOMMUNITY | N | 90 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
BAKER | 2024880 | FLORIDA GATEWAY COLLEGE | NED | NONTRANSIENT NONCOMMUNITY | N | 90 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
BAKER | 2024880 | FLORIDA GATEWAY COLLEGE | NED | NONTRANSIENT NONCOMMUNITY | N | 90 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | DUE 2022
BAKER | 2024880 | FLORIDA GATEWAY COLLEGE | NED | NONTRANSIENT NONCOMMUNITY | N | 90 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2020-01-01 | 2022-12-31 | 2028 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | 9 YR WAIVER; SAMPLE IN 2022
BAKER | 2024880 | FLORIDA GATEWAY COLLEGE | NED | NONTRANSIENT NONCOMMUNITY | N | 90 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2020-01-01 | 2022-12-31 | 2031 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | 9 YR WAIVER; SAMPLE IN 2022
BAKER | 2024880 | FLORIDA GATEWAY COLLEGE | NED | NONTRANSIENT NONCOMMUNITY | N | 90 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2020-01-01 | 2022-12-31 | 2031 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | R-228 IS WAIVED; R-226 9 YR WAIVER; SAMPLE IN 2022
BAKER | 2024880 | FLORIDA GATEWAY COLLEGE | NED | NONTRANSIENT NONCOMMUNITY | N | 90 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2002-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | DUE 2022
BAKER | 2024880 | FLORIDA GATEWAY COLLEGE | NED | NONTRANSIENT NONCOMMUNITY | N | 90 | VOLATILE ORGANICS | 2955 | TOT XYLENE | ANNUALLY | 2020-10-01 | NA | Jul-Sept 2022 | ENTRY | POINT OF ENTRY | 3 | NA | NA | NA | NA | 2022-09-30
BAKER | 2024880 | FLORIDA GATEWAY COLLEGE | NED | NONTRANSIENT NONCOMMUNITY | N | 90 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | 2022
BAKER | 2024880 | FLORIDA GATEWAY COLLEGE | NED | NONTRANSIENT NONCOMMUNITY | N | 90 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2007-01-01 | NA | June - Sep 2024 | 5 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2022-09-30 | DUE 2024
BAKER | 2024894 | SANDERSON PIPE CORPORATION | NED | NONTRANSIENT NONCOMMUNITY | N | 66 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | TRIENNIALLY | 2013-10-01 | NA | 2022 | L1 | PLANT MEN'S ROOM - 3RD SINK | 3 | 3 | 7 | NA | NA | 2022-07-31 | DUE 2022
BAKER | 2024894 | SANDERSON PIPE CORPORATION | NED | NONTRANSIENT NONCOMMUNITY | N | 66 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | TRIENNIALLY | 2013-10-01 | NA | 2022 | L1 | PLANT MEN'S ROOM - 3RD SINK | 3 | 3 | 7 | NA | NA | 2022-07-31 | DUE 2022
BAKER | 2024894 | SANDERSON PIPE CORPORATION | NED | NONTRANSIENT NONCOMMUNITY | N | 66 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
BAKER | 2024894 | SANDERSON PIPE CORPORATION | NED | NONTRANSIENT NONCOMMUNITY | N | 66 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
BAKER | 2024894 | SANDERSON PIPE CORPORATION | NED | NONTRANSIENT NONCOMMUNITY | N | 66 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2029-01-01 | NA | 2031 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2022-12-31
BAKER | 2024894 | SANDERSON PIPE CORPORATION | NED | NONTRANSIENT NONCOMMUNITY | N | 66 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | DUE 2022
BAKER | 2024894 | SANDERSON PIPE CORPORATION | NED | NONTRANSIENT NONCOMMUNITY | N | 66 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | DUE 2022
BAKER | 2024894 | SANDERSON PIPE CORPORATION | NED | NONTRANSIENT NONCOMMUNITY | N | 66 | VOLATILE ORGANICS | 2982 | CARBON TETRACHLORIDE | ANNUALLY | 2021-01-01 | NA | Oct-Dec 2022 | ENTRY | POINT OF ENTRY | 4 | NA | NA | NA | NA | 2022-12-31
BAKER | 2024894 | SANDERSON PIPE CORPORATION | NED | NONTRANSIENT NONCOMMUNITY | N | 66 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 2002-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | DUE 2022
BAKER | 2024894 | SANDERSON PIPE CORPORATION | NED | NONTRANSIENT NONCOMMUNITY | N | 66 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2009-01-01 | NA | June - Sep 2023 | 5 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2022-09-30 | DUE 2023
BAKER | 2024902 | GLEN ST. MARY WATER SYSTEM | NED | COMMUNITY | N | 428 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | ANNUALLY | 2013-10-01 | NA | July 2022 | L1 | 7522 MT. VERNON ST | 3 | 3 | 7 | NA | NA | 2022-07-31
BAKER | 2024902 | GLEN ST. MARY WATER SYSTEM | NED | COMMUNITY | N | 428 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | ANNUALLY | 2013-10-01 | NA | July 2022 | L1 | 7522 MT. VERNON ST | 3 | 3 | 7 | NA | NA | 2022-07-31
BAKER | 2024902 | GLEN ST. MARY WATER SYSTEM | NED | COMMUNITY | N | 428 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2029-01-01 | NA | 2030 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2024-12-31 | DUE 2030
BAKER | 2024902 | GLEN ST. MARY WATER SYSTEM | NED | COMMUNITY | N | 428 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
BAKER | 2024902 | GLEN ST. MARY WATER SYSTEM | NED | COMMUNITY | N | 428 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | Location set by PWS - 10-APR-15.
BAKER | 2024902 | GLEN ST. MARY WATER SYSTEM | NED | COMMUNITY | N | 428 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | Location set by PWS - 10-APR-15.
BAKER | 2024902 | GLEN ST. MARY WATER SYSTEM | NED | COMMUNITY | N | 428 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2029-01-01 | 2031-12-31 | 2030 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2031-12-31 | 9 Year Waiver
BAKER | 2024902 | GLEN ST. MARY WATER SYSTEM | NED | COMMUNITY | N | 428 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31 | 6 Year Waiver
BAKER | 2024902 | GLEN ST. MARY WATER SYSTEM | NED | COMMUNITY | N | 428 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2029-01-01 | 2031-12-31 | 2030 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2031-12-31 | 9 Year Waiver
BAKER | 2024902 | GLEN ST. MARY WATER SYSTEM | NED | COMMUNITY | N | 428 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2017-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
BAKER | 2024902 | GLEN ST. MARY WATER SYSTEM | NED | COMMUNITY | N | 428 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2013-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
BAKER | 2024902 | GLEN ST. MARY WATER SYSTEM | NED | COMMUNITY | N | 428 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 2016-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
BAKER | 2024902 | GLEN ST. MARY WATER SYSTEM | NED | COMMUNITY | N | 428 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2015-07-01 | NA | June - Sep 2024 | 5 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2024-09-30 | DUE JUN-SEP 2024