## Sheet1
PWS_ID | SYSTEM_NAME | COUNTY | SYSTEM_TYPE | CONTAM_GROUP | CONTAMINANT NAME | FREQUENCY | YEAR NEXT DUE | SAMPLING PERIOD | SAMPLING LOCATION | COMMENTS
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | JULY | BAKER COUNTY HIGH SCHOOL
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 001 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 004 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 003 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 001 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 004 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 003 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | 001 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | 003 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | 004 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 20 SITES PER LCR SAMPLING PLAN
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2029 | N/A | 004 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2029 | N/A | 003 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2029 | N/A | 001 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | 003 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | 001 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | 004 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | 003 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | 001 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | 004 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | 001 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | 003 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | 004 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026* | N/A | 001 - POE | *MUST BE SAMPLED TWICE IN TWO DIFFERENT QUARTERS; SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026* | N/A | 004 - POE | *MUST BE SAMPLED TWICE IN TWO DIFFERENT QUARTERS; SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026* | N/A | 003 - POE | *MUST BE SAMPLED TWICE IN TWO DIFFERENT QUARTERS; SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | 001 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | 003 - POE
2020204 | CITY OF MACCLENNY | BAKER | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | 004 - POE
2020815 | NORTHEAST FLORIDA STATE HOSPITAL | BAKER | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | JULY | FIRE HYDRANT (FH) #33
2020815 | NORTHEAST FLORIDA STATE HOSPITAL | BAKER | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2020815 | NORTHEAST FLORIDA STATE HOSPITAL | BAKER | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2020815 | NORTHEAST FLORIDA STATE HOSPITAL | BAKER | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2020815 | NORTHEAST FLORIDA STATE HOSPITAL | BAKER | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2020815 | NORTHEAST FLORIDA STATE HOSPITAL | BAKER | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | ANNUAL | 2026 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2020815 | NORTHEAST FLORIDA STATE HOSPITAL | BAKER | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2020815 | NORTHEAST FLORIDA STATE HOSPITAL | BAKER | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2020815 | NORTHEAST FLORIDA STATE HOSPITAL | BAKER | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2020815 | NORTHEAST FLORIDA STATE HOSPITAL | BAKER | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2020815 | NORTHEAST FLORIDA STATE HOSPITAL | BAKER | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2020815 | NORTHEAST FLORIDA STATE HOSPITAL | BAKER | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2021272 | INSTEEL WIRE PRODUCTS | BAKER | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | 1ST MONTH, 3RD WEEK | SHIPPING OFFICE SINK
2021272 | INSTEEL WIRE PRODUCTS | BAKER | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2021272 | INSTEEL WIRE PRODUCTS | BAKER | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2021272 | INSTEEL WIRE PRODUCTS | BAKER | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2021272 | INSTEEL WIRE PRODUCTS | BAKER | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2021272 | INSTEEL WIRE PRODUCTS | BAKER | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2021272 | INSTEEL WIRE PRODUCTS | BAKER | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2021272 | INSTEEL WIRE PRODUCTS | BAKER | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2021356 | BAKER CORRECTIONAL INSTITUTION | BAKER | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | AUGUST | TRAINING BLDG
2021356 | BAKER CORRECTIONAL INSTITUTION | BAKER | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2021356 | BAKER CORRECTIONAL INSTITUTION | BAKER | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2021356 | BAKER CORRECTIONAL INSTITUTION | BAKER | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2021356 | BAKER CORRECTIONAL INSTITUTION | BAKER | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2021356 | BAKER CORRECTIONAL INSTITUTION | BAKER | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2021356 | BAKER CORRECTIONAL INSTITUTION | BAKER | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2021356 | BAKER CORRECTIONAL INSTITUTION | BAKER | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2021356 | BAKER CORRECTIONAL INSTITUTION | BAKER | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2021356 | BAKER CORRECTIONAL INSTITUTION | BAKER | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2021356 | BAKER CORRECTIONAL INSTITUTION | BAKER | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2021356 | BAKER CORRECTIONAL INSTITUTION | BAKER | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2024880 | FGC PUBLIC SAFETY TRAINING CENTER | BAKER | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | JULY | BLDG 1, MENS RESTROOM SINK
2024880 | FGC PUBLIC SAFETY TRAINING CENTER | BAKER | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2024880 | FGC PUBLIC SAFETY TRAINING CENTER | BAKER | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2024880 | FGC PUBLIC SAFETY TRAINING CENTER | BAKER | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2024880 | FGC PUBLIC SAFETY TRAINING CENTER | BAKER | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2024880 | FGC PUBLIC SAFETY TRAINING CENTER | BAKER | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2024880 | FGC PUBLIC SAFETY TRAINING CENTER | BAKER | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2024880 | FGC PUBLIC SAFETY TRAINING CENTER | BAKER | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2031 | N/A | POINT OF ENTRY TO DISTRIBUTION
2024880 | FGC PUBLIC SAFETY TRAINING CENTER | BAKER | NONTRANSIENT NONCOMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2031 | N/A | POINT OF ENTRY TO DISTRIBUTION
2024880 | FGC PUBLIC SAFETY TRAINING CENTER | BAKER | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2024880 | FGC PUBLIC SAFETY TRAINING CENTER | BAKER | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2024894 | SANDERSON PIPE CORPORATION | BAKER | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | JULY | PLANT MEN'S ROOM - 3RD SINK
2024894 | SANDERSON PIPE CORPORATION | BAKER | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2024894 | SANDERSON PIPE CORPORATION | BAKER | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2024894 | SANDERSON PIPE CORPORATION | BAKER | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2024894 | SANDERSON PIPE CORPORATION | BAKER | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2024894 | SANDERSON PIPE CORPORATION | BAKER | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2024894 | SANDERSON PIPE CORPORATION | BAKER | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2024894 | SANDERSON PIPE CORPORATION | BAKER | NONTRANSIENT NONCOMMUNITY | VOC | BENZENE | QUARTERLY | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2024894 | SANDERSON PIPE CORPORATION | BAKER | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2024902 | TOWN OF GLEN ST. MARY | BAKER | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | JULY | 7522 MT. VERNON ST
2024902 | TOWN OF GLEN ST. MARY | BAKER | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2024902 | TOWN OF GLEN ST. MARY | BAKER | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | WTP1 - POE
2024902 | TOWN OF GLEN ST. MARY | BAKER | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | WTP1 - POE
2024902 | TOWN OF GLEN ST. MARY | BAKER | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2024902 | TOWN OF GLEN ST. MARY | BAKER | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2024902 | TOWN OF GLEN ST. MARY | BAKER | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | WTP1 - POE
2024902 | TOWN OF GLEN ST. MARY | BAKER | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | WTP1 - POE
2024902 | TOWN OF GLEN ST. MARY | BAKER | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | WTP1 - POE
2024902 | TOWN OF GLEN ST. MARY | BAKER | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | WTP1 - POE
2024902 | TOWN OF GLEN ST. MARY | BAKER | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | WTP1 - POE | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2024902 | TOWN OF GLEN ST. MARY | BAKER | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | WTP1 - POE