DRINKING WATER STATE REVOLVING FUND BUSINESS PLAN

| Sponsor Name: |  | System Population: |  |
| --- | --- | --- | --- |
| DWSRF Project #: |  | PWS ID#: |  |
| Contact Person and Title: |  |  | Telephone: |  |
| Mailing Address: |  | City: |  | State: |  | Zip: |  |
| Contact for Finance Plan (if different): |  |  | Telephone: |  |
| Mailing Address: |  | City: |  | State: |  | Zip: |  |
| e-mail: |  | Fax: |  |
| Source Type: |  | Ground Water |  | Purchase Water |
|  |  | Surface Water |  | Surface/Ground Combined |

The Drinking Water State Revolving Fund Program (DWSRF), authorized by the 1996 amendments to the Safe Drinking Water Act, provides financial assistance to public water systems (PWS).  To obtain this assistance, project sponsors must demonstrate Capacity Development or demonstrate how the assistance will ensure these requirements are met.  The term Capacity Development takes into consideration three vital areas of a public water system: Technical, Managerial, and Financial capabilities.

FINANCIAL

A financial capability demonstration (and certification) is required well before the evaluation of the actual loan or grant application.  This demonstration is necessary to ensure that the system has the financial capability to repay the loan, if applicable, and to adequately operate and maintain the system.  Financial capability also includes funding future capital improvements that may be required.  Please see Rule 62-552.700(4) in Chapter 62-552, F.A.C. for further details.

It is expected that the revenues to be dedicated to repaying a loan will be generated either from water and sewer utility operations or from water utility operations alone.  If the source of revenues will not be from such enterprises, this set of worksheets alone will not satisfy the Department's needs.  (Please contact the Department for further guidance if dedicated revenues will be generated externally to such utilities.)

The following worksheets have been developed to identify the minimum information needed.  The completed worksheets should be used in disclosing DWSRF project financing to the public during the required dedicated revenue hearing.  The worksheets can serve to identify the impacts of the SRF project on residential users and how the project fits into the project sponsor’s overall capital improvement program for the water and sewer utility (or water utility, as appropriate).  Supplemental capital financing documentation may be submitted with these worksheets and may be presented at the required dedicated revenue hearing.

| The revenues being dedicated to repayment of the DWSRF loan are: |  |
| --- | --- |
| What is the frequency of water system billing? |  |
| How often are system rates reviewed for adequacy? |  |
| When was the last time rates were reviewed? |  |
| What resources and guidance does the water system use for setting water user rates, fees or charges? |  |
| What is your water system bond rating? |  |
| Is a rate increase necessary as a result of this project? |  |
| What is the Median Household Income (MHI) for the entire system? |  |

Which, if any, of the following activities must be undertaken to implement the DWSRF project?

| Acquire privately held land? | Yes |  | No |  |
| --- | --- | --- | --- | --- |
| Acquire land held by another public water system entity? | Yes |  | No |  |
| Enter into inter-local or inter-project sponsoring agency’s agreements? | Yes |  | No |  |
| Does the system have an annual budget with a separate reserve account for equipment replacement and/or capital improvement? | Yes |  | No |  |
| Does the system have a capital improvement plan? How many years does it cover? | Yes |  | No |  |
| Does the system have a governing board of directors? | Yes |  | No |  |
| Does the water system employ the services of a professional engineer? | Yes |  | No |  |
| Are there procedures for billing and collection? | Yes |  | No |  |
| Does the system have audited financial statements? | Yes |  | No |  |
| Are there standard purchasing procedures that provide controls over expenditures? | Yes |  | No |  |
| What year will construction be completed and repayments begin (for the first project)? |  |
| What is the estimated cost of your SRF project? | $ |

Please attach a copy of the user charge ordinance.

Table 1

WATER RATE REVENUE SUMMARY

|  |  | LAST YR. | YEAR 1 (Current Year) | YEAR 2 | YEAR 3 |  | SRF Project |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Number of Residential Customers |  |  |  |  |  |  |
|  | Number of New Residential Service Connections |  |  |  |  |  |  |
|  | Annual Residential Water Sales (Gallons) |  |  |  |  |  |  |
|  | Avg Daily Residential Usage (Gal/day) (Line 3 divided by line 1 divided by 365) |  |  |  |  |  |  |
|  | Annual Residential Water Sales ($) |  |  |  |  |  |  |
|  | Average Annual Residential Bill (line 5 divided by line 1) |  |  |  |  |  |  |
|  | Annual Residential Bill Amount Uncollected |  |  |  |  |  |  |
|  | Total Residential Rates Collected (Line 5 minus line 7) |  |  |  |  |  |  |
|  | Impact and Connection Fees per Residential Service |  |  |  |  |  |  |
|  | Total Residential Impact and Connection Fees (Line 2 times line 9) |  |  |  |  |  |  |
|  | Number of Commercial Customers |  |  |  |  |  |  |
|  | Number of New Commercial Service Connections |  |  |  |  |  |  |
|  | Annual Commercial Water Sales (Gallons) |  |  |  |  |  |  |
|  | Annual Commercial Water Sales ($) |  |  |  |  |  |  |
|  | Annual Commercial Bill Amount Uncollected |  |  |  |  |  |  |
|  | Total Commercial/Industrial Bills Collected (Line 14 minus line 15) |  |  |  |  |  |  |
|  | Impact and Connection Fees for Commercial Service |  |  |  |  |  |  |
|  | Total Commercial Impact and Connection Fees (Line 12 times line 17) |  |  |  |  |  |  |
|  | Bulk Water Sales |  |  |  |  |  |  |
|  | Total Projected Water Revenue (Line 8+10+16+18+19) |  |  |  |  |  |  |

*  Large meters should be checked annually for accuracy.

Instructions for Completing Table 1

Identify the source of the above information and explain methods used to develop the projections (Attachment #      ).  Include an explanation of any revenue and expense growth or other adjustments; for example, any rate increases, service growth, inflation adjustments, expense adjustments reflecting the cost of operating additional facilities, or other considerations.  In completing this table assume through year 3 that no SRF project is constructed.  In the “ SRF Project” column enter the numbers that reflect the first year in which the SRF loan will begin repayments.  When completing the numbers in this column assume that the SRF project will be financed using 100% loan funding.

Line 1	Include the actual number of customers for last year and year 1 (current year). The numbers in years 2 and 3 should reflect an estimated number of residential customers, adjusted for growth. In the SRF column include the expected number of customers based on constructing your SRF project.

Line 2	This line is a subset of line 1. It should reflect the number of new customers for that year.

Line 3	This line is your total volume (gallons) of water used by your residential customers.  Use actual gallons sold for Last Year and do an estimate for the current year based on total to-date. To determine Year 2 and 3 water sales, first calculate the average daily residential usage in gallons per day on line 4.  The estimated water sales for Year 2 and 3 can now be determined by multiplying line 4 by line 1.

Line 4	This is the average daily residential usage (gallons per day) by a single residential customer. To get this number divide line 3 by line 1.  Use Last Year and Current Year to project usage for Year 2 and 3.  Usage should be fairly constant.

Line 5	This is your total residential water sales in dollars.  Year 2 and 3 water sales should reflect any increases in rates (i.e. due to inflation).  In the SRF column list what the sales would need to be if the SRF project was a 100% loan (to meet all expenses).

Line 6	To obtain the average annual residential bill, divide line 5 by line 1.

Line 7	This is the amount of the uncollected residential bills outstanding for the year.

Line 8	Line 5 minus line 7.

Line 9	This line is the impact and connection fee for new residential service.

Line 10	Multiply line 2 by line 9.

Line 11	Include the actual number of customers for last year and year 1 (current year). The numbers in years 2 and 3 should reflect an estimated number of commercial customers, adjusted for growth. In the SRF column include the expected number of customers based on constructing your SRF project.

Line 12	This line is a subset of line 11. It should reflect the number of new customers that will be charged an impact or connection fee.

Line 13	This line is your total volume (gallons) of water used by your commercial accounts.

Line 14	This is your total commercial water sales in dollars.  Year 2 and 3 water sales should reflect any increases in rates (i.e. due to inflation).  In the SRF column list what the sales would need to be if the SRF project was a 100% loan (to meet all expenses).

Line 15	This is the amount of the uncollected residential bills outstanding for the year.

Line 16	Total revenue collected for commercial accounts (line 14 minus line 15).

Line 17	This line is the impact and connection fee for new commercial/industrial accounts.

Line 18	Multiply line 12 by line 17.

Line 19	Total revenue for bulk water sales to consecutive systems.

Line 20	Total of line 8+10+16+18+19.

TABLE 2

INCOME, EXPENSES, AND CASH FLOW STATEMENT

| Income, Expense, and Cash Flow Statement | Last Yr. | Year 1 | Year 2 | Year 3 |  | SRF Project |
| --- | --- | --- | --- | --- | --- | --- |
|  | OPERATING REVENUES |  |  |  |
| 1 | Water Rates |  |  |  |  |  |  |
| 2 | Fire Protection |  |  |  |  |  |  |
| 3 | Fees and Services |  |  |  |  |  |  |
| 4 | Interest Income |  |  |  |  |  |  |
| 5a | Other – |  |  |  |  |  |  |
| 5b | Other – |  |  |  |  |  |  |
| 6 | Total (Lines 1 - 5) |  |  |  |  |  |  |
|  | NON-OPERATING REVENUES |  |  |  |
| 7 | Interest Income |  |  |  |  |  |  |
| 8 | Interfund Transfer |  |  |  |  |  |  |
| 9 | Proceeds from the Sale of Assets |  |  |  |  |  |  |
| 10 | Leases and Extraction Fees |  |  |  |  |  |  |
| 11 | Construction Grants |  |  |  |  |  |  |
| 12 | Proceeds from Borrowing |  |  |  |  |  |  |
| 13 | Equity Contribution |  |  |  |  |  |  |
| 14 | Other - |  |  |  |  |  |  |
| 15 | Total (Lines 7 - 14) |  |  |  |  |  |  |
|  | OPERATING EXPENSES |  |  |  |
|  | OPERATION AND MAINTENANCE |  |  |  |
| 16 | Salaries (Operators) |  |  |  |  |  |  |
| 17 | Benefits |  |  |  |  |  |  |
| 18 | Utilities |  |  |  |  |  |  |
| 19 | Chemicals & Treatment |  |  |  |  |  |  |
| 20 | Monitoring |  |  |  |  |  |  |
| 21 | Materials, Supplies & Parts |  |  |  |  |  |  |
| 22 | Transportation |  |  |  |  |  |  |
| 23 | Purchased Water Costs |  |  |  |  |  |  |
| 24 | Outside Services – |  |  |  |  |  |  |
| 25 | Other – |  |  |  |  |  |  |
| 26 | Total (Lines 16 – 25) |  |  |  |  |  |  |
|  | ADMINISTRATIVE |  |  |  |
| 27 | Salaries and Benefits |  |  |  |  |  |  |
| 28 | Building Overhead |  |  |  |  |  |  |
| 29 | Office Supplies & Postage |  |  |  |  |  |  |
| 30 | Insurance |  |  |  |  |  |  |
| 31 | Customer Billing & Collection |  |  |  |  |  |  |
| 32 | Accounting and Legal |  |  |  |  |  |  |
| 33 | A/E & Professional Services |  |  |  |  |  |  |
| 34 | Other - |  |  |  |  |  |  |
| 35 | TOTAL (Lines27 – 34) |  |  |  |  |  |  |
| 36 | Net Operating Income (Line 6 minus 26 minus 35) |  |  |  |  |  |  |
|  | NON-OPERATING EXPENSES |  |  |  |
| 37 | Debt-Repayment – Principal and Interest |  |  |  |  |  |  |
| 38 | Capital Improvements Acquisition of Plant Equipment |  |  |  |  |  |  |
| 39 | Interfund Transfers |  |  |  |  |  |  |
| 40 | To General Fund |  |  |  |  |  |  |
| 41 | To Replacement Fund |  |  |  |  |  |  |
| 42 | To Emergency Fund |  |  |  |  |  |  |
| 43 | Depreciation Expenses (If money is set aside) |  |  |  |  |  |  |
| 44 | Other - |  |  |  |  |  |  |
| 45 | TOTAL (Lines 37 + 44) |  |  |  |  |  |  |
| 46 | Net Non-Operating Income (Line 15 minus Line 45) |  |  |  |  |  |  |
| 47 | Net Income Before Taxes (Lines 36 + 46) |  |  |  |  |  |  |
|  | TAXES (N/A for publicly owned systems) |  |  |  |
| 48 | Income Taxes |  |  |  |  |  |  |
| 49 | Other Taxes |  |  |  |  |  |  |
| 50 | TOTAL (Lines 48 + 49) |  |  |  |  |  |  |
| 51 | Net Income After Taxes (Line 47 minus 50) |  |  |  |  |  |  |

Instructions for Completing Table 2

Identify the source of the above information and explain methods used to develop the projections (Attachment #      ).  Include an explanation of any revenue and expense growth or other adjustments; for example, any rate increases, service growth, inflation adjustments, expense adjustments reflecting the cost of operating additional facilities, or other considerations.

REVENUES-	Revenues include all sources of income to the system.  They are separated on this form as: “Operating”, lines 1-6 and “Non-Operating”, lines 7-15.  When using the subcategory “other” under any item, please write a descriptive term.

EXPENSES-	Expenses include all those activities or purchases which incur cost for the system. Expenses can be estimated in various ways.  One method bases the projections on historical expense.  This can be accomplished by using historical costs and escalating them from known and projected changes.  An example of a known change would be an increase in labor costs for the budget period due to known or anticipated salary increases. An example of a projected increase or escalation in costs would be a 5% annual inflation rate.  Materials and Supplies expense, for instance, would be expected to increase with the projected inflation rate. Expenses are separated on this form in the same fashion as Revenues with further subtopics to more clearly define expenses.  When using the subcategory “other” under any item please write a descriptive term and cross out the word “other”.  Expenses are separated on this form as “Operating”, lines 16-26, “Administrative”, lines 27-35, “Non-Operating”, lines 37-45, and “Taxes” lines 48-50.

Lines 1	This line includes all money received for supplying water service.  Information should come from completed Attachment 1.

Line 2	If a separate fee is charged for fire protection include on this line.

Line 3	Include all miscellaneous fees and charges generated by providing water service other than for the actual water service (for example, connection fees, bad check fees, reconnect fees, meter testing fees, etc.).

Line 4	Interest earned from cash on hand or on fees financed by the utility.

Line 5	If used, please describe.

Non-operating revenues are funds generated outside the water system and used by the water system to cover expenses.

Lines 7-15	Items should be clear, modify topics if needed.

Lines 16-17	Salaries and Benefits (Operators), include all compensation to employees of your system when the work is related to the system's O&M. This account should not include compensation of officers, directors, or general and administrative staff. Volunteer labor cannot be applied.

Line 18	Utilities, includes the cost of all electric power, gas, telephone, water (at least account for what is being used at the plant), and any other system-related expenses incurred in producing and delivering water.

Line 19	Chemicals and treatment is intended to cover the cost of all chemicals used in the treatment of your water.

Line 20	Monitoring, includes all water monitoring costs incurred by the system. This should include both in-house monitoring and analysis costs as well as outside laboratory costs.

Line 21	Materials, supplies, and parts means all materials and supplies used in the O&M of the water system and in providing and delivering the water to the customer.  Include any repairs or parts needed in producing and delivering water.  This would include grease, oil, and minor repairs to equipment. This should not include materials for administrative purposes such as postage, copying or copy machine supplies, billing forms, or letterhead.

Line 22	Transportation is intended to include all expenses related to trucks, automobiles, construction equipment, and other vehicle expense used in producing and delivering water to the customer.

Line 23	Include the cost of purchasing water.  Use only if a consecutive system.

Administration expenses are considered overhead but not those directly related to O&M of the daily production and delivery of water to the customer. This category includes billing and administrative costs incurred by the system. For example, all meter reading costs, secretarial costs, postage, publications, reference materials, uncollectible debts insurance accounting services, and all other overhead items belong in this subsection.

Lines 27	Salaries and Benefits include all compensation to employees of your system in which the work is related to the administration of the system, such as officers, directors, secretarial, and meter reading salaries and benefits. This account should not include compensation of operators.  If an employee performs both operation and meter reading a percentage of their salary should appear under the appropriate topic.  For example, if an operator reads meters 25% of the time, ¾ of their salary should be shown on line 16 and ¼ of their salary on line 27.

Line 28	Overhead associated with the building itself such as, mortgage payment, insurance, taxes, maintenance, etc.

Line 29	Office supplies and postage includes all materials and supplies in administration of the water system. This includes office supplies, postage, copier charges, and paper.

Line 30	Insurance (Vehicles, Liability, Workers' Compensation) includes all insurance costs associated with the coverage for the vehicles, general liability, workers' compensation insurance, and other insurance costs related to the operation and administration of the system.

Line 31	Customer billing and collection should include all expenses specific to this function such as, special billing forms or software.

Lines 32	Accounting and legal expenses includes all salaries and wages with legal and accounting functions for the system even if they are outside services.

Line 33	A/E and professional services means all engineering and other professional services expenses associated with water system planning and design requirements.

Line 34	Other means expenses such as employee training and water certification requirements (classes, registration fees, travel, etc.), public relations campaigns and public notifications, etc. Also include any recurring expenses that did not fit into any of the above line items.

Non-operating expenses are ones that are necessary and paid by the water system, but are not part of daily O&M or Administration of the system.  Debt Repayment and Capital Improvements are typical items that may appear on this type of analysis.

Lines 37-42	Expenses that are involved in operating or administering the water system that were not considered in the totals appearing on lines 26 and 35 should be shown in these items, modify if necessary.

Line 38	Capital improvements include facility and non-facility costs related to: 1) Meeting growth requirements or improving your system’s infrastructure to provide better service and reliability to existing customers, 2) replacing or renovating existing facilities, or 3) to ensure compliance with drinking water regulations.

Line 39-42	Identify any transfer of funds used to offsets other non-water system related capital expenditures.  These lines represent some possible categories, modify if needed.

Line 43	Depreciation expense only applies to systems which are currently depreciating investments made in the past (recovery of previously invested funds).  Include amounts on this line only if money is actually set aside.

Line 44	Include any recurring non-operating expenses that did not fit into any of the above line items.

Taxes can be incurred in a variety of ways such as a state utility tax, business and occupation tax, property tax or federal income tax.  Each of these taxes can be accounted for separately within the operating budget, modify if necessary.

Lines 48-49	Include any incurred taxes.

SCHEDULE OF PRIOR, PARITY, OR PROJECTED REVENUES AND DEBT

COVERAGE FOR RATE-BASED SYSTEM PLEDGED REVENUE

(Provide information beginning with the two fiscal years preceding the anticipated date of the first SRF loan repayment.)

|  |  | FY |  | FY |  | FY |  | FY |  | FY |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (a) | Net Operating Revenues. (Table 2 line 36) |  |  |  |  |  |  |  |  |  |
| (b) | Debt Service (including required coverage) pledged to all prior, parity, or projected projects (last column of Table 3). |  |  |  |  |  |  |  |  |  |
| (c) | Net Revenue (= a – b) |  |  |  |  |  |  |  |  |  |

(d)	Attach audited annual financial report(s), or pages thereof, and any other documentation necessary to support the above information.  Include any notes or comments from the audit reports regarding compliance with covenants of debt obligations having a prior or parity lien on the revenues pledged for repayment of the SRF loan.  (Attachment #      )

(e)	Attach worksheets reconciling this page with the appropriate financial statements (for example, backing out depreciation and interest payments from operating expenses).  (Attachment #      )

(f)	If the net revenues were not sufficient to satisfy the debt service and coverage requirement, please explain what corrective action was taken.   (Attachment #     )

(k)	Identify the source of the above information and explain methods used to develop the projections (Attachment #      ).  Include an explanation of any revenue and expense growth or other adjustments; for example, any rate increases, service growth, inflation adjustments, expense adjustments reflecting the cost of operating additional facilities, or other considerations.

##### LIST OF ATTACHMENTS (use additional sheets if necessary)

| Attachment |  | Number |
| --- | --- | --- |

TECHNICAL:		Accurate answers to the following questions will help identify the technical strengths as well as areas that may need improving within your system.  If a question or section does not apply to your system, please write N/A for not applicable. For questions that ask you to rate your system from 1 to 5, answer 1 for worst case scenario and answer 5 for the best case scenario.

- System has current and accurate data showing average and peak gpd used		Yes 	No

- System’s capacity exceeds peak demand by more than 20% (Percentage  -      %)	Yes 	No

- System can meet peak demand without pumping at peak capacity for

extended periods.									Yes 	No

- System has an emergency plan in place to meet system demand during a

shortage (natural disaster or largest pump/well out, etc.)				Yes 	No

- System has accurate records indicating types and percentage of customers use: 	Yes 	No

Residential      % Commercial      % Industrial      % Dedicated Irrigation Meter      %

- System has comprehensive water loss program that compares amount of water

produced (plant meter) with total delivered through metered and unmetered

service connections (system’s unaccounted for water is      %)			Yes 	No

### Purchase Water Systems	NA

System has a written agreement with the supplier that:

- ensures adequate supply of water during shortage conditions,					Yes 	No

- does not require the purchase of a minimum amount of water (water is

supplied through a meter), 									Yes 	No

- assures supplying water system will remain in compliance with the appropriate

State or federal regulations, and 								Yes 	No

- assures purchasing system will be notified of any water quality issues. 	Yes 	No

### Surface Water Systems and Systems Using Ground Water Under the Influence of Surface Water	NA

- System has redundancy for all critical treatment components	1	2	3	4	5

- System monitors raw, settled, and individual filtered water turbidity	1	2	3	4	5

- System consistently (95% of the time) has a filtered water turbidity of      %,

which is within the current standard of .3 NTU	1	2	3	4	5

- System has the capability to add coagulant before the filter and disinfect at

various points in the treatment process	1	2	3	4	5

- System is evaluating (or has evaluated) changes necessary to meet the

Enhanced Surface Water Treatment Rule	1	2	3	4	5

| Some needed changes are: |  |
| --- | --- |

- System is evaluating (or has evaluated) changes needed to meet requirements

in the Disinfection By Products Rule	1	2	3	4	5

| Some planned modifications are: |  |
| --- | --- |

Ground Water System	NA

- A minimum of two sources of groundwater are provided				Yes 	No

- Source water protection area provides a minimum 500 foot radius around each

drinking water  well									Yes 	No

- Groundwater source capacity equals or exceeds the design maximum day demand

and equals or exceeds the design average day demand with the largest producing

well out of service									Yes 	No

- System monitors raw water quality to determine appropriate treatment	1	2	3	4	5

- System’s well(s) have; air/vacuum relief valve, check valve, blow-off, by-pass, meter,

working sanitary seal, construction/maintenance records and are properly vented	1	2	3	4	5

- System routinely monitors drawdown	1	2	3	4	5

Disinfection

- System has adequate contact time of       minutes following disinfection and

before the first user in the distribution system						Yes 	No

- Disinfection equipment is regularly inspected and maintained					Yes 	No

- A chlorine residual is maintained throughout the distribution system	1	2	3	4	5

Distribution System

- System has accurate information, including age, for pipe materials that

currently make up the distribution system	1	2	3	4	5

- Water mains providing fire protection are a minimum of 6-inches in diameter 	Yes 	No

- System is free of severe “water hammer” problems	1	2	3	4	5

- System tracks ranges of operating pressure, especially during peak demand	1	2	3	4	5

- System maintains a minimum operating pressure of 20 psi	Yes 	No

- Normal operating pressure is kept between 40 and 100 psi 	1	2	3	4	5

- System has a routine leak detection program that uses (type of equipment)     ,

repairs identified leaks quickly, and keeps water loss in the distribution system

below      %. Average number of leak repairs per year is      	1	2	3	4	5

- System has a cross connection control program in place that addresses: 
evaluation of each service connection, installation of specified backflow

preventer, training, record keeping, annual testing, and education 	1	2	3	4	5

- System is working to eliminate dead ends in the mains	1	2	3	4	5

- System has a flushing program that operates       times a year	1	2	3	4	5

- System has a map showing the bacteriological, lead and copper, and

TTHM (if applicable) sampling points	1	2	3	4	5

- System has accurate “as-built” maps of the distribution system posted that show:

location of sources (or intakes), size of mains, dead end mains, valves, curb stops

on service lines, and proximity of mains to other utilities (gas, electric, etc.)	1	2	3	4	5

- System has a routine valve exercise program	1	2	3	4	5

- All customers are metered and all meters are routinely calibrated	1	2	3	4	5

- Customer complaints are relatively infrequent	1	2	3	4	5

List number of complaints in the past year:      .

### Pumping

- System has a pump maintenance program that includes annual inspection, scheduling

of repair, and routine maintenance that is conducted by a qualified contractor	1	2	3	4	5

- System has standby or emergency power equipment that is routinely tested

under load and can provide 100% of the average daily demand for       days	1	2	3	4	5

### Storage

- System is able to meet peak demand without the high service pumps running

at peak capacity for extended period	1	2	3	4	5

- System has adequate reserve capacity for fire protection.	1	2	3	4	5

Total storage capacity of the system is                        gals

- System’s       storage tanks receive routine inspection (every 3-5 years) to

determine and schedule any needed maintenance	1	2	3	4	5

- All storage tanks are equipped with an altitude valve to prevent overflowing and

are sized appropriately to ensure adequate turnover and no loss of water quality	1	2	3	4	5

- Storage tanks are covered and the surrounding areas are fenced	1	2	3	4	5

- Storage tanks have a drain valve and an entry hatch to allow access for

cleaning and painting of the interior of the tank	1	2	3	4	5

MANAGERIAL:	Answering the next set of question will help the system clearly define responsible parties, staffing needs, operational needs, policies, and internal standard that guide system performance. For questions that ask you to rate your system from 1 to 5, answer 1 for worst case scenario and answer 5 for the best case scenario.

- System has a current organizational chart and accompanying position

descriptions that clearly define responsibilities of staff members	1	2	3	4	5

- The plant is a category       plant operating       hours per day.

List names, class, and license numbers for all operators fulfilling staffing requirements:

- System is satisfied with service provided by contract operator(s)	NA	1	2	3	4	5

- The operator’s authority and responsibilities are clearly defined	1	2	3	4	5

Policies and Plans:  Please indicate with a check mark the items for which the water system has written policies or plans.

| standard specifications | connection policies | main extension policies |
| --- | --- | --- |
| bacteriological sampling plan | emergency operation plan | Lead & Copper sample plan |
| cross connection control plan | record management plan | TTHM |
| general rules | disconnection policy | public education & outreach |
| disaster response plan | personnel policy | Safety/Risk Management Policy |

- Based on the answers above the system has: clear organizational structure,

defined staffing requirements, and appropriate rules/policies	1	2	3	4	5

Operations and Maintenance:  The items that follow are elements that may be contained in a thorough Operations and Maintenance (O&M) manual.  A complete O&M manual is useful as a quick reference for anything from trouble shooting to emergency procedures.  Please indicate with a check mark those items contained in the system’s O&M manual.

### Introduction and Overview

| System name | System ID# | location |
| --- | --- | --- |
| design flow capacity | type of treatment | water source |
| available training | publications available |
| Statement of the purpose of the manual and relay to the operator how to best obtain pertinent information |
| organizational chart (note which activities require qualified and licensed/certified personnel) |

### General System Description

a flow schematic (source to distribution)

pumping capabilities (source, chemicals, and high service)

storage (raw, finished water, and chemicals)

system map showing location of all wells, intake structures, pumping stations, storage tanks, and the defined service area

### System Operation and Control

identification of major system components including a description of the normal operation of each component

possible alternative operation modes and circumstances under which they would be used

schematic diagrams of each treatment process

preventative maintenance program (include inspections performed when the facility is off-line)

common operating problems with methods of bypassing while being repaired

importance of and how to use laboratory tests for process control

routine system operation for each major system component this should include startup and shutdown procedures, safety procedures, and meter reading

evaluation of overall system performance

Laboratory Testing

identification of  samples and tests needed for compliance as well as for process control.

sampling locations, time, and methods

how to interpret laboratory results and the use of these results to improve the process

what should be in laboratory supply and chemicals inventory

list of laboratory references;

instructions for filling out worksheets for a sample (include completed example)

for tests to be performed by outside laboratories, the name of the laboratory, contact person, telephone number, and method of requesting sample pick-up or schedule for sample pick-up

Records and Reports Section

a general explanation of the purpose and importance of accurate records and reports

a log of complaints and responses

daily logs, maintenance records, laboratory records, monthly reports, monitoring reports, sanitary surveys, annual reports, operating cost reports, and accident reports.

historical records (permits, standards, pumping capacity, consumption, and drawdown)

list of equipment warranties and provisions

specific area for filing records

procedures for reporting to appropriate agencies (specify how long records should be kept)

Maintenance

general information including purpose and value of scheduled and preventative maintenance

preventative maintenance schedule and sample worksheets with instructions

specifications for fuels, lubricants, filters, etc. for equipment

troubleshooting charts or guides which reference pages in manufacturers' O&M manual or system’s O&M manual as appropriate

a record of data plate information on each piece of equipment maintained, this should include manufacturers' maintenance schedule for routine adjustments

a work order system for maintenance of equipment with sample forms to accurately track O&M costs for each piece of equipment

brief operation instructions for each piece of equipment with reference to the manufacturers’ technical specifications for major system components

a mechanism for storage and check out of specialized equipment used infrequently

list of outside contract maintenance tasks

contact person and phone numbers for equipment manufacturers, major suppliers, and all utilities serving the system

list of special tools used and how to replace

stocks of spare parts, supplies, chemicals and other items vital to system operation

a system of requisitions and/or work orders used to distribute parts, supplies, chemicals, etc. for reorder purposes

Emergency Response Program

pre-response activity such as; personnel assignments, emergency equipment inventory, filling a storage tank before a storm hits, copies of all emergency numbers.  Laminated copy of phone numbers to keep readily accessible should include water system personnel responsible for making decisions in specific situations; including name, job title, home and work phone number (pager/cell phone number if available), police, fire departments, and for chemical spills or exposure CHEMTECH 800-424-9300.

safety procedures for all personnel involved in the response

a contingency plan to ensure proper treatment of water even in adverse conditions which may include agreements with nearby water systems for equipment or personnel

procedures for putting standby and emergency sources into active service

procedures for notifying customers, the local health jurisdiction, and EPA of water quality problems

systematic procedure for returning to normal operation

### Appendix

The appendix can contain documents and other information that cannot be easily incorporated into the body of the manual.  Large documents such as copies of plans and specifications may be stored separately from the main manual.  The following list has examples of items that might be included in appendices.  Please check all that apply to your O&M Manual.

| Detailed design criteria | User Charge System | Approved shop drawings |
| --- | --- | --- |
| Schematics | Piping color codes | Valve indices or schedule |
| As-built drawings | Drinking water rules/Ordinance | Manufacturers' manuals |

- Based on the answers above please rate the system’s current O&M Manual.	1	2	3	4	5

The last set of questions is designed to help you evaluate the systems’ source(s).  Please read the item then circle the number from 1 (needs improving) to 5 (top notch) that you feel best describes your systems’ current status relative to that item or check boxes as appropriate.

- System has an active Source Water Assessment Program	1	2	3	4	5

For Ground Water Systems:

- System has accurate historical information (like well driller’s log

and construction records) for each well	1	2	3	4	5

- Well(s) have the "zone of contribution” identified on a map	1	2	3	4	5

- No storage of potential contaminants in close proximity of well(s)	1	2	3	4	5

- Well(s) are housed and fenced and have an appropriate concrete pad	1	2	3	4	5

- Well casing(s) extend at least 12" above floor or ground	1	2	3	4	5

Name of aquifer is known:	  Yes	  No

Aquifer is:      		  Confined	  Unconfined

For Surface Water Systems:

- Commercial, industrial, or agricultural operations up stream are identified	1	2	3	4	5

- System has provided a contact to these facilities in case of an accidental release	1	2	3	4	5

- System performs up stream monitoring	1	2	3	4	5

- System has a raw water reservoir of       gallons that acts as a buffer	1	2	3	4	5

Overall:

- System has adequate knowledge and program activity to protect and

ensure an adequate supply of drinking water 10 years into the future	1	2	3	4	5

CERTIFICATION:  I, the undersigned authorized representative of the applicant, hereby certify that all information contained in this form and attachments is true, correct, and complete to the best of my knowledge and belief. I also certify that I have been duly authorized to file the business plan and to provide these assurances.

| Signature Of Authorized Representative |  |
| --- | --- |
| Name (Please Print) |  |
| Title |  |
| Address |  |
| City |  | State |  | Zip |  |
| Phone |  | Fax |  |