## Sheet1
PWS_ID | SYSTEM_NAME | COUNTY | SYSTEM TYPE | CONTAMINANT GROUP | CONTAMINANT NAME | FREQUENCY | SAMPLES NEXT DUE | SAMPLING PERIOD | SAMPLING LOCATION | LOCATION DESCRIPTION | COMMENTS
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | AUGUST | L1 | WWTP
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | AUGUST | L1 | WWTP
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | SEPTEMBER | L1 | BLOCK A LOT 1
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | SEPTEMBER | L1 | BLOCK A LOT 1
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | VOCS | TOT XYLENE | ANNUAL | 2024 | APR - JUNE | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | MARCH | L1 | 243/271 NE EASY STREET
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | MARCH | L1 | 243/271 NE EASY STREET
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2024 | JAN -JUN, JUL - DEC | PER SAMPLING PLAN | 10 SAMPLE SITES | BIANNUAL FOR MINIMUM OF ONE YEAR DUE TO TREATMENT CHANGE
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | MAY | L3 | 1801 N US HWY 441
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | MAY | L3 | 1801 N US HWY 441
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | AUGUST | L4 | 1152 SW BUSINESS POINT DRIVE
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | AUGUST | L4 | 1152 SW BUSINESS POINT DRIVE
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 30 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2029 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | JULY | L1 | APTS ON NORTH SIDE OF PTY
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | JULY | L1 | APTS ON NORTH SIDE OF PTY
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | SEPTEMBER | L1 | BLOCK 7 LOT 2
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | SEPTEMBER | L1 | BLOCK 7 LOT 2
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | QUARTERLY | 2024 | ONCE PER CALENDAR QTR | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | FOUR CONSECUTIVE QUARTERS REQUIRED TO CLEAR NEW WELL
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | RADS | COMBINED URANIUM | QUARTERLY | 2024 | ONCE PER CALENDAR QTR | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | FOUR CONSECUTIVE QUARTERS REQUIRED TO CLEAR NEW WELL
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | QUARTERLY | 2024 | ONCE PER CALENDAR QTR | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | FOUR CONSECUTIVE QUARTERS REQUIRED TO CLEAR NEW WELL
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | QUARTERLY | 2024 | ONCE PER CALENDAR QTR | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; FOUR CONSECUTIVE QUARTERS REQUIRED TO CLEAR NEW WELL
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | QUARTERLY | 2024 | ONCE PER CALENDAR QTR | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | FOUR CONSECUTIVE QUARTERS REQUIRED TO CLEAR NEW WELL
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | 3RD MONTH, 2ND WEEK | L1 | LOT 25
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | 3RD MONTH, 2ND WEEK | L1 | LOT 25
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2024 | JAN -JUN, JUL - DEC | PER SAMPLING PLAN | 5 SAMPLE SITES | BIANNUAL FOR MINIMUM OF ONE YEAR DUE TO NEW WELL
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | JULY | L1 | LOT 11 UNIT 3
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | JULY | L1 | LOT 11 UNIT 3
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | JULY | L1 | MANAGER RESIDENCE
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | JULY | L1 | MANAGER RESIDENCE
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2024 | JAN -JUN, JUL - DEC | PER SAMPLING PLAN | 5 SAMPLE SITES
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | JULY | L1 | 568 SATURN & BROWN RD
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | JULY | L1 | 568 SATURN & BROWN RD
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | SEPTEMBER | L1 | BLOCK B LOT 5
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | SEPTEMBER | L1 | BLOCK B LOT 5
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | JULY | L1 | ROOM 255 SUNDIAL PL (FKABLDG 221 APT 220
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | JULY | L1 | ROOM 255 SUNDIAL PL (FKABLDG 221 APT 220
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | JULY | L1 | 1650 SE ALFRED MARKHAM RD
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | JULY | L1 | 1650 SE ALFRED MARKHAM RD
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | JULY | L1 | 130-101 PEYTON LOOP (WTP2)
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | JULY | L1 | 130-101 PEYTON LOOP (WTP2)
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | JULY | L2 | 265-104 LILLIAN LOOP (WTP1)
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | JULY | L2 | 265-104 LILLIAN LOOP (WTP1)
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124390 | BEHAVIORAL LEARNING ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124390 | BEHAVIORAL LEARNING ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124390 | BEHAVIORAL LEARNING ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124390 | BEHAVIORAL LEARNING ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124390 | BEHAVIORAL LEARNING ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124390 | BEHAVIORAL LEARNING ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | JULY | L1 | PRIMARY CLASSROOM
2124390 | BEHAVIORAL LEARNING ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | JULY | L1 | PRIMARY CLASSROOM
2124390 | BEHAVIORAL LEARNING ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | ANNUAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES
2124390 | BEHAVIORAL LEARNING ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124390 | BEHAVIORAL LEARNING ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2025 | N/A | PRIMAR | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124390 | BEHAVIORAL LEARNING ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2028 | N/A | PRIMAR | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124390 | BEHAVIORAL LEARNING ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2028 | N/A | PRIMAR | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124392 | CHRISTIAN FELLOWSHIP CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124392 | CHRISTIAN FELLOWSHIP CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124392 | CHRISTIAN FELLOWSHIP CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124392 | CHRISTIAN FELLOWSHIP CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124392 | CHRISTIAN FELLOWSHIP CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124392 | CHRISTIAN FELLOWSHIP CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | SEPTEMBER | L1 | BELMONT ACADEMY BLDG.127 NORTH TAP
2124392 | CHRISTIAN FELLOWSHIP CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | SEPTEMBER | L1 | BELMONT ACADEMY BLDG. 127 NORTH TAP
2124392 | CHRISTIAN FELLOWSHIP CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 10 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2124392 | CHRISTIAN FELLOWSHIP CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124399 | TOWN OF FORT WHITE | COLUMBIA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124399 | TOWN OF FORT WHITE | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | 3RD MONTH, 2ND WEEK | L1 | END OF LINE @ WILSON SPRINGS RD
2124399 | TOWN OF FORT WHITE | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | 3RD MONTH, 2ND WEEK | L1 | END OF LINE @ WILSON SPRINGS RD
2124399 | TOWN OF FORT WHITE | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | 3RD MONTH, 2ND WEEK | L2 | CR 18 & GREENWOOD TERR HYDRANT
2124399 | TOWN OF FORT WHITE | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | 3RD MONTH, 2ND WEEK | L2 | CR 18 & GREENWOOD TERR HYDRANT
2124399 | TOWN OF FORT WHITE | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 10 SAMPLE SITES
2124399 | TOWN OF FORT WHITE | COLUMBIA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124399 | TOWN OF FORT WHITE | COLUMBIA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | WILSON | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124399 | TOWN OF FORT WHITE | COLUMBIA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | WILSON | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124399 | TOWN OF FORT WHITE | COLUMBIA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | WILSON | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124399 | TOWN OF FORT WHITE | COLUMBIA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | WILSON | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124399 | TOWN OF FORT WHITE | COLUMBIA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | WILSON | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124399 | TOWN OF FORT WHITE | COLUMBIA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | WILSON | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124399 | TOWN OF FORT WHITE | COLUMBIA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | WILSON | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124399 | TOWN OF FORT WHITE | COLUMBIA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | WILSON | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124400 | WEE CARE PRESCHOOL & DAYCARE | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124400 | WEE CARE PRESCHOOL & DAYCARE | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124400 | WEE CARE PRESCHOOL & DAYCARE | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124400 | WEE CARE PRESCHOOL & DAYCARE | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124400 | WEE CARE PRESCHOOL & DAYCARE | COLUMBIA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124400 | WEE CARE PRESCHOOL & DAYCARE | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | SEPTEMBER | L1 | NW CORNER
2124400 | WEE CARE PRESCHOOL & DAYCARE | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | SEPTEMBER | L1 | NW CORNER
2124400 | WEE CARE PRESCHOOL & DAYCARE | COLUMBIA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2124400 | WEE CARE PRESCHOOL & DAYCARE | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124404 | LAKE CITY CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124404 | LAKE CITY CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124404 | LAKE CITY CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124404 | LAKE CITY CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124404 | LAKE CITY CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124404 | LAKE CITY CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | JULY | L1 | KINDERGARTEN TAP
2124404 | LAKE CITY CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | JULY | L1 | KINDERGARTEN TAP
2124404 | LAKE CITY CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2124404 | LAKE CITY CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | SEPTEMBER | L1 | 120 SE LINDALE GLEN
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | SEPTEMBER | L1 | 120 SE LINDALE GLEN
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | JULY | L1 | SINK ON EAST SIDE OF BLDG
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | JULY | L1 | SINK ON EAST SIDE OF BLDG
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124413 | COLUMBIA COUNTY WATER SYSTEM-ELLISVILLE | COLUMBIA | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124413 | COLUMBIA COUNTY WATER SYSTEM-ELLISVILLE | COLUMBIA | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124413 | COLUMBIA COUNTY WATER SYSTEM-ELLISVILLE | COLUMBIA | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124413 | COLUMBIA COUNTY WATER SYSTEM-ELLISVILLE | COLUMBIA | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124413 | COLUMBIA COUNTY WATER SYSTEM-ELLISVILLE | COLUMBIA | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124413 | COLUMBIA COUNTY WATER SYSTEM-ELLISVILLE | COLUMBIA | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124413 | COLUMBIA COUNTY WATER SYSTEM-ELLISVILLE | COLUMBIA | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124413 | COLUMBIA COUNTY WATER SYSTEM-ELLISVILLE | COLUMBIA | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124413 | COLUMBIA COUNTY WATER SYSTEM-ELLISVILLE | COLUMBIA | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124413 | COLUMBIA COUNTY WATER SYSTEM-ELLISVILLE | COLUMBIA | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | SEPTEMBER | L1 | WWTP
2124413 | COLUMBIA COUNTY WATER SYSTEM-ELLISVILLE | COLUMBIA | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | SEPTEMBER | L1 | WWTP
2124413 | COLUMBIA COUNTY WATER SYSTEM-ELLISVILLE | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES
2124413 | COLUMBIA COUNTY WATER SYSTEM-ELLISVILLE | COLUMBIA | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124416 | ORCHARD COMMUNITY CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124416 | ORCHARD COMMUNITY CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124416 | ORCHARD COMMUNITY CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124416 | ORCHARD COMMUNITY CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124416 | ORCHARD COMMUNITY CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124416 | ORCHARD COMMUNITY CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | JULY | L1 | AUDITORIUM
2124416 | ORCHARD COMMUNITY CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | JULY | L1 | AUDITORIUM
2124416 | ORCHARD COMMUNITY CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2124416 | ORCHARD COMMUNITY CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | AUGUST | L2 | PROCESSING BREAK ROOM SINK
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | AUGUST | L2 | PROCESSING BREAK ROOM SINK
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | ARSENIC | QUARTERLY | 2024 | ONCE PER CALENDAR QTR | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | QUARTERLY | 2024 | ONCE PER CALENDAR QTR | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | FOUR CONSECUTIVE QUARTERS REQUIRED TO CLEAR NEW WELL
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | RADS | COMBINED URANIUM | QUARTERLY | 2024 | ONCE PER CALENDAR QTR | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | FOUR CONSECUTIVE QUARTERS REQUIRED TO CLEAR NEW WELL
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | QUARTERLY | 2024 | ONCE PER CALENDAR QTR | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | FOUR CONSECUTIVE QUARTERS REQUIRED TO CLEAR NEW WELL
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | QUARTERLY | 2024 | ONCE PER CALENDAR QTR | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; FOUR CONSECUTIVE QUARTERS REQUIRED TO CLEAR NEW WELL
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | QUARTERLY | 2024 | ONCE PER CALENDAR QTR | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | FOUR CONSECUTIVE QUARTERS REQUIRED TO CLEAR NEW WELL
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | JULY | L1 | LOT 75
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | JULY | L1 | LOT 75
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2024 | JAN -JUN, JUL - DEC | PER SAMPLING PLAN | 10 SAMPLE SITES | BIANNUAL DUE TO NEW PLANT
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO ASBESTOS WAIVER AVAILABLE IF APPLICABLE