## Sheet1
PWS_ID | SYSTEM_NAME | COUNTY | SYSTEM_TYPE | CONTAM_GROUP | CONTAMINANT NAME | FREQUENCY | YEAR NEXT DUE | SAMPLING PERIOD | SAMPLING LOCATION | COMMENTS
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | AUGUST | WWTP HOSE BIB
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2120043 | CANNON CREEK MHP | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | SEPTEMBER | 141 SW AZALEA PL (BLOCK A LOT 1)
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2120047 | AZALEA PARK SUBDIVISION | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | SEPTEMBER | 264 NE EASY TER (NORTH END EASY ST)
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2120224 | COLLEGE MANOR UTILITIES | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | DBP | BROMATE | MONTHLY | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | MAY | 1801 N US HWY 441
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | AUGUST | 1152 SW BUSINESS POINT DRIVE
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 002 - POE
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 002 - POE
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 30 SITES PER LCR SAMPLING PLAN
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | 002 - POE
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | 002 - POE
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | 002 - POE
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | 002 - POE
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | 002 - POE
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026* | N/A | 002 - POE | *MUST BE SAMPLED TWICE IN TWO DIFFERENT QUARTERS; SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2120630 | CITY OF LAKE CITY (PRICE CREEK WTP) | COLUMBIA | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | 002 - POE
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | JULY | APTS ON NORTH SIDE OF PTY
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2120921 | QUAIL HEIGHTS COUNTRY CLUB | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | SEPTEMBER | 143 SW DAYTONA WAY (BLOCK 7 LOT 2)
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2121023 | SHADY OAKS SUBDIVISION | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | SEPTEMBER | LOT 25
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2121366 | SUWANNEE VALLEY ESTATES | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | JULY | LOT 11 UNIT 3
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124284 | WOODGATE VILLAGE | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | AUGUST | OFFICE HOSEBIB (MANAGER RESIDENCE)
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | ANNUAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124285 | COOL BREEZE MHP | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | JULY | 568 SATURN & BROWN RD
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124287 | COUNTRY DALE ESTATES | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | SEPTEMBER | 352 SW THOMPKINS LOOP (BLOCK B LOT 5)
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124295 | 242 VILLAGE SUBDIVISION | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | JULY | ROOM 255 SUNDIAL PL (FKABLDG 221 APT 220
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124338 | SUNDIAL APARTMENTS | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124357 | BUILDING 3722 (LAKES APTS) | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | SEPTEMBER | BUILDING A OUTSIDE TAP
2124357 | BUILDING 3722 (LAKES APTS) | COLUMBIA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124357 | BUILDING 3722 (LAKES APTS) | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124357 | BUILDING 3722 (LAKES APTS) | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124357 | BUILDING 3722 (LAKES APTS) | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124357 | BUILDING 3722 (LAKES APTS) | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2026 | JANUARY THROUGH JUNE | 5 SITES PER LCR SAMPLING PLAN
2124357 | BUILDING 3722 (LAKES APTS) | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124357 | BUILDING 3722 (LAKES APTS) | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124357 | BUILDING 3722 (LAKES APTS) | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124357 | BUILDING 3722 (LAKES APTS) | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124357 | BUILDING 3722 (LAKES APTS) | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | QUARTERLY | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124357 | BUILDING 3722 (LAKES APTS) | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | QUARTERLY | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | JULY | 1650 SE ALFRED MARKHAM RD
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124372 | BRANDON-BRENT HEIGHTS WTP | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | JULY | 265-104 LILLIAN LOOP (WTP1)
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | JULY | 130-101 PEYTON LOOP (WTP2)
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 001 - POE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 002 - POE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 001 - POE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 002 - POE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | 002 - POE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | 001 - POE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | 001 - POE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | 002 - POE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | 002 - POE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | 001 - POE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | 001 - POE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | 002 - POE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | 001 - POE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | 002 - POE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | 001 - POE | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | 002 - POE | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | 001 - POE
2124375 | VERNDALE APARTMENTS | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | 002 - POE
2124390 | BEHAVIORAL LEARNING SYSTEMS (ACADEMY) | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | JULY | PRIMARY CLASSROOM
2124390 | BEHAVIORAL LEARNING SYSTEMS (ACADEMY) | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124390 | BEHAVIORAL LEARNING SYSTEMS (ACADEMY) | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124390 | BEHAVIORAL LEARNING SYSTEMS (ACADEMY) | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124390 | BEHAVIORAL LEARNING SYSTEMS (ACADEMY) | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124390 | BEHAVIORAL LEARNING SYSTEMS (ACADEMY) | COLUMBIA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2124390 | BEHAVIORAL LEARNING SYSTEMS (ACADEMY) | COLUMBIA | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2034 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124390 | BEHAVIORAL LEARNING SYSTEMS (ACADEMY) | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124390 | BEHAVIORAL LEARNING SYSTEMS (ACADEMY) | COLUMBIA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124392 | CHRISTIAN FELLOWSHIP CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | SEPTEMBER | BELMONT ACADEMY BLDG. 127 NORTH TAP
2124392 | CHRISTIAN FELLOWSHIP CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124392 | CHRISTIAN FELLOWSHIP CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124392 | CHRISTIAN FELLOWSHIP CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124392 | CHRISTIAN FELLOWSHIP CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124392 | CHRISTIAN FELLOWSHIP CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2028 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2124392 | CHRISTIAN FELLOWSHIP CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124392 | CHRISTIAN FELLOWSHIP CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124399 | TOWN OF FORT WHITE WTP | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | JUNE | END OF LINE @ WILSON SPRINGS RD
2124399 | TOWN OF FORT WHITE WTP | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | JUNE | CR 18 & GREENWOOD TERR HYDRANT
2124399 | TOWN OF FORT WHITE WTP | COLUMBIA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124399 | TOWN OF FORT WHITE WTP | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124399 | TOWN OF FORT WHITE WTP | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124399 | TOWN OF FORT WHITE WTP | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124399 | TOWN OF FORT WHITE WTP | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2124399 | TOWN OF FORT WHITE WTP | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124399 | TOWN OF FORT WHITE WTP | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124399 | TOWN OF FORT WHITE WTP | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124399 | TOWN OF FORT WHITE WTP | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124399 | TOWN OF FORT WHITE WTP | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124399 | TOWN OF FORT WHITE WTP | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124400 | WEE CARE PRESCHOOL & DAYCARE | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | SEPTEMBER | NW CORNER
2124400 | WEE CARE PRESCHOOL & DAYCARE | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124400 | WEE CARE PRESCHOOL & DAYCARE | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124400 | WEE CARE PRESCHOOL & DAYCARE | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124400 | WEE CARE PRESCHOOL & DAYCARE | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124400 | WEE CARE PRESCHOOL & DAYCARE | COLUMBIA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2028 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2124400 | WEE CARE PRESCHOOL & DAYCARE | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124400 | WEE CARE PRESCHOOL & DAYCARE | COLUMBIA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124404 | LAKE CITY CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | JULY | KINDERGARTEN TAP
2124404 | LAKE CITY CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124404 | LAKE CITY CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124404 | LAKE CITY CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124404 | LAKE CITY CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124404 | LAKE CITY CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2124404 | LAKE CITY CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124404 | LAKE CITY CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | SEPTEMBER | 120 SE LINDALE GLEN
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124409 | LANCE WATER | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | JULY | SINK ON EAST SIDE OF BLDG
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2028 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124412 | CASTLE HILL ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124413 | COLUMBIA COUNTY-ELLISVILLE | COLUMBIA | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | SEPTEMBER | OLD WWTP
2124413 | COLUMBIA COUNTY-ELLISVILLE | COLUMBIA | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124413 | COLUMBIA COUNTY-ELLISVILLE | COLUMBIA | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124413 | COLUMBIA COUNTY-ELLISVILLE | COLUMBIA | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124413 | COLUMBIA COUNTY-ELLISVILLE | COLUMBIA | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124413 | COLUMBIA COUNTY-ELLISVILLE | COLUMBIA | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2124413 | COLUMBIA COUNTY-ELLISVILLE | COLUMBIA | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124413 | COLUMBIA COUNTY-ELLISVILLE | COLUMBIA | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124413 | COLUMBIA COUNTY-ELLISVILLE | COLUMBIA | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124413 | COLUMBIA COUNTY-ELLISVILLE | COLUMBIA | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124413 | COLUMBIA COUNTY-ELLISVILLE | COLUMBIA | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124413 | COLUMBIA COUNTY-ELLISVILLE | COLUMBIA | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124416 | ORCHARD COMMUNITY CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | JULY | AUDITORIUM
2124416 | ORCHARD COMMUNITY CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124416 | ORCHARD COMMUNITY CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124416 | ORCHARD COMMUNITY CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124416 | ORCHARD COMMUNITY CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124416 | ORCHARD COMMUNITY CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2028 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2124416 | ORCHARD COMMUNITY CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124416 | ORCHARD COMMUNITY CHURCH | COLUMBIA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | 2ND MONTH, 3RD WEEK | PROCESSING BREAK ROOM SINK
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2028 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOC | DALAPON | ANNUAL | 2026 | JANUARY-MARCH | POINT OF ENTRY TO DISTRIBUTION
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124418 | CAL-MAINE FOODS, INC. | COLUMBIA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | JULY | LOT 75
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2124423 | DREAMIN N DRIFTIN RV RESORT | COLUMBIA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124424 | FIRST HORIZON CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | AUGUST | SPIGOT-NE SIDE OF SANCTUARY
2124424 | FIRST HORIZON CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2124424 | FIRST HORIZON CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124424 | FIRST HORIZON CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124424 | FIRST HORIZON CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124424 | FIRST HORIZON CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2026 | JANUARY THROUGH JUNE | 5 SITES PER LCR SAMPLING PLAN
2124424 | FIRST HORIZON CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED URANIUM | QUARTERLY | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124424 | FIRST HORIZON CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | QUARTERLY | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2124424 | FIRST HORIZON CHRISTIAN ACADEMY | COLUMBIA | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | QUARTERLY | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION