- CHAPTER 62-160

- QUALITY ASSURANCE

- 62-160.110 	Purpose, Scope and Applicability

- 62-160.120 	Definitions and Standards

- 62-160.210 	Approved Field Procedures

- 62-160.220 	Approval of Alternative and Modified Field Procedures

- 62-160.240 	Record Keeping and Reporting Requirements for Field Procedures

- 62-160.300 	Laboratory Certification

- 62-160.320 	Approved Laboratory Methods

- 62-160.330 	Approval of New and Alternative and Modified Laboratory Methods

- 62-160.340 	Record Keeping and Reporting Requirements for Laboratory Procedures

- 62-160.400 	Sample Preservation and Holding Times

- 62-160.405 	Electronic Signatures

- 62-160.600 	Research Field and Laboratory Procedures

- 62-160.650 	Field and Laboratory Audits

- 62-160.670 	Data Validation by the Department

- 62-160.700 	Tables

- 62-160.800 	Documents Incorporated by Reference

- 62-160.900 	Forms (Repealed)

- PART I

- QUALITY ASSURANCE

- 62-160.110 Purpose, Scope and Applicability.

(1) The purpose of this chapter is to assure that chemical, physical, biological, microbiological and toxicological data used by the Department are appropriate and reliable, and are collected and analyzed by scientifically sound procedures. To this end, this chapter defines the minimum field and laboratory quality assurance, methodological and reporting requirements of the Department.

(2) Except as provided in subsection (3) of this rule, this chapter shall apply to all programs, projects, studies or other activities that are required by the Department, and that involve the measurement, use or submission of environmental data or reports to the Department. This chapter shall apply to all entities that participate in the process of generating environmental data. This process includes, but is not limited to: field activities (sample collection, sample preservation, field measurements, and site evaluation); sample handling, storage and/or transport (except common carriers); laboratory activities (e.g., sample receipt, analysis, data review and data validation); additional data review, summaries or data presentation activities; and all activities that impact data quality such as providing sample containers, instrument calibration services, or reagents and standards (except commercial vendors).

(3) Programs, projects, studies or activities pertaining to air quality, meteorology, atmospheric radiation, atmospheric noise, electric and magnetic fields or air pollutant emissions, and having no requirements for monitoring contamination of soil, water, or tissue are excluded from the scope of this chapter. These excluded activities include those specified in Chapters 62-204, 62-210, 62-212, 62-213, 62-214, 62-252, 62-296 and 62-297 (Air Resources Management), F.A.C.

(4) The provisions of this chapter shall take precedence over quality assurance requirements in any other Department rule except as otherwise specifically provided for elsewhere in this chapter. However, nothing in this subsection shall be construed to prevent additional or more stringent requirements imposed by any specific contract, order, permit, or Title 62 rules.

(5) All local and state programs or other organizations with delegated responsibility for Department activities shall assure that the Quality Assurance requirements of this chapter are met for the specified activities.

(6) If specifically required by the United States Environmental Protection Agency (EPA) for activities conducted for or funded by the EPA, Quality Assurance Project Plans (QAPPs) shall be prepared in accordance with “EPA Requirements for Quality Assurance Project Plans Standard, EPA CIO 2105-S-02.1QA/R-5,” which is incorporated by reference in subsection 62-160.800(4), F.A.C. These QAPPs will be reviewed and approved by the appropriate EPA office or the Department, when delegated to the Department by EPA for specific activities.

(7) This chapter supports the DEP Quality Management Plan required by the EPA for any environmental programs funded in part or in whole by the EPA.

(8) All requirements specified in this chapter shall take effect on the date that this chapter is effective. Quality assurance requirements in Department contracts, orders or permits issued or entered into prior to the effective date of this chapter shall remain in effect until such contracts, orders or permits are modified or renewed.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, 2-27-94, Formerly 17-160.110, Amended 3-24-96, 4-9-02, 6-8-04, 12-3-08, 7-30-14, 4-16-18, --.

- 62-160.120 Definitions and Standards.

For purposes of this chapter:

(1) “Alternative method” is a field procedure or analytical laboratory method that is intended to be used in place of an existing Department-approved laboratory method or field procedure that is specified in a Department rule, permit, order, or contract, as further discussed in Rules 62-160.220 and 62-160.330, F.A.C.

(2) “Audit” is a systematic review of laboratory and field protocols to determine if proper procedures are being used and supporting documentation is present. An audit shall consist of an on-site assessment of sample collection, field sampling procedures, laboratory procedures and/or a review, assessment and/or validation of data associated with a Department program activity. If necessary, an audit shall include the submission of performance samples (for example, blind, split and/or performance check samples) to an organization for subsequent use in the evaluation of that organization’s technical performance associated with a specific Department project or program activity.

(3) “Commercial Vendor” is a retail or wholesale company whose business is to sell commodities to customers and who is not a part of the process that generates environmental data. These businesses do not include organizations that purchase commodities with the intent of providing the commodities as a service to clients.

(4) “Common Carrier” is a business or agency that is available to the general public for the transportation of goods over a definite route and according to a regular schedule.

(5) “Data quality objectives” are a set of qualitative and quantitative statements derived from a systematic planning process that clarify the purpose of the study, define the most appropriate type of information to collect, determine the most appropriate conditions from which to collect that information, and specify tolerable levels of potential decision errors.

(6) “Data validation” is an evaluation of the technical usability of the verified data with respect to the planned objectives or intention of a project.

(7) “Data verification” is a consistent, systematic process that determines whether the data have been collected in accordance with project specifications with respect to compliance, correctness, consistency and completeness as compared to a method standard or contract specification.

(8) “Department” is the Florida Department of Environmental Protection.

(9) “Department-approved method” is a field procedure or laboratory analytical method specified as acceptable for use in this chapter and in any other Department contract, order, permit or Title 62 rules.

(10) “Department of Health (DOH) Environmental Laboratory Certification Program (ELCP)” is the state of Florida’s environmental laboratory certification program, authorized by Section 381.00591, F.S., and recognized by the National Environmental Laboratory Accreditation Program (NELAP) Acceditation Council as an authority with responsibility and accountability for granting accreditation for specified fields of laboratory testing through Chapter 64E-1, F.A.C.

(11) “Electronic signature” means an electronic sound, symbol, or process attached to or logically associated with a record and executed or adopted by a person with the intent to sign the record.

(12) “Holding time” is the maximum storage time allowed between sample collection and sample preparation and/or analysis as specified by regulatory requirements or by the field sample collection protocol or laboratory method.

(13) “Limited-use method” is an alternative or modified field or laboratory procedure that is approved by the Department for the collection or testing of environmental samples by a single field sampling organization or analytical laboratory for purposes specified in the scope of the approval (e.g., for specified analytes, facility or site locations or types, or sample matrices, such as effluent, groundwater, drinking water, fresh or marine surface waters, soils, sediments, or chemical wastes). A limited-use method that is validated and approved by the Department for a field sampling organization or analytical laboratory may not be used by another field sampling organization or analytical laboratory. The criteria for the validation and approval of a limited-use method are further outlined in subparts FA 2100 and FA 2200 of DEP SOP FA 1000, which is incorporated by reference in subparagraph 62-160.800(1)(a)1., F.A.C., and outlined in DEP-QA-001/01, which is incorporated by reference in subsection 62-160.800(5), F.A.C. Requirements for limited-use methods are further discussed in Rules 62-160.220 and 62-160.330, F.A.C., and must be met for Department approval.

(14) “Matrix” is the predominant material in which an analyte of interest is contained. For example, soil, groundwater and drinking water are three environmental matrices.

(15) “Method-defined analyte” is defined by the U.S. Environmental Protection Agency as an analyte whose result is totally dependent on how the measurement is made. Any changes or modifications in the preparation or determinative techniques of these methods have the potential of changing the result, and are not approved by the Department, as indicated in paragraph 62-160.330(2)(a), F.A.C. Examples are: Carbonaceous Biological Oxygen Demand, Oil and Grease, and Toxicity Characteristic Leaching Procedure (TCLP).

(16) “Method detection limit (MDL)” is an estimate of the minimum amount of a substance that an analytical process can reliably detect, the minimum measured concentration of a substance that can be reported with 99% confidence that the measured concentration is distinguishable from method blank results, or the minimum result that can be reliably discriminated from a blank with a predetermined confidence level (Limit of Detection [LOD] as defined in the 2016 TNI Standards, which are incorporated by reference in paragraph 62-160.800(3)(b), F.A.C.). The Department accepts any of the preceding definitions of the MDL. An MDL is analyte-specific and matrix-specific and is laboratory-dependent. The MDL for an analyte is determined from the preparation and analysis of a sample in a given matrix containing the analyte. MDLs shall be determined for each matrix/analytical technology/analyte combination reported by the laboratory, except for those tests where determination of the MDL is not appropriate for the analytical technique, such as biochemical oxygen demand, chlorophyll or microbiological tests. When required according to Department rules, MDLs shall be calculated following the procedure specified in those rules. If not specified in Department rules, MDLs may be determined and verified by any technically justifiable and scientifically sound method appropriate for the test. For the purposes of data usability evaluation, the DEP-defined MDL is equivalent to the Limit of Detection (LOD) as defined in the 2016 TNI Standards, which are incorporated by reference in paragraph 62-160.800(3)(b), F.A.C.

(17) “Method modification” is any change that alters the scope, applicability, specifications, steps, performance criteria, or any other requirements described in a published field procedure or laboratory analytical method, as further specified in subsections 62-160.220(3) and 62-160.330(3), F.A.C. The resultant method is defined by the Department as a “modified method.”

(18) “Field of Accreditation Matrix” is defined in the Glossary of the 2016 2003 NELAC Standards, which is incorporated by reference in paragraph 62-160.800(3)(a), F.A.C., and shall be used to determine matrices under which a laboratory must be certified by the DOH ELCP for reporting data to be used by the Department:

(a) Drinking Water: any aqueous sample that has been collected from a water source designated by the Department as a potable or potential potable water source.

(b) Non-potable Water: any aqueous sample excluded from the definition of drinking water matrix including surface water, groundwater, effluents, water treatment chemicals, or samples derived from synthetic precipitation leaching procedures (SPLP), toxicity characteristic leaching procedures (TCLP) or other extracts. To be considered as non-potable water, water treatment chemicals must be in an aqueous solution. If the laboratory receives the original environmental sample as a solid or chemical material for SPLP or TCLP extraction, the laboratory must be certified for the SPLP or TCLP extraction in the Solid and Chemical Material matrix. For the analytical tests to be performed on the SPLP or TCLP extract, the laboratory must be certified in the non-potable water matrix for at least one method for each analytical technology/analyte combination for each reported analyte.

(c) Solid and Chemical Materials: includes soils, sediments, sludges, products and by-products of an industrial process that results in a matrix not previously defined. For purposes of accreditation, biosolids are considered a solid, unless the sample matrix comprises liquid biosolids as defined in Chapter 62-640, F.A.C. All other sample matrices not previously defined and comprising ≤ 15% settleable solids are liquids, and may require laboratory certification for analysis using techniques for non-potable water or liquid chemical materials.

(d) Biological Tissue: any sample of a biological origin, such as fish, shellfish, macroinvertebrates, algae, or plant material.

(19) “National Environmental Laboratory Accreditation Program (NELAP)” is a program that implements standards that have been found to be acceptable to the NELAP Accreditation Council.

(20) “NELAP accreditation” is an accreditation status applied to a laboratory’s field(s) of testing upon satisfying all requirements for certification as provided in Chapter 64E-1, F.A.C.

(21) “Percent relative standard deviation (% RSD)” is a calculated measure of precision from results of replicate sample analyses. It is calculated as specified in DEP-QA-001/01 (Effective Date) (January 2017), which is incorporated by reference in Rule 62-160.800, F.A.C.

(22) “Permit” is any permit or license issued by the Department pursuant to its lawful authority, or by another government agency under delegation of authority from the Department.

(23) “Practical quantitation limit (PQL)” is the lowest level of measurement that can be reliably achieved during routine laboratory operating conditions within specified limits of precision and accuracy. The value of the PQL shall be greater that the MDL value except when analytical quality control problems necessitate raising the MDL value equal to or above the PQL value for a specific sample, or when determination of the MDL is not appropriate for an analytical technique, as indicated below. A laboratory may determine and verify the PQL by any technically justifiable and d scientifically sound method appropriate for the test, unless otherwise required by Department rule, contract, order, or permit. For Departmental use, if a laboratory fails to report a PQL, the PQL shall be calculated as four times the MDL, except for those tests where determination of the MDL is not appropriate for the analytical technique (e.g., biochemical oxygen demand, chlorophyll or microbiological tests). In such cases, the Department shall use all available information about the technique to determine the PQL. For the purposes of data usability evaluation, the DEP-defined PQL is equivalent to the Limit of Quantitation (LOQ) as defined in the 2016 TNI Standards, which are incorporated by reference in paragraph 62-160.800(3)(b), F.A.C.

(24) “Quality assurance” is an integrated system of management activities involving planning, implementation, documentation, assessment, reporting and quality improvement to ensure that a process, product or service meets defined standards of quality.

(25) “Quality assurance project plan (QAPP)” is a document required by the EPA for certain activities conducted for or funded by the EPA. The plan outlines the quality assurance criteria, as well as all protocols and quality control measures needed to meet the project data quality objectives. These plans are prepared in accordance with “EPA Requirements for Quality Assurance Project Plans Standard, EPA CIO 2105-S-02.1QA/R-5,” (April 2024EPA/240/B-01/003 March 2001), which is incorporated by reference in subsection 62-160.800(4), F.A.C. These QAPPs are reviewed and approved by the appropriate EPA office or the Department, when delegated to the Department by EPA for specific activities.

(26) “Quality control” is the overall system of technical activities that measures the attributes and performance of a process, product or service against defined standards to verify that they meet the established data quality objectives.

(27) “Relative percent difference (RPD)” is a calculated measure used to compare results from duplicate sample analyses. It is calculated as specified in DEP-QA-001/01 (Effective Date) (January 2017), which is incorporated by reference in Rule 62-160.800, F.A.C.

(28) “Research method” is a field procedure or analytical laboratory method that involves the evaluation or use of a new, innovative technology, or as otherwise defined in Rule 62-160.600, F.A.C., and approved by the Department for research purposes.

(29) “Secondary Use Data” means data that are being considered for use by the Department for purposes other than that for which the data were originally generated.

(30) “Spike” is an environmental or analyte-free quality control sample that has been fortified with a known chemical of interest, at a known concentration. The purpose of a spike is to determine the method recovery efficiency for the chemical of interest, at the fortified concentration level, in the particular environmental sample of interest or in the laboratory.

(31) “Statewide-use method” is a modified or alternative field or laboratory procedure or method that is submitted to and approved by the Department for the collection or testing of environmental samples by any field sampling organization or laboratory, as applicable, according to Rules 62-160.220 and 62-160.330, F.A.C. The criteria for the validation and approval of a statewide-use method are further outlined in subparts FA 2100 and FA 2200 of DEP SOP FA 1000, which is incorporated by reference in subparagraph 62-160.800(1)(a)1., F.A.C., and outlined in DEP-QA-001/01, which is incorporated by reference in subsection 62-160.800(5), F.A.C.

(32) “Surrogate spikes” are samples fortified at known concentration(s) with one or more compounds having similar chemical characteristics to the compounds of interest, but which are not normally found in environmental samples.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, 2-27-94, Formerly 17-160.120, Amended 3-24-96, 4-9-02, 6-8-04, 12-3-08, 7-30-14, 4-16-18, --.

PART II

FIELD PROCEDURES

62-160.210 Approved Field Procedures.

(1) All persons that conduct or support field activities and field measurements shall follow the applicable procedures and requirements described the DEP SOP collections titled Standard Operating Procedures for Field Activities, DEP-SOP-001/01 and Standard Operating Procedures for Selected Bioassessment Activities, DEP-SOP-003/11, which are incorporated by reference in paragraphs 62-160.800(1)(a) and 62-160.800(1)(c), F.A.C., respectively.

(2) Additionally, all persons performing sampling for the Stream Condition Index (SCI), the Lake Vegetation Index or a Rapid Bioassessment (BioRecon) determination shall follow the procedures and satisfy the data quality objectives discussed in the following documents, which are incorporated by reference in paragraphs 62-160.800(2)(e) and 62-160.800(2)(f), F.A.C.

(a) Department of Environmental Protection, Sampling and Use of the Stream Condition Index (SCI) for Assessing Flowing Waters: A Primer (DEP-SAS-001/11); and,

(b) Department of Environmental Protection, Sampling and Use of the Lake Vegetation Index (LVI) for Assessing Lake Plant Communities in Florida: A Primer (DEP-SAS-002/11).

(3) All persons that conduct or support activities for the determination of flow (discharge) in surface waters, including for purposes of computing water quantity, shall follow the applicable procedures and requirements in DEP SOP FT 1800, which is incorporated by reference in subparagraph 62-160.800(1)(a)27., F.A.C. The requirements of this subsection shall apply to those waters meeting the definition of “surface waters” in subsection 62.302.200 62-302.200(38), F.A.C., and the definition of “waters” in Section 403.031(13), F.S.

(4) Any person that wishes to apply for alternative or modified field procedures in place of the approved procedures other than those specified in DEP-SOP-001/01 shall follow the requirements provided in Rule 62-160.220, F.A.C.

(5) For activities not included in the DEP SOP collections, methods specified in Department rules, permits, contracts, or orders shall be used. If methods are not specified in Department rules, permits, contracts, or orders, and activities are not included in the DEP SOP collections, any method that satisfies data quality objectives established for the Department project may be used upon approval by the DEP project manager.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, 2-27-94, Formerly 17-160.210, Amended 3-24-96, 10-15-96, 4-9-02, 6-8-04, 12-3-08, 7-30-14, 4-16-18, --.

- 62-160.220 Approval of Alternative and Modified Field Procedures.

(1) Any person or entity may apply for use of a field procedure in place of the approved procedures specified in DEP-SOP-001/01 that is incorporated by reference in paragraph 62-160.800(1)(a), F.A.C., or in place of field procedures that are specified or required in other rules of the Department, or use of a field procedure in place of a laboratory procedure. Any field procedure proposed for use in place of those specified in DEP-SOP-001/01, or specified or required in other rules of the Department or in place of a laboratory procedure must be approved by the Department prior to use, according to requirements as further described in this rule (Rule 62-160.220, F.A.C.). Field procedures previously approved for use by a contract (including purchase requisitions), order, or permit issued by the Department shall remain approved while such documents remain in effect. In such cases, the documentation that approved the use of the procedure must be retained for at least five years after expiration of the contract, order or permit. Modified or alternative field procedures approved by the Department, but not specified in a contract, purchase requisition, order, or permit, shall remain approved indefinitely, unless revoked, as provided in subsection 62-160.220(9), F.A.C.

(2) Field procedures used in place of those specified in DEP-SOP-001/01, or in place of field procedures specified or required by Department rules, contracts (including purchase requisitions), orders, or permits or used in place of a laboratory procedure are designated by the Department as alternative field procedures. Alternative field procedures cannot be approved for any of the following:

(a) The procedures in DEP SOP FT 3000, including all parts and subparts therein, which are contained in DEP-SOP-001/01, which is incorporated by reference in paragraph 62-160.800(1)(a), F.A.C.;

(b) The procedures in DEP SOPs BRN 1000, LVI 1000 and SCI 1000, including all parts and subparts therein, which are contained in DEP-SOP-003/11, which is incorporated by reference in paragraph 62-160.800(1)(c), F.A.C.; and,

(c) The procedures for sampling and the description of data quality objectives and criteria for data usability assessments for the Stream Condition Index (SCI) or a BioRecon determination, as discussed in DEP-SAS-001/11, which is incorporated by reference in paragraph 62-160.800(2)(e), F.A.C., and the Lake Vegetation Index (LVI), as discussed in DEP-SAS-002/11, which is incorporated by reference in paragraph 62-160.800(2)(f), F.A.C.

(3) The Department defines a modification to a field procedure as any change that alters the scope, applicability, specifications, steps, performance criteria, or any other requirements described in the published procedure, and includes those changes described in subsection 62-160.220(4), F.A.C., below. A published procedure is a DEP SOP, a field procedure specified in another Department rule, and other procedures in the scientific or technical literature. Modifications to field procedures are approved by the Department according to the following:

(a) A modification to a procedure that is specifically allowed by instructions in the published procedure is pre-approved by the Department. Any constraints or limits to modifications specified in the original procedure, and any required performance criteria for allowed modifications specified in the procedure shall apply to all pre-approved modifications. The person or organization performing the modified field procedure shall retain all data and documentation demonstrating that the modification produces results that meet data quality objectives established by the Department for a specific use of data. These records shall be retained for at least five years after the last use of the modification for the specific sample(s) affected.

(b) Except for those modifications described in paragraph 62-160.220(3)(a), F.A.C., above, the Department shall determine whether any modifications to a DEP SOP or to a field procedure specified in any other Department rule, contract, order or permit or used in place of a laboratory procedure constitute an alternative field procedure, as described in subsections 62-160.220(2), and 62-160.220(4), F.A.C. The Department shall evaluate and approve or disapprove the request according to subsection 62-160.220(4), F.A.C.

(c) The Department shall evaluate and approve or disapprove any modifications to published procedures not pre-approved in paragraph 62-160.220(3)(a), F.A.C., according to the criteria in subsection 62-160.220(4), F.A.C.

(d) The procedures in the DEP SOPs and supporting documents listed in paragraphs 62-160.220(2)(a)-(c), F.A.C., may not be modified, except where allowed according to paragraphs 62-160.220(3)(a) and 62-160.330(3)(a), F.A.C.

(4) A modified or alternative field procedure, as described in subsection 62-160.220(2) or 62-160.220(3), F.A.C., shall be evaluated and approved or disapproved by the Department according to the requirements in subparts FA 2100 and FA 2200 of DEP SOP FA 1000, which is incorporated by reference in subparagraph 62-160.800(1)(a)1., F.A.C. As further described in the DEP SOP subparts cited above, when evaluating or approving the proposed alternative field procedure, the Department shall consider the following factors and requirements for review of the proposed procedure:

(a) Whether procedural steps, use of equipment, use of reagents, use of technology, or other elements of the field procedure that are proposed are different than those procedures required in the DEP SOPs or different than other procedures required by rules of the Department;

(b) Whether the use of the alternative or modified field procedure generates data that meet data quality objectives established by the Department for the data;

(c) Whether the alternative or modified field procedure is demonstrated to be equivalent to or exceeds the performance of the unmodified or replaced DEP SOP or other field procedure specified by a Department rule, contract, order or permit;

(d) Whether the Department cannot grant approval of the alternative or modified field procedure, because use of the alternative procedure will produce data that are unusable by the Department for a specified purpose, or, if the data will not be comparable to, or are otherwise incompatible for use with, existing data generated by other approved field procedures, or, if the data would be invalid according to any applicable requirements described in Rule 62-160.670, F.A.C., below; and,

(e) Whether the proposed procedures were developed by consensus or standardization organizations, such as ASTM International, the United States Environmental Protection Agency, or the United States Geological Survey, or developed by manufacturers or vendors from collaborative studies.

(5) Validation documentation shall be submitted to the Department for all proposed alternative field procedures and for all proposed modified field procedures not pre-approved by the Department. All submittals of information for alternative field procedures or modifications to published procedures shall at a minimum be evaluted according to the requirements in subsection 62-160.220(4), F.A.C., above.

(a) The Department’s approval of the alternative field procedure or modified published procedure shall be limited to the specific scope and applications that have been identified and validated by the submitted documentation.

(b) The Department shall require documentation as necessary to demonstrate that the modified or alternative procedure produces results that are equivalent to or superior to the originally published procedure when applied to affected samples collected or tested for a specific use of the data generated by the procedure, except where the Department has determined that such performance comparison with the original procedure is not needed for the Department’s data quality objectives.

(c) Complete submittals of information supporting requests for alternative field procedures or modifications to published procedures shall be approved if the Department determines that the circumstances for approving the alternative field procedure or modifications to a published procedure are justified, based on the technical merits of the procedure, the adequacy of demonstration or validation data and other supporting information, and the applicability of the alternative field procedure or modified procedure to specific environmental conditions or field sampling designs. In addition, any alternative field procedure or modified procedure must be demonstrated to meet or exceed the data quality objectives established for a specific field application or data use. This demonstration shall take into account specific conditions, such as type of field site, environmental conditions, facility location, specified permit(s), sample collection or field-testing matrix, type of waste stream, and the specific uses of data generated by use of the procedure.

(6) An alternative or modified field procedure shall be evaluated based on its intended use, and designated as either limited-use or statewide-use, if approved:

(a) For limited-use methods, the Department shall limit the approval of the modified or alternative field procedure solely for use by the person or organization submitting the request based on the information and data provided to the Department in support of the request for approval. If the submitter is different than the person or organization that performed the validation, then the approval for limited use shall only apply to the person or organization that performed the validation.

(b) For statewide-use methods, the Department shall approve the modified or alternative field procedure for use by all persons and organizations based on the information and data provided to the Department in support of the request for approval. The Department shall require the design of a collaborative study conducted by two or more independent persons or organizations to investigate the efficacy of the proposed statewide-use alternative or modified field procedure for specified site or environmental conditions, sample types, or other specifications applicable to the scope of approval requested. An evaluation of the proposed procedure on multiple sites representing different environmental conditions shall also be required to demonstrate the applicability and efficacy of the procedure. The number of independent persons or organizations required to participate and the number of environmental test sites required for the study shall depend on the statistical robustness determined by the Department to be necessary for the study design, in collaboration with the requestor. Each application for statewide use will be considered on a case-by-case basis by the Department. Approval for statewide use does not guarantee applicability of the procedure for all potential uses.

(7) The approval or disapproval of any submitted alternative field procedure or modified published field procedure shall be noticed as follows:

(a) For limited-use methods, the Department shall issue an order of approval or disapproval of the alternative or modified field procedure to the person or organization who submitted the procedure. Any additional administrative or scientific information pertinent to the approval or disapproval of the procedure shall be included or incorporated by reference in the order. The order and the alternative or modified field procedure shall be posted on the Department’s website and provided to all persons enrolled to receive the Department’s Quality of Science electronic newsletter.

(b) For statewide-use methods, the Department shall issue an order of approval or disapproval of the alternative or modified field procedure to the person or organization who submitted the procedure. Any additional administrative or scientific information pertinent to the approval or disapproval of the procedure shall be included or incorporated by reference in the order. A notice of the order approving or disapproving the procedure shall be published in the Florida Administrative Register. For informational purposes only, the order and the alternative or modified field procedure shall be posted on the Department’s website and provided to all persons enrolled to receive the Department’s Quality of Science electronic newsletter.

(c) Any person substantially affected by the approval or disapproval of a limited-use alternative or modified field procedure may request an administrative hearing as provided in Chapter 120, F.S. Any person substantially affected by the approval or disapproval of a statewide-use alternative or modified field procedure may request an administrative hearing as provided in Chapter 120, F.S., within 21 days of publishing the notice in the Florida Administrative Register, or within 21 days of receipt of the written notice, whichever occurs first.

(8) Any alternative or modified field procedure approved for statewide use shall be incorporated into updates of the Department’s field sampling procedures (DEP-SOP-001/01). Alternative or modified field procedures approved for limited use shall not be incorporated into DEP-SOP-001/01.

(9) Approval of a field procedure shall be revoked by the Department if new technical, scientific or regulatory information justifies its revocation. The Department shall use the best scientific and technical information, methods and data in its possession in making the determination to revoke an approved procedure.

(a) For a field procedure that was approved for a limited use, the Department shall issue an order revoking approval of the field procedure to the person or organization who submitted the procedure. Any additional administrative or scientific information pertinent to the revocation of approval of the procedure shall be included or incorporated by reference in the order. The order of revocation shall be posted on the Department’s website and provided to all persons enrolled to receive the Department’s Quality of Science electronic newsletter. Any person substantially affected by the revocation of approval of a limited-use field procedure may request an administrative hearing as provided in Chapter 120, F.S.

(b) For a field procedure that was approved for statewide use, the Department shall issue an order revoking approval of the field procedure to the person or organization who submitted the procedure. Any additional administrative or scientific information pertinent to the revocation of approval of the procedure shall be included or incorporated by reference in the order. A notice of the order revoking approval of the procedure shall be published in the Florida Administrative Register. For informational purposes only, the order shall also be posted on the Department’s website and provided to all persons enrolled to receive the Department’s Quality of Science electronic newsletter. Any person substantially affected by the revocation of approval of a statewide-use field procedure may request an administrative hearing as provided in Chapter 120, F.S., within 21 days of publishing the notice in the Florida Administrative Register, or within 21 days of receipt of the written notice, whichever occurs first.

(10) Research field procedures shall be submitted for review and approval according to the requirements in Rule 62-160.600, F.A.C. If a method is initially developed for research purposes but will subsequently be used for compliance or other regulatory activities, the procedure(s) shall be submitted for review and approval according to applicable requirements in Rule 62-160.220, F.A.C.

(11) Any person that wishes to use a field testing procedure in place of a laboratory procedure shall follow the requirements provided in this rule, DEP SOP FA 2000, which is incorprated by reference in subparagraph 62-160.800(1)(a)1., F.A.C., and Alternative and Modified Analytical Laboratory Methods (DEP-QA-001/01), which is incorporated by reference in subsection 62-160.800(5), F.A.C.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, Formerly 17-160.220, Amended 3-24-96, 10-15-96, 4-9-02, 6-8-04, 12-3-08, 7-30-14, 4-16-18, --.

- 62-160.240 Record Keeping and Reporting Requirements for Field Procedures.

(1) The record keeping requirements for entities that conduct or support field activities and field measurements are specified in the DEP SOPs contained in the following collections: DEP-SOP-001/01, which is incorporated by reference in paragraph 62-160.800(1)(a), F.A.C., including all parts and subparts of DEP SOP FD 1000, which is incorporated by reference in subparagraph 62-160.800(1)(a)3., and DEP-SOP-003/11, which is incorporated by reference in paragraph 62-160.800(1)(c), F.A.C., including all DEP SOPs, parts and subparts therein applicable to bioassessment field activities. The specified records shall contain sufficient information to allow independent reconstruction of all activities related to generating data that are submitted to the Department. These records shall be kept by the generator of the records for a minimum of five years after the date of generation or completion of the records unless otherwise specified in a Department contract, order, permit or Title 62 rules.

(2) Electronic records shall be acceptable as documentation and shall be considered as equivalent in status and function to paper records or documents, unless otherwise specified in a Department contract, order, permit or Title 62 rules.

(a) All documentation requirements in this chapter shall apply equally to paper and electronic records.

(b) Electronic copies intended to replace original records shall contain the same information as the original records, regardless of whether the electronic copies are designated as master or duplicate records.

(3) When requested by the Department, the following field sampling information shall be provided to the Department for each site/facility and sampling location, as applicable:

(a) Project information including:

1. Project and/or program identification or name; and,

2. Site and/or facility name, address and phone number.

(b) Site and/or facility locational information to include (or as specified by the Department for indicated projects):

1. Latitude measure in degrees-minutes-seconds (seconds may contain up to four decimal places),

2. Longitude measure in degrees-minutes-seconds (seconds may contain up to four decimal places),

3. Datum – the horizontal reference for measuring locations on the Earth’s surface, and

4. Spheroid – the ellipsoid used as a model for the surface of the Earth; and,

4.5. Geolocational collection information:

a. Collection method – the method or mechanism used to derive the measurements,

b. Collector name – name of individual who collected the locational data,

c. Collector affiliation – collector’s agency or entity affiliation,

d. Collection date – date locational data were collected,

e. Relationship of point to feature – the type of the feature for which the measurement is being made,

e.f. Coordinate accuracy level – the measured, estimated or deduced degree of correctness of the measurement; and,

f.g. Verification information including name of the person verifying the measurement, the date and the time when verification was performed.

(c) Information about the collected samples:

1. Name(s) and affiliation of individual(s) collecting samples,

2. Sampling method(s) used,

3. Sample description such as sample type, sample matrix, and sample treatments (preservation, filtration, etc.),

4. Client or field identification number for each sample,

5. Date and time of sample collection, including date and time sample collection ended (if collecting a composite sample),

6. Sample collection depth,

7. Unambiguous identification of all field-generated quality control samples such as field or equipment blanks, replicate samples or split samples; and,

8. Any additional information from the field documentation records specified in the DEP SOPs contained in the collections DEP-SOP-001/01 and DEP-SOP-003/11, which are incorporated by reference in paragraphs 62-160.800(1)(a) and 62-160.800(1)(c), F.A.C., respectively.

(d) Information about field measurement activities:

1. Method(s) used to make field measurement,

2. Name of field parameter,

3. Result, result units and associated data qualifier code(s); and,

4. Any additional information from the field documentation records specified in the DEP SOPs contained in the collection DEP-SOP-001/01, which is incorporated by reference in paragraph 62-160.800(1)(a), F.A.C.

(e) Information about site conditions:

1. Weather,

2. Flow (including units); and,

3. Any additional information from the field documentation records specified in the DEP SOPs contained in the collection DEP-SOP-001/001/01, which is incorporated by reference in paragraph 62-160.800(1)(a), F.A.C.

(f) Any additional information specified by the Department in contracts, orders, permits, title 62 rules or Department-approved planning documents such as quality assurance plans, sampling and analysis plans, and monitoring plans.

(g) All documentation for new or alternative field procedures as required in Rule 62-160.220, F.A.C.

(4)(3) Field sampling data issued to a client(s) for Department-related work or directly to the Department shall be provided to the Department in an electronic format consistent with requirements for importing into Department databases, as specified by the Department in applicable contracts, orders, permits or Title 62 rules. In addition, certain Department programs specify the submission of paper reports. Field sampling information may be incorporated into laboratory reports specified in Rule 62-160.340, F.A.C. Specific electronic and paper report format requirements shall be as specified by the Department in the applicable contract, order, permit or Title 62 rules.

(5)(4) When data are provided to the Department in a report that is a summary, a re-published format, or in a reduced form (e.g., report, table, report form), the report shall not change the original data, or delete any data qualifiers reported by the originating field organization unless specified by Department contract, order, permit, or Title 62 rules. Copies (electronic or paper) of the original field report(s) shall be submitted with all such reports unless directed to do otherwise by the Department.

(6)(5) When data qualifiers are added through a validation or review process that is independent of the field reporting process, the reason for the addition, the date of the addition, and the person adding the qualifier(s) shall be included. These qualifiers shall be included in any documents that are summaries or re-published formats, as described in subsection (5)(4) above.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 4-9-02, Amended 6-8-04, 12-3-08, 7-30-14, --.

- PART III

- LABORATORY CERTIFICATION AND PROCEDURES

- 62-160.300 Laboratory Certification.

(1) Except as provided in subsections 62-160.300(2) through (8), F.A.C., all laboratories generating environmental data for submission to the Department or for use in Department-regulated or Department-sponsored activities shall hold certification from the Florida Department of Health, Environmental Laboratory Certification Program (DOH ELCP). Such certification shall be for all matrix/test method/analyte(s) combinations being measured. The matrix of a sample is defined to be the condition under which the laboratory originally receives the sample, and shall be classified according to the Field of Accreditation Matrix groups defined by subsection 62-160.120(18), F.A.C.

(a) Certification shall be based on the matrix of the sample. The matrix of a sample is defined to be the condition under which the laboratory originally receives the sample, and shall be classified according to the Field of Accreditation Matrix groups defined by subsection 62-160.120(18), F.A.C.

(b) For laboratories reporting data for drinking water compliance, certification shall be for all matrix/test matrix/text method/analyte(s) combinations being reported.

(c) For the non-potable water matrix, laboratories shall apply for and receive DOH ELCP certification in at least one method for each analytical technology/analyte combination being measured. The Department will accept any of the combinations certified by the DOH ELCP, according to Rule 64E-1.102, F.A.C., dated 9-26-181-24-05.

1. When a Department contract, order, permit or title 62 rules requires a specific method to be reported, laboratories shall report only that method. Laboratories may report additional analytes not published in the reported method, if the applicable requirements in Rule 62-160.330, F.A.C. are met, and the laboratory is certified according to paragraph 62-160.300(1)(c), F.A.C.

2. Except as noted in subparagraph 62-160.300(1)(c)1., F.A.C., above, laboratories may report results by any method that is equivalent in technology to the method for which they hold certification, provided they are certified according to paragraph 62-160.300(1)(c), F.A.C., for the analyte that is reported. When laboratories report a method for which they do not hold certification, the laboratory shall document that all requirements of the reported method are met.

3. If a laboratory is required to provide data for an analyte for which, according to subsection 62-160.320(1), F.A.C., no method is published for the non-potable water matrix, or the published method for the non-potable water matrix does not meet required data quality objectives established by the Department for a project, but a method is published for the drinking water matrix, and the Department has recognized that the published drinking water method meets the data quality objectives for the Department project for which the method will be used according to subsection 62-160.320(1), F.A.C., the laboratory is not required to obtain certification for the analytical technology/analyte combination in the non-potable water matrix. However, the laboratory must be certified in the drinking water matrix for the reported test method/analyte combination.

(d) For all other matrices, laboratories shall apply for and receive certification for all matrix/test method/analyte combinations that are reported to the Department.

(2) To the extent possible, a laboratory must be certified as specified in subsection 62-160.300(1), F.A.C., before reporting results for a given matrix/analytical technology or test method/analyte combination. However, if a laboratory makes a written request to the Department to use a method that is not certified, the Department will allow a laboratory to begin using a method before the certification process is complete if the following requirements are met.

(a) The laboratory must have met all the requirements for certification except for the on-site visit by DOH ELCP inspectors. The laboratory must be prepared to provide to the Department copies of the relevant application, applicable performance test sample results and the initial demonstration of capability.

(b) The precision, accuracy and method detection limits generated by the laboratory must meet or exceed the project specific data quality objectives.

(c) The laboratory shall notify the Department of the status of its certification application within 5 business days of receiving notification by DOH ELCP of the certification granted for the specific matrix/analytical technology or test method/analyte combination requested.

(3) Laboratory certification by the DOH ELCP is not required for the following test procedures identified in subsections 62-550.550(1) and (2), F.A.C., when conducted by an operator licensed under Chapter 62-602, F.A.C., or by persons under the direct supervision of a licensed operator, for the purposes of drinking water compliance:

(a) Alkalinity;

(b) Bromide;

(c) Calcium;

(d) Chlorite (only at entrances to distribution systems);

(e) Specific conductance;

(f) Disinfectant residual (includes residual chlorine);

(g) Orthophosphate;

(h) pH;

(i) Silica;

(j) Specific ultraviolet absorbance;

(k) Temperature;

(l) Total organic carbon;

(m) Turbidity, or

(n) Any analytes in addition to those listed in paragraphs 62-160.300(3)(a) through 62-160.300(3)(m), F.A.C., above that are exempted from laboratory certification according to subsections 62-550.550(1) and 62-550.550(2), F.A.C., for the specific compliance applications described therein.

(o) The analytes exempted in paragraphs 62-160.300(3)(a) through 62-160.300(3)(n), F.A.C., above shall be analyzed according to all applicable requirements for analyses according to subsections 62-550.550(1) and 62-550.550(2), F.A.C., for the specific compliance applications described therein.

(p) In cases where the Department has a specific field testing method standard operating procedure (e.g., FT 1100 for pH, in DEP-SOP-001/01, which is incorporated by reference in subparagraph 62-160.800(1)(a)19., F.A.C.), the laboratory or authorized person, as described in Rule 62-550.550, F.A.C., shall follow the Department’s procedures. For all other analytes, a laboratory or authorized person, as described in Rule 62-550.550, F.A.C., shall only use test methods that are acceptable for drinking water compliance, as specified in Rule 62-550.550, F.A.C. and shall follow all requirements for calibration verification according to DEP SOP FT 1000 in DEP-SOP-001/01, which is incorporated by reference in subparagraph 62-160.800(1)(a)18., F.A.C.

(4) Certification by the DOH ELCP is not required when conducting the test procedures for the analytes listed in paragraphs 62-160.300(4)(a) through (h), F.A.C., because the Department’s standard operating procedures (SOPs) are more stringent than the corresponding laboratory test methods certified by DOH ELCP. When conducting these test procedures, laboratories shall follow the applicable SOPs in DEP-SOP-001/01 (Effective Date) (January 2017), which are incorporated by reference in paragraph 62-160.800(1)(a), F.A.C.

(a) pH;

(b) Dissolved oxygen;

(c) Specific conductance;

(d) Temperature;

(e) Total residual chlorine (including free available chlorine);

(f) Salinity;

(g) Turbidity; and,

(h) Any other test with a specified holding time of fifteen minutes or less when performed as a field procedure.

(5) Certification is not required for the following tests or analyses:

(a) Any analyses related solely to internal process control, unless the test data are reported to the Department to meet compliance monitoring requirements for a Department-issued permit;

(b) Laboratory tests conducted for research projects, as described in Rule 62-160.600, F.A.C., or

(c) Methods used by statutorily created volunteer monitoring organizations, when the Department has reviewed and concluded that the organization’s Standard Operating Procedures provide sufficient quality assurance requirements for Department purposes.

(6) Certification by the DOH ELCP is not required for methods and procedures required to perform the Specific Oxygen Uptake Rate (SOUR) test, when performed by an operator certified in accordance with Chapter 62-602, F.A.C., or persons under the direction of a certified operator, as authorized by Chapter 62-640, F.A.C.

(7) Certification is not required for any test in which the reported result is a calculation from the results of other tests for which the laboratory holds certification by the DOH ELCP.

(8) Certification is not required for those matrix/method/analyte combinations (such as taxonomic identification) that are not included in the DOH ELCP scope of accreditation.

(9) If certification is not required (see subsections 62-160.300(3) through (8), F.A.C.), laboratory organizations shall follow the relevant Department-approved methods as provided in Rule 62-160.320, F.A.C., and shall meet all other requirements for laboratories as provided in this chapter.

Rulemaking Authority 403.061, 403.0623, 403.0625, 403.863 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.803, 403.853 FS. History–New 1-1-91, Amended 2-4-93, 2-27-94, Formerly 17-160.300, Amended 3-24-96, 4-9-02, 6-8-04, 12-3-08, 7-30-14, 4-16-18, --.

- 62-160.320 Approved Laboratory Methods.

(1) Approved laboratory methods are specified in the Department’s rules, contracts, orders or permits. When methods are specified by a Department rule, contract, order or permit, only those methods shall be used. For informational purposes, the Department maintains lists of methods, method compendiums and publication sources that have been recognized the Department. When laboratory methods are not specified in Department rules, contracts, orders or permits, applicable methods from the list of recognized methods are approved, where the methods are determined by the Department to satisfy data quality objectives established for the Department project. However, these lists shall not supersede or limit the use of other methods that are required by contract, order, permit or Title 62 rules. Links for the lists of methods are posted on the Department’s webpage at https://floridadep.gov/dear/quality-assurance/content/analytical-method-sourcehttp://www.dep.state.fl.us/water/sas/qa/am-sources.htm. Additionally, the Environmental Protection Agency published updated lists of analytical methods in Guidelines Establishing Test Procedures for the Analysis of Pollutants Under the Clean Water Act; Analysis and Sampling Procedures, Final Rule, Federal Register, Vol. 89, No. 74, Tuesday, April 16, 2024 Vol. 77, No. 97, Friday, May 18, 2012, Rules and Regulations, pp. 27288-27327 29758–29846, which is incorporated by reference in subsection 62-160.800(6), F.A.C.

(2) Except as specified in subsections (3) and (4) below, laboratories performing taxonomic identification for periphyton or benthic macroinvertebrates shall use the procedures in the following DEP SOPs, which are contained in DEP-SOP-002/01, which is incorporated by reference in paragraph 62-160.800(1)(b), F.A.C.:

(a) For taxonomic identification of periphyton, LQ 1000 shall be used, including part LQ 7000, and subparts LQ 7100 through LQ 7140;

(b) For taxonomic identification of benthic macroinvertebrates, LQ 1000 shall be used, including part LQ 7000, and subparts LQ 7400 through LQ 7420.

(3) Laboratories performing taxonomic identifications or calculations for the Stream Condition Index (SCI), the Lake Vegetation Index or making a Biorecon determination shall use the procedures in the following DEP SOPs, which are contained in DEP-SOP-003/11, which is incorporated by reference in paragraph 62-160.800(1)(c), F.A.C.:

(a) For the Stream Condition Index, SCI 1000 shall be used (including part SCI 2000 and subparts SCI 2100 through SCI 2230);

(b) For the Lake Vegetation Index, LVI 1000 shall be used (including part LVI 2000 and subparts LVI 2100 through LVI 2210);

(c) For the BioRecon determination, BRN 1000 shall be used (including part BRN 2000 and subparts BRN 2100 through BRN 2110).

(4) Additionally, laboratories or persons performing taxonomic identifications, calculations or data usability assessments for the Stream Condition Index (SCI), the Lake Vegetation Index or a BioRecon determination shall follow the procedures and satisfy the data quality objectives discussed in DEP-SAS-001/11 and DEP-SAS-002/11, which are incorporated by reference in paragraphs 62-160.800(2)(e) and 62-160.800(2)(f), F.A.C., respectively.

(5) Laboratories calculating the Lake Condition Index (LCI) shall use the procedures in DEP SOP LT 7000 (including parts LT 7010, LT 7020, LT 7030, LT 7040, LT 7300 and LT 7900), which are contained in DEP-SOP-002/01, and incorporated by reference in subparagraph 62-160.800(1)(b)3., F.A.C.

(6) Laboratories calculating the Wetland Condition Indices (WCI) shall use the procedures in DEP SOP LT 7000, part LT 7600, including all subparts as listed below, which are contained in DEP-SOP-002/01, and incorporated by reference in subparagraph 62-160.800(1)(b)3., F.A.C.:

(a) For the determination of Wetland Condition Index for freshwater isolated herbaceous wetlands, DEP SOP subpart LT 7610 shall be used (including subparts LT 7611 and LT 7612).

(b) For the determination of Wetland Condition Index for freshwater isolated forested wetlands, DEP SOP subpart LT 7620 shall be used (including subparts LT 7621 and LT 7622).

(7) Laboratories analyzing for chlorophyll a shall use methods included in the DEP document titled, “Applicability of Chlorophyll a Methods” (DEP-SAS-002/10), which is incorporated by reference in paragraph 62-160.800(14), F.A.C., unless otherwise specified in a Department rule, contract, order or permit.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 4-9-02, Amended 12-3-08, 7-30-14, --.

- 62-160.330 Approval of Alternative and Modified Laboratory Methods.

(1) Any person may apply for use of a laboratory method in place of the approved methods described in subsection 62-160.320(1), F.A.C. Any laboratory method proposed for use in place of those described in subsection 62-160.320(1), F.A.C., or in place of laboratory methods specified or required in other rules of the Department must be approved by the Department prior to use, as further required below. Laboratory methods that have been previously approved for use in a Department rule, contract, order, or permit shall remain approved while such documents remain in effect. In such cases, the documentation that approved the use of the method must be retained for at least five years after the last use of the method for the specific samples analyzed by the approved method. Laboratory methods approved by the Department to meet established data quality objectives according to subsection 62-160.320(1), F.A.C., and alternative or modified laboratory methods previously approved by the Department shall remain approved, except as provided in subsection 62-160.330(9), F.A.C.

(2) Laboratory methods used in place of those specified or required in Department rules, contracts (including purchase requisitions), orders, or permits are designated by the Department as alternative laboratory methods. Alternative laboratory methods that support a Department rule, contract, order, or permit must be approved by the Department prior to use. Alternative laboratory methods cannot be approved for the following:

(a) Any method that the United States Environmental Protection Agency has designated for analysis of a “method-defined analyte;”

(b) The following methods from DEP-SOP-002/01 (Effective Date) (January 2017), which is incorporated by reference in subparagraph 62-160.800(1)(b)3., F.A.C., including all subparts of the methods cited:

1. Part LT 7300 of LT 7000, Lake Condition Index (LCI) Determination; and,

2. Part LT 7600 of LT 7000, Determination of Wetland Condition Indices; and,

(c) The laboratory methods described in the DEP SOPs BRN 1000 (January 2017), SCI 1000 (January 2017), and LVI 1000 (January 2017), including all applicable parts and subparts of the methods cited, which are contained in DEP-SOP-003/11, which is incorporated by reference in paragraph 62-160.800(1)(c), F.A.C.

(3) The Department defines a laboratory method modification as any change to a published analytical laboratory method that alters the scope and applicability, specifications, procedures, steps, performance criteria, or any other requirements described in the published method, as applicable to the analytes and matrices for which the method was originally published. A published method is any analytical laboratory method specified, recognized or approved by the Department according to subsection 62-160.320(1), F.A.C., or other procedures in scientific journals or other technical literature.

(a) A modified method must satisfy the data quality objectives established by the Department project, permit, rule, contract, order, or data use for which the modifed method will be performed; and the laboratory shall retain all data that demonstrate that the modification meets the Department’s data quality objectives. Additionally, validation of the modified method shall demonstrate that the modified method produces equivalent or superior analytical performance, as compared to the unmodified method, when applicable to the analyte and matrix for which the modifed method will be used. These demonstration records shall be retained for at least five years after the last use of the modification for the specific laboratory sample(s) analyzed by the modified method. The Department’s approval of the modified method shall be limited to the specific method scope and modifications validated by the laboratory.

(b) Upon review of any request to use a modified method, the Department shall determine whether the proposed modified method constitutes an alternative method according to subsection 62-160.330(2), F.A.C. All proposals to use modified methods as alternative methods shall include the submittal of method validation documentation to the Department according to the requirements in subsection 62-160.330(4), F.A.C.

(c) Methods listed in paragraphs 62-160.330(2)(a) – 62-160.330(2)(c), F.A.C., shall not be modified.

(d) When method modifications are specifically allowed as indicated in subparagraphs 62-160.330(3)(d)1. – 62-160.330(3)(d)3., F.A.C., below, submittal of method validation documentation to the Department prior to use is not required, and such modifications are pre-approved by the Department. When laboratory certification is required according to Rule 62-160.300, F.A.C., applicable requirements for method validation, and applicable initial and ongoing demonstrations of capability for use of the modified method shall be performed as required in the applicable testing module of the 2016 TNI Standard, which is incorporated by reference in paragraph 62-160.800(3)(b), F.A.C. In addition, all applicable requirements for the use of non-standard methods, such as validation of methods, as discussed in Module 2 of the 2016 TNI Standard, shall be met for the use of any modified methods requiring laboratory certification.

1. Modifications specifically allowed according to descriptions or discussions in the original, unmodified method are pre-approved by the Department. Any constraints or limits to modifications specified in the original method and any required performance criteria for allowed modifications specified in the method shall apply to all pre-approved modifications.

2. Allowable modifications described by the Environmental Protection Agency (EPA) at 40 CFR, Part 136.6, which is incorporated by reference in subsection 62-160.800(9), F.A.C., apply to the methods listed at 40 CFR, Part 136.3, which is incorporated by reference in subsection 62-160.800(6), F.A.C., and are pre-approved by the Department. In accordance with 40 CFR, Part 136.6, a facility shall notify the Department’s permit processor of any specific use of a modified method for analysis of compliance samples associated with a permitted facility.

a. The Department shall consider all interpretations of 40 CFR Part 136.6 as published by the EPA on its webpages or in applicable EPA memoranda when responding to requests from any person for assistance in clarifying whether a modification to a method listed at 40 CFR, Part 136.3 is allowed. When such a determination is uncertain or controversial, the Department shall refer the request to the EPA Region 4 Regional Administrator for determination. However, this determination shall not supersede any requirements in Department rules, contracts, orders, or permits to use specific methods.

b. Allowable modifications described in 40 CFR, Part 136.6 shall apply to other approved methods that are not listed in 40 CFR, Part 136.3, which is incorporated by reference in subsection 62-160.800(6), F.A.C., and shall be considered for pre-approval by the Department upon request. The Department shall consider the applicability of allowable modifications as described in 40 CFR, Part 136.6, which is incorporated by reference in subsection 62-160.800(9), F.A.C., to other methods according to sub-subparagraph 62-160.330(3)(d)2.a., F.A.C., above. If the Department determines that the requested modifications meet Department data quality objectives according to 40 CFR Part 136.6 requirements for the specific use(s) of the method requested and are pre-approved, then the submission of method validation documentation to the Department is not required.

3. The Department has determined that methods published by the Environmental Protection Agency (EPA) in the collection titled “Test Methods for Evaluating Solid Waste, Physical/Chemical Methods (SW-846)” may be modified to achieve Department data quality objectives when such modifications are made according to the information and requirements for implementing flexibility in the use of SW-846 methods, alternative methods, or modified methods, as discussed in Chapter Two, Section 2.1, in SW-846, which is incorporated by reference in subsection 62-160.800(11), F.A.C. However, this determination shall not supersede any requirements in Department rules, contracts, orders, or permits to use specific methods.

a. Allowable modifications as discussed in Chapter Two, Section 2.1, in SW-846, shall apply to other approved methods that are not included in the SW-846 collection, and shall be considered for pre-approval by the Department upon request. The Department shall consider the applicability of allowable modifications to other methods according to the information and requirements for implementing flexibility in the use of alternative or modified methods, as discussed in Chapter Two, Section 2.1 of SW-846. If the Department determines that the requested modifications meet Department data quality objectives according to the requirements in Chapter Two, Section 2.1 of SW-846 for the specific use(s) of the method requested and are pre-approved, then the submission of method validation documentation to the Department is not required.

b. The provisions for use of modified methods in sub-subparagraph 62-160.330(3)(d)3.a., F.A.C., above, shall not supersede requirements in subparagraph 62-160.330(3)(d)2., F.A.C., above.

(4) Validation documentation shall be submitted to the Department for all proposed alternative methods and for all proposed modified methods not pre-approved by the Department.

(a) Validation information must demonstrate that the alternative or modified method produces equivalent or superior analytical performance in meeting the data quality objectives established for the Department project or specified data use, as compared to the original, unmodified method or to the method for which it is proposed as an alternative.

(b) When validation documentation must be submitted to the Department, alternative laboratory methods and modifications to published laboratory methods shall be demonstrated as appropriate for use according to the requirements in DEP-QA-001/01, which is incorporated by reference in subsection 62-160.800(5), F.A.C. Alternative and modified methods shall be evaluated according to criteria for demonstrations of initial and ongoing performance as required by the original unmodified method or published alternative method. When laboratory certification is required according to Rule 62-160.300, F.A.C., applicable requirements for method validation and applicable initial and ongoing demonstrations of capability shall be performed as required in the applicable testing module of the 2016 TNI Standard, which is incorporated by reference in paragraph 62-160.800(3)(b), F.A.C. In addition, all applicable requirements for the use of non-standard methods, such as validation of methods, as discussed in Module 2 of the 2016 TNI Standard, shall be met for the use of any alternative or modified methods requiring laboratory certification.

(5) When evaluating or approving a proposed alternative or modified laboratory method, the Department shall consider the following factors and requirements for review of the proposed method, in addition to those factors and requirements described in DEP-QA-001/01:

(a) Whether procedural steps, use of equipment, use of reagents, use of technology, or other elements of the laboratory method that are proposed are different than those required in the approved laboratory method, as described in subsection 62-160.320(1), F.A.C;

(b) Whether the use of the alternative or modified laboratory method generates data that meet data quality objectives established by the Department for the data;

(c) Whether the alternative or modified laboratory method is demonstrated to be equivalent to or exceeds the performance of the approved laboratory method that the proposed method or modification is intended to replace;

(d) Whether the Department cannot grant approval of the alternative or modifed method, because use of the proposed method will produce data that are unusable by the Department for a specified purpose, or, if the data will not be comparable to, or are otherwise incompatible for use with existing data generated by other approved laboratory methods, or, if the data would be invalid according to any applicable requirements described in Rule 62-160.670, F.A.C., below; and,

(e) Whether the laboratory methods were developed by consensus or standardization organizations, such as AOAC International, ASTM International, the United States Environmental Protection Agency, or the United States Geological Survey, or developed by manufacturers or vendors using collaborative interlaboratory studies.

(6) The submitted method validation documentation for an alternative laboratory method or modification of a published method shall be evaluated based on its intended use, and designated as either limited-use or statewide-use, if approved:

(a) For limited-use methods, the Department shall limit the approval of the alternative or modified laboratory method solely for use by the person or organization submitting the request, based on the information and data provided to the Department in support of the request for proposed method approval. A limited-use method is validated by a single laboratory and shall only be used by that laboratory at that location or branch. If the submitter is different than the laboratory that performed the method validation, then the approval for limited use shall only apply to the performing laboratory. Typically, the limited-use method is intended only for testing environmental samples from a particular site, waste stream, facility location, or sample matrix (such as effluent, surface water, groundwater, drinking water, or soil). However, the Department shall approve the proposed limited-use method for any scope that is proposed with the request for approval if the scope of use has been validated by the supporting information submitted with the request, according to all applicable requirements of this rule (Rule 62-160.330, F.A.C.).

(b) For statewide-use methods, the Department shall evaluate and approve the alternative or modified laboratory method for use by laboratories based on the information and data provided to the Department in support of the request for the alternative or modified method approval. Each application for statewide use will be considered on a case-by-case basis by the Department. Approval for statewide use does not guarantee applicability of the procedure for all potential uses. The Department shall require the design of a collaborative study conducted by multiple independent laboratories to investigate the efficacy and robustness of the proposed statewide-use alternative or modified method for specified site or environmental conditions, sample types, sample matrices, waste streams, analytes, or other specifications applicable to the scope of approval requested, according to the following:

1. An inter-laboratory collaborative study following the specifications in Appendix D, Official Methods of Analysis of the AOAC INTERNATIONAL, 19th edition (2012), which is incorporated by reference in subsection 62-160.800(12), F.A.C., or

2. Alternatively, an inter-laboratory collaborative study that is developed and validated based on procedures published by a nationally recognized, consensus-based standards organization (for example, ASTM International).

3. Further description and specifications for these studies are provided in DEP-QA-001/01, which is incorporated by reference in subsection 62-160.800(5), F.A.C.

(7) Research methods shall be submitted for review and approval according to the requirements provided in rule 62-160.600, F.A.C. If a method is initially developed for research purposes but will subsequently be used for compliance or other regulatory activities, the method shall be submitted for review and approval according to requirements of Rule 62-160.330, F.A.C.

(8) The approval or disapproval of any submitted alternative or modified laboratory method shall be noticed as follows:

(a) For limited-use methods, the Department shall issue an order of approval or disapproval of the alternative or modified laboratory method to the person who submitted the method. Any additional administrative or scientific information pertinent to the approval or disapproval of the method shall be included or incorporated by reference in the order. The order and the alternative or modified laboratory method shall also be posted on the Department’s website and provided to all persons enrolled to receive the Department’s Quality of Science electronic newsletter.

(b) For statewide-use methods, the Department shall issue an order of approval or disapproval of the alternative or modified laboratory method to the person who submitted the method. Any additional administrative or scientific information pertinent to the approval or disapproval of the method shall be included or incorporated by reference in the order. A notice of the order approving or disapproving the method shall be published in the Florida Administrative Register. For informational purposes only, the order and the alternative or modified laboratory method shall also be posted on the Department’s website and provided to all persons enrolled to receive the Department’s Quality of Science electronic newsletter.

(c) Any person substantially affected by the approval or disapproval of a limited-use method may request an administrative hearing as provided in Chapter 120, F.S. Any person substantially affected by the approval or disapproval of a statewide-use method may request an administrative hearing as provided in Chapter 120. F.S., within 21 days of publishing the notice in the Florida Administrative Register, or within 21 days of receipt of the written notice, whichever occurs first.

(9) For requests for the approval of proposed alternative or modified laboratory methods, applicants who are analyzing discharges regulated under the National Pollutant Discharge Elimination System (NPDES) permit program shall comply with applicable regulations in 40 CFR Part 136 sections 136.4, 136.5 and 136.6, which are incorporated by reference in subsections 62-160.800(7)-(9), F.A.C., respectively. If requested by the applicant, the Department shall assist the applicant in determining whether an application for approval is required for modifications to methods listed at 40 CFR, Part 136.3, according to sub-subparagraph 62-160.330(3)(d)2.a., F.A.C.

(10) For requests for the approval of proposed alternative or modified laboratory methods, applicants who are analyzing compliance samples under the Safe Drinking Water Act shall comply with the applicable provisions in 40 CFR Part 141, section 141.27, which is incorporated by reference in subsection 62-160.800(10), F.A.C., and Rule 62-550.550, F.A.C.

(11) Except for methods promulgated by the United States Environmental Protection Agency in the Federal Register, approval of a laboratory method shall be revoked by the Department if new technical, scientific or regulatory information justifies its revocation. The Department shall use the best scientific and technical information, methods and data in its possession in making the determination to revoke an approved laboratory method.

(a) For a laboratory method that was approved for limited use, the Department shall issue an order revoking approval of the laboratory method to the person who submitted the method. Any additional administrative or scientific information pertinent to the revocation of approval of the method shall be included or incorporated by reference in the order. The order shall be posted on the Department’s website and provided to all persons enrolled to receive the Department’s Quality of Science electronic newsletter. Any person substantially affected by the revocation of approval of the limited-use laboratory method may request an administrative hearing as provided in Chapter 120, F.S.

(b) For a laboratory method that was approved for statewide use, the Department shall issue an order of revoking approval of the laboratory method to the person who submitted the method. Any additional administrative or scientific information pertinent to the revocation of approval of the method shall be included or incorporated by reference in the order. A notice of the order revoking approval of the method shall be published in the Florida Administrative Register. For informational purposes only, the order shall also be posted on the Department’s website and provided to all persons enrolled to receive the Department’s Quality of Science electronic newsletter. Any person substantially affected by the revocation of approval of the statewide-use laboratory method may request an administrative hearing as provided in Chapter 120, F.S., within 21 days of publishing the notice in the Florida Administrative Register, or within 21 days of receipt of the written notice, whichever occurs first.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 4-9-02, Amended 6-8-04, 12-3-08, 7-30-14, 4-16-18, --.

- 62-160.340 Record Keeping and Reporting Requirements for Laboratory Procedures.

(1) Laboratory record keeping requirements shall follow those specified by the DOH ELCP in Rule 64E-1.005, F.A.C., dated 9-26-181-24-05 and this chapter.

(a) The laboratory records shall contain sufficient information to allow independent reconstruction of all activities related to generating data that are submitted to the Department.

(b) In addition, the laboratory shall ensure that its records include all information necessary to support the analytical report (subsection 62-160.340(3), F.A.C.).

(c) Records shall be retained for a minimum of five years after the date of generation or completion of the records unless otherwise specified in a Department contract, order, permit or Title 62 rules.

(d) Electronic records shall be acceptable as documentation and shall be considered as equivalent in status and function to paper records or documents, unless otherwise specified in a Department contract, order, permit or Title 62 rules.

1. All documentation requirements in this chapter shall apply equally to paper and electronic records.

2. Electronic copies intended to replace original records shall contain the same information as the original records, regardless of whether the electronic copies are designated as master or duplicate records.

(2) When requested by the Department, the laboratory shall provide the Department any records or copies of the records needed to reconstruct analyses, such as:

(a) Laboratory and project information including:

1. Signed and dated final report (laboratory analytical report) as specified in subsection (3) below;

2. Project information such as client name, site name, client project number, or client project name;

3. When applicable, the quality assurance project plan associated with the project;

4. Client or field identification number for each sample;

5. Date and time of sample collection;

6. Sample matrix (e.g., groundwater, effluent, waste, soil);

7. Sample type (e.g., environmental sample, field blank, matrix spike); and,

8. Identification of all laboratories providing analytical results in the report and the appropriate laboratory certification numbers from the DOH ELCP (if applicable) for each laboratory.

(b) Sample receipt, preparation and analysis information including:

1. Laboratory identification number for each sample fraction;

2. Sample receipt conditions such as proper and intact custody seals;

3. Positive verification of chemical and/or physical sample preservation during sample receipt and/or before sample analysis. The information shall include the preservation acceptance criteria, an indication of acceptability, and the value(s) if the criteria are not met;

4. Sample preparation information, if applicable, including method, date of sample preparation and time of sample preparation if the holding time specified in Rule 62-160.400, F.A.C., is less than or equal to 72 hours or if data will be entered into the Watershed Information Network (WIN) and the method in WIN requires prep information;

5. Sample analysis information including analytical method, date of sample analysis, and time of sample analysis if the holding time specified in Rule 62-160.400, F.A.C., is less than or equal to 72 hours or if data will be entered into the WIN; and,

6. Analysis records of original data. Original data is information generated at the time of or as the result of performing laboratory procedures or tests; e.g., “raw” data automatically reported or logged from analytical instrumentation, such as strip chart recordings or chromatograms; handwritten laboratory notes, laboratory notebooks or drawings; completed laboratory forms or bench sheets; and photographs.

(c) Sample result information including:

1. Analyte or organism name as applicable;

2. Test result with all applicable data qualifiers, as specified in Table 1: Data Qualifier Codes;

3. Test result units;

4. Other sample characteristics such as percent moisture or fraction (i.e., total or dissolved); and,

5. Textual comments, if applicable, that specify any deviations (such as failed quality control), additions to, or exclusions from, the analytical method, and any non-standard conditions (such as sample matrix or environmental conditions) that have affected the quality of results.

(d) Laboratory quality control information, such as:

1. Identification that unambiguously links groups of samples to a specified set of activities such as preparation, analysis, shipping, reporting, or quality control;

2. Laboratory blank results (results for any laboratory blank analysis as required by the DOH ELCP certification or the analytical method); and,

3. Information pertaining to replicate sample analysis including an unambiguous designation of the replicate sample (e.g., sample duplicate, sample matrix spike duplicate, or laboratory control spike duplicate); result of laboratory replicate analysis; replicate precision expressed in terms required by the reported method or as Relative Percent Difference or Percent Relative Standard Deviation (defined in 62-160.120 DEP-QA-001/01 (January 2017), which is incorporated by reference in paragraph 62-160.800(1)(a), F.A.C.); and acceptance limits for controlling replicate precision (in-house control limits used by the data generator when control limits are not specified by the reported method or data quality objectives identified by the Department).

(e) Instrument Calibration/Verification including:

1. Number of standards;

2. Acceptability requirements for initial calibration, and initial and continuing calibration verifications; and,

3. Origin, and preparation (if applicable) for all standards used for calibration.

(f) For chemical testing:

1. When applicable, indication that a sample was filtered in the laboratory;

2. For each analyte, records to support:

a. When applicable, determination of method detection limit(s) and practical quantitation limit(s) including the method by which each are determined; the raw and processed data supporting the determination(s); and effective dates; and,

b. Dilution factor (if applicable).

3. Matrix or laboratory control spike information including concentration level (level of analyte added to a spiked sample), matrix or laboratory control spike recovery (results for matrix spike/duplicate sample analysis including those required by methods) and matrix or laboratory control spike recovery limits (in-house recovery limits used by the data generator when control limits are not specified by the reported method or data quality objectives identified by the Department); and,

4. When performed, surrogate spike information including concentration level (level of analyte added to the sample), surrogate spike recovery, and surrogate recovery limits (in-house recovery limits used by the data generator when control limits are not specified by the reported method or data quality objectives identified by the Department).

(g) For microbiological testing:

1. Results of all applicable reagent or dilution water quality or suitability test associated with samples;

2. Results of all media quality control tests; and,

3. Sample ID of sample used to verify positive results and results of such verifications.

(h) For toxicity (bioassay) testing:

1. Test type (acute or chronic);

2. Test organism(s) used;

3. Age(s) of test organism(s);

4. Test result(s);

5. Statistical method used to generate the result(s);

6. Control data (e.g., mortality/weight/reproduction) as appropriate to test type;

7. Test end points and confidence intervals;

8. Standard reference toxicant data associated with batch of test organisms; and,

9. Physical and chemical measures that are associated with the test (e.g., pH, temperature, dissolved oxygen).

(i) For benthic invertebrate taxonomic identification:

1. Sorting efficiency, as percent (%);

2. Number and identity of taxa in sample;

3. Percent agreement between or among identifications performed by two or more independent taxonomists associated with the period when results were generated;

4. Indication of which organisms were verified against standard reference collection; and,

5. Indication of whether the organism range includes Florida.

(j) For algal taxonomic identification:

1. Percent agreement between or among identifications performed by two or more independent taxonomists associated with the period when results were generated;

2. Number and identity of taxa in the sample;

3. Microscope magnification;

4. Dilution factor;

5. Surface area sampled (periphyton) or volume sampled (phytoplankton);

6. Number of fields counted; and,

7. Counting chamber dimensions.

(k) Field quality control results including trip blanks, field blanks, equipment blanks, and field replicates as required by individual DEP SOPs in DEP-SOP-001/01, which is incorporated by reference in paragraph 62-160.800(1)(c), F.A.C., or the applicable contract, order, permit, or title 62 rules;

(l) Any additional elements specified by the Department in contracts, orders, permits, Title 62 rules, or Department-approved planning documents such as quality assurance plans, sampling and analysis plans, and monitoring plans;

(m) All documentation for alternative and modified methods, as required in Rule 62-160.330, F.A.C.; and,

(n) Any additional records required in individual DEP SOPs in DEP-SOP-002/01, which is incorporated by reference in paragraph 62-160.800(1)(b), F.A.C., including DEP SOP LD 1000 and all parts and subparts of LD 1000 therein; and, any additional records required in individual DEP SOPs in DEP-SOP-003/11, incorporated by reference in paragraph 62-160.800(1)(c), F.A.C., including all DEP SOP parts and subparts therein, as applicable to the documentation of bioassessment activities.

(3) Except as noted in subsection (4) below, a laboratory shall generate an analytical report that meets the requirements of the DOH ELCP, as specified in Rule 64E-1.005, F.A.C., dated 9-26-181-24-05, and the 2016 TNI Standard, which is incorporated by reference in paragraph 62-160.800(3)(b), F.A.C. The report shall contain all applicable reporting elements specified in and shall otherwise comply with requirements specified in Sections 5.10 through 5.10.11 of Module 2 of the 2016 TNI Standard (Quality Systems General Requirements), and shall use the applicable qualifiers as defined in Table 1: Data Qualifier Codes (Rule 62-160.700, F.A.C.). In addition to the stated requirements, laboratories shall ensure that the following requirements are met or reported:

(a) All results that are less than the laboratory’s practical quantitation limit shall be reported using the applicable data qualifiers.

(b) Except for tests in which a method detection limit is not required, non-detected analytes shall be indicated by the method detection limit value, followed by the code “U.”

(c) For tests that do not require a method detection limit study (e.g., biochemical oxygen demand, chlorophyll or microbiological tests), values below the reporting limit attributed to the test shall be reported as the reporting limit value followed by the code “U.”

(d) When the holding time for a preparation step is specified, the date of sample preparation shall be reported. The time shall also be reported if the holding time for sample preparation is equal to or less than 72 hours or if data will be entered into the WIN and the method in WIN requires prep information.

(e) Any additional information specified by the Department in contracts, orders, permits or Title 62 rules shall be reported.

(4) Laboratories that are operated by a facility and whose sole function is to provide data to the facility management for compliance purposes (i.e., in-house or captive laboratories) as described in section 5.10.10 of Module 2 of the 2016 TNI Standard (Quality Systems General Requirements), which is incorporated by reference in paragraph 62-160.800(3)(b), F.A.C., shall meet the requirements specified in that standard.

(5) If required by the Department in an applicable contract, order, permit or Title 62 rules, or requested by a Department program, laboratory data issued to a client(s) for Department-related work or directly to the Department shall be provided in the Department-specified paper format or in an electronic format meeting Department requirements for importing into Department databases or for other electronic submission requirements.

(6) Once issued, a laboratory report is considered final and shall not be amended. Amendments or corrections to a final laboratory report shall be made in accordance with the requirements of section 5.10.9 of Module 2 of the 2016 TNI Standard (Quality Systems General Requirements), which is incorporated by reference in paragraph 62-160.800(3)(b), F.A.C.

(7) When data are provided to the Department in a document that is a summary, a re-published format or in a reduced form (e.g., report, table, report form), the document shall not change the original data, or delete any data qualifiers reported by the originating laboratory unless specified by Department contract, order, permit, or Title 62 rules. Copies of the original laboratory report(s) shall be submitted with all such reports unless directed to do otherwise by the Department.

(8) When data qualifiers are added through a validation or review process that is independent of the laboratory reporting process, the reason for the addition, the date of the addition, and the person adding the qualifier(s) shall be included. These qualifiers shall be included in any documents that are summaries or re-published formats, as described in subsection (7) above.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 4-9-02, Amended 6-8-04, 12-3-08, 7-30-14, 4-16-18, --.

- 62-160.400 Sample Preservation and Holding Times.

(1) Except as noted in subsection (2) below, or as otherwise provided in the rules of a specific Department program, sample preservation methods, container types and holding times shall follow those requirements specified in DEP-SOP-001/01 (Effective Date) (January 2017), part FS 1006 in FS 1000, which is incorporated by reference in Rule 62-160.800, F.A.C.

(2) Sample preservation procedures, container material and maximum allowable holding times for analytes not specified in DEP-SOP-001/01 (Effective Date) (January 2017) shall follow the preservation, container and holding time requirements specified in the selected analytical method. If no method-specified requirements exist, the best available scientific knowledge shall be used as guidance for determining the appropriate procedures for use.

(3) Requests for approval of alternative or modified sample preservation methods, container types, or holding times shall be submitted to the Department and shall be reviewed and approved or disapproved by the Department according to requirements in Rules 62-160.220 and 62-160.330, F.A.C., for the affected field procedures and laboratory methods. Requests for approval of alternative or modified field procedures for sample preservation, container types, or holding times shall also meet the requirements of subsections 62-160.330(9) and (10), F.A.C., if applicable to the use of the specific sample test results.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, Formerly 17-160.400, Amended 3-24-96, 10-15-96, 4-9-02, 6-8-04, 12-3-08, 4-16-18, --.

- 62-160.405 Electronic Signatures.

Laboratory and field documents signed with an electronic signature are acceptable as written signatures when:

(1) The integrity of the electronic signature can be assured;

(2) The signature is unique to the individual;

(3) The organization using electronic signatures has written policies for the generation and use of electronic signatures; and

(4) The organization using electronic signatures has written procedures for ensuring the security, confidentiality, integrity and auditability of each signature.

Rulemaking Authority 403.061, 403.0623, 668.006 FS. Law Implemented 668.006, 668.50 FS. History–New 12-3-08.

- PART IV

- MISCELLANEOUS

- 62-160.600 Research Field and Laboratory Procedures.

(1) Research field sampling and laboratory procedures involve one or more of the following:

(a) Evaluation, development or use of new, innovative technologies not yet approved by the Department;

(b) Evaluation, development or use of innovative field sampling or analytical laboratory methods not yet approved by the Department;

(c) Evaluation of new methodology or technology to be used in lieu of a Department-approved method described in subsection 62-160.320(1), F.A.C.; and,

(d) Other projects not included in the above areas but designated as research by the relevant Department project or contract manager.

(2) If a research field sampling or laboratory method is being developed for subsequent use in compliance or other regulatory activities, the method shall be reviewed and approved according to the requirements provided in Rules 62-160.220 and 62-160.330, F.A.C.

(3) All research field sampling and laboratory procedures shall be described in a Department-approved work or study plan or in direct contract language. The following minimum elements shall be addressed, as applicable:

(a) Project purpose and intended end use of the data, such as specific hypotheses and topics to be investigated;

(b) Brief historical overview or literature searches;

(c) Statement of anticipated results or effects of the research project;

(d) Description of work to be conducted, including the types of analyses to be performed to monitor the effectiveness of the research;

(e) The information and records to be included in the data report package and the reporting format for hard copy and electronic reports, such as all documentation to be delivered to the Department as work product as required by a grant or contract. Minimum requirements for record keeping shall follow those specified in Rules 62-160.240 and 62-160.340, F.A.C., as applicable;

(f) Identification of any specialized training or certification needed by personnel in order to successfully complete the project or task. This requirement includes specifying any laboratory certification requirements as provided in Rule 62-160.300, F.A.C. However, the Department project manager may waive the requirement for laboratory certification as provided in paragraph 62-160.300(5)(b)62-160.300(5)(e), F.A.C.

(g) All aspects of data generation and acquisition to ensure appropriate methods for sampling, sample preservation, sample storage conditions and maximum holding (storage) time limits, measurement and analysis, data collection or generation, data handling and data storage procedures, and quality assurance and quality control activities are employed and documented;

(h) The experimental data generation or data collection design for the project, such as:

1. Types and numbers of samples required;

2. Design of the sampling network;

3. Sample matrices, sampling locations, and sampling frequencies or schedules;

4. Field or laboratory sample testing or analyses frequencies or schedules;

5. Topics to be investigated by the research, such as analytes, organisms, and populations of interest;

6. Rationale for the experimental or research project design;

7. Procedures for collecting samples, such as sample handling, preservation and custody in the field and laboratory, sample transport, sampling equipment specifications, and equipment decontamination procedures;

8. Sample preparation (if applicable) and field or laboratory testing and analytical methods used;

9. Quality control activities needed for sampling and analysis, such as all quality control measurements, control (acceptance) criteria, and procedures for the assessment of the quality control results; and, quality control activities for the field and the laboratory, such as the use of blanks, duplicates, replicates, matrix spikes, laboratory control samples and surrogates;

10. Quality assurance activities that occur after the data collection or generation phase of the project, such as data verification validation, and field and laboratory audits;

11. Criteria to be used to objectively and consistently review, verify and validate project data, including the chain of custody for data throughout the life of the project or task;

12. Proposed methods to analyze the data to evaluate the experimental or research design and determine possible anomalies or departures from assumptions established in the planning phase of data collection that may affect attainment of the research objectives;

13. Statistical and/or other procedures and criteria that will be used to evaluate the experimental data produced by the research to test hypotheses and evaluate endpoints, conclusions or other topics for the research project objectives; and,

14. Any additional elements specifically required by the Department project manager.

(4) The Department shall conduct a technical review of the project work plan prior to the project’s initiation in order to assess its technical and scientific merit and appropriateness.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, Formerly 17-160.600, Amended 3-24-96, 10-15-96, 4-9-02, 7-30-14, 4-16-18, --.

- 62-160.650 Field and Laboratory Audits.

(1) The Department and agencies or individuals with delegated authority from the Department shall conduct audits of field and laboratory procedures and/or records to determine if approved protocols are being followed as required and to ensure data are being generated in compliance with the requirements of this chapter.

(2) An audit shall consist of one or more of the following:

(a) An on-site assessment of field sampling and/or laboratory procedures;

(b) A review, assessment and/or validation of data associated with a Department program activity;

(c) The submission of performance samples (e.g., blind, split and/or performance check samples) to an organization for subsequent use in the evaluation of that organization’s technical performance associated with a specific Department project or program activity; or

(d) Other relevant information as specified in a Department contract, order, permit or Title 62 rules.

(3) Upon request, the audited field sampling organization, individual consultant or responding party shall provide copies of all applicable records as specified in Rule 62-160.240, F.A.C. Sufficient information shall be provided to enable the auditor to independently reconstruct all field procedures related to the project. Failure to provide requested records may result in a recommendation that the affected Department program not use project data.

(4) Upon request, the audited laboratory, individual consultant or responding party shall provide copies of those applicable records as specified in Rule 62-160.340, F.A.C. Sufficient information shall be provided to enable the auditor to independently reconstruct all laboratory procedures related to the project. Failure to provide requested records may result in a recommendtion that the affected Department program not use project data.

(5) Within ninety (90) days of the audit, the Department shall provide a preliminary audit report to the audited field sampling or laboratory organization, individual, consultant or responding party (“audited party”). The audited party shall have forty-five (45) days thereafter to respond with a detailed plan of corrective actions and an implementation schedule for the deficiencies that were noted in the preliminary audit report; justification for noted deficiencies that will not be addressed or corrected; and any corrections or rebuttals to the audit findings. If different than the above, the Department shall specify in rules, contracts, orders or permits any alternative schedules and procedures for the distribution of preliminary audit reports to designated recipients and for any required corrective action plans or other responses from designated respondents.

(6) Failure to respond with a plan of corrective action or to additional requests by the Department for a plan of corrective action shall result in a recommendation to the affected program that the data not be used.

(7) Once a response has been received, the Department shall evaluate the response for technical applicability and completeness. The Department will issue a final response to the audited party and any affected organization or individual that specifies acceptance or rejection of the audited party’s plan of corrective actions, provides recommendations concerning the usability of the audited data, and includes a statement of any substantially affected person’s rights under Chapter 120, F.S. If different than the above, the Department shall specify in rules, contracts, orders or permits any alternative schedules and procedures for the distribution of the Department’s final response to designated recipients, to include acceptance or rejection of the audited party’s plan of corrective actions, recommendations concerning the usability of the audited data and any other relevant information. Any substantially affected organization or person (e.g., field sampling or laboratory organization, individual, consultant, responding party, permittee, or facility owner/operator) may request an administrative hearing as provided in Chapter 120, F.S., within 21 days of receipt of the final response.

(8) The requirements in subsections 62-160.650(4) through 62-160.650(7), F.A.C., shall not apply to field proficiency audits of organizations or persons conducting field bioassessment procedures according to DEP SOPs BRN 1000, LVI 1000, SCI 1000, subpart FS 7460 in FS 7000, or FT 3000, which are incorporated by reference in subparagraphs 62-160.800(1)(c)1.-3., 62-160.800(1)(a)16., and 62-160.800(1)(a)30., F.A.C., respectively. However, subsections 62-160.650(4) through 62-160.650(7), F.A.C., shall apply to audits of laboratory macroinvertebrate taxonomy procedures and documentation.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS.  History–New 1-1-91, Formerly 17-160.650, Amended 3-24-96, 4-9-02, 12-3-08, 7-30-14, 4-16-18, --.

- 62-160.670 Data Validation by the Department.

(1) All data generated for Department activities are subject to data verification and data validation to determine if the data are suitable and usable for a specified purpose. Data shall be verified and validated based on the assessment of the following:

(a) Completeness of the Department requested data package(s) and the response of involved parties to any Department requests for additional data;

(b) Integrity of samples as determined by complete and proper sample transmittal documentation, and records that demonstrate adherence to proper preservation, transport or other sample handling protocols, as applicable;

(c) Proper use of sample collection methods;

(d) Proper selection and use of analysis methods;

(e) Sufficient use and routine evaluation of quality control measures to establish the precision, accuracy, sensitivity, selectivity, and potential bias associated with the analytical system and associated results;

(f) Proper instrument calibration and verification procedures;

(g) Documentation of all generated data as provided in Rules 62-160.240 and 62-160.340, F.A.C.;

(h) Ability to reconstruct all field sampling and laboratory procedures through the documentation and records of the laboratory or field sampling organization as provided in Rules 62-160.240 and 62-160.340, F.A.C.;

(i) Ability to trace data in the final report to a specific sampling site, date and time;

(j) Status of the laboratory’s certification through the DOH ELCP as provided in Chapter 64E-1, F.A.C., for any given analyte or category of analytes; and,

(k) Appropriateness of the collected data as related to the specific data quality objectives of the Department program activity or project for which they were collected including those data being considered for secondary use.

(2) The Department will evaluate data according to the criteria in paragraphs (a) through (k) above, and determine if the data are usable.

(3) In addition to subsection (2) above, the Department shall also evaluate data according to the following:

(a) The outlined in the Department’s document “Department of Environmental Protection Process for Assessing Data Usability (DEP-EA-001/07),” dated Effective Date March 31, 2008, which is incorporated by reference in Rule 62-160.800, F.A.C.

(b) The description of data quality objectives and criteria for data usability assessments for the Stream Condition Index (SCI) or a BioRecon determination, as discussed in DEP-SAS-001/11, which is incorporated by reference in paragraph 62-160.800(2)(e), F.A.C., and the Lake Vegetation Index (LVI), as discussed in DEP-SAS-002/11, which is incorporated by reference in paragraph 62-160.800(2)(f), F.A.C.

(4) If the audited data were originally generated for a specific purpose but are being considered for a secondary use for another purpose (secondary use), and the Department determines from the evaluation process, as described in subsections 62-160.670(2) and 62-160.670(3), F.A.C. above, that the data do not meet the data quality objectives for the secondary use, the Department will recommend that the data not be used by the program that is considering the secondary use. The recommendation not to use secondary data does not impact the usability or validity of the data for the program for which the data were originally intended.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, 2-27-94, Formerly 17-160.670, Amended 3-24-96, 4-9-02, 12-3-08, 4-16-18, --.

- 62-160.700 Tables.

The following table has been referenced in this chapter and is identified by this Title:

Table 1: Data Qualifier Codes.

Table 1

DATA QUALIFIER CODES

The following codes shall be used by laboratories and/or field organizations when reporting sample data values that either meet the specified descriptions outlined below or do not meet the applicable quality control criteria specified for the laboratory or field result. Data qualifier codes listed in summary reports or other presentations comprising information that has been reformatted from original reports generated by field or laboratory organizations or individuals shall meet the requirements of subsections 62-160.240(5)62-160.240(4) and 62-160.340(7), F.A.C. Data qualifier codes added to sample results during data review procedures conducted by organizations or individuals other than the generators of original reports shall meet the requirements of subsections 62-160.240(6)62-160.240(5) and 62-160.340(8), F.A.C. The Lab/Field designation indicates whether qualifier is typically applied by the laboratory or field personnel.

| CODE | APPLIED BY | DEFINITION |
| --- | --- | --- |
| A | Lab | Value reported is the arithmetic mean (average) of two or more determinations. This code shall be used if the reported value is the average of results for two or more discrete and separate samples. These samples shall have been processed and analyzed independently. Do not use this code if the data are the result of replicate analysis on the same sample aliquot, extract or digestate (for example, for Stream Condition Index, biochemical oxygen demand or bacteriological analyses, or instrumental analyses such as Inductively Coupled Plasma). |
| B | Lab | Results based upon colony counts outside the acceptable range. This code applies to microbiological tests and specifically to membrane filter colony counts. The code is to be used if the colony count is generated from a plate in which the total number of coliform colonies is outside the method indicated ideal range. This code is not to be used if a 100 mL sample has been filtered and the colony count is less than the lower value of the ideal range. |
| C | Field | Data were corrected for estimated effects due to instrument drift or fouling. This code applies to continuously collected field testing data. |
| D | Field | Measurement was made in the field (i.e., in situ). This code applies to any value (except field measurements of pH, specific conductance, dissolved oxygen, temperature, total residual chlorine, transparency, turbidity, salinity or Secchi depth) that was obtained under field conditions using approved analytical methods. If the parameter code specifies a field measurement (e.g., “Field pH”), this code is not required. |
| E | Field | Indicates that extra samples were taken at composite stations. |
| F | Lab | When reporting species: F indicates the female sex. |
| G | Field | A “G” ‒ qualified sample value indicates that the analyte was detected at or above the method detection limit in both the sample and the associated field blank, equipment blank, or trip blank, and the blank value was greater than 10% of the associated sample value. The value in the blank shall not be subtracted from associated samples. |
| H | Field | Value based on field kit determination or unapproved field testing procedure used in place of a laboratory procedure; results may not be accurate. This code shall be used if a field screening test (e.g., field gas chromatograph data, immunoassay, or vendor-supplied field kit) or probe was used to generate the value and the field kit, probe, or method has not been recognized by the Department as equivalent to laboratory methods. |
| I | Lab | The reported value is greater than or equal to the laboratory method detection limit but less than the laboratory practical quantitation limit. |
| J | Lab or Field | Estimated value. A “J” – qualified sample value shall be accompanied by a detailed explanation to justify the reason(s) for designating the value as estimated. Where possible, the organization shall report whether the actual sample value is estimated to be less than or greater than the reported value, to assist data users in any evaluation of the usability of the sample value. A “J” data qualifier code shall not be used as a substitute for G, K, L, M, S, T, V, or Y; however, if additional reasons exist for identifying the value as an estimate (e.g., laboratory control spike or matrix spiked failed to meet acceptance criteria), the “J” code may be added to a G, K, L, M, T, U, V, or Y qualifier. The following are examples of when a “J” code must be reported: instances where a quality control item associated with the reported value failed to meet the established quality control criteria (the specific failure must be identified); instances when the sample matrix interfered with the ability to make any accurate determination; instances when data are questionable because of improper laboratory or field protocols (e.g., composite sample was collected instead of a grab sample, sample bottle compromised in transit or container made of unapproved material, a guard is not properly attached to a field meter during continuous deployment); instances when the analyte was detected at or above the method detection limit in an analytical laboratory blank other than the method blank (such as a calibration blank) and, the blank value is greater than 10% of the associated sample value; or, instances when the field or laboratory calibrations or calibration verifications did not meet calibration acceptance criteria, including quantitative or chronological bracketing requirements for field testing data or instances of suspected sensor drift or fouling during continuous field meter deployment. |
| K | Lab | Off-scale low. Actual value is known to be less than the value given. This code shall not be used for microbiological tests or for biochemical oxygen demand. This code shall not be used for field-testing measurements where quantitative bracketing is required. This code shall only be used for those tests using a calibration curve if: 1. The value is less than the lowest calibration standard and the calibration curve is known to be non-linear; or 2. The value is known to be less than the reported value based on sample size, dilution. This code shall not be used to report values that are less than the laboratory practical quantitation limit or laboratory method detection limit. |
| L | Lab | Off-scale high. Actual value is known to be greater than value given. This code shall not be used for microbiological tests or biochemical oxygen demand. This code shall not be used for field-testing measurements where quantitative bracketing is required. To be used when the concentration of the analyte is above the acceptable level for quantitation (exceeds the linear range or highest calibration standard) and the calibration curve is known to exhibit a negative deflection. |
| M | Lab | When reporting chemical analyses: presence of material is verified but not quantified; the actual value is less than the value given. The reported value shall be the laboratory practical quantitation limit. This code shall be used if the level is too low to permit accurate quantification, but the estimated concentration is greater than or equal to the method detection limit. If the value is less than the method detection limit use “T” below. |
| N | Lab | Presumptive evidence of presence of material. This qualifier shall be used if: 1. The component has been tentatively identified based on mass spectral library search; or 2. There is an indication that the analyte is present, but quality control requirements for confirmation were not met (i.e., presence of analyte was not confirmed by alternative procedures). |
| O | Lab | Sampled, but analysis lost or not performed. |
| Q | Lab | Sample held beyond the accepted holding time. This code shall be used if the value is derived from a sample that was prepared or analyzed after the maximum approved holding time restrictions for sample preparation or analysis. This code shall be reported with sample results calculated from two or more component analyses, if one or more component sample preparations or analyses were performed out of holding time. |
| R | Field | Significant rain in the past 48 hours. (Significant rain typically involves rain in excess of 1/2 inch within the past 48 hours.) This code shall be used when the rainfall might contribute to a lower or higher than normal value. |
| S | Field | Secchi disk visible to bottom of waterbody. The value reported is the depth of the waterbody at the location of the Secchi disk measurement. |
| T | Lab | Value reported is less than the laboratory method detection limit. The value is reported for informational purposes only and shall not be used in statistical analysis. Use of the “T” qualifier is only acceptable under rare circumstances and only if requested by the client; it should not be used for routine reporting of results. |
| U | Lab | Indicates that the compound was analyzed for but not detected. This symbol shall be used to indicate that the specified component was not detected. The value associated with the qualifier shall be the laboratory method detection limit. This code shall also be used to indicate the laboratory reporting limit, where applicable to the specific test, according to paragraph 62-160.340(3)(c), F.A.C. (e.g., biochemical oxygen demand, chlorophyll or microbiological tests). Unless requested by the client, values less than the method detection limit shall not be reported (see “T” above). |
| V | Lab | A “V” ‒ qualified sample value indicates that the analyte was detected at or above the method detection limit in both the sample and the associated method blank and the blank value was greater than 10% of the associated sample value. The 10% criterion shall not apply to blank results for biochemical oxygen demand (BOD) or microbiological tests. For BOD tests, the “V” code shall be used for all sample results where the associated method blank result exceeds the maximum blank DO depletion specified in the analytical method. For microbiological tests, the “V” code shall be used for all samples where the associated method blank indicates growth of the target organism. Note: unless specified by the method, the value in the blank shall not be subtracted from associated samples. |
| X | Lab | Indicates, when reporting results from a Stream Condition Index Analysis (SCI 1000), that insufficient individuals were present in the sample to achieve a minimum of 280 organisms for identification (the method calls for two aliquots of 140-160 organisms), suggesting either extreme environmental stress or a sampling error. |
| Y | Lab | The laboratory analysis was from an unpreserved or improperly preserved sample. The data may not be accurate. |
| Z | Lab | Too many colonies were present for accurate reporting counting. Report this qualifier code and the dilution factor when: Historically, this condition has been reported as “too numerous to count” (TNTC). The “Z” qualifier code shall be reported when the total number of colonies of all types is more than 200 in all dilutions of the sample tested using a membrane filter technique. When applicable to the observed test results, a numeric value for the colony count for the target microorganism tested may be estimated by a laboratory from the highest dilution factor (smallest sample volume) and the upper limit of the ideal colony count range indicated in the method used for the test, and reported with the qualifier code. Atypical, non-target, spreading colonies or other interferences may prevent estimation of typical target organism counts, and reporting a numerical result may not be possible. Report “No Result” along with the qualifier code when this condition is observed, or when more than 200 non-target colonies are observed. Additional comments such as “confluent growth” may be reported with the “Z” code. When required by Chapter 62-550, F.A.C., the samples with verified, positive colonies must be reported as detections. 1. The total number of colonies of all types is more than 200 in all dilutions of the sample tested using a membrane filtration method. When applicable to the observed test results, a numeric value for the colony count for the target microorganism tested may be estimated by a laboratory from the highest dilution factor (smallest sample volume) and the upper limit of the ideal colony count range indicated in the method used for the test, and reported with the qualifier code. Atypical, non-target, spreading colonies or other interferences may prevent estimation of typical target organism counts, and reporting a numerical result may not be possible. Report “No Result” along with the qualifier code when this condition is observed, or when more than 200 non-target colonies are observed. Additional comments such as “confluent growth” may be reported with the “Z” code. When required by Chapter 62-550, F.A.C., the samples with verified, positive colonies must be reported as detections. 2. Enzymatic substrate methods show a positive result for all wells of the tray in all dilutions of the sample tested. Result must be reported as the limit of the tray with the “Z” qualifier code. |
| ? | Lab or Field | Data are rejected and should not be used. Some or all of the quality control data for the analyte were outside criteria, and the presence or absence of the analyte cannot be determined from the data. For continuous monitoring with field meters, this qualifier may be used when the probe multifunctioned, was out of the water, or when the probe was otherwise not operating properly. A “?” – qualified sample value shall be accompanied by a detailed explanation to justify the reason(s) for designating the value as rejected. |
| ! | Lab or Field | Data deviate from historically established concentration ranges. |
| * | Lab | Not reported due to interference. |

The following codes deal with certain aspects of field activities. The codes shall be used if the laboratory has knowledge of the specific sampling event. The codes shall be added by the organization collecting samples if they apply:

| CODE | DEFINITION |
| --- | --- |
| D | Measurement was made in the field (i.e., in situ). This code applies to any value (except field measurements of pH, specific conductance, dissolved oxygen, temperature, total residual chlorine, transparency, turbidity, or salinity that was obtained under field conditions using approved analytical methods. If the parameter code specifies a field measurement (e.g., “Field pH”), this code is not required. |
| E | Indicates that extra samples were taken at composite stations. |
| G | A “G” ‒ qualified sample value indicates that the analyte was detected at or above the method detection limit in both the sample and the associated field blank, equipment blank, or trip blank, and the blank value was greater than 10% of the associated sample value. The value in the blank shall not be subtracted from associated samples. |
| R | Significant rain in the past 48 hours. (Significant rain typically involves rain in excess of 1/2 inch within the past 48 hours.) This code shall be used when the rainfall might contribute to a lower or higher than normal value. |
| S | Secchi disk visible to bottom of waterbody. The value reported is the depth of the waterbody at the location of the Secchi disk measurement. |
| ! | Data deviate from historically established concentration ranges. |

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, 2-27-94, Formerly 17-160.700, Amended 3-24-96, 4-9-02, 6-8-04, 12-3-08, 7-30-14, 4-16-18, --.

- 62-160.800 Documents Incorporated by Reference.

The following documents, collections and forms are incorporated herein by reference for use in complying with the requirements of this chapter. Except as otherwise indicated below, copies of incorporated documents are available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400, or may be obtained from the Department’s website at http://www.dep.state.fl.us/water/sas/qa/, or by writing to the Florida Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, MS #6511, Tallahassee, FL 32399-2400.

(1) Department of Environmental Protection Standard Operating Procedures (DEP SOPs) are organized into the three numbered collections designated below. The DEP SOPs contained in each collection are listed following the title and number of the indicated collection. References in this chapter to the alphanumeric designation for each individual DEP SOP as listed below include reference to all parts, subparts and sections of the cited DEP SOP, unless otherwise cited in a specific rule.

(a) Standard Operating Procedures for Field Activities, DEP-SOP-001/01, dated Effective Date January 2017:

1. FA 1000, Regulatory Scope and Administrative Procedures for Use of DEP SOPs, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07948);

2. FC 1000, Cleaning/Decontamination Procedures, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07949);

3. FD 1000, Documentation Procedures, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07950);

4. FM 1000, Field Planning and Mobilization, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07951);

5. FQ 1000, Field Quality Control Requirements, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07952);

6. FS 1000, General Sampling Procedures, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07953);

7. FS 2000, General Aqueous Sampling, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07954);

8. FS 2100, Surface Water Sampling, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07955);

9. FS 2200, Groundwater Sampling, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07956);

10. FS 2300, Drinking Water Sampling, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07957);

11. FS 2400, Wastewater Sampling, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07958);

12. FS 3000, Soil, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07959);

13. FS 4000, Sediment Sampling, dated Effective Date (Link)  January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07960);

14. FS 5000, Waste Sampling, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07961);

15. FS 6000, General Biological Tissue Sampling, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07962);

16. FS 7000, General Biological Community Sampling, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07963);

17. FS 8100, Contaminated Surface Sampling, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07964);

18. FS 8200, Clean Sampling for Ultratrace Metals in Surface Waters, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07965);

19. FT 1000, General Field Testing and Measurement, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07966);

20. FT 1100, Field Measurement of Hydrogen Ion Activity (pH), dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07967);

21. FT 1200, Field Measurement of Specific Conductance and (Conductivity), dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07968);

22. FT 1300, Field Measurement of Salinity, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07969);

23. FT 1400, Field Measurement of Temperature, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07970);

24. FT 1500, Field Measurement of Dissolved Oxygen, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07971);

25. FT 1600, Field Measurement of Turbidity and Total Suspended Solids, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07972);

26. FT 1700, Field Measurement of Light Penetration (Secchi Depth and Transparency), dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07973);

27. FT 1800, Field Measurement of Stage, Surface Water Velocity, and Discharge (Flow) and Computations of Streamflow, dated (Date) (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07974);

28. FT 1900, Continuous Monitoring With Installed Meters, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07975);

29. FT 2000, Field Measurement of Residual Chlorine, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07976);

30. FT 2100, Field Measurement of Nitrate Using Ultraviolet Optical Sensors, dated Effective Date (Link); and,

31. 30. FT 3000, Aquatic Habitat Characterization, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07977).

(b) Standard Operating Procedures for Laboratory Activities, DEP-SOP-002/01, dated Effective Date January 2017:

1. LD 1000, Laboratory Documentation, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07978);

2. LQ 1000, Laboratory Quality Control, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07979); and,

3. LT 7000, Determination of Biological Indices, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07980).

(c) Standard Operating Procedures for Selected Bioassessment Activities, DEP-SOP-003/11, dated Effective Date January 2017:

1. BRN 1000, Biological Reconnaissance Field Method, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07981);

2. LVI 1000, Lake Vegetation Index Methods, dated Effective Date (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07982); and,

3. SCI 1000, Stream Condition Index Methods, dated (Effective Date) (Link) January 2017 (http://www.flrules.org/Gateway/reference.asp?No=Ref-07983).

(2) The following documents and DEP forms are cited in certain DEP SOPs included in the numbered collections DEP-SOP-001/01, DEP-SOP-002/01 or DEP-SOP-003/11 (citation locations in parentheses).

(a) Methods and other documents published by the United States Environmental Protection Agency (EPA), as listed below.

1. EPA Method 5035A, Revision 1, July 2002, in SW-846, Test Methods for Evaluating Solid Waste, Physical/Chemical Methods (DEP-SOP-001/01) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07984);

2. EPA Method 1623.1, Cryptosporidium and Giardia in Water by Filtration/IMS/FA, EPA 816-R-12-001, January 2012 (DEP-SOP-001/01) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07985); and,

3. U.S. EPA ICR Microbial Laboratory Manual, EPA/600/R-95/178, April 1996, Section VII, Part 9, Sampling (DEP-SOP-001/01) (http://www.flrules.org/Gateway/reference.asp?No=Ref-04338).

(b) Code of Federal Regulations:

1. Table II, Required Containers, Preservation Techniques, and Holding Times, 40 CFR, Ch. I, Part 136.3, Identification of Test Procedures, Revised Date 7/1/16 Edition, including all footnotes (DEP-SOP-001/01) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07986); and,

2. 29 CFR, 1910.120, Hazardous Waste Operations and Emergency Response, Revised Date 7/1/16 Edition (DEP-SOP-001/01) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07987).

(c) Methods and sections included in Standard Methods for the Examination of Water and Wastewater, as listed below. Copies of these documents are available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400 or from the publisher at http://standardmethods.org/store/.

1. Section 1060, Collection and Preservation of Samples, subsection 1060 A.2., Safety Considerations 2011 (DEP-SOP-001/01);

2. Section 9060, Samples, subsection 9060 A.3.a., Potable Water, 2006 (DEP-SOP-001/01);

3. Method 2130 B, Turbidity, section 3., Reagents, 2011 (DEP-SOP-001/01);

4. Method 2510, Conductivity, 2011 (DEP-SOP-001/01);

5. Method 2520, Salinity, 2011 (DEP-SOP-001/01);

6. Methods 4500-Cl B, C, D, E, F, and G, 2011 (DEP-SOP-001/01);

7. Methods 4500-O C and G, Oxygen (Dissolved), 2011 (DEP-SOP-001/01); and,

8. Table 4500-H+:I, Preparation of pH Standard Solutions, in method 4500-H+-B, 2011 (DEP-SOP-001/01).

(d) Methods published by ASTM International, as listed below. Copies of these methods are available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400, or from the publisher at ASTM International, 100 Barr Harbor Drive, P.O. Box C700, West Conshohocken, PA 19428-2959, or from the publisher’s website at http://www.astm.org/Standard/index.html.

1. ASTM E1391-03 (2008), Standard Guide for Collection, Storage, Characterization, and Manipulation of Sediments for Toxicological Testing and for Selection of Samplers Used to Collect Benthic Invertebrates, 2003, ASTM International (DEP-SOP-001/01); and,

2. ASTM D888-12e1, Standard Test Methods for Dissolved Oxygen in Water, 2012, ASTM International (DEP-SOP-001/01).

(e) Department of Environmental Protection, Sampling and Use of the Stream Condition Index (SCI) for Assessing Flowing Waters: A Primer, DEP-SAS-001/11, dated Effective Date 10/24/11 (DEP-SOP-003/11) (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-04341).

(f) Department of Environmental Protection, Sampling and Use of the Lake Vegetation Index (LVI) for Assessing Lake Plant Communities in Florida: A Primer, DEP-SAS-002/11, dated Effective Date 10/24/11 (DEP-SOP-003/11) (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-04342).

(g) United States Geological Survey, National Field Manual for the Collection of Water-Quality Data, Book 9, Chapter A6, Field Measurements, Section 6.1, Temperature, Techniques of Water-Resources Investigations, Version 2, 3/2006 (DEP-SOP-001/01) (Link) (https://www.flrules.org/gateway/reference.asp?NO=Ref-04343).

(h) Merritt, R.W., Cummins, K.W. and Berg, M.B., An Introduction to the Aquatic Insects of North America, Fourth Edition, 2008 (DEP-SOP-002/01 and DEP-SOP-003/11). A copy of this document is available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400 or from the publisher at Kendal Hunt Publishing Company, 4050 Westmark Drive, Dubuque, IA 52004-1840.

(h)(i) DEP Forms cited:

1. Form FD 9000-1, BioRecon Field Sheet, dated Effective Date January 2017 (DEP-SOP-001/01, DEP-SOP-003/11) (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07988);

2. Form FD 9000-3, Physical/Chemical Characterization Field Sheet, dated Effective Date January 2017 (DEP-SOP-001/01, DEP-SOP-003/11) (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07989);

3. Form FD 9000-4, Stream/River Habitat Sketch Sheet, dated Effective Date January 2017 (DEP-SOP-001/01, DEP-SOP-003/11) (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07990);

4. Form FD 9000-5, Stream/River Habitat Assessment Field Sheet, dated Effective Date January 2017 (DEP-SOP-001/01, DEP-SOP-003/11) (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07991);

5. Form FD 9000-6, Lake Habitat Assessment Field Sheet, dated Effective Date January 2017 (DEP-SOP-001/01) (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07992);

6. Form FD 9000-24, Groundwater Sampling Log, dated Effective Date January 2017 (DEP-SOP-001/01) (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07993);

7. Form FD 9000-25, Rapid Periphyton Survey Field Sheet, dated Effective Date January 2017 (DEP-SOP-001/01) (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07994);

8. Form FD 9000-27, Lake Vegetation Index Field Sheet, dated Effective Date January 2017 (DEP-SOP-001/01, DEP-SOP-003/11) (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07995);

9. Form FD 9000-31, Lake Observation Field Sheet, dated Effective Date January 2017 (DEP-SOP-001/01, DEP-SOP-003/11) (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07996);

10. Form FD 9000-32, Linear Stream Vegetation Survey Field Sheet, dated Effective Date January 2017 (DEP-SOP-001/01) (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07997);

11. Form FD 9000-33, Vegetation Wetland Condition Index Field Sheet, dated Effective Date January 2017 (DEP-SOP-001/01) (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07998);

12. Form FD 9000-34, Stream Habitat Assessment Training Checklist and Event Log, dated Effective Date January 2017 (DEP-SOP-001/01) (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-07999); and,

13. Form FD 9000-35, Stream Condition Index Training Checklist and Event Log, dated Effective Date January 2017 (DEP-SOP-003/11) (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-08000).

(i)(j) United States Geological Survey (USGS) references included in FT 1800, incorporated by reference in subparagraph 62-160.800(1)(a)27., F.A.C., below (DEP-SOP-001/01). Copies of these documents are available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400, or may be obtained from the United States Geological Survey, 12201 Sunrise Valley Drive, Reston, VA 20192, or through USGS’s website at https://www.usgs.gov/products/publications/official-usgs-publications.

1. United States Geological Survey, Techniques of Water-Resources Investigations, Book 3:

a. Chapter A2, Dalrymple, Tate, and Benson, M.A., 1968, Measurement of peak discharge by the slope-area method;

b. Chapter A3, Bodhaine, G.L, 1968, Measurement of peak discharge at culverts by indirect methods;

c. Chapter A4, Muttahai, H.F. 1967, Measurement of peak discharge at width contractions by indirect methods;

d. Chapter A5, Hulsing, Harry, 1967, Measurement of peak discharge at dams by indirect methods;

e. Chapter A6, Carter, R.W., and Davidian, Jacob, 1968, General procedures for gaging streams;

f. Chapter A10, Kennedy, E.J., 1984, Discharge ratings at gaging stations;

g. Chapter A11, Smoot, G.F., and Novack, C.E., 1969, Measurement of discharge by the moving-boat method;

h. Chapter A13, Kennedy, E.J., 1983, Computation of continuous records of streamflow;

i. Chapter A14, Kilpatrick, F.A. and Schneider, V.R., 1983, Use of flumes in measuring discharge; and,

j. Chapter A21, Wagner, C. Russell, 1995, Stream-gaging cableways.

2. United States Geological Survey, Techniques and Methods, Book 3:

a. Chapter A7, Sauer, V.B., and Turnipseed, D.P., 2010, Stage measurement at gaging stations;

b. Chapter A8, Turnipseed, D.P., and Sauer, V.B., 2010, Discharge measurements at gaging stations;

c. Chapter A22, Mueller, D.S., Wagner, C.R., Rimmel, M.S., Oberg, K.A., and Rainville, Francois, 2013, Measuring discharge with acoustic Doppler current profilers from a moving boat; and,

d. Chapter A23, Levesque, V.A., and Oberg, K.A., 2012, Computing discharge using the index velocity method.

(3) NELAC and TNI Standards, as listed below. Copies of these documents are available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400, or from the publisher at The NELAC Institute, P.O. Box 2439, Weatherford, TX 76086 or the publisher’s website at http://www.nelac-institute.org/index.php.

(a) Glossary, Appendix A to Chapter 1, Program Policy and Structure, 2016 2003 NELAC Standards, Approved June 5th, 2003, EPA/600/R-04/003 (http://www.flrules.org/Gateway/reference.asp?No=Ref-04357); and,

(b) The NELAC Institute (TNI), EL-V1-ISO-2016-Rev. 2.0, Environmental Laboratory Sector, Vol. 1, Management and Technical Requirements for Laboratories Performing Environmental Analysis (2016).

(4) EPA Requirements for Quality Assurance Project Plans Standard, EPA CIO 2105-S-02.1QA/R-5 (EPA/240/B-01/003), April 2024 (Link) March 2001 (http://www.flrules.org/Gateway/reference.asp?No=Ref-04358).

(5) Alternative and Modified Analytical Laboratory Methods, DEP-QA-001/01 (dated Effective Date January 2017) (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-08001) and the following documents cited therein:

(a) Definition and Procedure for the Determination of the Method Detection Limit – Revision 1.11, 40 CFR Part 136, Appendix B, 7-1-16 Edition (http://www.flrules.org/Gateway/reference.asp?No=Ref-08008);

(b) IUPAC – Nomenclature in Evaluation of Analytical Methods including Detection and Quantification Capabilities,  Pure & Appl. Chem., Vol. 67, No. 10, pp. 1699-1723, ©1995 (http://www.flrules.org/Gateway/reference.asp?No=Ref-04361); available for download at http://www.iupac.org/publications/pac/index/ or available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400; and,

(c) Hubaux, A., G. Vos, Decision and Detection Limits for Linear Calibration Curves, Analytical Chemistry, Vol. 42. No. 8, pp. 849-855, July 1970; available for download at http://pubs.acs.org/journal/ancham or available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400.

(6) 40 CFR, Part 136.3, Identification of Test Procedures, Revised Date 7/1/16 edition (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-08009).

(7) 40 CFR, Part 136.4, Application for and approval of alternate test procedures for nationwide use,  Revised Date 7/1/16 edition (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-08011).

(8) 40 CFR, Part 136.5, Approval of alternate test procedures for limited use, Revised Date 7/1/16 edition (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-08012).

(9) 40 CFR, Part 136.6, Method Modifications and Analytical Requirements, Revised Date 7/1/16 edition (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-08014).

(10) 40 CFR Part 141, National Primary Drinking Water Regulations, Subpart C, Monitoring and Analytical Requirements, section 141.27, Alternate analytical techniques, Revised Date 7/1/16 edition (Link) (http://www.flrules.org/Gateway/reference.asp?No=Ref-08016).

(11) Chapter Two, Choosing the Correct Procedure, Section 2.1, Guidance Regarding Flexibility Inherent to SW-846 Methods and the Precedence of SW-846 Quality Control Criteria (February 2007), in Test Methods for Evaluating Solid Waste, Physical/Chemical Methods (SW-846) (http://www.flrules.org/Gateway/reference.asp?No=Ref-04368). This publication may be viewed at http://www.epa.gov/epawaste/hazard/testmethods/sw846/online/index.htm, where it may also be downloaded. A printed copy may be obtained from the National Technical Information Service, U.S. Department of Commerce, 5301 Shawnee Road, Alexandria, VA. 22312.

(12) Guidelines for Collaborative Study Procedures to Validate Characteristics of a Method of Analysis, Appendix D, Official Methods of Analysis of AOAC INTERNATIONAL, 19th edition (2012). A copy of this document is available for review during normal business hours at the Department of Environmental Protection, Water Quality Standards Program, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400 or from the publisher at AOAC INTERNATIONAL, 481 N. Frederick Ave., Suite 500, Gaithersburg, MD 20877, or from the publisher’s website at http://www.aoac.org.

(13) Process for Assessing Data Usability (DEP-EA-001/07), dated Effective Date (Link) March 31, 2008 (http://www.flrules.org/Gateway/reference.asp?No=Ref-04369).

(14) Applicability of Chlorophyll a Methods (DEP-SAS-002/10), dated Effective Date (Link).

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 4-9-02, Amended 6-8-04, 12-3-08, 7-30-14, 4-16-18, --.

- 62-160.900 Forms.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 1-1-91, Amended 2-4-93, Formerly 17-160.900, Amended 3-24-96, 10-15-96, 4-9-02, Repealed 2-23-12.