# TIMELINE OF ACTIVITIES

City of Hialeah Training Facility

| DATE | ACTIONS | Program or Agency Involved | NOTES |
| --- | --- | --- | --- |
| 8/15/19 | Contacted fire chief in regard to acquiring site access. | DEP, City of Hialeah | To request site access and answer questions. DEP Site Number: ERIC_7419 |
| 02/13/20 | Preliminary assessment performed. | DEP, State contractor | Sediment, soil and groundwater samples collected for per- and polyfluoroalkyl substances (PFAS). These analytes are associated with firefighting aqueous film forming foam (AFFF). |
| 4/20/20 | Certified Laboratory Results Received. | DEP Central Laboratory | Concentrations of perfluorooctanoate acid (PFOA) and perfluorooctane sulfonate (PFOS) in groundwater were above the groundwater cleanup target level (GCTL); the concentrations of PFOA and PFOS in soil were above provisional soil cleanup target levels. |
| 4/20/20 | DEP notified DEP staff, the Department of Health (DOH) and the City of Hialeah Training Facility of sample results. | DEP, DOH and City of Hialeah Training Facility | DEP notified DOH to conduct private well sampling and provide necessary notifications. |
| 5/26/20 | Letter provided to City of Hialeah Training Facility. | DEP | DEP provided a letter to the training facility indicating that they may be responsible for further assessment and remediation. |
| 5/18/23 | TA completed and given to CDM Smith, Inc. | DEP | Site assessment/recon work to begin at the end of May. |
| 09/08/2023 | Site Assessment work plan submitted and approved for invoicing. | DEP, CDM Smith | Currently accepting bids for next phase of site work. |
| 01/23/2024 | Teams meeting discussing outline for next phase of work. | DEP, CDM Smith | Currently awaiting new SAWP. |
| 04/23/2024 | SAWP was denied due to being too expensive. | DEP, CDM Smith | Currently awaiting new SAWP. |
| 02/12/2025 | Finally have a working TA proposal. | DEP, CDM Smith | Beginning work on new TA today (2/12/25). |
| 04/01/2025 | Task Assignment issued. | DEP, CDM Smith | First deliverable is due 05/30/2025. |
| 6/19/2026 | Assessment Ongoing | DEP, CDM Smith | Assessment of the sports field adjacent to the fire training facility continues. All samples have been collected and the report is due 7/31/26. |