# DEPARTMENT OF ENVIRONMENTAL PROTECTION DISCHARGE MONITORING REPORT

When completed mail this report to: Department of Environmental Protection, Domestic Wastewater Section, MS 3540, 2600 Blair Stone Road, Tallahassee, FL 32399-2400

| PERMITTEE NAME: MAILING ADDRESS: | [Permittee Name] [Permittee Mailing Address] | PERMIT NUMBER: | [FLXXXXXX] |  |
| --- | --- | --- | --- | --- |
| LOCATION: | [Facility Address] | MONITORING GROUP DESCRIPTION: |  |  |
| COUNTY: | [County Name] | MONITORING PERIOD From: | To: |  |
| OFFICE: | [County Name] |  |  |  |

| Parameter |  | Quantity or Loading |  | Units | Quality or Concentration |  |  | Units | No. Ex. | Frequency of Analysis | Sample Type |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| pH | Sample Measurement |  |  |  |  |  |  |  |  |  |  |
| PARM Code 00400 G Mon. Site No. CAL-I | Permit Requirement |  |  |  | 6.0 (Min.) |  | 8.5 (Max.) | s.u. |  | Monthly | Calculated |
| CBOD | Sample Measurement |  |  |  |  |  |  |  |  |  |  |
| PARM Code 80091 G Mon. Site No. CAL-I | Permit Requirement |  |  |  | 60.0 (Single Max) | 30.0 (Mon.Avg.) | 20.0 (An.Avg.) | mg/L |  | Monthly | Calculated |
| Solids, Total Suspended | Sample Measurement |  |  |  |  |  |  |  |  |  |  |
| PARM Code 00530 G Mon. Site No. CAL-I | Permit Requirement |  |  |  | 60.0 (Single. Max) | 30.0 (Mon.Avg.) | 20.0 (An.Avg.) | mg/L |  | Monthly | Calculated |
| Flow (for Domestic) | Sample Measurement |  |  |  |  |  |  |  |  |  |  |
| PARM Code 50050 G Mon. Site No. CAL-I | Permit Requirement | 10,000 (Monthly Avg.) |  | GPD |  |  |  |  |  | Daily | Calculated |
| Flow (for Commercial) | Sample Measurement |  |  |  |  |  |  |  |  |  |  |
| PARM Code 50050 G Mon. Site No. CAL-I | Permit Requirement | 5,000 (Monthly Avg.) |  | GPD |  |  |  |  |  | Daily | Calculated |
| Nitrogen, Total, % removal | Sample Measurement |  |  |  |  |  |  |  |  |  |  |
| PARM Code XXXX G Mon. Site No. CAL-I | Permit Requirement |  |  |  |  | 80% (An.Avg.) |  | Percent |  | Monthly | Calculated |
| Nitrogen, Total (as N) | Sample Measurement |  |  |  |  |  |  |  |  |  |  |
| PARM Code 00603 G Mon. Site No. CAL-I | Permit Requirement |  |  |  |  | Report (Mon.Avg.) |  | mg/L |  | Monthly | Calculated |
| Nitrogen, Total (as N) | Sample Measurement |  |  |  |  |  |  |  |  |  |  |
| PARM Code 00603 G Mon. Site No. CAL-I | Permit Requirement |  |  |  |  | Report (Mon.Max) |  | mg/L |  | Monthly | Calculated |

## *FOR THOSE PARAMETERS THAT ARE SAMPLED ANNUALLY, THE MAXIMUM AND AVERAGE CONCENTRATIONS ARE EQUIVALENT AND SHALL BE REPORTED AS SUCH ON THE DMR.

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

| NAME/TITLE OF PRINCIPAL EXECUTIVE OFFICER OR AUTHORIZED AGENT | SIGNATURE OF PRINCIPAL EXECUTIVE OFFICER OR AUTHORIZED AGENT | TELEPHONE NO | DATE (mm/dd/yyyy) |
| --- | --- | --- | --- |

COMMENT AND EXPLANATION OF ANY VIOLATIONS (Reference all attachments here):