TIMELINE OF ACTIVITIES

Englewood Fire Training Center

|  |  |  |  |
| --- | --- | --- | --- |
| **DATE** | **ACTIONS** | **Program or Agency**  **Involved** | **NOTES** |
| **3/15/19** | Facility Outreach | DEP | To inform of the ongoing assessment effort, coordinate site access and answer questions.  DEP Site Number: ERIC\_7405 |
| **4/4/19** | DEP performs site visit with facility leadership. | DEP | Site walk through to identify historical use of AFFF and determine sampling areas. |
| **4/17/19 and 4/18/19** | Preliminary Site Assessment conducted. | DEP and State Contractor | Field sampling of surface water, groundwater, soil and sediment locations. |
| **5/10/19** | Certified Englewood Sampling Results Received. | DEP | One groundwater sample exceeded the Health Advisory Level (HAL) for perfluorooctanoate  acid (PFOA) and perfluorooctane sulfonate (PFOS). |
| **5/13/19** | Results shared with the City of Englewood and Department of Health (DOH). | DEP and DOH | DEP notified DOH to conduct private well sampling and provide necessary notifications. |
| **5/29/19** | Letter provided to Englewood Fire Training Center from DEP South District Office. | DEP – Englewood Fire Training Center | Letter to Englewood Fire Training Center indicating that they may be responsible for further assessment and remediation. |

|  |  |  |  |
| --- | --- | --- | --- |
| **6/26/19** | DEP Central Laboratory certified DOH private supply well results | DOH | DWASTEWELL-2019-06-05-02.  Eleven supply well results. No PFOA/PFOS HAL exceedances. |
| **7/30/19** | DEP Central Laboratory certified DOH private supply well results. | DOH | DWASTEWELL-2019-07-12-02.  Three supply well results. No PFOA/PFOS HAL exceedances. |
| **8/6/19** | Florida DOH has collected samples from fourteen private supply wells that were located near the Fire Training Center. | DOH | Results indicated that the presence of PFOA and PFOS in samples collected from one private supply well were above the HAL. |
| **5/11/23** | Access letter sent to Englewood Fire Training Center | DEP and Englewood Fire Training Center | DEP will assume responsibility for the training facility’s assessment. Awaiting signed access agreement. |
| **12/7/23** | Signed Access Agreement was received. | DEP and Englewood Fire | DEP will move forward with the training facility’s assessment. |
| **7/18/2024** | Terracon was assigned to the site and completed a site assessment work plan. The next step will be completing a site assessment. | DEP and Terracon | DEP and Terracon are working on a site assessment proposal for the next steps. |
| **10/16/2024** | Terracon completed their Site Recon and Groundwater Sampling in September 2024. They are planning to go back out to the site and complete Site Assessment activities in October/November 2024. Activities will include DPT and Monitoring Well Installations. They will also conduct soil, surface water, and groundwater sampling. | DEP and Terracon | DEP and Terracon are currently working on the next phase of assessment and working on executing a task assignment for the work. |
| **11/22/2024** | The TA for Site Assessment was executed in Nov 2024. Terracon will start their first mobilization on December 3, 2024, for sediment and surface water PFAS investigation, private utility locates (GPR), and Video Pipe Investigation | DEP SIS and Terracon | Terracon is getting everything prepared for the upcoming field event. |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |