| DATE | ACTIONS | Program or Agency Involved | NOTES |
| --- | --- | --- | --- |
| 5/18/21 | Site access granted. | DEP- Fire Academy of the South | DEP secured site access. DEP site number: ERIC_17235. |
| 6/23/21 | Site reconnaissance performed at the site with Academy representatives and a DEP contractor. | DEP- Fire Academy of the South | Site reconnaissance performed. PFAS samples collected from two surface water bodies and a supply well. SIS-2021-06-25-01 |
| 7/01/21 | DEP Central Laboratory certified results released. | DEP Central Laboratory | Elevated PFAS levels in the surface water bodies. The potable well was nondetect for all PFAS analytes. |
| 8/06/21 | Draft work plan released by State contractor. | DEP - State Contractor | Prospective soil, ground and surface water sample locations identified. |
| 10/11/21 | Final work plan released by State Contractor. Initial soil sampling and DPT work scheduled for week of 11/15/21 | DEP-State Contractor-Fire Academy of the South | Work Plan sent to Fire Academy of the South |
| Nov.-Dec. 2021 | State Contractor collects soil and surface water samples from 110+ locations | DEP - State Contractor | PFAS contamination in soils and surface water spread broadly across facility |
| 12/13/21 | SIS installs 8 shallow monitor wells at the site and collects HPT data | DEP - State Contractor | Monitor wells are water table intercept wells |
| February 2022 | DPT rig scheduled for collection of screen-points | DEP - State Contractor |  |
| March 14, 2022 | Sonic Rig scheduled for installation of deep wells | DEP - State Contractor |  |
| August 2022 | Golder Issues SAR | DEP - State Contractor | PFAS is spread across site in groundwater, soils, sediments and surface water |
| March 2023 | Second Phase of Assessment begins. Shallow monitor wells, vertical profiling and sediment and surface water sampling including offsite locations | DEP - State Contractor | Samples will be collected from adjacent Alden Road Exceptional School |
| November 2023 | Supplemental SAR released | DEP - State Contractor | Groundwater and soil samples collected from Alden Road exceptional school not contaminated. Concentrations of PFAS decrease south of canal below PGCTL of 70 ng/L. |
| January 2024 | WSP developing CEF for three different source remediation scenarios | DEP - State Contractor | WSP and DEP scheduled to meet with FAOS and FSCJ personnel to discuss SSAR and remediation scenarios the week of February 12th 2024 |
| January 2024 | WSP developing CEF for assessment of impacted potable wells located south of Beach Blvd | DEP - State Contractor | Some potable wells located along Versailles Street exceed PGCTL |
| February 2025 | WSP resamples existing monitor well network | DEP-WSP | DEP Lab results sent 3-13-2025. Awaiting SSAR |
| June 2025 | WSP issues SSAR | DEP-WSP | Report recommends additional work to south and west of the facility |
| November 2025 | WSP provides CEF/LOE for next phase | DEP-WSP | CEF/LOE under review |