PERMITTING & COMPLIANCE ASSISTANCE PROGRAM

STORAGE TANK SYSTEM COMPLIANCE VERIFICATION PROGRAM

LEVEL OF EFFORT GUIDANCE

LEVEL 1 AND LEVEL 2 PROGRAMS

PURPOSE:

This enforcement guidance is provided for the Level 1 (Compliance Assistance) and Level 2 (Compliance Assistance with Self-Enforcement) contracted local tanks programs to clarify the process for violation citation and subsequent compliance assistance actions.

# VIOLATION TYPES:

Violation types in the storage tank program:

- Significant Non-Compliance - A (SNC–A)

These violations are considered a top priority due to their potential for harm to the environment. They are identified in the “Significance” column of the Storage Tank System Program Violation List (Guidance Document A of the Contract Scope of Work - see Compliance Contracts ).

- Significant Non-Compliance - B (SNC–B)

These violations are considered a high priority due to their potential for harm to the environment. They are identified in the “Significance” column of the Storage Tank System Program Violation List (Guidance Document A of the Contract Scope of Work - see Compliance Contracts).

- Minor

These violations are considered a lower priority. They are identified in the “Significance” column of the Storage Tank System Program Violation List (Guidance Document A of the Contract Scope of Work - see Compliance Contracts).

# SNC-A VIOLATIONS:

The following “Level of Effort” is required on SNC-A violations at the Contractor level for Level 1 Contractors. Level 2 Contractors will enforce violations according to local ordinances. See attached Flowchart for County Compliance and Referral Actions.

Contractors shall make every effort to confirm contact with the facility owner and operator, and if necessary, conduct research into additional contact information that may not be available in FIRST.  NOTE: If Contractor is unable to confirm contact with the facility owner and operator, Division Task Manager shall be contacted for assistance.

- Upon discovery of a SNC-A violation, the Contractor shall cite the violation in FIRST (Florida Inspection Reporting Storage Tanks) and make contact with the facility owner and operator no later than 72 hours of the violation discovery. Then, the Contractor shall finish the inspection, send the inspection report to the facility (property) owner AND operator (if a separate party) with a Notice of Referral, indicating that the matter is being referred to the DEP District office and refer the facility to the DEP District office within 14 calendar days.

- Violations referred to the DEP District office shall be in accordance with Guidance Document G, Guidelines for Case Referrals, of the Contract Scope of Work – see Compliance Contracts. The Contractor shall ensure that FIRST is up-to-date and appropriate documents are attached in accordance with the FIRST User’s Guide.

- The DEP District may coordinate with the Division to request assistance from the Contractor during the enforcement process to collect compliance information or to conduct follow-up inspections to determine the facility’s compliance status, but the DEP District will be the principal contact with the owner/operator from this point forward.

# SNC-B & MINOR VIOLATIONS:

The following “Level of Effort” is required on SNC–B and Minor violations at the Contractor level for Level 1 Contractors. Level 2 Contractors will enforce violations according to local ordinances. See attached Flowchart for County Compliance and Referral Actions.

- Upon discovery of a SNC-B or Minor violation, the Contractor will cite the violation in FIRST and make contact with the facility owner and operator within 72 hours of the violation discovery. Then, the Contractor shall finish the inspection and issue a Compliance Assistance Offer (CAO) Letter to the facility owner/operator within 14 calendar days.

For violations that cannot otherwise be corrected, such as for gaps in monthly visuals or testing, which occurred three consecutive months or less, the violation shall be closed with the issuance of the CAO Letter to the facility owner/operator within 14 calendar days.

- The Contractor shall make contact with the facility’s owner and operator no later than 30 days after the inspection to determine if corrective actions have been taken to resolve the cited violations. If corrective actions have been taken for some or all of the cited violations, Contractor shall close the resolved violations in FIRST and issue a Return to Compliance (RTC) letter.  All follow-up communications with the facility’s owner/operator shall be documented in FIRST.

- If the facility owner/operator responds that the violation has been corrected, and the facility provides documentation (photographs, manifests, and/or repair receipts), the violation may be closed and a Return to Compliance Letter shall be issued. If the documentation received by the Contractor appears to be insufficient, or if it was presented in a manner that the Contractor cannot determine compliance, they may request a Compliance Assistance reinspection from the Division of Waste Management through STR_VARIABLES@FloridaDEP.gov. The Contractor may also request a Compliance Assistance reinspection to document the resolution of violations for those facilities at which there has been a poor communication, poor compliance history (including those referred for enforcement), or where access was denied to the facility or components.

A Compliance Assistance reinspection may not be conducted unless the Division of Waste Management approves the inspection through STR_VARIABLES@FloridaDEP.gov prior to it being conducted.

- Violations that are corrected following the initial compliance inspection shall be resolved in FIRST by the Contractor without conducting a Compliance Assistance reinspection provided the owner/operator, or a contractor working on behalf of the owner/operator provides the necessary test results, records, repair receipts, manifest, or photo-documentation to resolve the violations.

- The owner and operator is given up to 90 calendar days to resolve the violation at the Contractor level. If at the 90-calendar day mark, the violation remains unresolved, the Level 1 Contractor shall refer the violation to the DEP District office. The 90-day clock begins on the date of the site inspection.

- Prior to 90-day referral, the Contractor shall close any violation in FIRST determined to be resolved based on a Compliance Assistance Inspection and/or test results, records, repair receipts, manifests, or photo-documentation provided by the facility.

Even if the violation is in the process of resolution and is being accomplished in a manner that is acceptable to both the Level 1 Contractor and Department, the violation should be referred at the 90-day mark to the DEP District office. Upon referral, the District will review and coordinate with the Level 1 Contractor to either return the referral to the Level 1 Contractor and grant up to an additional 30 days for corrective actions to be completed or will take the lead on enforcement.  The District may request assistance from the Level 1 Contractor during the enforcement process, but the District will be the principal contact with the owner/operator from this point forward. Any and all information or documentation provided to the Level 1 Contractor during the enforcement process shall be provided immediately to the appropriate District enforcement manager.

- Violations referred to the DEP District office by the Level 1 Contractor shall be in accordance with Guidance Document G, Guidelines for Case Referrals, of the Contract Scope of Work – see Compliance Contracts. The Contractor shall ensure that FIRST is up-to-date and appropriate documents are attached in accordance with the FIRST User’s Guide.

# AREAS OF CONCERN (AOCs):

FIRST allows an inspector to cite any rule citation and identify it as either an Area of Concern (AOC) or a Violation during an inspection. If a violation of the rule is discovered during the inspection, then a Violation should be cited. If the inspector has determined that the issue has not reached the point of being a violation of the rule, but there is a concern, then an AOC should be cited.

It should be noted that all AOCs cited in an inspection are automatically closed in FIRST upon the inspection report being finished.