# GUIDELINES FOR

**CHARACTERIZING UNDERGROUND INJECTION CONTROL**

**VIOLATIONS**

**July 2020**

INDEX

Subject Page

[Rule Citations ii](#_bookmark0)

[Additional Definitions iv](#_bookmark1)

[General Guidelines 1](#_bookmark2)

[Matrix Factors](#_bookmark3)

1. Failure to Provide Timely or Accurate Reports/Records/Results 3
2. [Failure to Notify of Abnormal Event or Noncompliance 4](#_bookmark4)
3. [Construction of Well Without a Permit 5](#_bookmark5)
4. Test Injection Without Prior Authorization 6
5. Unauthorized Injection 7
6. [Mechanical Integrity Test Violation 8](#_bookmark6)
7. [Failure to Maintain or Operate Equipment 9](#_bookmark7)
8. [Failure to Maintain Financial Responsibility 10](#_bookmark8)
9. [Lack of Confinement 11](#_bookmark9)
10. Operation of Well Without a Valid Permit 12
11. [Unauthorized Plugging and Abandonment 13](#_bookmark10)
12. [Failure to Meet Permit Limitations or Water Quality Standards 14](#_bookmark11)
13. [Failure to Conduct Water Quality Monitoring 15](#_bookmark12)
14. Improper Well Construction or Failure to Construct an Underground Injection Control Well Substantially

In Accordance with Approved Plans 16

# Rule Citations

TERMS FLORIDA ADMINISTRATIVE CODE (F.A.C.) RULE CITATION

aquifer exemption 62-528.300(3)

abnormal event 62-528.415(4)

confinement 62-528.100(1), 62-528.405(2)(a), and 62-528.425(1)(g)

confining zone 62-528.200(14), 62-528.405(2), and 62-528.440(2)(c)

and (d)

emergency disposal 62-528.200(22), 62-528.415(4)(c), 62-528.450(2)(k),

and 62-528.455(1)(d)

exempted aquifer 62-528.200(23) and 62-528.300(3) financial

responsibility 62-528.435(9)

hazardous waste well 62-528.200(35), 62-528.300(1), 62-528.400(1), and

403.7222(1), F.S.

industrial well 62-528.410(1)(e)

injection well 62-528.120, 62-528.200(39), 62-528.200(69),

62-528.300(1), and 62-528.600(2)

injection well system 62-528.200(40)

injection zone 62-528.200(41) maximum injection

pressure 62-528.410(7)(c) and 62.528.415(1)(a)-(c)

maximum injection

velocity 62-528.415(1)(f)

mechanical integrity 62-528.300(6) mechanical integrity

testing (MIT) 62-528.300(6) and 62-528.425(1)(d)

monitor well 62-528.200(44),(47),(55), & (57), and 62-528.420

multihorizon

monitor well 62-528.200(44)

municipal well 62-528.200(45) and 62-528.410(1)(e) CONTINUED NEXT PAGE

Continuation of Rule Citations

TERMS FLORIDA ADMINISTRATIVE CODE (F.A.C.) RULE CITATION

operation and maintenance

(O&M) manual 62-528.415(3)

plugging and

abandonment 62-528.435(Class I); 62-528.645(Class V)

public notice 403.815

temporary operation 403.088, 40 CFR 144.34, and Secretary Browner

7/1/91 Enforcement memorandum

tubing and packer 62-528.200(50) & (65), and 62-528.410(1)(e) well construction

standards 62-528.410 (Class I); 62-528.605 (Class V)

well monitoring 62-528.200(71)

well casing 62-528.200(68)

well injection 62.528.120 and 62-528.200(69) Underground Sources of

Drinking Water (USDW) 62-528.200(66)

# ADDITIONAL DEFINITIONS

Alternate disposal - All other means of disposal except well injection.

Confinement - A rock unit that is above/below the injection zone that is capable of containing the injection fluids within the injection zone.

Public comment - Any timely written comments submitted to the Department by the public.

Public notice - Publication of notice of proposed agency action stating the purpose of

proposed action, published no less than 30 days prior to agency action.

Mechanical Integrity - Successful completion of the internal and the external test.

# GENERAL GUIDELINES

This document along with the Department of Environmental Protection Directive 923, revised February 14, 2013 (DEP Directive 923) is to be used for the Underground Injection Control (UIC) Program to determine if enforcement action is appropriate and penalty amounts if an enforcement action is initiated. The following sections identify specific guidelines to assist in determining UIC violations and appropriate penalties. These sections and guidelines may be more fully developed as experience in applying the program specific guidelines dictates and do not include every possible violation.

As stated in DEP Directive 923, it should be noted that “Assisting with prompt return to compliance without formal enforcement is the preferred means to correct a violation committed by a person who did not know that the person’s actions were contrary to law, or whose actions were inadvertent, if the violation caused no more than ’minor harm’ as identified in the guidelines below. An inadvertent violation is one that occurs despite the good faith efforts of the responsible party to comply with the applicable requirements.”

If formal enforcement is pursued Department staff must then decide whether a civil penalty is appropriate using the guidelines below. These guidelines do not require imposition of a civil penalty in every enforcement action. Penalties are to be used to insure immediate and continued compliance by the violator and others who may face a similar situation in the future. Refer to Directive DEP 923 for specific details on accessing a civil penalty.

Certain (UIC) program violations may result in the generation of wastewater that can cause surface water quality violations. Surface water quality violations resulting from UIC related activities should be referred to other Department programs for coordination of enforcement efforts.

**Multi-day Assessments and Adjustment Factors**

DEP Directive 923 discusses when and how to assess multi-day penalties. The directive also sets out various adjustment factors to be used when calculating a penalty based on the matrix. These factors include:

* + Knowing, deliberate, or chronic violations.
  + Good faith efforts to comply (or lack of good faith efforts to comply) either prior to or after Department discovery of the violation.
  + History of noncompliance.
  + Economic benefit of noncompliance.
  + Ability to pay.
  + Other unique factors.

**In-Kind Penalties and Pollution Prevention Projects**

In-Kind Penalties and Pollution Prevention Projects should be considered as provided in Directive 923.

# GUIDELINES FOR CHARACTERIZING UIC VIOLATIONS

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| E N V I R O N M E N T A L  H A R M | EXTENT OF DEVIATION FROM REQUIREMENT | | | |
|  | MAJOR | MODERATE | MINOR |
| MAJOR | $15,000 | $11,999 | $8,999 |
| to | To | to |
| $12,000 | $9,000 | $6,900 |
| MODERATE | $6,899 | $4,799 | $2,999 |
| to | to | to |
| $4,800 | $3,000 | $1,800 |
| MINOR | $1,799 | $750\* | $750\* |
| to |
| $750 |

\* Environmental Education may be an acceptable substitute

**Matrix Factors**

# Failure to Provide Timely, Complete, and Accurate Reports/Records/Results

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | 1. N/A | 1. Fraudulent data or information provided. 2. Three consecutive submittals were not provided, regardless of whether written notifications are issued by the Department. 3. 50 percent of required submittals not provided within a twelve-month period, regardless of whether written notifications are issued by the Department. 4. Submittal not provided after two written notifications are issued by the Department. 5. Representative samples are not being collected or submitted. |
| **Moderate** | 1. N/A | 1. Two consecutive submittals not provided, regardless of whether written notifications are issued by the Department. 2. 25 percent of required submittals not provided within a twelve-month period, regardless of whether written notifications are issued by the Department. 3. Submittal not provided after one written notification is issued by the Department. 4. Timely submittal is incomplete or inaccurate but not fraudulent |
| **Minor** | 1. Failure which actually results or is reasonably expected to result in pollution in a manner that represents a minimal threat to human health or the environment. | 1. Submittal is provided within four weeks of its due date. 2. Reports/Records/Results not provided are maintained and available at the treatment facility. |

# Failure to Notify of Abnormal Event or Noncompliance

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | 1. Failure which actually results in pollution in a manner that represents a substantial threat to human health or the environment. | 1. Abnormal event or noncompliance is discovered by the Department (or local program) without timely notice provided by the permittee or authorized representative. 2. Permittee or authorized representative has been previously notified on the proper reporting of abnormal events or noncompliance. 3. Permittee or authorized representative fails to follow a contingency plan that has been accepted by the Department. |
| **Moderate** | 1. Failure which actually results or is reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | 1. Permittee notifies the Department (and local program) beyond 24 hours of abnormal event or noncompliance. 2. Permittee or authorized representative fails to submit a written report. |
| **Minor** | 1. Failure which actually results or is reasonably expected to result in pollution in a manner that represents a minimal threat to human health or the environment. | 1. Permittee notifies the Department (and local program) within 24 hours but not in accordance with Rule 62-528.415(4), F.A.C. 2. Permittee or authorized representative submit a written report >5 days after the abnormal event or noncompliance. 3. Failure to notify the Department of use of the authorized emergency disposal system. |

# Construction of Well Without a Permit

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | 1. Well placed into service which actually results in pollution in a manner that represents a substantial threat to human health or the environment. | 1. Construction without a valid construction permit. 2. Construction without a Florida water well contractor’s license. 3. Submittal of an application after expiration date of construction permit. |
| **Moderate** | 1. Well placed into service which actually results or is reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | 1. Submittal of an incomplete application less than sixty days of the construction permit expiration date. |
| **Minor** | 1. Well constructed or well under construction, but not placed in service, which actually results or is reasonably expected to result in pollution in a manner that represents a minimal threat to human health or the environment. | 1. N/A |

1. **Short-Term Test Injection Without Prior Authorization**

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | 1. Injection test which actually results in pollution in a manner that represents a substantial threat to human health or the environment. | 1. Test injection without prior written authorization. 2. Test injection written authorization obtained from Department that was based on false, inaccurate, or incomplete data or information submitted by the permittee or the agent of the permittee. 3. Commenced test injection without monitoring effluent or completion of monitor wells. |
| **Moderate** | 1. Injection test which actually results or is reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | 1. Commenced test injection without obtaining background water quality sampling and appropriate analyses. 2. Commenced test injection not in accordance with permit conditions. |
| **Minor** | 1. Injection test which actually results or is reasonably expected to result in pollution in a manner that represents a minimal threat to human health or the environment. | 1. N/A |

1. **Unauthorized Operational or Cycle Testing**

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | 1. Injection which actually results in pollution in a manner that represents a substantial threat to human health or the environment. | 1. Did not perform required testing. 2. Release or disposal is deliberate or results from improper operation or maintenance. 3. Facility fails to immediately implement adequate corrective measures. |
| **Moderate** | 1. Injection which actually results or is reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | 1. Did not submit required testing results. 2. Facility immediately implements adequate corrective measures. |
| **Minor** | 1. Injection which actually results or is reasonably expected to result in pollution in a manner that represents a minimal threat to human health or the environment. | 1. Submitted complete test results. 2. Release or disposal was a result of failed equipment that had received proper maintenance or due to conditions beyond the control of the permittee. |

# Mechanical Integrity Test Violation

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | 1. Violation which actually results in pollution in a manner that represents a substantial threat to human health or the environment. | 1. Failure of MIT allowing fluid movement into a USDW. 2. Failed MIT where location of leak or extent of vertical fluid movement has not been determined. 3. No MIT performed. 4. MIT completed over 3 months after due date. 5. MIT conducted using unauthorized or inappropriate equipment or tracer material. |
| **Moderate** | 1. Violation which actually results or is reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | 1. MIT completed within 1 months to 3 months after due date. |
| **Minor** | 1. Violation which actually results or is reasonably expected to result in pollution in a manner that represents a minimal threat to human health or the environment. | 1. MIT completed less than 1 month after due date. |

# Failure to Maintain or Operate Equipment

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | 1. Failure which actually results in pollution in a manner that represents a substantial threat to human health or the environment. | 1. Primary equipment essential to the operation of the well is totally inoperative. 2. Corrective measures not implemented after one written DEP notification is issued. 3. Failure to maintain fully operational Emergency Disposal System in accordance with Chapter 62-528, F.A.C., or permit’s specific conditions. 4. Facility failed to perform routine maintenance. 5. More than one substantial deviation exists from the standard practices/procedures or from the operation and maintenance manual. 6. Results in the failure to obtain a UIC permit renewal. |
| **Moderate** | 1. Failure which actually results or is reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | 1. Support equipment, non-essential to the operation of the well, is inoperative. 2. Corrective measures not implemented after one written DEP notification is issued. 3. Failure to maintain fully operational Emergency Disposal System in accordance with Chapter 62-528, F.A.C., or permit’s specific conditions. 4. Substantial deviation exists from standard practices/ procedures or from the operation and maintenance manual. 5. Facility failed to document routine maintenance. |
| **Minor** | 1. Failure which actually results or is reasonably expected to result in pollution in a manner that represents a minimal threat to human health or the environment. | 1. Equipment is operating at reduced mechanical/structural efficiency. 2. Deviations exist from standard practices/procedures or from the operation and maintenance manual. |

# Failure to Maintain Financial Responsibility

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | 1. N/A | 1. No plugging and abandonment plan submitted. 2. Expiration of financial mechanism. 3. Department draws on Letter of Credit. 4. Insufficient funding to plug and abandon injection well system when abandonment becomes necessary. |
| **Moderate** | 1. N/A | 1. No current audited financial report. 2. No current plugging and abandonment cost estimates. 3. The permittee failed to submit a satisfactory Certificate of Financial Responsibility Demonstration for each well. |
| **Minor** | 1. Failure which actually results or is reasonably expected to result in pollution in a manner that represents a minimal threat to human health or the environment. | 1. N/A |

# Lack of Confinement

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | 1. Fluid movement which actually results in pollution in a manner that represents a substantial threat to human health or the environment. | 1. Fluid moved into the USDW. 2. Water quality or pressure data indicates lack of confinement or deficient mechanical integrity. 3. Mechanical integrity testing indicates lack of confinement or deficient mechanical integrity. |
| **Moderate** | 1. Fluid movement which actually results or is reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | 1. Fluid moved into an unpermitted zone that is a non-USDW. |
| **Minor** | 1. Fluid movement which actually results or is reasonably expected to result in pollution in a manner that represents a minimal threat to human health or the environment. | 1. Pressure data, water quality data, and mechanical integrity testing provides reasonable assurance that mechanical integrity has been demonstrated and that waters of the State have been afforded protection against contamination. 2. Pressure data, water quality data, and mechanical integrity testing provides reasonable assurance that confinement has been demonstrated and that waters of the State have been afforded protection against contamination. |

1. **Operation of Well Without a Valid Permit or Authorization**

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | 1. Operation of the well which actually results in pollution in a manner that represents a substantial threat to human health or the environment. | 1. Non-submittal of an application. 2. Submittal of an application after expiration date of operation or construction permit. 3. Injection well system operating without possessing an appropriate valid permit or other valid authorization from the Department. |
| **Moderate** | 1. Operation of the well which actually results or is reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | 1. Submittal of an incomplete application less than 60 days before expiration of the operation or construction permit. |
| **Minor** | 1. Operation of the well which actually results or is reasonably expected to result in pollution in a manner that represents a minimal threat to human health or the environment. | 1. N/A |

# Unauthorized Plugging and Abandonment

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | 1. Plugging and Abandonment which actually results in pollution in a manner that represents a substantial threat to human health or the environment. | 1. Plugging and Abandonment without a permit. 2. Plugging and Abandonment which allows fluid movement between aquifers. 3. Plugging and Abandonment by an unlicensed contractor. |
| **Moderate** | 1. Plugging and Abandonment which actually results or is reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | 1. Use of materials not approved by the Department. 2. Failure to provide required notifications to the Department. |
| **Minor** | 1. Plugging and Abandonment which actually results or is reasonably expected to result in pollution in a manner that represents a minimal threat to human health or the environment. | 1. N/A |

# Failure to Meet Permit Limitations or Water Quality Standards

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | 1. Failure which actually results in pollution in a manner that represents a substantial threat to human health or the environment. | 1. Injection of hazardous waste unless permitted to do so. 2. Violation of a federal primary drinking water standard. 3. Violation of a flow or pressure limit. 4. Failure to comply with Department authorized operational testing conditions. |
| **Moderate** | 1. Failure which actually results or is reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | 1. Violation of a water quality criteria exemption limit, a state secondary drinking water standard or the sodium standard. 2. Failure to comply with Department authorized cycle testing schedule. |
| **Minor** | 1. Failure which actually results or is reasonably expected to result in pollution in a manner that represents a minimal threat to human health or the environment. | 1. N/A |

# Failure to Conduct Water Quality Monitoring

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | 1. Failure which actually results in pollution in a manner that represents a substantial threat to human health or the environment. | 1. Required daily monitoring of a parameter is not conducted for 30 or more monitoring days. 2. Required bi-weekly monitoring of a parameter is not conducted for 12 or more weeks or required weekly monitoring of a parameter is not conducted for 6 or more weeks. 3. Required quarterly monitoring of a parameter is not conducted for 6 or more months or required monthly monitoring of a parameter is not conducted for 3 or more months. 4. Required annual monitoring of a parameter is not conducted for 3 consecutive years, or semi-annual monitoring of a parameter is not conducted for 18 or more months. 5. Failure to obtain background water quality data prior to injection. |
| **Moderate** | 1. Failure which actually results or is reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | 1. Required daily monitoring of a parameter is not conducted for 11 to 30 monitoring days. 2. Required bi-weekly monitoring of a parameter is not conducted for 5 to 12 weeks, or weekly monitoring of parameter is not conducted for 3 to 6 weeks. 3. Required quarterly monitoring of a parameter is not conducted for 4 to 6 months, or monthly monitoring of a parameter is not conducted for up to 2 months. 4. Required annual monitoring of a parameter is not conducted for 2 consecutive years, or semi-annual monitoring of a parameter is not conducted for 12 consecutive months. |
| **Minor** | 1. Failure which actually results or is reasonably expected to result in pollution in a manner that represents a minimal threat to human health or the environment. | 1. Required daily monitoring of a parameter is not conducted for 10 or less monitoring days. 2. Required bi-weekly monitoring of a parameter is not conducted for 4 or less weeks, or weekly monitoring of a parameter is not conducted for 2 or less weeks. 3. Required quarterly monitoring of a parameter is not conducted for 3 or less months, or required monthly monitoring of a parameter is not conducted for a month. 4. Required annual monitoring of a parameter is not conducted, or semi-annual monitoring of a parameter is conducted only once in a twelve-month period. |

1. **Improper Well Construction or Failure to Construct In Accordance With Approved Plans**

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | 1. Construction which actually results in pollution in a manner that represents a substantial threat to human health or the environment. | 1. Substantial construction deviations are discovered after completion of construction without notice provided. 2. Substantial construction deviations such as location change, casing landing, cementing, or actual drilling occurred during construction. |
| **Moderate** | 1. Construction which actually results or is reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | 1. Substantial construction deviations are discovered during construction with no notice provided and does not involve activities such as casing landing, cementing or actual drilling. |
| **Minor** | 1. Construction which actually results or is reasonably expected to result in pollution in a manner that represents a minimal threat to human health or the environment. | 1. N/A |