Revision date: 07/01/2020

# Introduction

Department of Environmental Protection (DEP) Directive 923 is the Department’s controlling enforcement document. These guidelines are intended to complement Directive 923 to determine the appropriate civil and administrative penalties to seek when settling enforcement actions. These guidelines are intended to provide a rational, fair, and consistent method to determine the appropriate enforcement response for wastewater violations.

# Administrative Penalties (ELRA)

Under the Environmental Litigation and Reform Act (ELRA), the Department can issue an administrative penalty for certain violations through a Notice of Violation (NOV). Administrative penalty amounts are set by statute. For additional details, see DEP Directive 923 and Section 403.121 of the Florida Statutes (F.S.).

|  |  |  |
| --- | --- | --- |
| **Violation (Statutory Language)** | **Base Penalty** | **Cite (F.S.)** |
| Failure to obtain a required wastewater permit, other than a permit required for surface water discharge | $2,000 | 403.121(3)(b) |
| An unpermitted or unauthorized discharge or effluent limitation exceedance for a domestic or industrial wastewater violation not involving a surface water or groundwater quality violation | $4,000 |
| An unpermitted or unauthorized discharge or effluent limitation exceedance that resulted in a surface water or groundwater quality violation | $10,000 |
| Failure to install, maintain, or use a required pollution control system or device | $6,000 | 403.121(4)(b) |
| Failure to obtain a required permit before construction or modification | $4,500 | 403.121(4)(c) |
| Failure to conduct required monitoring or testing | $3,000 | 403.121(4)(d) |
| Failure to conduct required release detection |
| Failure to construct in compliance with a permit |
| Failure to maintain required staff to respond to emergencies | $1,500 | 403.121(4)(e) |
| Failure to conduct required training |
| Failure to prepare, maintain, or update required contingency plans |
| Failure to adequately respond to emergencies to bring an emergency situation under control |
| Failure to submit required notification to the department |
| Failure to prepare, submit, maintain, or use required reports or other required documentation | $750 | 403.121(4)(f) |
| Failure to comply with any other departmental regulatory statute or rule requirement not otherwise identified in this section | $1,000 | 403.121(5) |

# Multi-Day Penalties and Adjustment Factors

DEP Directive 923 discusses when and how to assess multi-day penalties. The directive also sets out various adjustment factors to be used when calculating a penalty based on the matrix. These factors include:

* Knowing, deliberate, or chronic violations.
* Good faith efforts to comply (or lack of good faith efforts to comply) either prior to or after Department discovery of the violation.
* History of noncompliance.
* Economic benefit of noncompliance.
* Ability to pay.
* Other unique factors.

Violations that are considered by the Wastewater Program as being Significantly Detrimental to the Environment should be pursued at the matrix amount beginning on the first day of violation up to a maximum of 30 days as in accordance with Directive 923.

# In-Kind Penalties and Pollution Prevention Projects

In-Kind Penalties and Pollution Prevention Projects should be considered as provided in Directive 923.

# Penalty Calculation Matrix for Wastewater Violations

**Matrix Factor Considerations**

The Department’s Penalty Matrix for cases other than Potable Water, Hazardous Substances, or Hazardous Waste, found in Directive 923, is reproduced below. Below the matrix are tables identifying what types of violations fall into what range of the matrix. It is important to remember that to place a violation in the “Major” category for Environmental Harm the violation must have actually resulted in pollution in a manner that represents a substantial threat to human health or the environment.

Moderate violations are those violations that actually or are reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. Minor violations are those violations that actually or are reasonably expected to result in a minimal threat to human health or the environment.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| E  N  V  I  R  O  N  M  E  N  T  A  L  H  A  R  M | EXTENT OF DEVIATION FROM REQUIREMENT\* | | | |
|  | MAJOR | MODERATE | MINOR |
| MAJOR | $15,000  to  $12,000 | $11,999  to  $9,000 | $8,999  to  $6,900 |
| MODERATE | $6,899  to  $4,800 | $4,799  to  $3,000 | $2,999  to  $1,800 |
| MINOR | $1,799  to  $750 | $750\*\* | $750\*\* |

\* For the purpose of the penalty calculation only, type III facilities that do not discharge to surface waters or unrestricted public access irrigation systems, may be reduced by one category, for “Environmental Harm” only. Those facilities with less than 25,000 gpd design capacity that do not discharge to sur- face waters or unrestricted public access irrigation systems may be considered “minor” in the category for “Environmental Harm” only.

\*\*Environmental Education may be an acceptable substitute.

# Specific Guidelines for Both Domestic and Industrial Wastewater

FAILURE TO SUBMIT NOTIFICATION OF COMPLETION OF CONSTRUCTION “CERTIFICATION” PRIOR TO PLACING TREATMENT, DISPOSAL OR COLLECTION SYSTEM INTO OPERATION

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | N/A | N/A |
| **Moderate** | N/A | N/A |
| **Minor** | Failure to submit notification of completion of construction “certification” prior to placing treatment, disposal or collection system into operation that actually or are reasonably expected to result in a minimal threat to human health or the environment. | Permitted treatment, disposal, or collection system placed into operation without receiving certification and approval from the department. |

FAILURE TO NOTIFY OF PLANNED BYPASS, ABNORMAL EVENT OR NON-COMPLIANCE

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | Bypass, abnormal event or non-compliance results in the release or disposal of wastewater, effluent, reclaimed water or biosolids to surface or ground waters at an unapproved disposal site that actually result in pollution in a manner that represents a substantial threat to human health or the environment. | Bypass, abnormal event or non- compliance is discovered by the Department without timely notice provided by the permittee or authorized representative even after repeat discussions on the proper reporting of bypass, abnormal event or non-compliance. |
| **Moderate** | Bypass, abnormal event or non-compliance results in the release or disposal of wastewater, effluent, reclaimed water or biosolids to surface or ground waters at an approved disposal site that actually or are reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | Permittee or authorized representative notified the Department (or local program) beyond 72 hours of the discovery of the bypass, abnormal event or noncompliance and did not follow-up in writing. |
| **Minor** | Bypass, abnormal event or non-compliance results in the release or disposal of wastewater, effluent, reclaimed water or biosolids to surface or ground waters at an approved disposal site that actually or are reasonably expected to result in a minimal threat to human health or the environment. | Permittee or authorized representative notified the Department (and local program) between 24 and 72 hours of the discovery of the bypass, abnormal event or non-compliance and did not follow-up in writing. |

FAILURE TO DISCOURAGE UNAUTHORIZED ENTRY OR PROVIDE APPROPRIATE NOTIFICATION FOR PUBLIC ACCESS REUSE

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | Resulted in substantial damage/harm to equipment, the environment, or public health, safety, or welfare. | Plant site/land application site provides no public notification as a reuse site, or has no features to discourage unauthorized entry or is in disrepair and being improperly used. |
| **Moderate** | Resulted in significant damage/harm to equipment, the environment, or public health, safety, or welfare. | Plant site/land application site provides no public notification as a reuse site, but has some features to discourage unauthorized entry. |

|  |  |  |
| --- | --- | --- |
| **Minor** | Resulted in minimal decrease or interference in operation, treatment, or safety proficiency. | Plant site/land application site provides public notification as a reuse site, but only has minimal features to discourage unauthorized entry. |

IMPROPER RELEASE OR DISPOSAL OF SEWAGE, RAW MATERIALS, PROCESS MATERIALS, OR INADE- QUATELY TREATED WASTEWATER

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | Release or disposal of any raw wastewater to Class I, II, III, IV, V surface waters, Outstanding Florida Waters, Outstanding National Resource Waters, or Class F-I, G-I, or G-II ground waters that actually results in pollution in a manner that represents a substantial threat to human health or the environment. | Release or disposal is deliberate or results from improper operation or maintenance or fails to immediately implement adequate corrective measures. |
| **Moderate** | Release or disposal of inadequately treated wastewater to Class I, II, or III surface waters, Outstanding Florida Waters, Outstanding National Resource Waters, Class F-I, G-I, or G-II ground waters that actually or are reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | Facility immediately implements adequate corrective measures. |
| **Minor** | Release or disposal of inadequately treated wastewater to Class IV or Class V surface waters, surface waters with no classification that actually or are reasonably expected to result in a minimal threat to human health or the environment. | Release or disposal was a result of failed equipment that had received proper maintenance or due to conditions beyond the facility’s reasonable control. |

FAILURE TO MEET PERMIT IMPOSED EFFLUENT LIMITATIONS AND/OR WATER QUALITY STANDARDS

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | Violation of permit limitations that result in a violation of water quality standards of Class I, II, III, IV, or V surface waters, Outstanding Florida Waters, Outstanding National Resource Waters, Class F-I, G-I, or G-II ground waters that actually results in pollution in a manner that represents a substantial threat to human health or the environment. | Effluent violation’s greater than 2.0 X’s the effluent limits. |
| **Moderate** | Violation of permit limitations that result in a violation of water quality standards, Class I, Class II, or Class III surface waters, Outstanding Florida Waters, Outstanding National Resource Waters, Class F-I, G-I, or G-II ground waters that actually or are reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | Effluent violation’s greater than 1.5 X’s but not more than 2.0 X’s the effluent limit. |
| **Minor** | Violation of permit limitations that result in a violation of water quality standards, Class IV, or V surface waters, Outstanding Florida Waters, Outstanding National Resource Waters, Class F-I, G-I, or G-II ground waters that actually or are reasonably expected to result in a minimal threat to human health or the environment. | Effluent violation’s greater than the permit limit but not more than 1.5 X’s the effluent limit. |

(See Chapters 62-3 and 62-302, Florida Administrative Code, for the designated uses and specific water quality criteria corresponding with each surface and ground water classification.)

OPERATION, CONSTRUCTION OR MAJOR MODIFICATION OF WASTEWATER TREATMENT, DISPOSAL OR COLLECTION/TRANSMISSION SYSTEMS WITHOUT A PERMIT

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | Operation, Construction or Major Modification of Wastewater Treatment, Disposal or Collection/Transmission Systems without a permit that actually results in pollution in a manner that represents a substantial threat to human health or the environment. | Operation, Construction or Major Modification of Wastewater Treatment, Disposal or Collection/Transmission Systems without ever possessing a valid permit or any other valid authorization or failure to comply after notification by |

|  |  |  |
| --- | --- | --- |
|  |  | the Department. |
| **Moderate** | Operation, Construction or Major Modification of Wastewater Treatment, Disposal or Collection/Transmission Systems without a permit that actually or are reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | Operation, Construction or Major Modification of Wastewater Treatment, Disposal or Collection/Transmission Systems between four months and one year of last valid permit's expiration even after written notification by the Department. |
| **Minor** | Operation, Construction or Major Modification of Wastewater Treatment, Disposal or Collection/Transmission Systems without a permit that actually or are reasonably expected to result in a minimal threat to human health or the environment. | Operation of Wastewater Treatment, Disposal or Collection/Transmission Systems within four months of last valid permit's expiration even after written notification by the Department. |

FAILURE TO PREVENT UNAUTHORIZED OR DELIBERATE INTRODUCTION OF STORMWATER INTO COLLECTION SYSTEMS AND TRANSMISSION FACILITIES

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | Results in the improper release or disposal of wastewater, effluent, reclaimed water to surface or ground waters that actually results in pollution in a manner that represents a substantial threat to human health or the environment. | Unauthorized introduction of stormwater due to neglected collection system maintenance and repair, and/or does not have a planned inflow/infiltration control program. |
| **Moderate** | Results in the improper release or disposal of wastewater, effluent, reclaimed water to surface or ground waters that actually or are reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | Failure to implement a planned infiltration/inflow control program. |
| **Minor** | Results in the improper release or disposal of wastewater, effluent, reclaimed water to surface or ground waters that actually or are reasonably expected to result in a minimal threat to human health or the environment. | Facility actively working to correct problems through a written inflow/infiltration control program. |

FAILURE TO CONSTRUCT WASTEWATER TREATMENT OR DISPOSAL SYSTEMS SUBSTANTIALLY IN ACCORDANCE WITH APPROVED PLANS OR COMPLIANCE SCHEDULE

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | Failure to construct wastewater treatment or disposal system in accordance with approved plans or compliance schedules that actually results in pollution in a manner that represents a substantial threat to human health or the environment. | Numerous substantial construction deviations discovered by the Department after completion of construction without notice provided by the permittee or authorized representative or compliance schedule milestones are exceeded by greater than 180 days. |
| **Moderate** | Failure to construct wastewater treatment or disposal system in accordance with approved plans or compliance schedules that actually or are reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | Substantial construction deviations discovered by the Department after completion of construction without notice provided by the permittee or authorized representative or compliance schedule milestones are exceeded by between 90 to 180 days. |
| **Minor** | Failure to construct wastewater treatment or disposal system in accordance with approved plans or compliance schedules that actually or are reasonably expected to result in a minimal threat to human health or the environment. | Substantial construction deviations discovered by the Department during construction without notice provided by the permittee or authorized representative or compliance milestones are exceeded by less than 90 days. |

FAILURE TO MAINTAIN OR OPERATE EQUIPMENT, FACILITY, TRANSMISSION OR COLLECTION SYSTEM

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | Failure to maintain or operate equipment, facility, transmission or collection system that actually results in pollution in a manner that represents a substantial threat to human health or the environment. | Facility is operating without an Operation and Maintenance Manual. |
| **Moderate** | Failure to maintain or operate equipment, facility, transmission or collection system that actually or are reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | Numerous and frequent deviations exist from standard operating practices/procedures or from the Operation and Maintenance Manual. |

|  |  |  |
| --- | --- | --- |
| **Minor** | Failure to maintain or operate equipment, facility, transmission or collection system that actually or are reasonably expected to result in a minimal threat to human health or the environment. | Minor deviations exist from standard operating practices/procedures or from the Operation and Maintenance Manual. |

FAILURE TO CONDUCT WATER QUALITY OR BIOSOLIDS MONITORING

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | Failure to conduct water quality or biosolids monitoring that actually results in pollution in a manner that represents a substantial threat to human health or the environment. | Required monitoring on a weekly, monthly, quarterly, semi-annual, or annual basis is not conducted for 2 or more consecutive monitoring periods. |
| **Moderate** | Failure to conduct water quality or biosolids monitoring that actually or are reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | Required monitoring on a daily, weekly, monthly, quarterly, semi- annual, or annual basis is not conducted for 1 monitoring period. |
| **Minor** | Failure to conduct water quality or biosolids monitoring that actually or are reasonably expected to result in minimal threat to human health or the environment. | N/A |

FAILURE TO MEET SAMPLE COLLECTION PROCEDURES OR LABORATORY REQUIREMENTS

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | Failure to meet sample collection procedures or laboratory requirements that actually results in pollution in a manner that represents a substantial threat to human health or the environment. | Substantial deficiencies were identified in the facility or contract lab that question the lab’s ability to collect, analyze, and report data that meets the Department’s quality control standards. |
| **Moderate** | Failure to meet sample collection procedures or laboratory requirements that actually or are reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | Deficiencies were identified in the facility or contract lab that question some of the data generated by the lab that needs immediate follow-up to demonstrate their ability to continue to collect, analyze, and report data that meets the Department’s quality control standards. |

|  |  |  |
| --- | --- | --- |
| **Minor** | Failure to meet sample collection procedures or laboratory requirements that actually or are reasonably expected to result in minimal threat to human health or the environment. | Some minor deficiencies were identified in the facility or contract lab that require correction before the facility’s next routine inspection, yet are not severe enough to bring into question the reliability of the facility’s data. |

# Specific Guidelines for Domestic Wastewater

FAILURE TO PROVIDE CERTIFIED OPERATOR

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | Failure to provide a certified operator for Categories I through IV, Class A, or Type I biosolids management facilities that actually results in pollution in a manner that represents a substantial threat to human health or the environment. | Staffing and lead operator requirements are not met. |
| **Moderate** | Failure to provide a certified operator for Categories I through IV, Class B, or Type II biosolids management facilities that actually or are reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | Staffing requirements are not met, but lead operator requirement is met. |
| **Minor** | Failure to provide a certified operator for Category I, II, III, IV, or Type III biosolids management facilities that actually or are reasonably expected to result in minimal threat to human health or the environment. | Minor deviation from meeting minimum staffing requirements. |

IMPROPER APPLICATION, RELEASE OR DISPOSAL OF BIOSOLIDS

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | Improper application, release or disposal of biosolids to Class I, II, or III surface waters, Outstanding Florida Waters, Outstanding National Resource Waters, or Class F-I, GI or GII ground waters that actually results in pollution in a manner that represents a substantial threat to human health or the environment. | Improper application, release or disposal was deliberate or resulted from inadequate operation and maintenance. |

|  |  |  |
| --- | --- | --- |
| **Moderate** | Improper application, release or disposal of biosolids to Class IV or V surface waters, surface waters with no classification, ground surfaces, or over Class F-I, GI or GII ground waters that actually or are reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | Improper application, release or disposal resulted from inadequate operation and maintenance or failed equipment that had received proper maintenance or due to conditions beyond the permittee’s or hauler’s control. |
| **Minor** | Improper application, release or disposal of biosolids over Class GIII or GIV ground waters that actually or are reasonably expected to result in minimal threat to human health or the environment. | Improper application, release or disposal was immediately corrected. |

FAILURE TO FOLLOW THE OPERATING PROTOCOL FOR A PUBLIC ACCESS REUSE FACILITY

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | N/A | Protocol violations are discovered by the Department and the permittee or operator had been previously notified of the requirement to follow the operating protocol with no assurances that the protocol limits were met during the time of reclaimed water production. |
| **Moderate** | Resulted in the release or disposal of inadequately treated wastewater to an unrestricted public access irrigation system that actually or are reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | Protocol violations are discovered by the permittee or operator and not reported. |
| **Minor** | Resulted in the release or disposal of inadequately treated wastewater to an unrestricted public access irrigation system that actually or are reasonably expected to result in minimal threat to human health or the environment. | Permittee or operator promptly corrects the protocol violations and properly notifies the Department. |

# Specific Guidelines for Industrial Wastewater

FAILURE TO PROPERLY MAINTAIN OR OPERATE ANIMAL FEEDING OPERATIONS

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | Failure to prevent animal access to water sources (wetlands, sinkholes, ponds, streams, etc.), more animals onsite then allow by permit, improper management of dead animals, failure to line wastewater impoundments, unauthorized introduction of stormwater into production area(s), failure to maintain wastewater impoundments, including storage pond embankments and access areas that actually results in pollution in a manner that represents a substantial threat to human health or the environment. | Permittee, responsible authority, or facility manager has been previously notified on multiple occasions of the Department’s requirements and failed to immediately implement adequate corrective measures. |
| **Moderate** | Failure to prevent animal access to water sources (wetlands, sinkholes, ponds, streams, etc.) , more animals onsite then allow by permit, improper management of dead animals, failure to line wastewater impoundments, unauthorized introduction of stormwater into production area(s), failure to maintain wastewater impoundments, including storage pond embankments and access areas that actually or are reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | Permittee, responsible authority, or facility manager corrects violations found after second notification by the Department. |
| **Minor** | Failure to prevent animal access to water sources (wetlands, sinkholes, ponds, streams, etc.), more animals onsite then allow by permit, improper management of dead animals, failure to line wastewater impoundments, unauthorized introduction of stormwater into production area(s), failure to maintain wastewater impoundments, including storage pond embankments and access areas that actually or are reasonably expected to result in minimal threat to human health or the environment. | Permittee, responsible authority, or facility manager corrects violations found after first notification by the Department. |

IMPROPER APPLICATION / DISPOSAL OF MANURE, LITTER OR PROCESS WASTEWATER FROM ANIMAL FEEDING OPERATIONS

|  |  |  |
| --- | --- | --- |
| **Matrix Factor** | **Environmental Harm** | **Extent of Deviation from Requirement** |
| **Major** | Results in release or disposal to a Class I, Class II, or Class III surface waters, Outstanding Florida Waters, Outstanding National Resource Waters, or failure to develop a Department approved Nutrient Management Plan (NMP) that actually results in pollution in a manner that represents a substantial threat to human health or the environment. | Improper application or disposal is deliberate or results from inadequate operation and maintenance with a failure to immediately implement corrective measures. |
| **Moderate** | Results in release or disposal to Class IV or Class V surface waters, or to surface waters with no classification, ground surfaces over Class F-I, Class GI or Class GII ground waters that actually or are reasonably expected to result in pollution in a manner that represents a significant threat to human health or the environment. | Improper application or disposal results from inadequate operation and maintenance with a failure to immediately implement corrective measures. |
| **Minor** | Results in release or disposal to ground surfaces over Class GIII or Class GIV ground waters that actually or are reasonably expected to result in minimal threat to human health or the environment. | Improper application or disposal results from inadequate operation and maintenance, but immediately implement corrective measures. |