## Sheet1
PWS_ID | SYSTEM_NAME | COUNTY | SYSTEM TYPE | CONTAMINANT GROUP | CONTAMINANT NAME | FREQUENCY | SAMPLES NEXT DUE | SAMPLING PERIOD | SAMPLING LOCATION | LOCATION DESCRIPTION | COMMENTS
2400185 | CHERRY LAKE UTILITIES | MADISON | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400185 | CHERRY LAKE UTILITIES | MADISON | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400185 | CHERRY LAKE UTILITIES | MADISON | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2400185 | CHERRY LAKE UTILITIES | MADISON | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400185 | CHERRY LAKE UTILITIES | MADISON | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400185 | CHERRY LAKE UTILITIES | MADISON | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400185 | CHERRY LAKE UTILITIES | MADISON | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400185 | CHERRY LAKE UTILITIES | MADISON | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2400185 | CHERRY LAKE UTILITIES | MADISON | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400185 | CHERRY LAKE UTILITIES | MADISON | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | JULY | L1 | FIRE HYDRANT @ SETTLEMENT
2400185 | CHERRY LAKE UTILITIES | MADISON | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | JULY | L1 | FIRE HYDRANT @ SETTLEMENT
2400185 | CHERRY LAKE UTILITIES | MADISON | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | JULY | L2 | FIRE HYDRANT @ GARDEN ROAD
2400185 | CHERRY LAKE UTILITIES | MADISON | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | JULY | L2 | FIRE HYDRANT @ GARDEN ROAD
2400185 | CHERRY LAKE UTILITIES | MADISON | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2024 | JAN -JUN, JUL - DEC | PER SAMPLING PLAN | 10 SAMPLE SITES
2400185 | CHERRY LAKE UTILITIES | MADISON | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | JULY | L1 | FLUSH VALVE @ YOGI BEAR CAMPGROUND
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | JULY | L1 | FLUSH VALVE @ YOGI BEAR CAMPGROUND
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | JULY | L2 | SR90 AND SULLIVAN ST
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | JULY | L2 | SR90 AND SULLIVAN ST
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 20 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2400205 | MADISON WATER DEPARTMENT | MADISON | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400362 | FLORIDA PLYWOOD CORP | MADISON | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400362 | FLORIDA PLYWOOD CORP | MADISON | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400362 | FLORIDA PLYWOOD CORP | MADISON | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2400362 | FLORIDA PLYWOOD CORP | MADISON | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400362 | FLORIDA PLYWOOD CORP | MADISON | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | JULY | L1 | PLANT 1 DRINKING FOUNTAIN
2400362 | FLORIDA PLYWOOD CORP | MADISON | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | JULY | L1 | PLANT 1 DRINKING FOUNTAIN
2400362 | FLORIDA PLYWOOD CORP | MADISON | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2400362 | FLORIDA PLYWOOD CORP | MADISON | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2400440 | GREENVILLE WTP | MADISON | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400440 | GREENVILLE WTP | MADISON | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400440 | GREENVILLE WTP | MADISON | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2400440 | GREENVILLE WTP | MADISON | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400440 | GREENVILLE WTP | MADISON | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400440 | GREENVILLE WTP | MADISON | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400440 | GREENVILLE WTP | MADISON | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400440 | GREENVILLE WTP | MADISON | COMMUNITY | SOCS | BENZO(A)PYRENE | QUARTERLY | 2024 | ONCE PER CALENDAR QTR | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400440 | GREENVILLE WTP | MADISON | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2400440 | GREENVILLE WTP | MADISON | COMMUNITY | VOCS | DICHLOROMETHANE | ANNUAL | 2024 | OCT - DEC | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400440 | GREENVILLE WTP | MADISON | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400440 | GREENVILLE WTP | MADISON | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | SEPTEMBER | L1 | DAIRY QUEEN ON CR 221
2400440 | GREENVILLE WTP | MADISON | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | SEPTEMBER | L1 | DAIRY QUEEN ON CR 221
2400440 | GREENVILLE WTP | MADISON | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2024 | JAN -JUN, JUL - DEC | PER SAMPLING PLAN | 10 SAMPLE SITES
2400440 | GREENVILLE WTP | MADISON | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2400899 | PINETTA SCHOOL | MADISON | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400899 | PINETTA SCHOOL | MADISON | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400899 | PINETTA SCHOOL | MADISON | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2400899 | PINETTA SCHOOL | MADISON | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2400899 | PINETTA SCHOOL | MADISON | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2400899 | PINETTA SCHOOL | MADISON | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | JULY | L1 | BLDG 4 BOYS RESTROOM
2400899 | PINETTA SCHOOL | MADISON | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | JULY | L1 | BLDG 4 BOYS RESTROOM
2400899 | PINETTA SCHOOL | MADISON | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2400899 | PINETTA SCHOOL | MADISON | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2401296 | LEE WTP | MADISON | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401296 | LEE WTP | MADISON | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401296 | LEE WTP | MADISON | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2401296 | LEE WTP | MADISON | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401296 | LEE WTP | MADISON | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401296 | LEE WTP | MADISON | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401296 | LEE WTP | MADISON | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401296 | LEE WTP | MADISON | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2401296 | LEE WTP | MADISON | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401296 | LEE WTP | MADISON | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | JULY | L1 | BLOWOFF ON NE GLORIOSA LANE
2401296 | LEE WTP | MADISON | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | JULY | L1 | BLOWOFF ON NE GLORIOSA LANE
2401296 | LEE WTP | MADISON | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2024 | JAN -JUN, JUL - DEC | PER SAMPLING PLAN | 5 SAMPLE SITES
2401296 | LEE WTP | MADISON | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2401303 | BLUETRITON BRANDS | MADISON | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401303 | BLUETRITON BRANDS | MADISON | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401303 | BLUETRITON BRANDS | MADISON | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2401303 | BLUETRITON BRANDS | MADISON | NONTRANSIENT NONCOMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401303 | BLUETRITON BRANDS | MADISON | NONTRANSIENT NONCOMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401303 | BLUETRITON BRANDS | MADISON | NONTRANSIENT NONCOMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401303 | BLUETRITON BRANDS | MADISON | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2401303 | BLUETRITON BRANDS | MADISON | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401303 | BLUETRITON BRANDS | MADISON | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | SEPTEMBER | L1 | SHIPPING OFFICES, (SL 10)
2401303 | BLUETRITON BRANDS | MADISON | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | SEPTEMBER | L1 | SHIPPING OFFICES, (SL 10)
2401303 | BLUETRITON BRANDS | MADISON | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES
2401303 | BLUETRITON BRANDS | MADISON | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2401312 | FUMCH-MADISON YOUTH RANCH | MADISON | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401312 | FUMCH-MADISON YOUTH RANCH | MADISON | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401312 | FUMCH-MADISON YOUTH RANCH | MADISON | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2401312 | FUMCH-MADISON YOUTH RANCH | MADISON | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401312 | FUMCH-MADISON YOUTH RANCH | MADISON | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401312 | FUMCH-MADISON YOUTH RANCH | MADISON | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401312 | FUMCH-MADISON YOUTH RANCH | MADISON | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401312 | FUMCH-MADISON YOUTH RANCH | MADISON | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2401312 | FUMCH-MADISON YOUTH RANCH | MADISON | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401312 | FUMCH-MADISON YOUTH RANCH | MADISON | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | JULY | L1 | EAST END OF MAULSBY COTTAGE
2401312 | FUMCH-MADISON YOUTH RANCH | MADISON | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | JULY | L1 | EAST END OF MAULSBY COTTAGE
2401312 | FUMCH-MADISON YOUTH RANCH | MADISON | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2024 | JAN -JUN, JUL - DEC | PER SAMPLING PLAN | 5 SAMPLE SITES
2401312 | FUMCH-MADISON YOUTH RANCH | MADISON | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2401315 | NEW TESTAMENT CHRISTIAN CENTER | MADISON | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401315 | NEW TESTAMENT CHRISTIAN CENTER | MADISON | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401315 | NEW TESTAMENT CHRISTIAN CENTER | MADISON | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2401315 | NEW TESTAMENT CHRISTIAN CENTER | MADISON | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2401315 | NEW TESTAMENT CHRISTIAN CENTER | MADISON | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401315 | NEW TESTAMENT CHRISTIAN CENTER | MADISON | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | JULY | L1 | BOYS BATHROOM SINK
2401315 | NEW TESTAMENT CHRISTIAN CENTER | MADISON | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | JULY | L1 | BOYS BATHROOM SINK
2401315 | NEW TESTAMENT CHRISTIAN CENTER | MADISON | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2401315 | NEW TESTAMENT CHRISTIAN CENTER | MADISON | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2401317 | TRULIEVE MADISON | MADISON | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2401317 | TRULIEVE MADISON | MADISON | NONTRANSIENT NONCOMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2031 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401317 | TRULIEVE MADISON | MADISON | NONTRANSIENT NONCOMMUNITY | SOCS | DI(2-ETHYLHEXYL)PHTHALATE | ANNUAL | 2024 | JAN - MAR | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401317 | TRULIEVE MADISON | MADISON | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2401317 | TRULIEVE MADISON | MADISON | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2401317 | TRULIEVE MADISON | MADISON | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | AUGUST | L1 | SOUTH END OF PWS LINE BLOWOFF
2401317 | TRULIEVE MADISON | MADISON | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | AUGUST | L1 | SOUTH END OF PWS LINE BLOWOFF
2401317 | TRULIEVE MADISON | MADISON | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2401317 | TRULIEVE MADISON | MADISON | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE