## Sheet1
PWS.ID | SYSTEM_NAME | County | TYPE | CONTAM GROUP | CONTAM_NAME | FREQUENCY | SAMPLES NEXT DUE | SAMPLING PERIOD | LOCATION | LOCATION DESCRIPTION | COMMENTS
2400185 | CHERRY LAKE UTILITIES | Madison | COMMUNITY | INORG | ASBESTOS | EVERY 9 YRS | 2030 | N/A | DISTRIBUTION | PER SAMPLING PLAN OR WAIVER
2400185 | CHERRY LAKE UTILITIES | Madison | COMMUNITY | INORG | NITRATE | ANNUAL | 2023 | N/A | ENTRY | Point of Entry
2400185 | CHERRY LAKE UTILITIES | Madison | COMMUNITY | INORG | NITRITE | ANNUAL | 2023 | N/A | ENTRY | Point of Entry
2400185 | CHERRY LAKE UTILITIES | Madison | COMMUNITY | INORG | PRIMARY INORGANICS (INCLUDES NITRATE/NITRITE) | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2400185 | CHERRY LAKE UTILITIES | Madison | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2400185 | CHERRY LAKE UTILITIES | Madison | COMMUNITY | RAD | COMBINED URANIUM | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2400185 | CHERRY LAKE UTILITIES | Madison | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2400185 | CHERRY LAKE UTILITIES | Madison | COMMUNITY | SEC | SECONDARY STANDARDS | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2400185 | CHERRY LAKE UTILITIES | Madison | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2400185 | CHERRY LAKE UTILITIES | Madison | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2400185 | CHERRY LAKE UTILITIES | Madison | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5) | ANNUAL | 2023 | July | L1 | FIRE HYDRANT @ SETTLEMENT
2400185 | CHERRY LAKE UTILITIES | Madison | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHM) | ANNUAL | 2023 | July | L1 | FIRE HYDRANT @ SETTLEMENT
2400185 | CHERRY LAKE UTILITIES | Madison | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5) | ANNUAL | 2023 | July | L2 | FIRE HYDRANT @ GARDEN ROAD
2400185 | CHERRY LAKE UTILITIES | Madison | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHM) | ANNUAL | 2023 | July | L2 | FIRE HYDRANT @ GARDEN ROAD
2400185 | CHERRY LAKE UTILITIES | Madison | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2023 | JUN - SEPT | Per Sampling Plan | 10 samples req.
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | INORG | ASBESTOS | EVERY 9 YRS | 2029 | N/A | DISTRIBUTION | PER SAMPLING PLAN OR WAIVER
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5) | ANNUAL | 2023 | July | L1 | FLUSH VALVE @ YOGI BEAR CAMPGROUND
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHM) | ANNUAL | 2023 | July | L1 | FLUSH VALVE @ YOGI BEAR CAMPGROUND
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5) | ANNUAL | 2023 | July | L2 | SR90 AND SULLIVAN ST
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHM) | ANNUAL | 2023 | July | L2 | SR90 AND SULLIVAN ST
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2023 | N/A | Plant 1 | Point of Entry | BARRS FIELD
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2023 | N/A | Plant 1 | Point of Entry | BARRS FIELD
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (INCLUDES NITRATE/NITRITE) | TRIENNIAL | 2023 | N/A | Plant 1 | Point of Entry | BARRS FIELD
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 9 YRS | 2026 | N/A | Plant 1 | Point of Entry | BARRS FIELD
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 9 YRS | 2026 | N/A | Plant 1 | Point of Entry | BARRS FIELD
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 9 YRS | 2026 | N/A | Plant 1 | Point of Entry | BARRS FIELD
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | SEC | SECONDARY STANDARDS | TRIENNIAL | 2023 | N/A | Plant 1 | Point of Entry | BARRS FIELD
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS | TRIENNIAL | 2023 | N/A | Plant 1 | Point of Entry | BARRS FIELD
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS | TRIENNIAL | 2023 | N/A | Plant 1 | Point of Entry | BARRS FIELD
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2023 | N/A | Plant 2 | Point of Entry | COODY
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2023 | N/A | Plant 2 | Point of Entry | COODY
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (INCLUDES NITRATE/NITRITE) | TRIENNIAL | 2023 | N/A | Plant 2 | Point of Entry | COODY
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 9 YRS | 2026 | N/A | Plant 2 | Point of Entry | COODY
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 9 YRS | 2026 | N/A | Plant 2 | Point of Entry | COODY
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 9 YRS | 2026 | N/A | Plant 2 | Point of Entry | COODY
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | SEC | SECONDARY STANDARDS | TRIENNIAL | 2023 | N/A | Plant 2 | Point of Entry | COODY
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS | TRIENNIAL | 2023 | N/A | Plant 2 | Point of Entry | COODY
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS | TRIENNIAL | 2023 | N/A | Plant 2 | Point of Entry | COODY
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2023 | N/A | Plant 3 | Point of Entry | CHASON
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2023 | N/A | Plant 3 | Point of Entry | CHASON
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (INCLUDES NITRATE/NITRITE) | TRIENNIAL | 2023 | N/A | Plant 3 | Point of Entry | CHASON
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 9 YRS | 2026 | N/A | Plant 3 | Point of Entry | CHASON
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 9 YRS | 2026 | N/A | Plant 3 | Point of Entry | CHASON
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 9 YRS | 2026 | N/A | Plant 3 | Point of Entry | CHASON
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | SEC | SECONDARY STANDARDS | TRIENNIAL | 2023 | N/A | Plant 3 | Point of Entry | CHASON
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS | TRIENNIAL | 2023 | N/A | Plant 3 | Point of Entry | CHASON
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS | TRIENNIAL | 2023 | N/A | Plant 3 | Point of Entry | CHASON
2400205 | MADISON WATER DEPARTMENT | Madison | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | JAN-JUN 2023 | Jan - June | Per Sampling Plan | 40 samples req.
2400362 | FLORIDA PLYWOOD CORP | Madison | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YRS | 2031 | N/A | DISTRIBUTION | PER SAMPLING PLAN OR WAIVER
2400362 | FLORIDA PLYWOOD CORP | Madison | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2023 | N/A | ENTRY | Point of Entry
2400362 | FLORIDA PLYWOOD CORP | Madison | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2023 | N/A | ENTRY | Point of Entry
2400362 | FLORIDA PLYWOOD CORP | Madison | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (INCLUDES NITRATE/NITRITE) | TRIENNIAL | 2025 | N/A | ENTRY | Point of Entry
2400362 | FLORIDA PLYWOOD CORP | Madison | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS | TRIENNIAL | 2025 | N/A | ENTRY | Point of Entry
2400362 | FLORIDA PLYWOOD CORP | Madison | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS | TRIENNIAL | 2025 | N/A | ENTRY | Point of Entry
2400362 | FLORIDA PLYWOOD CORP | Madison | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5) | TRIENNIAL | 2025 | July | L1 | PLANT 1 DRINKING FOUNTAIN
2400362 | FLORIDA PLYWOOD CORP | Madison | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHM) | TRIENNIAL | 2025 | July | L1 | PLANT 1 DRINKING FOUNTAIN
2400362 | FLORIDA PLYWOOD CORP | Madison | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2023 | JUN - SEPT | Per Sampling Plan | 5 samples req.
2400440 | GREENVILLE WTP | Madison | COMMUNITY | INORG | ASBESTOS | EVERY 9 YRS | 2030 | N/A | DISTRIBUTION | PER SAMPLING PLAN OR WAIVER
2400440 | GREENVILLE WTP | Madison | COMMUNITY | INORG | NITRATE | ANNUAL | 2023 | N/A | ENTRY | Point of Entry
2400440 | GREENVILLE WTP | Madison | COMMUNITY | INORG | NITRITE | ANNUAL | 2023 | N/A | ENTRY | Point of Entry
2400440 | GREENVILLE WTP | Madison | COMMUNITY | INORG | PRIMARY INORGANICS (INCLUDES NITRATE/NITRITE) | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2400440 | GREENVILLE WTP | Madison | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2400440 | GREENVILLE WTP | Madison | COMMUNITY | RAD | COMBINED URANIUM | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2400440 | GREENVILLE WTP | Madison | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2400440 | GREENVILLE WTP | Madison | COMMUNITY | SEC | SECONDARY STANDARDS | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2400440 | GREENVILLE WTP | Madison | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2400440 | GREENVILLE WTP | Madison | COMMUNITY | VOC | DICHLOROMETHANE | ANNUAL | 2023 | OCT - DEC | ENTRY | Point of Entry
2400440 | GREENVILLE WTP | Madison | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2400440 | GREENVILLE WTP | Madison | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5) | ANNUAL | 2023 | September | L1 | DAIRY QUEEN ON CR 221
2400440 | GREENVILLE WTP | Madison | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHM) | ANNUAL | 2023 | September | L1 | DAIRY QUEEN ON CR 221
2400440 | GREENVILLE WTP | Madison | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | ANNUAL | 2023 | JUN - SEPT | Per Sampling Plan | 20 samples req.
2400899 | PINETTA SCHOOL | Madison | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YRS | 2031 | N/A | DISTRIBUTION | PER SAMPLING PLAN OR WAIVER
2400899 | PINETTA SCHOOL | Madison | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2023 | N/A | ENTRY | Point of Entry
2400899 | PINETTA SCHOOL | Madison | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2023 | N/A | ENTRY | Point of Entry
2400899 | PINETTA SCHOOL | Madison | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (INCLUDES NITRATE/NITRITE) | TRIENNIAL | 2025 | N/A | ENTRY | Point of Entry
2400899 | PINETTA SCHOOL | Madison | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS | TRIENNIAL | 2025 | N/A | ENTRY | Point of Entry
2400899 | PINETTA SCHOOL | Madison | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS | TRIENNIAL | 2025 | N/A | ENTRY | Point of Entry
2400899 | PINETTA SCHOOL | Madison | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5) | TRIENNIAL | 2025 | July | L1 | BLDG 4 BOYS RESTROOM
2400899 | PINETTA SCHOOL | Madison | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHM) | TRIENNIAL | 2025 | July | L1 | BLDG 4 BOYS RESTROOM
2400899 | PINETTA SCHOOL | Madison | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025 | JUN - SEPT | Per Sampling Plan | 5 samples req.
2401296 | LEE WTP | Madison | COMMUNITY | INORG | ASBESTOS | EVERY 9 YRS | 2030 | N/A | DISTRIBUTION | PER SAMPLING PLAN OR WAIVER
2401296 | LEE WTP | Madison | COMMUNITY | INORG | NITRATE | ANNUAL | 2023 | N/A | ENTRY | Point of Entry
2401296 | LEE WTP | Madison | COMMUNITY | INORG | NITRITE | ANNUAL | 2023 | N/A | ENTRY | Point of Entry
2401296 | LEE WTP | Madison | COMMUNITY | INORG | PRIMARY INORGANICS (INCLUDES NITRATE/NITRITE) | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2401296 | LEE WTP | Madison | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 9 YRS | 2027 | N/A | ENTRY | Point of Entry
2401296 | LEE WTP | Madison | COMMUNITY | RAD | COMBINED URANIUM | EVERY 9 YRS | 2027 | N/A | ENTRY | Point of Entry
2401296 | LEE WTP | Madison | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 9 YRS | 2027 | N/A | ENTRY | Point of Entry
2401296 | LEE WTP | Madison | COMMUNITY | SEC | SECONDARY STANDARDS | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2401296 | LEE WTP | Madison | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2401296 | LEE WTP | Madison | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2401296 | LEE WTP | Madison | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5) | TRIENNIAL | 2024 | July | L1 | BLOWOFF ON NE GLORIOSA LANE
2401296 | LEE WTP | Madison | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHM) | TRIENNIAL | 2024 | July | L1 | BLOWOFF ON NE GLORIOSA LANE
2401296 | LEE WTP | Madison | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2023 | JUN - SEPT | Per Sampling Plan | 10 samples req.
2401303 | NESTLE WATERS NORTH AMERICA INC. | Madison | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YRS | 2031 | N/A | DISTRIBUTION | PER SAMPLING PLAN OR WAIVER
2401303 | NESTLE WATERS NORTH AMERICA INC. | Madison | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2023 | N/A | ENTRY | Point of Entry
2401303 | NESTLE WATERS NORTH AMERICA INC. | Madison | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2023 | N/A | ENTRY | Point of Entry
2401303 | NESTLE WATERS NORTH AMERICA INC. | Madison | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (INCLUDES NITRATE/NITRITE) | TRIENNIAL | 2025 | N/A | ENTRY | Point of Entry
2401303 | NESTLE WATERS NORTH AMERICA INC. | Madison | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 9 YRS | 2025 | N/A | ENTRY | Point of Entry
2401303 | NESTLE WATERS NORTH AMERICA INC. | Madison | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED URANIUM | EVERY 9 YRS | 2025 | N/A | ENTRY | Point of Entry
2401303 | NESTLE WATERS NORTH AMERICA INC. | Madison | NONTRANSIENT NONCOMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 9 YRS | 2025 | N/A | ENTRY | Point of Entry
2401303 | NESTLE WATERS NORTH AMERICA INC. | Madison | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS | TRIENNIAL | 2025 | N/A | ENTRY | Point of Entry
2401303 | NESTLE WATERS NORTH AMERICA INC. | Madison | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS | TRIENNIAL | 2025 | N/A | ENTRY | Point of Entry
2401303 | NESTLE WATERS NORTH AMERICA INC. | Madison | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5) | TRIENNIAL | 2025 | September | L1 | SHIPPING OFFICES, (SL 10)
2401303 | NESTLE WATERS NORTH AMERICA INC. | Madison | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHM) | TRIENNIAL | 2025 | September | L1 | SHIPPING OFFICES, (SL 10)
2401303 | NESTLE WATERS NORTH AMERICA INC. | Madison | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPT | Per Sampling Plan | 5 samples req.
2401312 | FUMCH-MADISON YOUTH RANCH | Madison | COMMUNITY | INORG | ASBESTOS | EVERY 9 YRS | 2030 | N/A | DISTRIBUTION | PER SAMPLING PLAN OR WAIVER
2401312 | FUMCH-MADISON YOUTH RANCH | Madison | COMMUNITY | INORG | NITRATE | ANNUAL | 2023 | N/A | ENTRY | Point of Entry
2401312 | FUMCH-MADISON YOUTH RANCH | Madison | COMMUNITY | INORG | NITRITE | ANNUAL | 2023 | N/A | ENTRY | Point of Entry
2401312 | FUMCH-MADISON YOUTH RANCH | Madison | COMMUNITY | INORG | PRIMARY INORGANICS (INCLUDES NITRATE/NITRITE) | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2401312 | FUMCH-MADISON YOUTH RANCH | Madison | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 9 YRS | 2027 | N/A | ENTRY | Point of Entry
2401312 | FUMCH-MADISON YOUTH RANCH | Madison | COMMUNITY | RAD | COMBINED URANIUM | EVERY 9 YRS | 2027 | N/A | ENTRY | Point of Entry
2401312 | FUMCH-MADISON YOUTH RANCH | Madison | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 9 YRS | 2027 | N/A | ENTRY | Point of Entry
2401312 | FUMCH-MADISON YOUTH RANCH | Madison | COMMUNITY | SEC | SECONDARY STANDARDS | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2401312 | FUMCH-MADISON YOUTH RANCH | Madison | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2401312 | FUMCH-MADISON YOUTH RANCH | Madison | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS | TRIENNIAL | 2024 | N/A | ENTRY | Point of Entry
2401312 | FUMCH-MADISON YOUTH RANCH | Madison | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5) | TRIENNIAL | 2024 | July | L1 | EAST END OF MAULSBY COTTAGE
2401312 | FUMCH-MADISON YOUTH RANCH | Madison | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHM) | TRIENNIAL | 2024 | July | L1 | EAST END OF MAULSBY COTTAGE
2401312 | FUMCH-MADISON YOUTH RANCH | Madison | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2023 | JUN - SEPT | Per Sampling Plan | 5 samples req.
2401315 | NEW TESTAMENT CHRISTIAN CENTER | Madison | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YRS | 2031 | N/A | DISTRIBUTION | PER SAMPLING PLAN OR WAIVER
2401315 | NEW TESTAMENT CHRISTIAN CENTER | Madison | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2023 | N/A | ENTRY | Point of Entry
2401315 | NEW TESTAMENT CHRISTIAN CENTER | Madison | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2023 | N/A | ENTRY | Point of Entry
2401315 | NEW TESTAMENT CHRISTIAN CENTER | Madison | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (INCLUDES NITRATE/NITRITE) | TRIENNIAL | 2025 | N/A | ENTRY | Point of Entry
2401315 | NEW TESTAMENT CHRISTIAN CENTER | Madison | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS | TRIENNIAL | 2025 | N/A | ENTRY | Point of Entry
2401315 | NEW TESTAMENT CHRISTIAN CENTER | Madison | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS | TRIENNIAL | 2025 | N/A | ENTRY | Point of Entry
2401315 | NEW TESTAMENT CHRISTIAN CENTER | Madison | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5) | ANNUAL | 2023 | July | L1 | BOYS BATHROOM SINK
2401315 | NEW TESTAMENT CHRISTIAN CENTER | Madison | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHM) | ANNUAL | 2023 | July | L1 | BOYS BATHROOM SINK
2401315 | NEW TESTAMENT CHRISTIAN CENTER | Madison | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025 | JUN - SEPT | Per Sampling Plan | 5 samples req.
2401317 | TRULIEVE MADISON | Madison | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YRS | 2031 | N/A | DISTRIBUTION | PER SAMPLING PLAN OR WAIVER
2401317 | TRULIEVE MADISON | Madison | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (INCLUDES NITRATE/NITRITE) | TRIENNIAL | 2025 | N/A | ENTRY | Point of Entry
2401317 | TRULIEVE MADISON | Madison | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED URANIUM | EVERY 9 YRS | 2031 | N/A | ENTRY | Point of Entry
2401317 | TRULIEVE MADISON | Madison | NONTRANSIENT NONCOMMUNITY | SOC | DI(2-ETHYLHEXYL)PHTHALATE | ANNUAL | 2023 | JAN - MAR | ENTRY | Point of Entry
2401317 | TRULIEVE MADISON | Madison | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS | TRIENNIAL | 2025 | N/A | ENTRY | Point of Entry
2401317 | TRULIEVE MADISON | Madison | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS | ANNUAL | 2023 | N/A | ENTRY | Point of Entry
2401317 | TRULIEVE MADISON | Madison | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5) | TRIENNIAL | 2025 | August | L1 | SOUTH END OF PWS LINE BLOWOFF
2401317 | TRULIEVE MADISON | Madison | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHM) | TRIENNIAL | 2025 | August | L1 | SOUTH END OF PWS LINE BLOWOFF
2401317 | TRULIEVE MADISON | Madison | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025 | JUN - SEPT | Per Sampling Plan | 10 samples req.