## Sheet1
County | PWS.ID | SYSTEM_NAME | Office | TYPE | SUBPART_H | POPULATION | CONTAM_GROUP | Contam.Code | CONTAM_NAME | FREQUENCY | WAIVER_EFF_DATE | WAIVER_EXP_DATE | SAMPLES DUE | LOCATION | DESCRIPTION | QUARTER | MAX.QTR.x | MAX.MONTH.x | QTR.MONTH.x | QTR.WEEK.x | DATE | COMMENTS1
NASSAU | 2450022 | NASSAU-AMELIA UTILITIES | NED | COMMUNITY (LARGE) | N | 9540 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | ANNUALLY | 2017-01-01 | NA | August 2022 | L1 | 8300 SANCTUARY LN | 3 | 3 | 8 | NA | NA | 2022-08-31
NASSAU | 2450022 | NASSAU-AMELIA UTILITIES | NED | COMMUNITY (LARGE) | N | 9540 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | ANNUALLY | 2017-01-01 | NA | August 2022 | L1 | 8300 SANCTUARY LN | 3 | 3 | 8 | NA | NA | 2022-08-31
NASSAU | 2450022 | NASSAU-AMELIA UTILITIES | NED | COMMUNITY (LARGE) | N | 9540 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | ANNUALLY | 2017-01-01 | NA | August 2022 | L2 | 961167 FIRST COAST HWY | 3 | 3 | 8 | NA | NA | 2022-08-31
NASSAU | 2450022 | NASSAU-AMELIA UTILITIES | NED | COMMUNITY (LARGE) | N | 9540 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | ANNUALLY | 2017-01-01 | NA | August 2022 | L2 | 961167 FIRST COAST HWY | 3 | 3 | 8 | NA | NA | 2022-08-31
NASSAU | 2450022 | NASSAU-AMELIA UTILITIES | NED | COMMUNITY (LARGE) | N | 9540 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2023 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2450022 | NASSAU-AMELIA UTILITIES | NED | COMMUNITY (LARGE) | N | 9540 | INORGANICS | NA | Asbestos | TRIENNIALLY | 2029-01-01 | NA | 2029 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA |  | Last sampled 2020
NASSAU | 2450022 | NASSAU-AMELIA UTILITIES | NED | COMMUNITY (LARGE) | N | 9540 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | Location set by PWS - 10-APR-15.
NASSAU | 2450022 | NASSAU-AMELIA UTILITIES | NED | COMMUNITY (LARGE) | N | 9540 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31 | Location set by PWS - 10-APR-15.
NASSAU | 2450022 | NASSAU-AMELIA UTILITIES | NED | COMMUNITY (LARGE) | N | 9540 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31 | 9 year waiver
NASSAU | 2450022 | NASSAU-AMELIA UTILITIES | NED | COMMUNITY (LARGE) | N | 9540 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2023-01-01 | 2025-12-31 | 2023 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2025-12-31 | 6 year waiver
NASSAU | 2450022 | NASSAU-AMELIA UTILITIES | NED | COMMUNITY (LARGE) | N | 9540 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31 | 9 year waiver
NASSAU | 2450022 | NASSAU-AMELIA UTILITIES | NED | COMMUNITY (LARGE) | N | 9540 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2021-01-01 | NA | 2023 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2450022 | NASSAU-AMELIA UTILITIES | NED | COMMUNITY (LARGE) | N | 9540 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2002-01-01 | NA | 2023 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31 | Location set by PWS - 07-JUL-15.
NASSAU | 2450022 | NASSAU-AMELIA UTILITIES | NED | COMMUNITY (LARGE) | N | 9540 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2023 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31 | Location set by PWS - 18-AUG-15.
NASSAU | 2450022 | NASSAU-AMELIA UTILITIES | NED | COMMUNITY (LARGE) | N | 9540 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2011-01-01 | NA | June - Sept 2022 | 20 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2023-09-30 | NEXT DUE JUN-SEP 2022
NASSAU | 2450122 | BRYCEVILLE ELEMENTARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 227 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | TRIENNIALLY | 2013-10-01 | NA | July 2022 | L1 | FAUCET NEXT TO ENTRANCE | 3 | 3 | 7 | NA | NA | 2022-07-31
NASSAU | 2450122 | BRYCEVILLE ELEMENTARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 227 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | TRIENNIALLY | 2013-10-01 | NA | July 2022 | L1 | FAUCET NEXT TO ENTRANCE | 3 | 3 | 7 | NA | NA | 2022-07-31
NASSAU | 2450122 | BRYCEVILLE ELEMENTARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 227 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450122 | BRYCEVILLE ELEMENTARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 227 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2017-07-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450122 | BRYCEVILLE ELEMENTARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 227 | INORGANICS | NA | Asbestos | TRIENNIALLY | 2029-01-01 |  | 2031 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA |  | waiver expires
NASSAU | 2450122 | BRYCEVILLE ELEMENTARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 227 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450122 | BRYCEVILLE ELEMENTARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 227 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450122 | BRYCEVILLE ELEMENTARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 227 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450122 | BRYCEVILLE ELEMENTARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 227 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2022-01-01 | NA | June - Sept 2022 | 5 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2022-09-30 | NEXT DUE 2022 (TO COMPLY WITH COMPLIANCE SCHEDULE)
NASSAU | 2450145 | CALLAHAN INTERMEDIATE SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 665 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | ANNUALLY | 2021-10-01 | NA | March 2022 | L1 | FAUCET 6-14 NEXT TO MECH ROOM | 1 | 1 | 3 | NA | NA | 2022-03-31
NASSAU | 2450145 | CALLAHAN INTERMEDIATE SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 665 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | ANNUALLY | 2021-10-01 | NA | March 2022 | L1 | FAUCET 6-14 NEXT TO MECH ROOM | 1 | 1 | 3 | NA | NA | 2022-03-31
NASSAU | 2450145 | CALLAHAN INTERMEDIATE SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 665 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2020-01-01 | NA | 2022 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2022-12-31 | DUE 2022
NASSAU | 2450145 | CALLAHAN INTERMEDIATE SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 665 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450145 | CALLAHAN INTERMEDIATE SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 665 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450145 | CALLAHAN INTERMEDIATE SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 665 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450145 | CALLAHAN INTERMEDIATE SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 665 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450145 | CALLAHAN INTERMEDIATE SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 665 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450145 | CALLAHAN INTERMEDIATE SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 665 | LEAD AND COPPER | NA | NA | BIANNUALLY | 2022-01-01 | 2022-12-31 | Jan-Jun 2022 | 20 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2022-06-30 | BIANNUAL EXTEND DUE TO INSUFF LCR SAMPLES
NASSAU | 2450146 | CALLAHAN WTP | NED | COMMUNITY | N | 1652 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | ANNUALLY | 2013-10-01 | NA | August 2022 | L1 | 45377 MICKLER ST | 3 | 3 | 8 | NA | NA | 2022-08-31
NASSAU | 2450146 | CALLAHAN WTP | NED | COMMUNITY | N | 1652 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | ANNUALLY | 2013-10-01 | NA | August 2022 | L1 | 45377 MICKLER ST | 3 | 3 | 8 | NA | NA | 2022-08-31
NASSAU | 2450146 | CALLAHAN WTP | NED | COMMUNITY | N | 1652 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | ANNUALLY | 2013-10-01 | NA | August 2022 | L2 | 45183 WEAVER CIRCLE | 3 | 3 | 8 | NA | NA | 2022-08-31
NASSAU | 2450146 | CALLAHAN WTP | NED | COMMUNITY | N | 1652 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | ANNUALLY | 2013-10-01 | NA | August 2022 | L2 | 45183 WEAVER CIRCLE | 3 | 3 | 8 | NA | NA | 2022-08-31
NASSAU | 2450146 | CALLAHAN WTP | NED | COMMUNITY | N | 1652 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450146 | CALLAHAN WTP | NED | COMMUNITY | N | 1652 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450146 | CALLAHAN WTP | NED | COMMUNITY | N | 1652 | INORGANICS | 1094 | Asbestos | TRIENNIALLY | 2029-01-01 |  | 2030 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2022-03-01
NASSAU | 2450146 | CALLAHAN WTP | NED | COMMUNITY | N | 1652 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2450146 | CALLAHAN WTP | NED | COMMUNITY | N | 1652 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2026-01-01 | NA | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2450146 | CALLAHAN WTP | NED | COMMUNITY | N | 1652 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2026-01-01 | NA | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2450146 | CALLAHAN WTP | NED | COMMUNITY | N | 1652 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2026-01-01 | NA | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2450146 | CALLAHAN WTP | NED | COMMUNITY | N | 1652 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2017-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2450146 | CALLAHAN WTP | NED | COMMUNITY | N | 1652 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2016-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2450146 | CALLAHAN WTP | NED | COMMUNITY | N | 1652 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 2017-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2450146 | CALLAHAN WTP | NED | COMMUNITY | N | 1652 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2016-01-01 | NA | June - Sept 2023 | 10 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2024-09-30
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | QUARTERLY | 2013-10-01 | NA | 2022, See comments | L1 | OLD TOWN | NA | NA | NA | 2 | 4 | 2/28/2022** | February (4th Tuesday in Month), May (4th Tuesday in Month), August (4th Tuesday in month), November (4th Tuesday in month)
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | QUARTERLY | 2013-10-01 | NA | 2022, See comments | L1 | OLD TOWN | NA | NA | NA | 2 | 4 | 2/28/2022** | February (4th Tuesday in Month), May (4th Tuesday in Month), August (4th Tuesday in month), November (4th Tuesday in month)
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | QUARTERLY | 2013-10-01 | NA | 2022, See comments | L2 | LISA AVE | NA | NA | NA | 2 | 4 | 2/28/2022** | February (4th Tuesday in Month), May (4th Tuesday in Month), August (4th Tuesday in month), November (4th Tuesday in month)
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | QUARTERLY | 2013-10-01 | NA | 2022, See comments | L2 | LISA AVE | NA | NA | NA | 2 | 4 | 2/28/2022** | February (4th Tuesday in Month), May (4th Tuesday in Month), August (4th Tuesday in month), November (4th Tuesday in month)
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | QUARTERLY | 2013-10-01 | NA | 2022, See comments | L3 | N. 14TH ST | NA | NA | NA | 2 | 4 | 2/28/2022** | February (4th Tuesday in Month), May (4th Tuesday in Month), August (4th Tuesday in month), November (4th Tuesday in month)
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | QUARTERLY | 2013-10-01 | NA | 2022, See comments | L3 | N. 14TH ST | NA | NA | NA | 2 | 4 | 2/28/2022** | February (4th Tuesday in Month), May (4th Tuesday in Month), August (4th Tuesday in month), November (4th Tuesday in month)
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | QUARTERLY | 2013-10-01 | NA | 2022, See comments | L4 | GATEWAY | NA | NA | NA | 2 | 4 | 2/28/2022** | February (4th Tuesday in Month), May (4th Tuesday in Month), August (4th Tuesday in month), November (4th Tuesday in month)
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | QUARTERLY | 2013-10-01 | NA | 2022, See comments | L4 | GATEWAY | NA | NA | NA | 2 | 4 | 2/28/2022** | February (4th Tuesday in Month), May (4th Tuesday in Month), August (4th Tuesday in month), November (4th Tuesday in month)
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2020-01-01 | 2022-12-31 | 2029 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2023 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2015-01-01 | NA | 2022 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2015-01-01 | NA | 2022 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | INORGANICS | NA | NA | TRIENNIALLY | 2015-01-01 | NA | 2023 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2015-01-01 | NA | 2022 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2015-01-01 | NA | 2022 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | INORGANICS | NA | NA | TRIENNIALLY | 2015-01-01 | NA | 2023 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2025-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2025-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2023-01-01 | 2025-12-31 | 2026 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2025-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2015-01-01 | NA | 2023 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2015-01-01 | NA | 2023 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2015-01-01 | NA | 2023 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2023 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2023 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2023 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2023 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 2015-01-01 | NA | 2023 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 2015-01-01 | NA | 2023 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2450364 | FERNANDINA BEACH WTP | NED | COMMUNITY (LARGE) | N | 19953 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2013-01-01 | NA | June - Sept 2022 | 30 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2023-09-30
NASSAU | 2450431 | DUCK POND MHP | NED | COMMUNITY | N | 60 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | TRIENNIALLY | 2013-10-01 | NA | August 2024 | L1 | LOT 27 | 3 | 3 | 8 | NA | NA | 2024-08-31
NASSAU | 2450431 | DUCK POND MHP | NED | COMMUNITY | N | 60 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | TRIENNIALLY | 2013-10-01 | NA | August 2024 | L1 | LOT 27 | 3 | 3 | 8 | NA | NA | 2024-08-31
NASSAU | 2450431 | DUCK POND MHP | NED | COMMUNITY | N | 60 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450431 | DUCK POND MHP | NED | COMMUNITY | N | 60 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2450431 | DUCK POND MHP | NED | COMMUNITY | N | 60 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2029-01-01 | NA | 2030 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2450431 | DUCK POND MHP | NED | COMMUNITY | N | 60 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2450431 | DUCK POND MHP | NED | COMMUNITY | N | 60 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2023-01-01 | NA | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2025-12-31
NASSAU | 2450431 | DUCK POND MHP | NED | COMMUNITY | N | 60 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2026-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2450431 | DUCK POND MHP | NED | COMMUNITY | N | 60 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2026-01-01 | NA | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2450431 | DUCK POND MHP | NED | COMMUNITY | N | 60 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2016-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2450431 | DUCK POND MHP | NED | COMMUNITY | N | 60 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2450431 | DUCK POND MHP | NED | COMMUNITY | N | 60 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2450431 | DUCK POND MHP | NED | COMMUNITY | N | 60 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2013-01-01 | NA | June - Sept 2022 | 5 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2024-09-30
NASSAU | 2451002 | SANDPIPER MOBILE HOME PARK | NED | COMMUNITY | N | 30 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | TRIENNIALLY | 2013-10-01 | NA | August 2024 | L1 | LOT 21 | 3 | 3 | 8 | NA | NA | 2024-08-31
NASSAU | 2451002 | SANDPIPER MOBILE HOME PARK | NED | COMMUNITY | N | 30 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | TRIENNIALLY | 2013-10-01 | NA | August 2024 | L1 | LOT 21 | 3 | 3 | 8 | NA | NA | 2024-08-31
NASSAU | 2451002 | SANDPIPER MOBILE HOME PARK | NED | COMMUNITY | N | 30 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2016-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2451002 | SANDPIPER MOBILE HOME PARK | NED | COMMUNITY | N | 30 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2016-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2451002 | SANDPIPER MOBILE HOME PARK | NED | COMMUNITY | N | 30 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2029-01-01 | NA | 2030 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451002 | SANDPIPER MOBILE HOME PARK | NED | COMMUNITY | N | 30 | INORGANICS | NA | NA | TRIENNIALLY | 2014-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451002 | SANDPIPER MOBILE HOME PARK | NED | COMMUNITY | N | 30 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2026-01-01 | NA | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2451002 | SANDPIPER MOBILE HOME PARK | NED | COMMUNITY | N | 30 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2026-01-01 | NA | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2451002 | SANDPIPER MOBILE HOME PARK | NED | COMMUNITY | N | 30 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2026-01-01 | NA | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2451002 | SANDPIPER MOBILE HOME PARK | NED | COMMUNITY | N | 30 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2017-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451002 | SANDPIPER MOBILE HOME PARK | NED | COMMUNITY | N | 30 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451002 | SANDPIPER MOBILE HOME PARK | NED | COMMUNITY | N | 30 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451002 | SANDPIPER MOBILE HOME PARK | NED | COMMUNITY | N | 30 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2015-01-01 | NA | June - Sept 2022 | 5 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2024-09-30
NASSAU | 2451147 | TEAKWOOD MHP | NED | COMMUNITY | N | 80 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | TRIENNIALLY | 2013-10-01 | NA | August 2024 | L1 | LOT 86128 KYLE FRAZER RD | 3 | 3 | 8 | NA | NA | 2024-08-31
NASSAU | 2451147 | TEAKWOOD MHP | NED | COMMUNITY | N | 80 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | TRIENNIALLY | 2013-10-01 | NA | August 2024 | L1 | LOT 86128 KYLE FRAZER RD | 3 | 3 | 8 | NA | NA | 2024-08-31
NASSAU | 2451147 | TEAKWOOD MHP | NED | COMMUNITY | N | 80 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2451147 | TEAKWOOD MHP | NED | COMMUNITY | N | 80 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2451147 | TEAKWOOD MHP | NED | COMMUNITY | N | 80 | INORGANICS | 1094 | Asbestos | TRIENNIALLY | 2029-01-01 | 2031-12-31 | 2030 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2022-03-01
NASSAU | 2451147 | TEAKWOOD MHP | NED | COMMUNITY | N | 80 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451147 | TEAKWOOD MHP | NED | COMMUNITY | N | 80 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2023-01-01 | 2025-12-31 | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2025-12-31
NASSAU | 2451147 | TEAKWOOD MHP | NED | COMMUNITY | N | 80 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2023-01-01 | 2025-12-31 | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2025-12-31
NASSAU | 2451147 | TEAKWOOD MHP | NED | COMMUNITY | N | 80 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2026-01-01 | NA | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2451147 | TEAKWOOD MHP | NED | COMMUNITY | N | 80 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2016-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451147 | TEAKWOOD MHP | NED | COMMUNITY | N | 80 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451147 | TEAKWOOD MHP | NED | COMMUNITY | N | 80 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451147 | TEAKWOOD MHP | NED | COMMUNITY | N | 80 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2021-01-01 | NA | June - Sept 2023 | 5 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2024-09-30
NASSAU | 2451179 | HILLIARD WTP | NED | COMMUNITY | N | 3036 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | ANNUALLY | 2021-10-01 | NA | August 2022 | L1 | 551248 US HWY 1 - BUD'S RESTAURANT | 3 | 3 | 8 | NA | NA | 2022-08-31
NASSAU | 2451179 | HILLIARD WTP | NED | COMMUNITY | N | 3036 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | ANNUALLY | 2021-10-01 | NA | August 2022 | L1 | 551248 US HWY 1 - BUD'S RESTAURANT | 3 | 3 | 8 | NA | NA | 2022-08-31
NASSAU | 2451179 | HILLIARD WTP | NED | COMMUNITY | N | 3036 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | ANNUALLY | 2021-10-01 | NA | August 2022 | L2 | 552428 US HWY 1 - HOLIDAY TERRACE MOTEL | 3 | 3 | 8 | NA | NA | 2022-08-31
NASSAU | 2451179 | HILLIARD WTP | NED | COMMUNITY | N | 3036 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | ANNUALLY | 2021-10-01 | NA | August 2022 | L2 | 552428 US HWY 1 - HOLIDAY TERRACE MOTEL | 3 | 3 | 8 | NA | NA | 2022-08-31
NASSAU | 2451179 | HILLIARD WTP | NED | COMMUNITY | N | 3036 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451179 | HILLIARD WTP | NED | COMMUNITY | N | 3036 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2451179 | HILLIARD WTP | NED | COMMUNITY | N | 3036 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2029-01-01 | 2031-12-31 | 2030 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2022-03-01
NASSAU | 2451179 | HILLIARD WTP | NED | COMMUNITY | N | 3036 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2451179 | HILLIARD WTP | NED | COMMUNITY | N | 3036 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2023-01-01 | 2025-12-31 | 2030 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2025-12-31
NASSAU | 2451179 | HILLIARD WTP | NED | COMMUNITY | N | 3036 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2023-01-01 | 2025-12-31 | 2030 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2025-12-31
NASSAU | 2451179 | HILLIARD WTP | NED | COMMUNITY | N | 3036 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2023-01-01 | 2025-12-31 | 2030 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2025-12-31
NASSAU | 2451179 | HILLIARD WTP | NED | COMMUNITY | N | 3036 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2016-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451179 | HILLIARD WTP | NED | COMMUNITY | N | 3036 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2016-04-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451179 | HILLIARD WTP | NED | COMMUNITY | N | 3036 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451179 | HILLIARD WTP | NED | COMMUNITY | N | 3036 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2020-01-01 | NA | June - Sept 2023 | 10 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2024-09-30
NASSAU | 2451289 | YULEE COMMUNITY EDUCATION SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 25 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | TRIENNIALLY | 2013-10-01 | NA | July 2022 | L1 | 70-21 PORTABLE | 3 | 3 | 7 | NA | NA | 2022-07-31
NASSAU | 2451289 | YULEE COMMUNITY EDUCATION SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 25 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | TRIENNIALLY | 2013-10-01 | NA | July 2022 | L1 | 70-21 PORTABLE | 3 | 3 | 7 | NA | NA | 2022-07-31
NASSAU | 2451289 | YULEE COMMUNITY EDUCATION SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 25 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2020-01-01 | NA | 2022 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2451289 | YULEE COMMUNITY EDUCATION SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 25 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2451289 | YULEE COMMUNITY EDUCATION SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 25 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2451289 | YULEE COMMUNITY EDUCATION SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 25 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2451289 | YULEE COMMUNITY EDUCATION SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 25 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2451289 | YULEE COMMUNITY EDUCATION SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 25 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2451289 | YULEE COMMUNITY EDUCATION SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 25 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2011-01-01 | NA | June - Sept 2023 | 5 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2022-09-30
NASSAU | 2451322 | MARSH COVE CONDOS | NED | COMMUNITY | N | 415 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | TRIENNIALLY | 2013-10-01 | NA | July 2024 | L1 | APT 101 | 3 | 3 | 7 | NA | NA | 2024-07-31
NASSAU | 2451322 | MARSH COVE CONDOS | NED | COMMUNITY | N | 415 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | TRIENNIALLY | 2013-10-01 | NA | July 2024 | L1 | APT 101 | 3 | 3 | 7 | NA | NA | 2024-07-31
NASSAU | 2451322 | MARSH COVE CONDOS | NED | COMMUNITY | N | 415 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451322 | MARSH COVE CONDOS | NED | COMMUNITY | N | 415 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2451322 | MARSH COVE CONDOS | NED | COMMUNITY | N | 415 | INORGANICS | 10940 | ASBESTOS | TRIENNIALLY | 2029-01-01 | 2031-12-31 | 2030 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2022-03-01
NASSAU | 2451322 | MARSH COVE CONDOS | NED | COMMUNITY | N | 415 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2451322 | MARSH COVE CONDOS | NED | COMMUNITY | N | 415 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2026-01-01 | NA | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2451322 | MARSH COVE CONDOS | NED | COMMUNITY | N | 415 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2026-01-01 | NA | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2451322 | MARSH COVE CONDOS | NED | COMMUNITY | N | 415 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2026-01-01 | NA | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2451322 | MARSH COVE CONDOS | NED | COMMUNITY | N | 415 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2017-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451322 | MARSH COVE CONDOS | NED | COMMUNITY | N | 415 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2017-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451322 | MARSH COVE CONDOS | NED | COMMUNITY | N | 415 | VOLATILE ORGANICS | 2991 | TOLUENE | ANNUALLY | 2019-01-01 | NA | Apr-Jun 2022 | ENTRY | POINT OF ENTRY | 2 | NA | NA | NA | NA | 2022-06-30
NASSAU | 2451322 | MARSH COVE CONDOS | NED | COMMUNITY | N | 415 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451322 | MARSH COVE CONDOS | NED | COMMUNITY | N | 415 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2012-01-01 | NA | June - Sept 2023 | 5 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2024-09-30
NASSAU | 2451323 | NASSAU ACRES MHP | NED | COMMUNITY | N | 52 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | TRIENNIALLY | 2016-10-01 | NA | June 2024 | L1 | LOT 25 | 2 | 2 | 6 | NA | NA | 2024-06-30
NASSAU | 2451323 | NASSAU ACRES MHP | NED | COMMUNITY | N | 52 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | TRIENNIALLY | 2016-10-01 | NA | June 2024 | L1 | LOT 25 | 2 | 2 | 6 | NA | NA | 2024-06-30
NASSAU | 2451323 | NASSAU ACRES MHP | NED | COMMUNITY | N | 52 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2029-01-01 | NA | 2030 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451323 | NASSAU ACRES MHP | NED | COMMUNITY | N | 52 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451323 | NASSAU ACRES MHP | NED | COMMUNITY | N | 52 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2451323 | NASSAU ACRES MHP | NED | COMMUNITY | N | 52 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2451323 | NASSAU ACRES MHP | NED | COMMUNITY | N | 52 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2451323 | NASSAU ACRES MHP | NED | COMMUNITY | N | 52 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2023-01-01 | 2025-12-31 | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2451323 | NASSAU ACRES MHP | NED | COMMUNITY | N | 52 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2025-12-31
NASSAU | 2451323 | NASSAU ACRES MHP | NED | COMMUNITY | N | 52 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2016-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451323 | NASSAU ACRES MHP | NED | COMMUNITY | N | 52 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451323 | NASSAU ACRES MHP | NED | COMMUNITY | N | 52 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2451323 | NASSAU ACRES MHP | NED | COMMUNITY | N | 52 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2009-01-01 | NA | June - Sept 2024 | 5 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2024-09-30
NASSAU | 2454138 | DAYSPRING VILLAGE | NED | COMMUNITY | N | 154 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | TRIENNIALLY | 2016-01-01 | NA | August 2024 | L1 | KITCHEN | 3 | 3 | 8 | NA | NA | 2024-08-31
NASSAU | 2454138 | DAYSPRING VILLAGE | NED | COMMUNITY | N | 154 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | TRIENNIALLY | 2016-01-01 | NA | August 2024 | L1 | KITCHEN | 3 | 3 | 8 | NA | NA | 2024-08-31
NASSAU | 2454138 | DAYSPRING VILLAGE | NED | COMMUNITY | N | 154 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2454138 | DAYSPRING VILLAGE | NED | COMMUNITY | N | 154 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454138 | DAYSPRING VILLAGE | NED | COMMUNITY | N | 154 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2029-01-01 | 2031-12-31 | 2030 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2022-03-01
NASSAU | 2454138 | DAYSPRING VILLAGE | NED | COMMUNITY | N | 154 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454138 | DAYSPRING VILLAGE | NED | COMMUNITY | N | 154 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2454138 | DAYSPRING VILLAGE | NED | COMMUNITY | N | 154 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2454138 | DAYSPRING VILLAGE | NED | COMMUNITY | N | 154 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2454138 | DAYSPRING VILLAGE | NED | COMMUNITY | N | 154 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2016-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2454138 | DAYSPRING VILLAGE | NED | COMMUNITY | N | 154 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2002-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2454138 | DAYSPRING VILLAGE | NED | COMMUNITY | N | 154 | INORGANICS | 1030 | LEAD | QUARTERLY | 2021-04-04 | 2022-06-30 | 2022, See comments |  |  | NA | NA | NA | NA | NA | 2022-03-01 | 4 consecutive quarters below the MCL for Lead required
NASSAU | 2454138 | DAYSPRING VILLAGE | NED | COMMUNITY | N | 154 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2454138 | DAYSPRING VILLAGE | NED | COMMUNITY | N | 154 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2014-07-01 | NA | June - Sept 2023 | 5 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2024-09-30
NASSAU | 2454285 | YULEE PRIMARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 860 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | ANNUALLY | 2015-01-01 | NA | July 2022 | L2 | ROOM 4-06 ADULT BATHROOM | 3 | 3 | 7 | NA | NA | 2022-07-31
NASSAU | 2454285 | YULEE PRIMARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 860 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | ANNUALLY | 2015-01-01 | NA | July 2022 | L2 | ROOM 4-06 ADULT BATHROOM | 3 | 3 | 7 | NA | NA | 2022-07-31
NASSAU | 2454285 | YULEE PRIMARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 860 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2020-01-01 | NA | 2022 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454285 | YULEE PRIMARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 860 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454285 | YULEE PRIMARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 860 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454285 | YULEE PRIMARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 860 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454285 | YULEE PRIMARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 860 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454285 | YULEE PRIMARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 860 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454285 | YULEE PRIMARY SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 860 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2009-01-01 | NA | June - Sept 2023 | 10 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2022-09-30
NASSAU | 2454296 | MULCH MANUFACTURING | NED | NONTRANSIENT NONCOMMUNITY | N | 120 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | TRIENNIALLY | 2013-10-01 | NA | August 2022 | L1 | MENS RR SINK | 3 | 3 | 8 | NA | NA | 2022-08-31
NASSAU | 2454296 | MULCH MANUFACTURING | NED | NONTRANSIENT NONCOMMUNITY | N | 120 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | TRIENNIALLY | 2013-10-01 | NA | August 2022 | L1 | MENS RR SINK | 3 | 3 | 8 | NA | NA | 2022-08-31
NASSAU | 2454296 | MULCH MANUFACTURING | NED | NONTRANSIENT NONCOMMUNITY | N | 120 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2020-01-01 | NA | 2022 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454296 | MULCH MANUFACTURING | NED | NONTRANSIENT NONCOMMUNITY | N | 120 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454296 | MULCH MANUFACTURING | NED | NONTRANSIENT NONCOMMUNITY | N | 120 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454296 | MULCH MANUFACTURING | NED | NONTRANSIENT NONCOMMUNITY | N | 120 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454296 | MULCH MANUFACTURING | NED | NONTRANSIENT NONCOMMUNITY | N | 120 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2023-01-01 | 2025-12-31 | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2025-12-31
NASSAU | 2454296 | MULCH MANUFACTURING | NED | NONTRANSIENT NONCOMMUNITY | N | 120 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2023-01-01 | 2025-12-31 | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2025-12-31
NASSAU | 2454296 | MULCH MANUFACTURING | NED | NONTRANSIENT NONCOMMUNITY | N | 120 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2020-01-01 | 2022-12-31 | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454296 | MULCH MANUFACTURING | NED | NONTRANSIENT NONCOMMUNITY | N | 120 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2011-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454296 | MULCH MANUFACTURING | NED | NONTRANSIENT NONCOMMUNITY | N | 120 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 2009-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454296 | MULCH MANUFACTURING | NED | NONTRANSIENT NONCOMMUNITY | N | 120 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2011-01-01 | NA | Jun - Sept 2022 | 5 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2022-09-30 | DUE 2022
NASSAU | 2454300 | GREEN ACRES OF YULEE | NED | COMMUNITY | N | 160 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | TRIENNIALLY | 2013-10-01 | NA | July 2024 | L1 | BLDG E, APT 2 | 3 | 3 | 7 | NA | NA | 2024-07-31
NASSAU | 2454300 | GREEN ACRES OF YULEE | NED | COMMUNITY | N | 160 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | TRIENNIALLY | 2013-10-01 | NA | July 2024 | L1 | BLDG E, APT 2 | 3 | 3 | 7 | NA | NA | 2024-07-31
NASSAU | 2454300 | GREEN ACRES OF YULEE | NED | COMMUNITY | N | 160 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2454300 | GREEN ACRES OF YULEE | NED | COMMUNITY | N | 160 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454300 | GREEN ACRES OF YULEE | NED | COMMUNITY | N | 160 | INORGANICS | 1094 | Asbestos | TRIENNIALLY | 2029-01-01 | 2031-12-31 | 2030 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 03/01/20222
NASSAU | 2454300 | GREEN ACRES OF YULEE | NED | COMMUNITY | N | 160 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454300 | GREEN ACRES OF YULEE | NED | COMMUNITY | N | 160 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2454300 | GREEN ACRES OF YULEE | NED | COMMUNITY | N | 160 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2454300 | GREEN ACRES OF YULEE | NED | COMMUNITY | N | 160 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2027 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2454300 | GREEN ACRES OF YULEE | NED | COMMUNITY | N | 160 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2016-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2454300 | GREEN ACRES OF YULEE | NED | COMMUNITY | N | 160 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2017-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2454300 | GREEN ACRES OF YULEE | NED | COMMUNITY | N | 160 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2454300 | GREEN ACRES OF YULEE | NED | COMMUNITY | N | 160 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2012-01-01 | NA | June - Sept 2023 | 5 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2024-09-30
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | QUARTERLY | 2013-10-01 | NA | 2022, See comments | L1 | 76437 TIMBER CREEK BLVD | NA | NA | NA | 1 | 2 | 1/31/2022** | Week 2 of January, Week 2 of April, Week 2 of July, Week 2 of October
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | QUARTERLY | 2013-10-01 | NA | 2022, See comments | L1 | 76437 TIMBER CREEK BLVD | NA | NA | NA | 1 | 2 | 1/31/2022** | Week 2 of January, Week 2 of April, Week 2 of July, Week 2 of October
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | QUARTERLY | 2013-10-01 | NA | 2022, See comments | L2 | 87073 LENTS RD | NA | NA | NA | 1 | 2 | 1/31/2022** | Week 2 of January, Week 2 of April, Week 2 of July, Week 2 of October
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | QUARTERLY | 2013-10-01 | NA | 2022, See comments | L2 | 87073 LENTS RD | NA | NA | NA | 1 | 2 | 1/31/2022** | Week 2 of January, Week 2 of April, Week 2 of July, Week 2 of October
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | QUARTERLY | 2013-10-01 | NA | 2022, See comments | L3 | 87613 ROSES BLUFF RD | NA | NA | NA | 1 | 2 | 1/31/2022** | Week 2 of January, Week 2 of April, Week 2 of July, Week 2 of October
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | QUARTERLY | 2013-10-01 | NA | 2022, See comments | L3 | 87613 ROSES BLUFF RD | NA | NA | NA | 1 | 2 | 1/31/2022** | Week 2 of January, Week 2 of April, Week 2 of July, Week 2 of October
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | QUARTERLY | 2013-10-01 | NA | 2022, See comments | L4 | 97093 YORKSHIRE DR | NA | NA | NA | 1 | 2 | 1/31/2022** | Week 2 of January, Week 2 of April, Week 2 of July, Week 2 of October
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | QUARTERLY | 2013-10-01 | NA | 2022, See comments | L4 | 97093 YORKSHIRE DR | NA | NA | NA | 1 | 2 | 1/31/2022** | Week 2 of January, Week 2 of April, Week 2 of July, Week 2 of October
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2023 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2015-01-01 | NA | 2022 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2015-01-01 | NA | 2022 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | INORGANICS | NA | NA | TRIENNIALLY | 2015-01-01 | NA | 2023 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2015-01-01 | NA | 2022 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2015-01-01 | NA | 2022 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | INORGANICS | NA | NA | TRIENNIALLY | 2015-01-01 | NA | 2023 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2015-01-01 | NA | 2022 | 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2015-01-01 | NA | 2022 | 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | INORGANICS | NA | NA | TRIENNIALLY | 2015-01-01 | NA | 2023 | 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | INORGANICS | 1094 | Asbestos | TRIENNIALLY | 2029-01-01 | 2028-12-31 | 2029 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2022-03-01
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2029-01-01 | 2031-12-31 | 2029 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2031-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2029-01-01 | 2031-12-31 | 2029 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2031-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2029-01-01 | 2031-12-31 | 2029 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2031-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2026-01-01 | 2028-12-31 | 2026 | 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2017-01-01 | NA | 2023 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2017-01-01 | NA | 2023 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2017-01-01 | NA | 2023 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2019-07-01 | NA | 2023 | 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2015-01-01 | NA | 2023 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2002-01-01 | NA | 2023 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2022-01-01 | NA | 2023 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2015-01-01 | NA | 2023 | 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 2002-12-02 | NA | 2023 | 1 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 2011-01-01 | NA | 2023 | 2 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | VOLATILE ORGANICS | NA | NA | ANNUALLY | 2022-01-01 | NA | 2022 | 3 | POINT OF ENTRY | NA | NA | NA | NA | NA | 12/31/2022*
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 2019-07-01 | NA | 2023 | 4 | POINT OF ENTRY | NA | NA | NA | NA | NA | 2023-12-31
NASSAU | 2454338 | LOFTON OAKS GRID | NED | COMMUNITY (LARGE) | N | 24318 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2017-01-01 | NA | June - Sept 2023 | 30 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2023-09-30
NASSAU | 2454343 | WHITE OAK CONSERVATION | NED | NONTRANSIENT NONCOMMUNITY | N | 130 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | QUARTERLY | 2020-04-01 | 2022-03-31 | 2022, See comments | L1 | BACK GATE | NA | NA | NA | 3 | 1 | 3/31/2022** | 1st week of March, 1st week of June, 1st week of September, 1st week of December
NASSAU | 2454343 | WHITE OAK CONSERVATION | NED | NONTRANSIENT NONCOMMUNITY | N | 130 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | QUARTERLY | 2020-04-01 | 2022-03-31 | 2022, See comments | L1 | BACK GATE | NA | NA | NA | 3 | 1 | 3/31/2022** | 1st week of March, 1st week of June, 1st week of September, 1st week of December
NASSAU | 2454343 | WHITE OAK CONSERVATION | NED | NONTRANSIENT NONCOMMUNITY | N | 130 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2020-01-01 | NA | 2022 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454343 | WHITE OAK CONSERVATION | NED | NONTRANSIENT NONCOMMUNITY | N | 130 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454343 | WHITE OAK CONSERVATION | NED | NONTRANSIENT NONCOMMUNITY | N | 130 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454343 | WHITE OAK CONSERVATION | NED | NONTRANSIENT NONCOMMUNITY | N | 130 | INORGANICS | NA | NA | TRIENNIALLY | 2010-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454343 | WHITE OAK CONSERVATION | NED | NONTRANSIENT NONCOMMUNITY | N | 130 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2002-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454343 | WHITE OAK CONSERVATION | NED | NONTRANSIENT NONCOMMUNITY | N | 130 | VOLATILE ORGANICS | 2955 | TOT XYLENE | ANNUALLY | 2014-04-01 | NA | Oct-Dec 2022 | ENTRY | POINT OF ENTRY | 4 | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454343 | WHITE OAK CONSERVATION | NED | NONTRANSIENT NONCOMMUNITY | N | 130 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 1999-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454343 | WHITE OAK CONSERVATION | NED | NONTRANSIENT NONCOMMUNITY | N | 130 | LEAD AND COPPER | NA | NA | ANNUALLY | 2019-07-01 | 2022-12-31 | Jun-Sept 2022 | 5 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2022-09-30
NASSAU | 2454375 | THE ANCHOR/LIGHTHOUSE CHRISTIAN SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 93 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | TRIENNIALLY | 2013-10-01 | NA | August 2022 | L1 | KITCHEN @ FAR END OF THE BLDG | 3 | 3 | 8 | NA | NA | 2022-08-31
NASSAU | 2454375 | THE ANCHOR/LIGHTHOUSE CHRISTIAN SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 93 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | TRIENNIALLY | 2013-10-01 | NA | August 2022 | L1 | KITCHEN @ FAR END OF THE BLDG | 3 | 3 | 8 | NA | NA | 2022-08-31
NASSAU | 2454375 | THE ANCHOR/LIGHTHOUSE CHRISTIAN SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 93 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2020-01-01 | 2022-12-31 | 2022 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454375 | THE ANCHOR/LIGHTHOUSE CHRISTIAN SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 93 | INORGANICS | NA | NA | TRIENNIALLY | 2014-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454375 | THE ANCHOR/LIGHTHOUSE CHRISTIAN SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 93 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2014-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454375 | THE ANCHOR/LIGHTHOUSE CHRISTIAN SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 93 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2014-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454375 | THE ANCHOR/LIGHTHOUSE CHRISTIAN SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 93 | SYNTHETIC ORGANICS | 2105 | 2 4-D | ANNUALLY | 2021-01-01 | NA | Jul-Sept 2022 | ENTRY | POINT OF ENTRY | 3 | NA | NA | NA | NA | 2022-09-30
NASSAU | 2454375 | THE ANCHOR/LIGHTHOUSE CHRISTIAN SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 93 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2015-04-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454375 | THE ANCHOR/LIGHTHOUSE CHRISTIAN SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 93 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 2018-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454375 | THE ANCHOR/LIGHTHOUSE CHRISTIAN SCHOOL | NED | NONTRANSIENT NONCOMMUNITY | N | 93 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2015-07-01 | NA | June - Sept 2024 | 5 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2022-09-30
NASSAU | 2454378 | DAYSPRING SENIOR LIVING | NED | COMMUNITY | N | 64 | DISINFECTION BYPRODUCTS | 2456 | TOTAL HALOACETIC ACIDS (HAA5) | TRIENNIALLY | 2018-10-01 | NA | August 2024 | L1 | FLUSHING HYDRANT | 3 | 3 | 8 | NA | NA | 2024-08-31
NASSAU | 2454378 | DAYSPRING SENIOR LIVING | NED | COMMUNITY | N | 64 | DISINFECTION BYPRODUCTS | 2950 | TOTAL THMS | TRIENNIALLY | 2018-10-01 | NA | August 2024 | L1 | FLUSHING HYDRANT | 3 | 3 | 8 | NA | NA | 2024-08-31
NASSAU | 2454378 | DAYSPRING SENIOR LIVING | NED | COMMUNITY | N | 64 | INORGANICS | 1040 | NITRATE | ANNUALLY | 2017-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454378 | DAYSPRING SENIOR LIVING | NED | COMMUNITY | N | 64 | INORGANICS | 1041 | NITRITE | ANNUALLY | 2017-01-01 | NA | 2022 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-12-31
NASSAU | 2454378 | DAYSPRING SENIOR LIVING | NED | COMMUNITY | N | 64 | INORGANICS | NA | NA | TRIENNIALLY | 2020-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2454378 | DAYSPRING SENIOR LIVING | NED | COMMUNITY | N | 64 | RADIOLOGICALS | 4000 | GROSS ALPHA EXCL RADON AND URANIUM | TRIENNIALLY | 2023-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2025-12-31
NASSAU | 2454378 | DAYSPRING SENIOR LIVING | NED | COMMUNITY | N | 64 | RADIOLOGICALS | 4006 | COMBINED URANIUM | TRIENNIALLY | 2023-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2025-12-31
NASSAU | 2454378 | DAYSPRING SENIOR LIVING | NED | COMMUNITY | N | 64 | RADIOLOGICALS | 4010 | COMBINED RADIUM-226 AND 228 | TRIENNIALLY | 2026-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2028-12-31
NASSAU | 2454378 | DAYSPRING SENIOR LIVING | NED | COMMUNITY | N | 64 | SECONDARY STANDARDS | NA | NA | TRIENNIALLY | 2021-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2454378 | DAYSPRING SENIOR LIVING | NED | COMMUNITY | N | 64 | SYNTHETIC ORGANICS | 2010 | LINDANE | ANNUALLY | 2019-01-01 | NA | Jul-Sept 2022 | ENTRY | POINT OF ENTRY | 3 | NA | NA | NA | NA | 2022-09-30
NASSAU | 2454378 | DAYSPRING SENIOR LIVING | NED | COMMUNITY | N | 64 | SYNTHETIC ORGANICS | 2015 | METHOXYCLOR | ANNUALLY | 2019-01-01 | NA | Jul-Sept 2022 | ENTRY | POINT OF ENTRY | 3 | NA | NA | NA | NA | 2022-09-30
NASSAU | 2454378 | DAYSPRING SENIOR LIVING | NED | COMMUNITY | N | 64 | SYNTHETIC ORGANICS | NA | NA | TRIENNIALLY | 2018-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2454378 | DAYSPRING SENIOR LIVING | NED | COMMUNITY | N | 64 | VOLATILE ORGANICS | 2955 | TOT XYLENE | ANNUALLY | 2018-07-01 | NA | Apr-Jun 2022 | ENTRY | POINT OF ENTRY | 2 | NA | NA | NA | NA | 2022-06-30
NASSAU | 2454378 | DAYSPRING SENIOR LIVING | NED | COMMUNITY | N | 64 | VOLATILE ORGANICS | NA | NA | TRIENNIALLY | 2021-01-01 | NA | 2024 | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2024-12-31
NASSAU | 2454378 | DAYSPRING SENIOR LIVING | NED | COMMUNITY | N | 64 | INORGANICS | 1094 | ASBESTOS | TRIENNIALLY | 2029-01-01 | 2031-01-01 | 2030 |  | PER SAMPLING PLAN OR WAIVER | NA | NA | NA | NA | NA | 2022-03-01
NASSAU | 2454378 | DAYSPRING SENIOR LIVING | NED | COMMUNITY | N | 64 | INORGANICS | 1030 | Lead | QUARTERLY | 2021-04-01 | 2022-06-30 | 2022, See comments | ENTRY | POINT OF ENTRY | NA | NA | NA | NA | NA | 2022-03-01 | 4 consecutive quarters below the MCL for Lead required
NASSAU | 2454378 | DAYSPRING SENIOR LIVING | NED | COMMUNITY | N | 64 | LEAD AND COPPER | NA | NA | TRIENNIALLY | 2018-01-01 | NA | June - Sept 2023 | 5 SITES | PER SAMPLING PLAN | NA | NA | NA | NA | NA | 2024-09-30