## Sheet1
PWS_ID | SYSTEM_NAME | COUNTY | SYSTEM_TYPE | CONTAM_GROUP | CONTAMINANT NAME | FREQUENCY | YEAR NEXT DUE | SAMPLING PERIOD | SAMPLING LOCATION | COMMENTS
2450022 | NASSAU-AMELIA UTILITIES | NASSAU | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | AUGUST | 961167 FIRST COAST HWY
2450022 | NASSAU-AMELIA UTILITIES | NASSAU | LARGE COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2450022 | NASSAU-AMELIA UTILITIES | NASSAU | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450022 | NASSAU-AMELIA UTILITIES | NASSAU | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450022 | NASSAU-AMELIA UTILITIES | NASSAU | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450022 | NASSAU-AMELIA UTILITIES | NASSAU | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2028 | JUNE THROUGH SEPTEMBER | 20 SITES PER LCR SAMPLING PLAN
2450022 | NASSAU-AMELIA UTILITIES | NASSAU | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2032 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450022 | NASSAU-AMELIA UTILITIES | NASSAU | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2032 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450022 | NASSAU-AMELIA UTILITIES | NASSAU | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2032 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450022 | NASSAU-AMELIA UTILITIES | NASSAU | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450022 | NASSAU-AMELIA UTILITIES | NASSAU | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026* | N/A | POINT OF ENTRY TO DISTRIBUTION | *MUST BE SAMPLED TWICE IN TWO DIFFERENT QUARTERS; SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2450022 | NASSAU-AMELIA UTILITIES | NASSAU | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450122 | BRYCEVILLE ELEMENTARY SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | JULY | FAUCET - FRONT ENTRANCE
2450122 | BRYCEVILLE ELEMENTARY SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2450122 | BRYCEVILLE ELEMENTARY SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450122 | BRYCEVILLE ELEMENTARY SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450122 | BRYCEVILLE ELEMENTARY SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450122 | BRYCEVILLE ELEMENTARY SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2028 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2450122 | BRYCEVILLE ELEMENTARY SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2450122 | BRYCEVILLE ELEMENTARY SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450145 | CALLAHAN INTERMEDIATE SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | THIRD MONTH, THIRD WEEK | FAUCET 6-14 NEXT TO MECH ROOM
2450145 | CALLAHAN INTERMEDIATE SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | THIRD MONTH, THIRD WEEK | 4-20 SPIGOT
2450145 | CALLAHAN INTERMEDIATE SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2450145 | CALLAHAN INTERMEDIATE SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450145 | CALLAHAN INTERMEDIATE SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450145 | CALLAHAN INTERMEDIATE SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450145 | CALLAHAN INTERMEDIATE SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2028 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2450145 | CALLAHAN INTERMEDIATE SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2450145 | CALLAHAN INTERMEDIATE SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450146 | CALLAHAN WTP | NASSAU | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | AUGUST | 45183 WEAVER CIRCLE
2450146 | CALLAHAN WTP | NASSAU | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | AUGUST | 45377 MICKLER ST
2450146 | CALLAHAN WTP | NASSAU | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2450146 | CALLAHAN WTP | NASSAU | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450146 | CALLAHAN WTP | NASSAU | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450146 | CALLAHAN WTP | NASSAU | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450146 | CALLAHAN WTP | NASSAU | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2450146 | CALLAHAN WTP | NASSAU | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450146 | CALLAHAN WTP | NASSAU | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450146 | CALLAHAN WTP | NASSAU | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450146 | CALLAHAN WTP | NASSAU | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450146 | CALLAHAN WTP | NASSAU | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2450146 | CALLAHAN WTP | NASSAU | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | SECOND MONTH, FOURTH WEEK | OLD TOWN (OT)
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | SECOND MONTH, FOURTH WEEK | N FLETCHER/LISA AVE (LISA)
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | SECOND MONTH, FOURTH WEEK | 519 N 14TH ST (N-14)
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | SECOND MONTH, FOURTH WEEK | GATEWAY (GW)
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 001 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 002 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 003 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 001 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 003 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 002 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | 001 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | 002 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | 003 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2028 | JUNE THROUGH SEPTEMBER | 30 SITES PER LCR SAMPLING PLAN
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | 001 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | 002 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | 003 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | 002 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | 001 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | 003 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | 003 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | 001 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | 002 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | 001 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | 002 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | 003 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026* | N/A | 003 - POE | *MUST BE SAMPLED TWICE IN TWO DIFFERENT QUARTERS; SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026* | N/A | 002 - POE | *MUST BE SAMPLED TWICE IN TWO DIFFERENT QUARTERS; SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026* | N/A | 001 - POE | *MUST BE SAMPLED TWICE IN TWO DIFFERENT QUARTERS; SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | 001 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | 002 - POE
2450364 | FERNANDINA BEACH WTP | NASSAU | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | 003 - POE
2450431 | DUCK POND MHP (FKA AMELIA PINES MHP) | NASSAU | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | AUGUST | LOT 27
2450431 | DUCK POND MHP (FKA AMELIA PINES MHP) | NASSAU | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2450431 | DUCK POND MHP (FKA AMELIA PINES MHP) | NASSAU | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450431 | DUCK POND MHP (FKA AMELIA PINES MHP) | NASSAU | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450431 | DUCK POND MHP (FKA AMELIA PINES MHP) | NASSAU | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450431 | DUCK POND MHP (FKA AMELIA PINES MHP) | NASSAU | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2026 | JANUARY THROUGH JUNE | 5 SITES PER LCR SAMPLING PLAN
2450431 | DUCK POND MHP (FKA AMELIA PINES MHP) | NASSAU | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450431 | DUCK POND MHP (FKA AMELIA PINES MHP) | NASSAU | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450431 | DUCK POND MHP (FKA AMELIA PINES MHP) | NASSAU | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450431 | DUCK POND MHP (FKA AMELIA PINES MHP) | NASSAU | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2450431 | DUCK POND MHP (FKA AMELIA PINES MHP) | NASSAU | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2450431 | DUCK POND MHP (FKA AMELIA PINES MHP) | NASSAU | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451002 | SANDPIPER MOBILE HOME PARK | NASSAU | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | AUGUST | LOT 21
2451002 | SANDPIPER MOBILE HOME PARK | NASSAU | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2451002 | SANDPIPER MOBILE HOME PARK | NASSAU | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451002 | SANDPIPER MOBILE HOME PARK | NASSAU | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451002 | SANDPIPER MOBILE HOME PARK | NASSAU | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451002 | SANDPIPER MOBILE HOME PARK | NASSAU | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2028 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2451002 | SANDPIPER MOBILE HOME PARK | NASSAU | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451002 | SANDPIPER MOBILE HOME PARK | NASSAU | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451002 | SANDPIPER MOBILE HOME PARK | NASSAU | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451002 | SANDPIPER MOBILE HOME PARK | NASSAU | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451002 | SANDPIPER MOBILE HOME PARK | NASSAU | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2451002 | SANDPIPER MOBILE HOME PARK | NASSAU | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451147 | TEAKWOOD MHP | NASSAU | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | AUGUST | LOT 86128 KYLE FRAZER RD
2451147 | TEAKWOOD MHP | NASSAU | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2451147 | TEAKWOOD MHP | NASSAU | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451147 | TEAKWOOD MHP | NASSAU | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451147 | TEAKWOOD MHP | NASSAU | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451147 | TEAKWOOD MHP | NASSAU | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2451147 | TEAKWOOD MHP | NASSAU | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451147 | TEAKWOOD MHP | NASSAU | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451147 | TEAKWOOD MHP | NASSAU | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451147 | TEAKWOOD MHP | NASSAU | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451147 | TEAKWOOD MHP | NASSAU | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2451147 | TEAKWOOD MHP | NASSAU | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451179 | HILLIARD WTP | NASSAU | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | AUGUST | HOLIDAY TERRACE MOTEL (552428 US-1)
2451179 | HILLIARD WTP | NASSAU | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | AUGUST | BUD'S RESTAURANT (551248 US-1)
2451179 | HILLIARD WTP | NASSAU | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2451179 | HILLIARD WTP | NASSAU | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451179 | HILLIARD WTP | NASSAU | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451179 | HILLIARD WTP | NASSAU | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451179 | HILLIARD WTP | NASSAU | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2451179 | HILLIARD WTP | NASSAU | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451179 | HILLIARD WTP | NASSAU | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451179 | HILLIARD WTP | NASSAU | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451179 | HILLIARD WTP | NASSAU | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451179 | HILLIARD WTP | NASSAU | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2451179 | HILLIARD WTP | NASSAU | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451289 | YULEE COMMUNITY EDUCATION CENTER | NASSAU | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2028 | JULY | BUILDING 06, KITCHEN SINK 1
2451289 | YULEE COMMUNITY EDUCATION CENTER | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2451289 | YULEE COMMUNITY EDUCATION CENTER | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451289 | YULEE COMMUNITY EDUCATION CENTER | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451289 | YULEE COMMUNITY EDUCATION CENTER | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451289 | YULEE COMMUNITY EDUCATION CENTER | NASSAU | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | ANNUAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2451289 | YULEE COMMUNITY EDUCATION CENTER | NASSAU | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2451289 | YULEE COMMUNITY EDUCATION CENTER | NASSAU | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451322 | MARSH COVE CONDOS | NASSAU | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | JULY | APT 101
2451322 | MARSH COVE CONDOS | NASSAU | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2451322 | MARSH COVE CONDOS | NASSAU | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451322 | MARSH COVE CONDOS | NASSAU | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451322 | MARSH COVE CONDOS | NASSAU | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451322 | MARSH COVE CONDOS | NASSAU | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2451322 | MARSH COVE CONDOS | NASSAU | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451322 | MARSH COVE CONDOS | NASSAU | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451322 | MARSH COVE CONDOS | NASSAU | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451322 | MARSH COVE CONDOS | NASSAU | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2451322 | MARSH COVE CONDOS | NASSAU | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2451322 | MARSH COVE CONDOS | NASSAU | COMMUNITY | VOC | TOLUENE | ANNUAL | 2026 | APRIL THROUGH JUNE | POINT OF ENTRY TO DISTRIBUTION
2451322 | MARSH COVE CONDOS | NASSAU | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454138 | DAYSPRING VILLAGE | NASSAU | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | AUGUST | KITCHEN
2454138 | DAYSPRING VILLAGE | NASSAU | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2454138 | DAYSPRING VILLAGE | NASSAU | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454138 | DAYSPRING VILLAGE | NASSAU | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454138 | DAYSPRING VILLAGE | NASSAU | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454138 | DAYSPRING VILLAGE | NASSAU | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2454138 | DAYSPRING VILLAGE | NASSAU | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454138 | DAYSPRING VILLAGE | NASSAU | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454138 | DAYSPRING VILLAGE | NASSAU | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454138 | DAYSPRING VILLAGE | NASSAU | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454138 | DAYSPRING VILLAGE | NASSAU | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2454138 | DAYSPRING VILLAGE | NASSAU | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454285 | YULEE PRIMARY SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2026 | JULY | ROOM 4-06 ADULT BATHROOM
2454285 | YULEE PRIMARY SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2454285 | YULEE PRIMARY SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454285 | YULEE PRIMARY SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454285 | YULEE PRIMARY SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454285 | YULEE PRIMARY SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2454285 | YULEE PRIMARY SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2454285 | YULEE PRIMARY SCHOOL | NASSAU | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | FIRST MONTH, SECOND WEEK | 76437 TIMBER CREEK BLVD
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | FIRST MONTH, SECOND WEEK | 87073 LENTS RD
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | FIRST MONTH, SECOND WEEK | 87613 ROSES BLUFF RD
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | QUARTERLY | 2026 | FIRST MONTH, SECOND WEEK | 97093 YORKSHIRE DR
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 001 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 004 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 003 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | 002 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 001 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 004 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 003 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | 002 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | 001 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | 004 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | 002 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | 003 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 30 SITES PER LCR SAMPLING PLAN
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2032 | N/A | 001 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2029 | N/A | 004 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2029 | N/A | 002 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2032 | N/A | 003 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2032 | N/A | 002 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2032 | N/A | 004 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2032 | N/A | 001 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2032 | N/A | 003 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2032 | N/A | 002 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2032 | N/A | 001 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2032 | N/A | 004 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2032 | N/A | 003 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | 001 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | 002 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | 003 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | 004 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026* | N/A | 002 - POE | *MUST BE SAMPLED TWICE IN TWO DIFFERENT QUARTERS; SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026* | N/A | 004 - POE | *MUST BE SAMPLED TWICE IN TWO DIFFERENT QUARTERS; SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026* | N/A | 001 - POE | *MUST BE SAMPLED TWICE IN TWO DIFFERENT QUARTERS; SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026* | N/A | 003 - POE | *MUST BE SAMPLED TWICE IN TWO DIFFERENT QUARTERS; SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | 002 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | 003 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | 004 - POE
2454338 | JEA: LOFTON OAKS GRID | NASSAU | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | 001 - POE
2454343 | WHITE OAK CONSERVATION | NASSAU | NONTRANSIENT NONCOMMUNITY | DBP | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2028 | MARCH | BACK GATE
2454343 | WHITE OAK CONSERVATION | NASSAU | NONTRANSIENT NONCOMMUNITY | DBP | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2028 | SEPTEMBER | BACK GATE
2454343 | WHITE OAK CONSERVATION | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2454343 | WHITE OAK CONSERVATION | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454343 | WHITE OAK CONSERVATION | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454343 | WHITE OAK CONSERVATION | NASSAU | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454343 | WHITE OAK CONSERVATION | NASSAU | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2028 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2454343 | WHITE OAK CONSERVATION | NASSAU | NONTRANSIENT NONCOMMUNITY | SOC | DALAPON | ANNUAL | 2026 | JANUARY THROUGH MARCH | POINT OF ENTRY TO DISTRIBUTION
2454343 | WHITE OAK CONSERVATION | NASSAU | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2028* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2454343 | WHITE OAK CONSERVATION | NASSAU | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454378 | DAYSPRING SENIOR LIVING | NASSAU | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | AUGUST | FLUSHING HYDRANT
2454378 | DAYSPRING SENIOR LIVING | NASSAU | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2454378 | DAYSPRING SENIOR LIVING | NASSAU | COMMUNITY | INOR | NITRATE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454378 | DAYSPRING SENIOR LIVING | NASSAU | COMMUNITY | INOR | NITRITE | ANNUAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454378 | DAYSPRING SENIOR LIVING | NASSAU | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454378 | DAYSPRING SENIOR LIVING | NASSAU | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2454378 | DAYSPRING SENIOR LIVING | NASSAU | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454378 | DAYSPRING SENIOR LIVING | NASSAU | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454378 | DAYSPRING SENIOR LIVING | NASSAU | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454378 | DAYSPRING SENIOR LIVING | NASSAU | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2454378 | DAYSPRING SENIOR LIVING | NASSAU | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2454378 | DAYSPRING SENIOR LIVING | NASSAU | COMMUNITY | VOC | TOLUENE | ANNUAL | 2026 | APRIL THROUGH JUNE | POINT OF ENTRY TO DISTRIBUTION
2454378 | DAYSPRING SENIOR LIVING | NASSAU | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION