## Instructions-Definitions
General Instructions: | This RA Summary Report should be prepared and submitted for each site. A Summary Report along with the milestone worksheet, text and graphs are required for a complete O&M Report.
milestone worksheet, text and graphs are required for a complete O&M Report.
Instructions for Each Table:
| Table Name | Instructions
T1A | Site Summary | Assessment, remediation, and operation history of the site
T1B | Site Performance Summary | Milestone and runtime summary
T1C | Treatment Well Detail | Description of treatment wells grouped by depth, type, process
T1D | Process Summary | Description of remediation equipment
T1E | Maintenance Summary | Description, type, and date of maintenance performed
T2 | GWR System Performance | Runtime and recovery data for multi-phase or ground water recovery system
T3A | AS Performance | Runtime and operation data for an air sparge or bio-sparge system
T3B | SVE Performance | Runtime and operation data for a soil vapor extraction system
T3C | MPX Performance | Runtime and operation data for the vapor phase of a multi-phase system
T4 | GW Elevation (FP) | Used at sites where free product measurements are required
T4A | GW Elevation (No FP) | Used at sites where no free product measurements are required
T5 | GWR Analytical Summary | Analytical data collected from recovered ground water
T6 | MW Analytical Summary | Analytical data from monitor wells and indentify key wells
T7 | Vapor Analytical Summary | Soil vapor extraction analytical data
T8 | SVE-MPX Well Data | Soil vapor or multi-phase extraction well flow and vacuum data
T9 | AS Well Data | Air sparge well flow and pressure data
T10 | GWR Well Data | GWR/MPX recovery data
T11 | System Influence | Dissolved oxygen, pressure, and vacuum data collected from
monitoring wells to determine influence of the system
Definitions
Report Type: | Startup, Quarter 1, Annual, etc.
Lithology: | Indentify the lithology of the zone being treated: sand, sandy clay, clayey sand, clay, silt
Product Types: | Unleaded, leaded, diesel, jet fuel, kerosene
Treatment Process: | Air Sparging (AS), Soil Vapor Extraction (SVE), Bio-Sparging (BS), Multi-Phase Extraction (MPX)
Ground Water Recovery (GWR), Thermal Treatment (TT), Carbon Treatment (GAC), Heat Exchange (HX)
System Type | List the combination of processes used: AS/SVE, AS/MPX, BS, SVE, GWR, GWR/SVE, etc.
Excavation Type: | Large Diameter Auger (LDA), Conventional Excavation (Conv), LDA/Conv.
System Size: | Small (S), Medium (M), Large (L)
Well Type | Vertical Well (VW), Horizontal Well (HW)
Equipment Type | Rotary vane AC, Rotary screw AC, Regenerative Blower (RB), PD Blower, etc.
Process Vacuum | Use inches of mercury for MPX and inches of water for SVE
Contaminant Groups | Benzene, TEX, Naps, MTBE, PAHs I, PAHs II, TRPH
Cleanup Team | PCS1-6, LP01-58
Well Material | Material used for treatment well: PVC, HDPE, Shuma, list any other material used
Installation Method | List installation method, direct push (DP), hollow stem auger (HAS), mud rotary (MR),
directional drilling (DD), sonic, hand, other
Predicted EAR Date | The predicted date of the end of active remediation (EAR)
Enclosure Type: | Trailer, container, building, roof, none
Run Time Reporting | Report run time for reporting period and cumulative run time since start-up for each system in Table 1B.
Tables 3 A-C will calculate combined run time when multiple compressors or blowers are used.
Maintenance Type | Specify maintenance type in Table 1E, e.g., warranty repair (WR), routine maintenance (RM),
component failure (CF)
COC | Contaminant of Concern
Notes: | Use this section to identify cluster sites and any other site information not listed.

## T1A - Site Summary
|  | TABLE 1A: SITE SUMMARY |  | RAI | Non-RAI
Facility Information |  |  |  | X |  | Sand | Startup | 01 Alachua | PCS01
Facility Name: | DEP BMC |  |  |  |  | Silty Sand | Y1Q1 | 02 Baker | PCS02
Facility Address: | 2600 Blairstone Road |  |  |  |  | Clayey Sand | Y1Q2 | 03 Bay | PCS03
Facility City: | Tallahassee |  | Report Date (mm-dd-yy): | 2008-01-25 |  | Sandy Clay | Y1Q3 | 04 Bradford | PCS04
FDEP FAC ID: | 123456789 |  | Report Period Start date: |  |  | Clay | Y1Q4 | 05 Brevard | PCS05
County: |  |  | Report Period End date: |  |  | Limestone | Y2Q1 | 06 Broward | PCS06
Team/LP: |  |  | Report Period: |  |  | Other | Y2Q2 | 07 Calhoun | LP01 Alachua
Team/LP PM: |  |  | O&M Inspector: |  |  |  | Y2Q3 | 08 Charlotte | LP05 Brevard
Contractor: |  |  | RA Specialist: |  |  | Yes | Y2Q4 | 09 Citrus | LP06 Broward
Contractor PM: |  |  | Program: |  |  | No | Y3Q1 | 10 Clay | LP13 Miami-Dade
Telemetry Phone No.: |  |  | Site Score: |  |  |  | Y3Q2 | 11 Collier | LP16 Duval
System Summary | [5 empty] | 90% | Y3Q3 | 12 Columbia | LP17 Escambia
System Size (S,M,L): |  |  | No. Treatment Points: |  |  | 70% | Y3Q4 | 13 Miami-Dade | LP29 Hillsborough
System Type: | [5 empty] | NAM | Y4Q1 | 14 DeSoto | LP48 Orange
[6 empty] | CTLs | Y4Q2 | 15 Dixie | LP50 Palm Beach
Milestone Summary | [6 empty] | Y4Q3 | 16 Duval | LP52 Pinellas
Key Well Count: |  |  | Goal (90%, 70% NAM, CTLs): |  |  | AS/SVE | Y4Q4 | 17 Escambia | LP53 Polk
Key Well ID: |  |  | Key Well Change (yes/no): |  |  | AS/MPE | Y5Q1 | 18 Flagler | LP58 Sarasota
Baseline Sample Date: |  |  | Milestone Change: (yes/no): |  |  | AS/MPE/SVE | Y5Q2 | 19 Frankin | LP59 Seminole
Critical Dates | [5 empty] | BS | Y5Q3 | 20 Gadsden | LP64 Volusia
RAP Approval Date: |  |  | System Startup Date: | 2006-02-12 |  | BS/GWR | Y5Q4 | 21 Gilchrist
RAMP Approval Date: |  |  | Cleanup Time (yrs.): | 2.5 |  | BS/SVE |  | 22 Glades
RAC Completion Date: |  |  | Predicted EAR Date: | 2008-08-12 12:00 |  | BS/MPE |  | 23 Gulf
Discharge Date: |  |  | EAR Date Change (yes/no): |  |  | GWR |  | 24 Hamilton
Discharge Date: |  |  | Date CTL's Reached: |  |  | GWR/SVE |  | 25 Hardee
PARM Start Date: |  |  | SRCO Issue Date: |  |  | MPE |  | 26 Hendry
SA Summary | [5 empty] | MPE/SVE |  | 27 Hernando
Lithology: |  |  | DTW Max.: |  |  | Other |  | 28 Highlands
Contaminant Groups: |  |  | DTW Min.: |  |  |  |  | 29 Hillsborough
Product Type(s): |  |  | Initial Plume Area (ft2): |  |  | S |  | 30 Holmes
Highest COC Name: |  |  | Current Plume Area (ft2): |  |  | M |  | 31 Indian River
Highest COC (ug/l): |  |  | Free Product (yes/no): |  |  | L |  | 32 Jackson
Remediation History | [7 empty] | 33 Jefferson
Previous System Type: |  |  | Source Removal Date: |  |  | LDA |  | 34 Lafayette
Date Started: |  |  | Source Removal Tons: |  |  | Conventional |  | 35 Lake
Date Ended: |  |  | Source Removal Method: |  |  | LDA/Conv. |  | 36 Lee
Facility History | [7 empty] | 37 Leon
Active Facility (yes/no) |  |  | Tank Capacity: |  |  |  |  | 38 Levy
Number of Tanks |  |  | Date Installed: |  |  |  |  | 39 Liberty
|  |  | Date Removed: |  |  |  |  | 40 Madison
Cost Summary | [7 empty] | 41 Manatee
RAC Cost: |  |  | Funding CAP Amount: |  |  |  |  | 42 Marion
Equipment Cost: |  |  | Source Removal Cost: |  |  |  |  | 43 Martin
Annual O&M Cost: | [7 empty] | 44 Monroe
Notes: | [7 empty] | 45 Nassau
46 Okaloosa
47 Okeechobee
48 Orange
49 Osceola
50 Palm Beach
51 Pasco
52 Pinellas
53 Polk
54 Putnam
55 St. Johns
56 St. Lucie
57 Santa Rosa
58 Sarasota
59 Seminole
60 Sumter
61 Suwannee
62 Taylor
63 Union
64 Volusia
65 Wakulla
66 Walton
67 Washington
Formulas:
RAI = IF(H22="","",H22+[RAI, row above]*365)
Note on H11: BPSS: Select program eligiblity(ies) ATRP, EDI, PCPP, PLRIP, etc.
Note on H19: BPSS: If yes, include date of change
Note on H20: BPSS: If yes, include date of change
Note on C30: BPSS: Select all groups that will be tracked (B, TEX, MTBE, Naps, PAHs(I), PAHs(II), TRPH

## T1B - Site Performance Summary
TABLE 1B: SITE PERFORMANCE SUMMARY
Facility Name: |  | DEP BMC | [6 empty] | Startup Date: |  | 2006-02-12
Facility Address: |  | 2600 Blairstone Road, Tallahassee | [6 empty] | System Type: |  | 0
FDEP FAC ID: |  | 123456789
Key Wells Meeting All Milestones (yes/no)
| Q1 | Q2 | Q3 | Q4 | Q5 | Q6 | Q7 | Q8 | Q9 | Q10 | Q11 | Q12 | Q13 | Q14 | Q15 | Q16
MW-1
MW-2
MW-3
MW-4
MW-5
MW-6
MW-7
MW-8
MW-9
MW-10
Run Time Summary (%)
Report Period | Q1 | Q2 | Q3 | Q4 | Q5 | Q6 | Q7 | Q8 | Q9 | Q10 | Q11 | Q12 | Q13 | Q14 | Q15 | Q16
AS
SVE
MPX
BS
Cumulative
AS
SVE
MPX
BS

## T1C - Treatment Well Details
TABLE 1C - TREATMENT WELL DETAILS
Facility Name: | DEP BMC |  | FDEP FAC ID: | 123456789
Facility Address: | 2600 Blairstone Road, Tallahassee |  | System Type: | 0
Process Type | AS | SVE | AS | GWR
Well Count | 10 | 15 | 10
Well Name
Well Type (HW, VW) | HW | VW | VW
Diameter (inches) | 4 | 4 | 2
Well Depth (feet) | 40 | 20 | 30
Screened Length (feet) | 100 | 2 | 2
Design Flow (gpm) | 50 | 50 | 5
Design Flow (scfm)
Startup (Optimal) Flow (gpm) | 35 | 50 | 5
Startup (Optimal) Flow (scfm)
Design Pressure (psi) |  | 15 | 12
Startup (Optimal) Pressure (psi) | 12 | 12 | 10
Design Vacuum (in. H2O) | 15 |  | 0
Startup (Optimal) Vacuum (in. H2O)
Design Vacuum (in. Hg) | 15
Startup (Optimal) Vacuum (in. Hg)
Slot Size (inches) | 0.01 |  | 0.02
Well Material (HDPE, PVC) | hdpe | PVC | PVC
Installation Method (DP, HS, MR, DD, other) |  |  | HA
Process Type | MPX
Well Count | 10
Well Name
Well Type (HW, VW) | HW
Diameter (inches) | 4
Well Depth (feet) | 40
Screened Length (feet) | 100
Design Flow Rate (gpm) | 50
Design Flow Rate (scfm)
Startup (Optimal) Flow (gpm) | 35
Startup (Optimal) Flow (scfm)
Design Pressure (psi)
Startup (Optimal) Pressure (psi) | 12
Design Vacuum (in. H2O) | 15
Startup (Optimal) Vacuum (in. H2O)
Design Vacuum (in. Hg) | 15
Startup (Optimal) Vacuum (in. Hg)
Slot Size (inches) | 0.01
Well Material (HDPE, PVC) | hdpe
Installation Method (DP, HS, MR, DD, other)

## T1D - Process Summary
TABLE 1D: REMEDIAL PROCESS SUMMARY
Facility Name: | DEP BMC |  | FDEP FAC ID: | 123456789
Facility Address: | 2600 Blairstone Road, Tallahassee |  | System Type: | 0
Treatment Process 1: | AS |  | Serial Number:
Equipment Type: | rotary screw AC |  | Property #
Manufacturer: |  |  | Enclosure Type:
Model # |  |  | Trailer Tag No.
Equipment HP: |  |  | Process Flow (SCFM):
Phase/Voltage: |  |  | Process Pressure (psi):
Warranty Exp. Date: |  |  | Process Vacuum (in.H2O):
Process Vacuum (in.Hg):
Treatment Process 2: | SVE |  | Serial Number:
Equipment Type: | PD Bower |  | Property #
Manufacturer: |  |  | Enclosure Type:
Model # |  |  | Trailer Tag No.
Equipment HP: |  |  | Process Flow (SCFM):
Phase/Voltage: |  |  | Process Pressure (psi):
Warranty Exp. Date: |  |  | Process Vacuum (in.H2O):
Process Vacuum (in.Hg):
Treatment Process 3: |  |  | Serial Number:
Equipment Type: |  |  | Property #
Manufacturer: |  |  | Enclosure Type:
Model # |  |  | Trailer Tag No.
Equipment HP: |  |  | Process Flow (SCFM):
Phase/Voltage: |  |  | Process Pressure (psi):
Warranty Exp. Date: |  |  | Process Vacuum (in.H2O):
Process Vacuum (in.Hg):
Treatment Process 4: |  |  | Serial Number:
Equipment Type: |  |  | Property #
Manufacturer: |  |  | Enclosure Type:
Model # |  |  | Trailer Tag No.
Equipment HP: |  |  | Process Flow (SCFM):
Phase/Voltage: |  |  | Process Pressure (psi):
Warranty Exp. Date: |  |  | Process Vacuum (in.H2O):
Process Vacuum (in.Hg):
Treatment Process 5: |  |  | Serial Number:
Equipment Type: |  |  | Property #
Manufacturer: |  |  | Enclosure Type:
Model # |  |  | Trailer Tag No.
Equipment HP: |  |  | Process Flow (SCFM):
Phase/Voltage: |  |  | Process Pressure (psi):
Warranty Exp. Date: |  |  | Process Vacuum (in.H2O):
Process Vacuum (in.Hg):
Treatment Process 6: |  |  | Serial Number:
Equipment Type: |  |  | Property #
Manufacturer: |  |  | Enclosure Type:
Model # |  |  | Trailer Tag No.
Equipment HP: |  |  | Process Flow (SCFM):
Phase/Voltage: |  |  | Process Pressure (psi):
Warranty Exp. Date: |  |  | Process Vacuum (in.H2O):
Process Vacuum (in.Hg):
Treatment Process 7: |  |  | Serial Number:
Equipment Type: |  |  | Property #
Manufacturer: |  |  | Enclosure Type:
Model # |  |  | Trailer Tag No.
Equipment HP: |  |  | Process Flow (SCFM):
Phase/Voltage: |  |  | Process Pressure (psi):
Warranty Exp. Date: |  |  | Process Vacuum (in.H2O):
Process Vacuum (in.Hg):

## T1E - Maintenance Summary
TABLE 1E: REMEDIAL SYSTEM MAINTENANCE SUMMARY
Facility Name: | DEP BMC |  | Report Date: | 2008-01-25
Facility Address: | 2600 Blairstone Road, Tallahassee |  | Report Type: | 0
FDEP# | 123456789 |  | Startup Date: | 2006-02-12
Date: | Type: | System Maintenance Description

## T2 - GWR Performance
TABLE 2: GROUND WATER RECOVERY SYSTEM PERFORMANCE SUMMARY
[11 empty] | Treatment Process Status Codes: |  | Code | Arrive | Depart
Facility Name: |  | DEP BMC |  |  |  | Startup Date: | 2006-02-12 | [5 empty] | 1 | on | on
Facility ID#: |  | 123456789 | [10 empty] | 2 | off | on
[13 empty] | 3 | off | off
| Design Flow: | 5 | gpm | [9 empty] | 4 | on | off
Design Capacity Percentage = (Total Gallons Pumped/Design Flow)*(days/1440)
Site Visit | Days Between | Days Since | Gallons | Instantaneous | Average | Total Gallons | Design Capacity | Design Capacity | Hour Meter | Daily operating design | % Runtime | % Runtime | Free Product |  | Process
Date | Site Visits | Startup | Pumped | Flow - GPM | GPM | Pumped | % (period) | % (total) | Reading | Runtime (hours) | (period) | (total) | Gals | Total | Status
2006-03-04 | 0 | 0 |  |  | 0 | 0 | 0% | 0% |  |  | 0% | 0% |  | 0
2006-03-06 | 2 | 2 | 100 | 5 | 0.034722 | 100 | 0.6944% | 0.6944% | 50 | 24 | 104.2% | 104.2% | 5 | 5
2006-03-08 | 2 | 4 | 100 | 5 | 0.034722 | 200 | 0.6944% | 0.6944% | 75 | 24 | 52.08% | 78.12% |  | 5
2006-03-10 | 2 | 6 | 100 | 5 | 0.034722 | 300 | 0.6944% | 0.6944% | 100 | 24 | 52.08% | 69.44% |  | 5

## T3A - AS Performance
TABLE 3A: AIR SPARGING PERFORMANCE SUMMARY
[12 empty] | Code | Arrive | Depart
Facility Name: |  | DEP BMC | [5 empty] | Startup Date: |  | 2006-02-12 |  | 1 | on | on
Facility ID#: |  | 123456789 | [9 empty] | 2 | off | on
[12 empty] | 3 | off | off
[12 empty] | 4 | on | off
|  |  | AS Compressor 1 |  | AS Compressor 2 |  | AS Compressor 3
Site | Days | Days | Hour | Daily | Hour | Daily | Hour | Daily | Hours of | Total Hours | Approved | Percent | Percent | Process
Visit | Between | Since | Meter | Designed Run | Meter | Designed Run | Meter | Designed Run | Operation | of Operation | Down Time | Run Time | Run Time | Status
Date | Site Visits | Startup | Reading | Time (hours) | Reading | Time (hours) | Reading | Time (hours) | Period | Cumulative | (hours) | (period) | (cumulative)
2008-01-01 | 0 | 0 | 100 | 12 | 100 | 12 |  |  |  | 0 |  | 0% | 0% | 0
2008-01-02 | 1 | 1 | 112 | 12 | 112 | 12 |  |  | 24 | 24 |  | 100% | 100%
2008-01-03 | 1 | 2 | 123 | 12 | 123 | 12 |  |  | 22 | 46 | 1 | 95.83% | 97.92%

## T3B - SVE Performance
TABLE 3B: SOIL VAPOR EXTRACTION PERFORMANCE SUMMARY
[12 empty] | Code | Arrive | Depart
Facility Name: |  | DEP BMC | [5 empty] | Startup Date: |  | 2006-02-12 |  | 1 | on | on
Facility ID#: |  | 123456789 | [9 empty] | 2 | off | on
[12 empty] | 3 | off | off
[12 empty] | 4 | on | off
|  |  | SVE Blower 1 |  | SVE Blower 2 |  | SVE Blower 3
Site | Days | Days | Hour | Daily | Hour | Daily | Hour | Daily | Hours of | Total Hours | Approved | Percent | Percent | Process
Visit | Between | Since | Meter | Designed Run | Meter | Designed Run | Meter | Designed Run | Operation | of Operation | Down Time | Run Time | Run Time | Status
Date | Site Visits | Startup | Reading | Time (hours) | Reading | Time (hours) | Reading | Time (hours) | Period | Cumulative | (hours) | (period) | (cumulative)
| 0 | 0 | [7 empty] | 0 |  | 0% | 0% | 0

## T3C - MPX Performance
TABLE 3C: MULTIPHASE EXTRACTION PERFORMANCE SUMMARY
[12 empty] | Code | Arrive | Depart
Facility Name: |  | DEP BMC | [5 empty] | Startup Date: |  | 2006-02-12 |  | 1 | on | on
Facility ID#: |  | 123456789 | [9 empty] | 2 | off | on
[12 empty] | 3 | off | off
[12 empty] | 4 | on | off
|  |  | MPX Pump 1 |  | MPX Pump 2 |  | MPX Pump 3
Site | Days | Days | Hour | Daily | Hour | Daily | Hour | Daily | Hours of | Total Hours | Approved | Percent | Percent | Process
Visit | Between | Since | Meter | Designed Run | Meter | Designed Run | Meter | Designed Run | Operation | of Operation | Down Time | Run Time | Run Time | Status
Date | Site Visits | Startup | Reading | Time (hours) | Reading | Time (hours) | Reading | Time (hours) | Period | Cumulative | (hours) | (period) | (cumulative)
| 0 | 0 | [7 empty] | 0 |  | 0% | 0% | 0

## T4 - GW Elevation (FP)
TABLE 4: GROUNDWATER ELEVATION TABLE
Facility Name: | DEP BMC | [6 empty] | Facility ID#: |  | 123456789 | [6 empty] | All Measurements = Feet
No Data = Blank
WELL NO.
DIAMETER (inches)
WELL DEPTH
SCREEN INTERVAL
TOC ELEVATION
DATE | ELEV | DTW | Diff. | FP | ELEV | DTW | Diff. | FP | ELEV | DTW | Diff. | FP | ELEV | DTW | Diff. | FP | ELEV | DTW | Diff. | FP

## T4A - GW Elevation (No FP)
TABLE 4A: GROUNDWATER ELEVATION TABLE (No FP)
Facility Name: | DEP BMC | [5 empty] | Facility ID#: |  | 123456789 | [6 empty] | All Measurements = Feet
No Data = Blank
WELL NO.
DIAMETER (inches)
WELL DEPTH
SCREEN INTERVAL
TOC ELEVATION
DATE | ELEV | DTW | Diff. | ELEV | DTW | Diff. | ELEV | DTW | Diff. | ELEV | DTW | Diff. | ELEV | DTW | Diff. | ELEV | DTW | Diff.

## T5 - GWR Analytical
TABLE 5: GROUNDWATER TREATMENT SYSTEM ANALYTICAL SUMMARY
If Non-Detect Use MDL "U"
Facility Name: |  | DEP BMC |  |  |  |  | Facility ID#: |  | 123456789 |  |  | Not Sampled = NS
Analytical Results = µg/l
Mass Recovered = lbs
Sample |  | Hour | Instantaneous | Total Gallons |  |  | Ethyl | Total | Total |  |  | Dissolved | Total |  | VOA Mass
Location | Date | Meter | Flow - GPM | Pumped | Benzene | Toluene | Benzene | Xylenes | VOA | MTBE | EDB | Lead | Lead | TRPH | Recovered (lbs)

## T6 - MW Analytical
TABLE 6: GROUNDWATER MONITORING WELL ANALYTICAL SUMMARY
If Non-Detect Use MDL "U"
Facility Name: |  | DEP BMC | [5 empty] | Facility ID#: |  | 123456789 |  |  |  |  | Not Sampled = NS
Analytical Results = µg/l
B= Base Line |  |  | NADC | 100 | 400 | 300 | 200 | NA | 200 | 2 | NA | 150 | 140 | 280 | 280 | 50000
K= Key Well |  |  | CTL'S | 1 | 40 | 30 | 20 | NA | 20 | 0.02 | NA | 15 | 14 | 28 | 28 | 5000
Location | Screen |  |  |  |  | Ethyl | Total | Total |  |  | Dissolved | Total | Naptha- | Methyl | Methyl
| Int. | Date | DTW | Benzene | Toluene | Benzene | Xylenes | VOA | MTBE | EDB | Lead | Lead | lene | nap, 1 | nap, 2 | TRPH
MW-1

## T7 - SVE Analytical
TABLE 7: VAPOR TREATMENT SYSTEM ANALYTICAL SUMMARY
If Non-Detect Use MDL "U"
Facility Name: |  | DEP BMC |  |  |  | Facility ID#: | 123456789 |  |  | Not Sampled = NS
Analytical Results = mg/m3
Sample |  | Hour | System Vacuum | Flow Rate | OVA |  |  | Ethyl | Total | Total |  | Emission | Total Mass
Location | Date | Meter | (in of H20) | (scfm) | (ppm) | Benzene | Toluene | Benzene | Xylenes | VOA | TPH | Rate (lb/day) | Recovered (lbs)

## T8 - SVE-MPX Well
TABLE 8: SVE/MPX WELL DATA
All Measurements = Feet
| Facility Name: | DEP BMC | [5 empty] | 123456789 |  |  |  | No Data = Blank
OVA Readings = ppm
|  |  |  | Standard Temp = |  | °F |  |  | Standard Pressure = |  |  | Vacuum = in of H2O
Flow = scfm
WELL NO.
DIAMETER (inches)
WELL DEPTH
SCREEN INT.
DESIGN FLOW/VAC
OPTIMAL FLOW/VAC
| Date | Flow | Vacuum |  | OVA | Date | Flow | Vacuum |  | OVA | Date | Flow | Vacuum |  | OVA
|  | Mani-fold | Mani-fold | Well-head |  |  | Mani-fold | Mani-fold | Well-head |  |  | Mani-fold | Mani-fold | Well-head

## T9 - AS Well
TABLE 9: AIR SPARGING WELL DATA
All Measurements = Feet
| Facility Name: | DEP BMC |  |  |  |  | Facility ID#: | 123456789 |  |  |  |  | No Data = Blank
Flow = SCFM
|  |  |  | Standard Temp = |  | °F |  |  | Standard Pressure = |  |  |  | Pressure = PSI
WELL NO.
DIAMETER (inches)
WELL DEPTH
SCREEN INT.
DESIGN FLOW/PRESS
OPTIMAL FLOW/PRESS
| Date | Flow | Pressure |  | Date | Flow | Pressure |  | Date | Flow | Pressure |  | Date | Flow | Pressure
|  | Mani-fold | Mani-fold | Well-head |  | Mani-fold | Mani-fold | Well-head |  | Mani-fold | Mani-fold | Well-head |  | Mani-fold | Mani-fold | Well-head

## T10 - GWR RW
TABLE 10: GROUNDWATER RECOVERY WELL DATA
All Measurements = Feet
| Facility Name: | DEP BMC |  |  | Facility ID#: | 123456789 |  |  |  | No Data = Blank
Flow = GPM
WELL NO.
DIAMETER (inches)
WELL DEPTH
SCREEN INT.
DESIGN FLOW
OPTIMAL FLOW
| Date | Flow | Date | Flow | Date | Flow | Date | Flow | Date | Flow | Date | Flow

## T11 - System Influence
TABLE 11: SYSTEM INFLUENCE MONITORING PARAMETERS
Facility Name: |  | DEP BMC |  |  |  | Facility ID#: |  | 123456789 |  |  | DTW = Feet |  | Vac/Press = in of H2O
[11 empty] | D.O. - mg/l |  | Obs. - Visual Observations
WELL NO.
WELL DEPTH
SCREEN INT.
DATE | DTW | D.O. | Vac/Press | Obs. | DTW | D.O. | Vac/Press | Obs. | DTW | D.O. | Vac/Press | Obs. | DTW | D.O. | Vac/Press | Obs.