| SOP | SOP Name | Change or Clarify | Proposed Changes | Level of Complexity or Controversy of Change |
| --- | --- | --- | --- | --- |
| Standard Operating Procedures (SOPs) |  |  |  |  |
| BRN 1000 | Biological Reconnaissance Field Method | Change and Clarify | - Clarified allowance for lab sorting and added language describing appropriate conditions for field sorting. - Update taxa metrics tables (taxonomic revisions). | Simple |
| FA 1000 | Field Administrative | Change and Clarify | - Proposed changes according to Rule 62-160.220, F.A.C. Added requirements for use of a field testing procedure in place of a laboratory procedure. - Proposed revised requirements for Stream and River Habitat Assessment proficiency testing process. - Proposed addition of an online test requirement for Rapid Periphyton Survey proficiency. - Proposed addition of an online test requirement for Linear Vegetation Survey proficiency. - Added cyanotoxins to the extractable organics analyte group. Added PFAS as an analyte group (Tables FA 1000-2 and FA 1000-3). Revised audit checklists to match requirements in FD 1000 and associated SOPs. - Revised glossary to match definitions in Chapter 62-160, F.A.C., and Data Usability Document (DEP-EA 001/07). | Complex, not likely controversial |
| FC 1000 | Field Decontamination | Clarify | - Minor clarifications and editorial changes. | Simple |
| FD 1000 | Field Documentation | Change and Clarify | - Revised to match documentation requirements listed in individual SOPs and field sheets. - Added section, FD 4300, for continuous monitoring with field meters documentation requirements. - Added sections to FD 5300 for Stream and River Physical/Chemical Characterization and Lake Observation documentation requirements. | Simple |
| FM 1000 | Field Mobilization | Clarify | - Minor clarifications and editorial changes. | Simple |
| FQ 1000 | Field Quality Control | Clarify | - Clarified the process for collection of field duplicates. - Added language to note analytes or programs may have more stringent requirements for collection of quality control samples including field blanks, equipment blanks, trips blanks and/or duplicates. | Simple |
| FS 1000 | General Sampling | Change and Clarify | - Added new methods/compounds to appropriate preservation and hold time tables per EPA updates. - Added PFAS methods to appropriate preservation and hold time tables. - Added new equipment material requirements for extractable organics sampling for surface water. - Changed preservation temperature from 4+2°C to <6°C per EPA and method updates. | Simple |
| FS 2000 | General Aqueous Sampling | Change and Clarify | - Added sampling precautions and considerations for PFAS. - Clarified volume requirement for bacteria samples. - Added new equipment material requirements for extractable organics sampling for surface water. | Complex, not controversial |
| FS 2100 | Surface Water Sampling | Change | - Added new equipment material requirements for extractable organics sampling for surface water. | Simple |
| FS 2200 | Groundwater Sampling | Change and Clarify | - Added use of form FD 9000-24 or other datasheet to capture documentation requirements. - Added new section, FS 2218, for purging requirements for Underground Injection Control wells. | Simple |
| FS 2300 | Drinking Water Sampling | Clarify | - Minor clarifications and editorial changes. | Simple |
| FS 2400 | Wastewater Sampling | Clarify | - Minor clarifications and editorial changes. | Simple |
| FS 3000 | Soil Sampling | Clarify | - Revised to align with FS 1000 preservation temperature. | Simple |
| FS 4000 | Sediment Sampling | Clarify | - Revised to align with FS 1000 preservation temperature. | Simple |
| FS 5000 | Waste Sampling | Clarify | - Minor clarifications and editorial changes. | Simple |
| FS 6000 | Tissue Sampling | Clarify | - Revised to align with FS 1000 preservation temperature. | Simple |
| FS 7000 | Biological Communities | Change and Clarify | - Removed Algal Scum Sample Core method (potential to expose sampler to algal toxins). - Revised application of Rapid Periphyton Survey method for the stream numeric nutrient standards based on DEP statistical analyses. - Added proficiency requirement (online tests) for Rapid Periphyton Survey and Linear Vegetation Survey. | Simple |
| FS 8100 | Contaminated Surface Sampling | Clarify | - Minor clarifications and editorial changes. | Simple |
| FS 8200 | Clean Sampling for Trace Metals | Clarify | - Minor clarifications and editorial changes. | Simple |
| FT 1000 | Field Testing General | Change and Clarify | - Added “when determining if acceptance criteria are met, the calculated difference between the expected value and the meter value should be expressed with the same precision as the acceptance criteria.” - Added acceptance criteria for turbidity standards <0.1 NTU/FNU. - Added FNU to Table FT 1000-1 Field Testing Acceptance Criteria. | Simple |
| FT 1100 | Field pH | Change | - Added precaution regarding pH buffer values at different temperatures and use of automatically temperature-adjusting meters. - Clarified use of fresh buffer when rinsing prior to calibration; use of fresh buffer not required when rinsing prior to verifications. | Simple |
| FT 1200 | Field Specific Conductance | Clarify | - Proposed clarifications to distinguish between specific conductance and conductivity. - Clarified use of fresh buffer when rinsing prior to calibration; use of fresh buffer not required when rinsing prior to verifications. | Simple |
| FT 1300 | Field Salinity | Clarify | - Revised to match requirements in FT 1200. - Clarified the requirement to document that verifications achieve the quantitative bracketing requirement for salinity. | Simple |
| FT 1400 | Field Temperature | None | - No revisions. | No revisions. |
| FT 1500 | Field Dissolved Oxygen | Change | - Added precaution regarding use of barometric pressure when determining dissolved oxygen saturation. - Added more detail to Table FT 1500-1 Solubility of Oxygen in Water at Atmospheric Pressure. | Simple |
| FT 1600 | Field Turbidity | Change and Clarify | - Added introductory text to describe new sections, FT 1620 and FT 1630. - Clarified requirements for use of standards commercially available for calibration and verifications and use of turbidity-free water. - Added acceptance criteria for turbidity standard value <0.1 NTU. - Added requirements for optical/LED probes (FT 1620). - Added requirements for continuous measurement of total suspend solids (TSS) including equipment, calibration, verification and documentation (FT 1630). | Complex |
| FT 1700 | Field Light Penetration | Change and Clarify | - Revised and updated to include more universal requirements for PAR/transparency measurements and documentation. | Simple |
| FT 1800 | Field Flow Measurements | None | - No revisions. | No revisions. |
| FT 1900 | Field Continuous Monitoring | Change and Clarify | - Added introductory text to describe SOP sections, FT 1910 and FT 1920. - Added verification tolerances for TSS meters. - Added section for continuous monitoring for ambient in situ monitoring for pH, dissolved oxygen, specific conductance/salinity, temperature and turbidity (FT 1920). | Complex |
| FT 2000 | Field Residual Chlorine | Change and Clarify | - Added reagent-less amperometric meters for analysis of reclaimed waters (2020 statewide alternative method approval). | Simple |
| FT 2100 | Field Measurement of Nitrate | Change | - Proposed new SOP for optical nitrate probes used to measure nitrate concentrations in natural waters under field conditions. | Complex |
| FT 3000 | Habitat Assessment | Change and Clarify | - Clarified instructions to match associated field forms, FD 9000-3 and FD 9000-4. - Added new section for Lake Observation Form (FD 9000-31) requirements (FT 3002). - Modified habitat assessment proficiency requirements (FT 3100). - Clarified requirements for hydrological modification characterization (FT 3101). | Simple |
| LD 1000 | Laboratory Documentation (Bioassessment) | Clarify | - Added documentation requirement for comments associated with macroinvertebrate quality control checks: include comment that corrections were made to appropriate database(s) as a result of a QC check. | Simple |
| LQ 1000 | Laboratory Quality Control (Bioassessment) | Change and Clarify | - Added documentation requirement for comments associated with macroinvertebrate quality control checks: include comment that corrections were made to appropriate database(s) as a result of a QC check. - Added recommended (optional) Plant Quality Control identification exercise. | Simple |
| LT 7000 | Biological Indices | Change and Clarify | - Revised due to cross-check with FS 7000. | Simple |
| LVI 1000 | Lake Vegetation Index Methods | Change and Clarify | - Added requirements for LVI field documentation. - Changed FLEPPC to FISC. Updated plant names and added new FISC category 1 and 2 plants. - Revised and added LVI proficiency requirements. - Revised Appendix LVI 1000-1 Plant Attributes for LVI Calculation based on taxonomic changes. | Simple |
| SCI 1000 | Stream Condition Index Methods | Change and Clarify | - Added allowance for use of ice for Stream Condition Index sample preservation (if sorted or preserved within 24 hours). - Updated taxa metrics tables (taxonomic revisions). - Added calculation formula for cumulative identification rate for laboratory QC for macroinvertebrate taxonomic identification. - Updated SCI Bioregions map to align with some Stream NNC Region boundaries. | Simple |
| Non-SOP Incorporated Documents |  |  |  |  |
| DEP-QA-001/01 | Alternative and Modified Analytical Laboratory Methods | Change and Clarify | - Added requirements for alternative approval for use of a field testing procedure in place of a laboratory procedure. - Updated definition and procedure of method detection limit to match EPA revisions (2016). - Revised Appendix to match DEP-EA-001/07. | Complex, not controversial |
| DEP-EA-001/07 | Process for Assessing Data Usability | Change and Clarify | - Updated references to 2016 TNI Standard. - Clarified language and added definitions for quality control components (matrix spikes, laboratory control samples, surrogate spikes, duplicates, replicates). - Updated calibration standard information per 2016 TNI Standard. - Added DEP’s hold time interpretation; specified how to interpret/calculate hold times in hours and hold time in days. - Added appendices with glossary and calculations. | Simple |
| DEP-SAS-002/11 | Lake Vegetation Index Primer | Clarify | - Minor clarifications and editorial changes. | Simple |
| DEP-SAS-001/11 | Stream Condition Index Primer | Change and Clarify | - Removed text duplicated in NNC Implementation Document and/or SOP SCI 1000. - Revised and added descriptions of SCI metrics. - Added guidance for sampling large rivers and nonperennial systems. - Added Appendix regarding identification and sampling of large river systems and nonperennial systems. | Simple |
| DEP-SAS-002-10 | Applicability of Chlorophyll a Methods | Change | - Proposed to incorporate into 62-160.320(7), F.A.C. Currently incorporated into 62-302, F.A.C. | Simple |
| SOP Forms |  |  |  |  |
| FD 9000-01 | Biorecon Field Sheet | Change | - Changed STORET to WIN. | Simple |
| FD 9000-3 | Physical/Chemical Characterization Field Sheet | Clarify | - Revised to match FD 1000 and FT 3000. | Simple |
| FD 9000-4 | Stream/River Habitat Sketch Sheet | Change | - Added SCI habitat coverage observations and number of sweeps. | Simple |
| FD 9000-5 | Stream/River Habitat Assessment Field Sheet | Change | - Changed STORET to WIN. | Simple |
| FD 9000-6 | Lake Habitat Assessment Field Sheet | Change | - Changed STORET to WIN. | Simple |
| FD 9000-24 | Groundwater Sampling Log | None | - No revisions. | No revisions. |
| FD 9000-25 | Rapid Periphyton Survey | Change | - Revised to match FS 7000. | Simple |
| FD 9000-27 | Lake Vegetation Index Field Sheet | Change | - Updated plant names and add new FISC category 1 and 2 plants. | Simple |
| FD 9000-31 | Lake Observation Field Sheet | Clarify | - Revised to match FD 1000 and FT 3000. | Simple |
| FD 9000-32 | Linear Stream Vegetation Survey Form | Change | - Updated plant names and add new FISC category 1 and 2 plants. | Simple |
| FD 9000-33 | Wetland Condition Index Vegetation Field Form | None | - No revisions. | No revisions. |
| FD 9000-34 | Stream Habitat Assessment Training Checklist and Event Log | Change and Clarify | - Revised requirements for Habitat Assessment proficiency testing process. - Revised to match FT 3000. | Simple |
| FD 9000-35 | Stream Condition Index Training Checklist and Event Log | Change and Clarify | - Modified to include sorting, macroinvertebrate ID and mock audit milestones for BioRecon. - Revised to match SCI 1000. | Simple |