## Sheet1
PWS_ID | SYSTEM_NAME | COUNTY | SYSTEM TYPE | CONTAMINANT GROUP | CONTAMINANT NAME | FREQUENCY | SAMPLES NEXT DUE | SAMPLING PERIOD | SAMPLING LOCATION | LOCATION DESCRIPTION | COMMENTS
2550210 | ST. AUGUSTINE WS | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | OCTOBER | L2 | ST. JOSEPH'S ACADEMY, 155 SR 207
2550210 | ST. AUGUSTINE WS | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | OCTOBER | L2 | ST. JOSEPH'S ACADEMY, 155 SR 207
2550210 | ST. AUGUSTINE WS | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | JUNE | L6 | ST. AUGUSTINE AIRPORT, 4900 US 1 NORTH
2550210 | ST. AUGUSTINE WS | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | JUNE | L6 | ST. AUGUSTINE AIRPORT, 4900 US 1 NORTH
2550210 | ST. AUGUSTINE WS | ST. JOHNS | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2024 | JAN -JUN, JUL - DEC | PER SAMPLING PLAN | 30 SAMPLE SITES
2550210 | ST. AUGUSTINE WS | ST. JOHNS | LARGE COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2550210 | ST. AUGUSTINE WS | ST. JOHNS | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550210 | ST. AUGUSTINE WS | ST. JOHNS | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550210 | ST. AUGUSTINE WS | ST. JOHNS | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2550210 | ST. AUGUSTINE WS | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550210 | ST. AUGUSTINE WS | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550210 | ST. AUGUSTINE WS | ST. JOHNS | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550210 | ST. AUGUSTINE WS | ST. JOHNS | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550210 | ST. AUGUSTINE WS | ST. JOHNS | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2550210 | ST. AUGUSTINE WS | ST. JOHNS | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550250 | CYPRESS LANDING WTP | ST. JOHNS | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550250 | CYPRESS LANDING WTP | ST. JOHNS | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550250 | CYPRESS LANDING WTP | ST. JOHNS | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2550250 | CYPRESS LANDING WTP | ST. JOHNS | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550250 | CYPRESS LANDING WTP | ST. JOHNS | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550250 | CYPRESS LANDING WTP | ST. JOHNS | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550250 | CYPRESS LANDING WTP | ST. JOHNS | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550250 | CYPRESS LANDING WTP | ST. JOHNS | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2550250 | CYPRESS LANDING WTP | ST. JOHNS | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550250 | CYPRESS LANDING WTP | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | JULY | L1 | 108 CYPRESS LANDING
2550250 | CYPRESS LANDING WTP | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | JULY | L2 | 108 CYPRESS LANDING
2550250 | CYPRESS LANDING WTP | ST. JOHNS | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2550250 | CYPRESS LANDING WTP | ST. JOHNS | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2550396 | SJCU-FRUIT COVE OAKS WS | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | AUGUST | L3 | 1194 HARMONY DR. NORTH
2550396 | SJCU-FRUIT COVE OAKS WS | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | AUGUST | L3 | 1194 HARMONY DR. NORTH
2550396 | SJCU-FRUIT COVE OAKS WS | ST. JOHNS | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2550396 | SJCU-FRUIT COVE OAKS WS | ST. JOHNS | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2550476 | SJCU-HASTINGS WTP | ST. JOHNS | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550476 | SJCU-HASTINGS WTP | ST. JOHNS | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550476 | SJCU-HASTINGS WTP | ST. JOHNS | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2550476 | SJCU-HASTINGS WTP | ST. JOHNS | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550476 | SJCU-HASTINGS WTP | ST. JOHNS | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550476 | SJCU-HASTINGS WTP | ST. JOHNS | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550476 | SJCU-HASTINGS WTP | ST. JOHNS | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550476 | SJCU-HASTINGS WTP | ST. JOHNS | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2550476 | SJCU-HASTINGS WTP | ST. JOHNS | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550476 | SJCU-HASTINGS WTP | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | AUGUST | L1 | JUVENILE DETENTION CENTER
2550476 | SJCU-HASTINGS WTP | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | AUGUST | L2 | WASTEWATER PLANT
2550476 | SJCU-HASTINGS WTP | ST. JOHNS | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 10 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2550476 | SJCU-HASTINGS WTP | ST. JOHNS | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2550812 | NORTH BEACH UTILITIES | ST. JOHNS | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550812 | NORTH BEACH UTILITIES | ST. JOHNS | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550812 | NORTH BEACH UTILITIES | ST. JOHNS | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2550812 | NORTH BEACH UTILITIES | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550812 | NORTH BEACH UTILITIES | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550812 | NORTH BEACH UTILITIES | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550812 | NORTH BEACH UTILITIES | ST. JOHNS | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550812 | NORTH BEACH UTILITIES | ST. JOHNS | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550812 | NORTH BEACH UTILITIES | ST. JOHNS | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550812 | NORTH BEACH UTILITIES | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | JULY | L1 | 54 FERROL RD
2550812 | NORTH BEACH UTILITIES | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | JULY | L1 | 54 FERROL RD
2550812 | NORTH BEACH UTILITIES | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | JULY | L2 | SURFSIDE & 4TH ST.
2550812 | NORTH BEACH UTILITIES | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | JULY | L2 | SURFSIDE & 4TH ST.
2550812 | NORTH BEACH UTILITIES | ST. JOHNS | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 20 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2550812 | NORTH BEACH UTILITIES | ST. JOHNS | LARGE COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2550866 | JEA: PALM VALLEY WS | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | OCTOBER | L1 | PA10 - 415 NORTH ROSCOE BLVD.
2550866 | JEA: PALM VALLEY WS | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | OCTOBER | L1 | PA10 - 415 NORTH ROSCOE BLVD.
2550866 | JEA: PALM VALLEY WS | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | OCTOBER | L2 | PA11 - 299 SOUTH ROSCOE BLVD.
2550866 | JEA: PALM VALLEY WS | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | OCTOBER | L2 | PA11 - 299 SOUTH ROSCOE BLVD.
2550866 | JEA: PALM VALLEY WS | ST. JOHNS | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 10 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2550866 | JEA: PALM VALLEY WS | ST. JOHNS | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | JULY | L1 | 801 PONTE VEDRA BLVD
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | JULY | L1 | 801 PONTE VEDRA BLVD
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | JULY | L2 | 292 STATE A1A NORTH
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | JULY | L2 | 292 STATE A1A NORTH
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 20 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2550908 | JEA: PONTE VEDRA GRID | ST. JOHNS | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | 2ND MONTH, 4TH WEEK | L1 | HALLMARK CONDOS (T-1/H-1)
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | 2ND MONTH, 4TH WEEK | L1 | HALLMARK CONDOS (T-1/H-1)
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | 2ND MONTH, 4TH WEEK | L2 | 236 CANAL BLVD (T-5)
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | 2ND MONTH, 4TH WEEK | L2 | 236 CANAL BLVD (T-5)
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | 2ND MONTH, 4TH WEEK | L3 | 1240 PONTE VEDRA BLVD. (T-6)
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | 2ND MONTH, 4TH WEEK | L3 | 1240 PONTE VEDRA BLVD. (T-6)
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | 2ND MONTH, 4TH WEEK | L4 | 613 TIMBER POND CT (H-8)
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | 2ND MONTH, 4TH WEEK | L4 | 613 TIMBER POND CT (H-8)
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 30 SAMPLE SITES
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2029 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2029 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2551004 | SJCU-SAWGRASS GRID | ST. JOHNS | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551120 | SJCU-BARTRAM OAKS WTP | ST. JOHNS | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551120 | SJCU-BARTRAM OAKS WTP | ST. JOHNS | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551120 | SJCU-BARTRAM OAKS WTP | ST. JOHNS | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2551120 | SJCU-BARTRAM OAKS WTP | ST. JOHNS | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551120 | SJCU-BARTRAM OAKS WTP | ST. JOHNS | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551120 | SJCU-BARTRAM OAKS WTP | ST. JOHNS | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551120 | SJCU-BARTRAM OAKS WTP | ST. JOHNS | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551120 | SJCU-BARTRAM OAKS WTP | ST. JOHNS | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2551120 | SJCU-BARTRAM OAKS WTP | ST. JOHNS | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551120 | SJCU-BARTRAM OAKS WTP | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | AUGUST | L1 | 325 SHADY OAK CIRCLE
2551120 | SJCU-BARTRAM OAKS WTP | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | AUGUST | L1 | 325 SHADY OAK CIRCLE
2551120 | SJCU-BARTRAM OAKS WTP | ST. JOHNS | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES
2551120 | SJCU-BARTRAM OAKS WTP | ST. JOHNS | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2551370 | WILDWOOD WATER SYSTEM | ST. JOHNS | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551370 | WILDWOOD WATER SYSTEM | ST. JOHNS | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551370 | WILDWOOD WATER SYSTEM | ST. JOHNS | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2551370 | WILDWOOD WATER SYSTEM | ST. JOHNS | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551370 | WILDWOOD WATER SYSTEM | ST. JOHNS | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551370 | WILDWOOD WATER SYSTEM | ST. JOHNS | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551370 | WILDWOOD WATER SYSTEM | ST. JOHNS | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551370 | WILDWOOD WATER SYSTEM | ST. JOHNS | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2551370 | WILDWOOD WATER SYSTEM | ST. JOHNS | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551370 | WILDWOOD WATER SYSTEM | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | SEPTEMBER | L1 | 1001 CHEYENNE DR
2551370 | WILDWOOD WATER SYSTEM | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | SEPTEMBER | L2 | 1150 FT PEYTON DR
2551370 | WILDWOOD WATER SYSTEM | ST. JOHNS | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 10 SAMPLE SITES
2551370 | WILDWOOD WATER SYSTEM | ST. JOHNS | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2551459 | ST. AUGUSTINE RV PARK (FKA SHAMROCK) | ST. JOHNS | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2551459 | ST. AUGUSTINE RV PARK (FKA SHAMROCK) | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | JULY | L1 | LOT 10
2551459 | ST. AUGUSTINE RV PARK (FKA SHAMROCK) | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | JULY | L1 | LOT 10
2551459 | ST. AUGUSTINE RV PARK (FKA SHAMROCK) | ST. JOHNS | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2551459 | ST. AUGUSTINE RV PARK (FKA SHAMROCK) | ST. JOHNS | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2551459 | ST. AUGUSTINE RV PARK (FKA SHAMROCK) | ST. JOHNS | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551459 | ST. AUGUSTINE RV PARK (FKA SHAMROCK) | ST. JOHNS | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551459 | ST. AUGUSTINE RV PARK (FKA SHAMROCK) | ST. JOHNS | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551459 | ST. AUGUSTINE RV PARK (FKA SHAMROCK) | ST. JOHNS | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551459 | ST. AUGUSTINE RV PARK (FKA SHAMROCK) | ST. JOHNS | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551459 | ST. AUGUSTINE RV PARK (FKA SHAMROCK) | ST. JOHNS | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2551459 | ST. AUGUSTINE RV PARK (FKA SHAMROCK) | ST. JOHNS | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2551459 | ST. AUGUSTINE RV PARK (FKA SHAMROCK) | ST. JOHNS | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554166 | CAMACHEE COVE YACHT HARBOR WTP | ST. JOHNS | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554166 | CAMACHEE COVE YACHT HARBOR WTP | ST. JOHNS | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554166 | CAMACHEE COVE YACHT HARBOR WTP | ST. JOHNS | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2554166 | CAMACHEE COVE YACHT HARBOR WTP | ST. JOHNS | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554166 | CAMACHEE COVE YACHT HARBOR WTP | ST. JOHNS | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554166 | CAMACHEE COVE YACHT HARBOR WTP | ST. JOHNS | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554166 | CAMACHEE COVE YACHT HARBOR WTP | ST. JOHNS | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554166 | CAMACHEE COVE YACHT HARBOR WTP | ST. JOHNS | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2554166 | CAMACHEE COVE YACHT HARBOR WTP | ST. JOHNS | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554166 | CAMACHEE COVE YACHT HARBOR WTP | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | JULY | L1 | END OF LANDS END SAMPLE TAP
2554166 | CAMACHEE COVE YACHT HARBOR WTP | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | JULY | L1 | END OF LANDS END SAMPLE TAP
2554166 | CAMACHEE COVE YACHT HARBOR WTP | ST. JOHNS | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2554166 | CAMACHEE COVE YACHT HARBOR WTP | ST. JOHNS | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2554332 | OAK HAVEN RETIREMENT VILLAGE | ST. JOHNS | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554332 | OAK HAVEN RETIREMENT VILLAGE | ST. JOHNS | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554332 | OAK HAVEN RETIREMENT VILLAGE | ST. JOHNS | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2554332 | OAK HAVEN RETIREMENT VILLAGE | ST. JOHNS | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554332 | OAK HAVEN RETIREMENT VILLAGE | ST. JOHNS | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554332 | OAK HAVEN RETIREMENT VILLAGE | ST. JOHNS | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554332 | OAK HAVEN RETIREMENT VILLAGE | ST. JOHNS | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554332 | OAK HAVEN RETIREMENT VILLAGE | ST. JOHNS | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2554332 | OAK HAVEN RETIREMENT VILLAGE | ST. JOHNS | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554332 | OAK HAVEN RETIREMENT VILLAGE | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | SEPTEMBER | L1 | LOT #13
2554332 | OAK HAVEN RETIREMENT VILLAGE | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | SEPTEMBER | L1 | LOT #13
2554332 | OAK HAVEN RETIREMENT VILLAGE | ST. JOHNS | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2554332 | OAK HAVEN RETIREMENT VILLAGE | ST. JOHNS | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | FIRST MONTH, 2ND WEEK | L1 | 125 TIDES EDGE
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | FIRST MONTH, 2ND WEEK | L1 | 125 TIDES EDGE
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | FIRST MONTH, 2ND WEEK | L2 | 2371 S. PONTE VEDRA BLVD
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | FIRST MONTH, 2ND WEEK | L2 | 2371 S. PONTE VEDRA BLVD
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 10 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2554334 | JEA: PONCE DE LEON GRID | ST. JOHNS | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | PLANT 3 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554337 | HOMEOWNERS UTILITIES INC. | ST. JOHNS | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554337 | HOMEOWNERS UTILITIES INC. | ST. JOHNS | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554337 | HOMEOWNERS UTILITIES INC. | ST. JOHNS | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2554337 | HOMEOWNERS UTILITIES INC. | ST. JOHNS | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554337 | HOMEOWNERS UTILITIES INC. | ST. JOHNS | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554337 | HOMEOWNERS UTILITIES INC. | ST. JOHNS | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554337 | HOMEOWNERS UTILITIES INC. | ST. JOHNS | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554337 | HOMEOWNERS UTILITIES INC. | ST. JOHNS | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2554337 | HOMEOWNERS UTILITIES INC. | ST. JOHNS | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554337 | HOMEOWNERS UTILITIES INC. | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | OCTOBER | L1 | 426 PORPOISE POINT DRIVE
2554337 | HOMEOWNERS UTILITIES INC. | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | OCTOBER | L1 | 426 PORPOISE POINT DRIVE
2554337 | HOMEOWNERS UTILITIES INC. | ST. JOHNS | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2554337 | HOMEOWNERS UTILITIES INC. | ST. JOHNS | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | 3RD MONTH, 3RD WEEK | L1 | 24762 HARBOUR VIEW DR. (T-1/H-1)
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | 3RD MONTH, 3RD WEEK | L1 | 24762 HARBOUR VIEW DR. (T-1/H-1)
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | 3RD MONTH, 3RD WEEK | L2 | 7 MILE DR GUARD SHACK (T-4)
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | 3RD MONTH, 3RD WEEK | L2 | 7 MILE DR GUARD SHACK (T-4)
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | 3RD MONTH, 3RD WEEK | L3 | 12433 DEER TRACE DRIVE (T-5)
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | 3RD MONTH, 3RD WEEK | L3 | 12433 DEER TRACE DRIVE (T-5)
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | 3RD MONTH, 3RD WEEK | L4 | 434 ROYAL TURN ROAD S. (T-6)
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | 3RD MONTH, 3RD WEEK | L4 | 434 ROYAL TURN ROAD S. (T-6)
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 30 SAMPLE SITES
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2029 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 1 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2029 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2554343 | SJCU-PONTE VEDRA WS | ST. JOHNS | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | PLANT 2 | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554344 | BAYSIDE ESTATES WTP | ST. JOHNS | COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554344 | BAYSIDE ESTATES WTP | ST. JOHNS | COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554344 | BAYSIDE ESTATES WTP | ST. JOHNS | COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2554344 | BAYSIDE ESTATES WTP | ST. JOHNS | COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554344 | BAYSIDE ESTATES WTP | ST. JOHNS | COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554344 | BAYSIDE ESTATES WTP | ST. JOHNS | COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554344 | BAYSIDE ESTATES WTP | ST. JOHNS | COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554344 | BAYSIDE ESTATES WTP | ST. JOHNS | COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2554344 | BAYSIDE ESTATES WTP | ST. JOHNS | COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554344 | BAYSIDE ESTATES WTP | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2024 | JULY | L1 | LOT 36
2554344 | BAYSIDE ESTATES WTP | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2024 | JULY | L1 | LOT 36
2554344 | BAYSIDE ESTATES WTP | ST. JOHNS | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2554344 | BAYSIDE ESTATES WTP | ST. JOHNS | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2554353 | SJCU-EAGLE CREEK WS | ST. JOHNS | COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | AUGUST | L1 | 129 MARSH ISLAND DRIVE
2554353 | SJCU-EAGLE CREEK WS | ST. JOHNS | COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | AUGUST | L2 | 201 RIVER ISLAND CIR.
2554353 | SJCU-EAGLE CREEK WS | ST. JOHNS | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 10 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2554353 | SJCU-EAGLE CREEK WS | ST. JOHNS | COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2554447 | SJCU-CR214 MAINLAND WTP | ST. JOHNS | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554447 | SJCU-CR214 MAINLAND WTP | ST. JOHNS | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554447 | SJCU-CR214 MAINLAND WTP | ST. JOHNS | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2554447 | SJCU-CR214 MAINLAND WTP | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554447 | SJCU-CR214 MAINLAND WTP | ST. JOHNS | LARGE COMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554447 | SJCU-CR214 MAINLAND WTP | ST. JOHNS | LARGE COMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554447 | SJCU-CR214 MAINLAND WTP | ST. JOHNS | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554447 | SJCU-CR214 MAINLAND WTP | ST. JOHNS | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2554447 | SJCU-CR214 MAINLAND WTP | ST. JOHNS | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554447 | SJCU-CR214 MAINLAND WTP | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | MAY | L2 | 950 SR 206 WEST (FLYING J)
2554447 | SJCU-CR214 MAINLAND WTP | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | MAY | L2 | 950 SR 206 WEST (FLYING J)
2554447 | SJCU-CR214 MAINLAND WTP | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | AUGUST | L4 | 5900 A1A SOUTH (RIVERSIDE PARK)
2554447 | SJCU-CR214 MAINLAND WTP | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | AUGUST | L4 | 5900 A1A SOUTH (RIVERSIDE PARK)
2554447 | SJCU-CR214 MAINLAND WTP | ST. JOHNS | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 30 SAMPLE SITES
2554447 | SJCU-CR214 MAINLAND WTP | ST. JOHNS | LARGE COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2554471 | SJCU-NORTHWEST UTILITIES WTP | ST. JOHNS | LARGE COMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554471 | SJCU-NORTHWEST UTILITIES WTP | ST. JOHNS | LARGE COMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554471 | SJCU-NORTHWEST UTILITIES WTP | ST. JOHNS | LARGE COMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2554471 | SJCU-NORTHWEST UTILITIES WTP | ST. JOHNS | LARGE COMMUNITY | SECS | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554471 | SJCU-NORTHWEST UTILITIES WTP | ST. JOHNS | LARGE COMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2554471 | SJCU-NORTHWEST UTILITIES WTP | ST. JOHNS | LARGE COMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554471 | SJCU-NORTHWEST UTILITIES WTP | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | 2ND MONTH, 2ND WEEK | L1 | 21 WORLD GOLF PLACE
2554471 | SJCU-NORTHWEST UTILITIES WTP | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | 2ND MONTH, 2ND WEEK | L1 | 21 WORLD GOLF PLACE
2554471 | SJCU-NORTHWEST UTILITIES WTP | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | 2ND MONTH, 2ND WEEK | L2 | 1928 RIVER LAGOON TRACE
2554471 | SJCU-NORTHWEST UTILITIES WTP | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | 2ND MONTH, 2ND WEEK | L2 | 1928 RIVER LAGOON TRACE
2554471 | SJCU-NORTHWEST UTILITIES WTP | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | 2ND MONTH, 2ND WEEK | L3 | PACETTI RD & POINTED CREEK DR
2554471 | SJCU-NORTHWEST UTILITIES WTP | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | 2ND MONTH, 2ND WEEK | L3 | PACETTI RD & POINTED CREEK DR
2554471 | SJCU-NORTHWEST UTILITIES WTP | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | QUARTERLY | 2024 | 2ND MONTH, 2ND WEEK | L4 | PRO SHOP (301 ROYAL ST. AUGUSTINE PKWY)
2554471 | SJCU-NORTHWEST UTILITIES WTP | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | QUARTERLY | 2024 | 2ND MONTH, 2ND WEEK | L4 | PRO SHOP (301 ROYAL ST. AUGUSTINE PKWY)
2554471 | SJCU-NORTHWEST UTILITIES WTP | ST. JOHNS | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 30 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2554471 | SJCU-NORTHWEST UTILITIES WTP | ST. JOHNS | LARGE COMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2554475 | SJCU-NORTHEAST UTILITIES WS | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | SEPTEMBER | L1 | EAST DEVONHURST LN & DUNSTABLE LN
2554475 | SJCU-NORTHEAST UTILITIES WS | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | SEPTEMBER | L1 | EAST DEVONHURST LN & DUNSTABLE LN
2554475 | SJCU-NORTHEAST UTILITIES WS | ST. JOHNS | LARGE COMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | SEPTEMBER | L2 | ST. MARKS POND BLVD & INTL GOLF PARKWAY
2554475 | SJCU-NORTHEAST UTILITIES WS | ST. JOHNS | LARGE COMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | SEPTEMBER | L2 | ST. MARKS POND BLVD & INTL GOLF PARKWAY
2554475 | SJCU-NORTHEAST UTILITIES WS | ST. JOHNS | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 30 SAMPLE SITES
2554480 | ELKTON ACADEMY | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554480 | ELKTON ACADEMY | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554480 | ELKTON ACADEMY | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2554480 | ELKTON ACADEMY | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | RADS | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554480 | ELKTON ACADEMY | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | RADS | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554480 | ELKTON ACADEMY | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | RADS | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554480 | ELKTON ACADEMY | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2554480 | ELKTON ACADEMY | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554480 | ELKTON ACADEMY | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | TRIENNIAL | 2025 | JULY | L1 | WEST BATHROOM
2554480 | ELKTON ACADEMY | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | TRIENNIAL | 2025 | JULY | L1 | WEST BATHROOM
2554480 | ELKTON ACADEMY | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025* | JUN - SEPTEMBER | PER SAMPLING PLAN | 5 SAMPLE SITES | *SAMPLING FREQUENCY MAY CHANGE BASED ON RESULTS OF LEAD SERVICE LINE INVENTORY
2554480 | ELKTON ACADEMY | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE
2554489 | SOUTHWOODS ELEMENTARY SCHOOL | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | INORG | NITRATE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554489 | SOUTHWOODS ELEMENTARY SCHOOL | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | INORG | NITRITE | ANNUAL | 2024 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554489 | SOUTHWOODS ELEMENTARY SCHOOL | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | INORG | PRIMARY INORGANICS (17 PARAMETERS*) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | *INCLUDES NITRATE/NITRITE
2554489 | SOUTHWOODS ELEMENTARY SCHOOL | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | SOCS | SYNTHETIC ORGANICS (29 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT | DIOXIN EXCLUDED UNLESS REQUESTED BY FDEP; SOC WAIVER MAY BE APPLIED FOR IN LIEU OF SAMPLING
2554489 | SOUTHWOODS ELEMENTARY SCHOOL | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | VOCS | TOT XYLENE | ANNUAL | 2024 | JULY - SEPT | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554489 | SOUTHWOODS ELEMENTARY SCHOOL | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | VOCS | VOLATILE ORGANICS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | ENTRY POINT | LAST TAP (POST TREATMENT) BEFORE LEAVING THE PLANT
2554489 | SOUTHWOODS ELEMENTARY SCHOOL | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | DBPS | HALOACETIC ACIDS (HAA5S) | ANNUAL | 2024 | APRIL | L2 | ROOM 141 SINK
2554489 | SOUTHWOODS ELEMENTARY SCHOOL | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | DBPS | TOTAL TRIHALOMETHANES (TTHMS) | ANNUAL | 2024 | APRIL | L2 | ROOM 141 SINK
2554489 | SOUTHWOODS ELEMENTARY SCHOOL | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2024 | JUN - SEPTEMBER | PER SAMPLING PLAN | 10 SAMPLE SITES
2554489 | SOUTHWOODS ELEMENTARY SCHOOL | ST. JOHNS | NONTRANSIENT NONCOMMUNITY | INORG | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | PER SAMPLING PLAN* | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | *NO-ASBESTOS WAIVER AVAILABLE IF APPLICABLE