## Sheet1
PWS_ID | SYSTEM_NAME | COUNTY | SYSTEM_TYPE | CONTAM_GROUP | CONTAMINANT NAME | FREQUENCY | YEAR NEXT DUE | SAMPLING PERIOD | SAMPLING LOCATION | COMMENTS
2610012 | ADVENT CHRISTIAN VILLAGE | SUWANNEE | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2025 | AUGUST | 11083 MILLSITE CLUSTER
2610012 | ADVENT CHRISTIAN VILLAGE | SUWANNEE | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2610012 | ADVENT CHRISTIAN VILLAGE | SUWANNEE | COMMUNITY | INOR | NITRATE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610012 | ADVENT CHRISTIAN VILLAGE | SUWANNEE | COMMUNITY | INOR | NITRITE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610012 | ADVENT CHRISTIAN VILLAGE | SUWANNEE | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610012 | ADVENT CHRISTIAN VILLAGE | SUWANNEE | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 20 SITES PER LCR SAMPLING PLAN
2610012 | ADVENT CHRISTIAN VILLAGE | SUWANNEE | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610012 | ADVENT CHRISTIAN VILLAGE | SUWANNEE | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610012 | ADVENT CHRISTIAN VILLAGE | SUWANNEE | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610012 | ADVENT CHRISTIAN VILLAGE | SUWANNEE | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610012 | ADVENT CHRISTIAN VILLAGE | SUWANNEE | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610012 | ADVENT CHRISTIAN VILLAGE | SUWANNEE | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610109 | BRANFORD WTP | SUWANNEE | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2025 | AUGUST | CITY (TOWN) HALL
2610109 | BRANFORD WTP | SUWANNEE | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2610109 | BRANFORD WTP | SUWANNEE | COMMUNITY | INOR | NITRATE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610109 | BRANFORD WTP | SUWANNEE | COMMUNITY | INOR | NITRITE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610109 | BRANFORD WTP | SUWANNEE | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610109 | BRANFORD WTP | SUWANNEE | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2610109 | BRANFORD WTP | SUWANNEE | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610109 | BRANFORD WTP | SUWANNEE | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610109 | BRANFORD WTP | SUWANNEE | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610109 | BRANFORD WTP | SUWANNEE | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610109 | BRANFORD WTP | SUWANNEE | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610109 | BRANFORD WTP | SUWANNEE | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610203 | LIVE OAK WTP | SUWANNEE | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2025 | AUGUST | FARMERS CO-OP
2610203 | LIVE OAK WTP | SUWANNEE | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2025 | AUGUST | SUWANNEE COUNTY LIBRARY
2610203 | LIVE OAK WTP | SUWANNEE | LARGE COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2610203 | LIVE OAK WTP | SUWANNEE | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2025 | N/A | 002 - POE
2610203 | LIVE OAK WTP | SUWANNEE | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2025 | N/A | 002 - POE
2610203 | LIVE OAK WTP | SUWANNEE | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | 002 - POE
2610203 | LIVE OAK WTP | SUWANNEE | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 20 SITES PER LCR SAMPLING PLAN
2610203 | LIVE OAK WTP | SUWANNEE | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2032 | N/A | 002 - POE
2610203 | LIVE OAK WTP | SUWANNEE | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | 002 - POE
2610203 | LIVE OAK WTP | SUWANNEE | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | 002 - POE
2610203 | LIVE OAK WTP | SUWANNEE | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | 002 - POE
2610203 | LIVE OAK WTP | SUWANNEE | LARGE COMMUNITY | SOC | DI(2-ETHYLHEXYL)PHTHALATE | ANNUAL | 2025 | APRIL THROUGH JUNE | 002 - POE
2610203 | LIVE OAK WTP | SUWANNEE | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | 002 - POE
2610203 | LIVE OAK WTP | SUWANNEE | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | 002 - POE
2610370 | FLORIDA SHERIFF'S BOYS RANCH | SUWANNEE | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | JULY | ADMIN BLDG
2610370 | FLORIDA SHERIFF'S BOYS RANCH | SUWANNEE | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2610370 | FLORIDA SHERIFF'S BOYS RANCH | SUWANNEE | COMMUNITY | INOR | NITRATE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610370 | FLORIDA SHERIFF'S BOYS RANCH | SUWANNEE | COMMUNITY | INOR | NITRITE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610370 | FLORIDA SHERIFF'S BOYS RANCH | SUWANNEE | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610370 | FLORIDA SHERIFF'S BOYS RANCH | SUWANNEE | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2610370 | FLORIDA SHERIFF'S BOYS RANCH | SUWANNEE | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610370 | FLORIDA SHERIFF'S BOYS RANCH | SUWANNEE | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610370 | FLORIDA SHERIFF'S BOYS RANCH | SUWANNEE | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610370 | FLORIDA SHERIFF'S BOYS RANCH | SUWANNEE | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610370 | FLORIDA SHERIFF'S BOYS RANCH | SUWANNEE | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610370 | FLORIDA SHERIFF'S BOYS RANCH | SUWANNEE | COMMUNITY | VOC | TOT XYLENE | ANNUAL | 2025 | APRIL THROUGH JUNE | POINT OF ENTRY TO DISTRIBUTION
2610370 | FLORIDA SHERIFF'S BOYS RANCH | SUWANNEE | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610428 | PILGRIM'S PRIDE WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2025 | JULY | CAFETERIA
2610428 | PILGRIM'S PRIDE WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2610428 | PILGRIM'S PRIDE WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610428 | PILGRIM'S PRIDE WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610428 | PILGRIM'S PRIDE WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610428 | PILGRIM'S PRIDE WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2610428 | PILGRIM'S PRIDE WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610428 | PILGRIM'S PRIDE WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610428 | PILGRIM'S PRIDE WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2028 | N/A | POINT OF ENTRY TO DISTRIBUTION
2610428 | PILGRIM'S PRIDE WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2025* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2610428 | PILGRIM'S PRIDE WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611239 | WAYNE FRIER'S MOBILE HOME PARK | SUWANNEE | COMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2027 | SEPTEMBER | LOT 120
2611239 | WAYNE FRIER'S MOBILE HOME PARK | SUWANNEE | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2611239 | WAYNE FRIER'S MOBILE HOME PARK | SUWANNEE | COMMUNITY | INOR | NITRATE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611239 | WAYNE FRIER'S MOBILE HOME PARK | SUWANNEE | COMMUNITY | INOR | NITRITE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611239 | WAYNE FRIER'S MOBILE HOME PARK | SUWANNEE | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611239 | WAYNE FRIER'S MOBILE HOME PARK | SUWANNEE | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2611239 | WAYNE FRIER'S MOBILE HOME PARK | SUWANNEE | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611239 | WAYNE FRIER'S MOBILE HOME PARK | SUWANNEE | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611239 | WAYNE FRIER'S MOBILE HOME PARK | SUWANNEE | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611239 | WAYNE FRIER'S MOBILE HOME PARK | SUWANNEE | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611239 | WAYNE FRIER'S MOBILE HOME PARK | SUWANNEE | COMMUNITY | SOC | DI(2-ETHYLHEXYL)PHTHALATE | QUARTERLY | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611239 | WAYNE FRIER'S MOBILE HOME PARK | SUWANNEE | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611239 | WAYNE FRIER'S MOBILE HOME PARK | SUWANNEE | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611246 | WELLBORN WATER SYSTEM | SUWANNEE | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2025 | SEPTEMBER | 12860 CR-137
2611246 | WELLBORN WATER SYSTEM | SUWANNEE | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2611246 | WELLBORN WATER SYSTEM | SUWANNEE | COMMUNITY | INOR | NITRATE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611246 | WELLBORN WATER SYSTEM | SUWANNEE | COMMUNITY | INOR | NITRITE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611246 | WELLBORN WATER SYSTEM | SUWANNEE | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611246 | WELLBORN WATER SYSTEM | SUWANNEE | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2026 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2611246 | WELLBORN WATER SYSTEM | SUWANNEE | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611246 | WELLBORN WATER SYSTEM | SUWANNEE | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611246 | WELLBORN WATER SYSTEM | SUWANNEE | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611246 | WELLBORN WATER SYSTEM | SUWANNEE | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611246 | WELLBORN WATER SYSTEM | SUWANNEE | COMMUNITY | SOC | DI(2-ETHYLHEXYL)PHTHALATE | QUARTERLY | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611246 | WELLBORN WATER SYSTEM | SUWANNEE | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2611246 | WELLBORN WATER SYSTEM | SUWANNEE | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614252 | MELODY CHRISTIAN CENTER (SCHOOL) | SUWANNEE | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2025 | JULY | FELLOWSHIP HALL
2614252 | MELODY CHRISTIAN CENTER (SCHOOL) | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2614252 | MELODY CHRISTIAN CENTER (SCHOOL) | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614252 | MELODY CHRISTIAN CENTER (SCHOOL) | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614252 | MELODY CHRISTIAN CENTER (SCHOOL) | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614252 | MELODY CHRISTIAN CENTER (SCHOOL) | SUWANNEE | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2614252 | MELODY CHRISTIAN CENTER (SCHOOL) | SUWANNEE | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2025* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2614252 | MELODY CHRISTIAN CENTER (SCHOOL) | SUWANNEE | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614263 | ASH GROVE CEMENT PLANT, LLC | SUWANNEE | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2025 | AUGUST | CEMENT LOAD OUT LAB SINK
2614263 | ASH GROVE CEMENT PLANT, LLC | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2614263 | ASH GROVE CEMENT PLANT, LLC | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614263 | ASH GROVE CEMENT PLANT, LLC | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614263 | ASH GROVE CEMENT PLANT, LLC | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614263 | ASH GROVE CEMENT PLANT, LLC | SUWANNEE | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2025 | JANUARY THROUGH JUNE | 5 SITES PER LCR SAMPLING PLAN
2614263 | ASH GROVE CEMENT PLANT, LLC | SUWANNEE | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2025* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2614263 | ASH GROVE CEMENT PLANT, LLC | SUWANNEE | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614264 | SUWANNEE CATALYST SITE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2025 | SEPTEMBER | BOILER BLDG 1, BACK WALL
2614264 | SUWANNEE CATALYST SITE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2614264 | SUWANNEE CATALYST SITE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614264 | SUWANNEE CATALYST SITE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614264 | SUWANNEE CATALYST SITE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614264 | SUWANNEE CATALYST SITE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2025 | JANUARY THROUGH JUNE | 10 SITES PER LCR SAMPLING PLAN
2614264 | SUWANNEE CATALYST SITE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2025* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2614264 | SUWANNEE CATALYST SITE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | VOC | ETHYLBENZENE | ANNUAL | 2025 | APRIL THROUGH JUNE | POINT OF ENTRY TO DISTRIBUTION
2614264 | SUWANNEE CATALYST SITE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | VOC | TOT XYLENE | ANNUAL | 2025 | APRIL THROUGH JUNE | POINT OF ENTRY TO DISTRIBUTION
2614264 | SUWANNEE CATALYST SITE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614267 | SUWANNEE VALLEY ELECTRIC COOPERATIVE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2025 | JULY | METER SHOP BATHROOM SINK
2614267 | SUWANNEE VALLEY ELECTRIC COOPERATIVE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2614267 | SUWANNEE VALLEY ELECTRIC COOPERATIVE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614267 | SUWANNEE VALLEY ELECTRIC COOPERATIVE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614267 | SUWANNEE VALLEY ELECTRIC COOPERATIVE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614267 | SUWANNEE VALLEY ELECTRIC COOPERATIVE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2025 | JANUARY THROUGH JUNE | 5 SITES PER LCR SAMPLING PLAN
2614267 | SUWANNEE VALLEY ELECTRIC COOPERATIVE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2025* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2614267 | SUWANNEE VALLEY ELECTRIC COOPERATIVE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | VOC | 1,2-DICHLOROETHANE | ANNUAL | 2025 | JULY THROUGH SEPTEMBER | POINT OF ENTRY TO DISTRIBUTION
2614267 | SUWANNEE VALLEY ELECTRIC COOPERATIVE | SUWANNEE | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614268 | SUWANNEE CORRECTIONAL INSTITUTE | SUWANNEE | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2025 | AUGUST | RESIDENT WARDEN BUILDING
2614268 | SUWANNEE CORRECTIONAL INSTITUTE | SUWANNEE | LARGE COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2025 | AUGUST | SCI TRAINING BUILDING
2614268 | SUWANNEE CORRECTIONAL INSTITUTE | SUWANNEE | LARGE COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2029 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2614268 | SUWANNEE CORRECTIONAL INSTITUTE | SUWANNEE | LARGE COMMUNITY | INOR | NITRATE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614268 | SUWANNEE CORRECTIONAL INSTITUTE | SUWANNEE | LARGE COMMUNITY | INOR | NITRITE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614268 | SUWANNEE CORRECTIONAL INSTITUTE | SUWANNEE | LARGE COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614268 | SUWANNEE CORRECTIONAL INSTITUTE | SUWANNEE | LARGE COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | BIANNUAL | 2025 | JANUARY THROUGH JUNE | 20 SITES PER LCR SAMPLING PLAN
2614268 | SUWANNEE CORRECTIONAL INSTITUTE | SUWANNEE | LARGE COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2029 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614268 | SUWANNEE CORRECTIONAL INSTITUTE | SUWANNEE | LARGE COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2029 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614268 | SUWANNEE CORRECTIONAL INSTITUTE | SUWANNEE | LARGE COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2032 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614268 | SUWANNEE CORRECTIONAL INSTITUTE | SUWANNEE | LARGE COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614268 | SUWANNEE CORRECTIONAL INSTITUTE | SUWANNEE | LARGE COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614268 | SUWANNEE CORRECTIONAL INSTITUTE | SUWANNEE | LARGE COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2026 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614270 | SUWANNEE COUNTY CR-136 WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2025 | AUGUST | FARMER'S MARKET
2614270 | SUWANNEE COUNTY CR-136 WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2025 | AUGUST | WWTF
2614270 | SUWANNEE COUNTY CR-136 WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2614270 | SUWANNEE COUNTY CR-136 WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614270 | SUWANNEE COUNTY CR-136 WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614270 | SUWANNEE COUNTY CR-136 WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614270 | SUWANNEE COUNTY CR-136 WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2027 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2614270 | SUWANNEE COUNTY CR-136 WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614270 | SUWANNEE COUNTY CR-136 WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614270 | SUWANNEE COUNTY CR-136 WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614270 | SUWANNEE COUNTY CR-136 WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | ANNUAL | 2025* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2614270 | SUWANNEE COUNTY CR-136 WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | VOC | TOT XYLENE | ANNUAL | 2025 | APRIL THROUGH JUNE | POINT OF ENTRY TO DISTRIBUTION
2614270 | SUWANNEE COUNTY CR-136 WTP | SUWANNEE | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614273 | HOLY CROSS CHRISTIAN ACADEMY | SUWANNEE | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2025 | JULY THROUGH SEPTEMBER | NO DBP SAMPLING PLAN YET SUBMITTED
2614273 | HOLY CROSS CHRISTIAN ACADEMY | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2614273 | HOLY CROSS CHRISTIAN ACADEMY | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614273 | HOLY CROSS CHRISTIAN ACADEMY | SUWANNEE | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614273 | HOLY CROSS CHRISTIAN ACADEMY | SUWANNEE | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | QUARTERLY | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614273 | HOLY CROSS CHRISTIAN ACADEMY | SUWANNEE | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED URANIUM | QUARTERLY | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614273 | HOLY CROSS CHRISTIAN ACADEMY | SUWANNEE | NONTRANSIENT NONCOMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | QUARTERLY | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2614273 | HOLY CROSS CHRISTIAN ACADEMY | SUWANNEE | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | QUARTERLY | 2025* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2614273 | HOLY CROSS CHRISTIAN ACADEMY | SUWANNEE | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | QUARTERLY | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION