## Sheet1
PWS_ID | SYSTEM_NAME | COUNTY | SYSTEM_TYPE | CONTAM_GROUP | CONTAMINANT NAME | FREQUENCY | YEAR NEXT DUE | SAMPLING PERIOD | SAMPLING LOCATION | COMMENTS
2630202 | LAKE BUTLER WTP | UNION | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2025 | JULY | 841 NE 3RD ST (WALKER RESIDENCE)
2630202 | LAKE BUTLER WTP | UNION | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2630202 | LAKE BUTLER WTP | UNION | COMMUNITY | INOR | NITRATE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2630202 | LAKE BUTLER WTP | UNION | COMMUNITY | INOR | NITRITE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2630202 | LAKE BUTLER WTP | UNION | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2630202 | LAKE BUTLER WTP | UNION | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2630202 | LAKE BUTLER WTP | UNION | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2630202 | LAKE BUTLER WTP | UNION | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2630202 | LAKE BUTLER WTP | UNION | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2630202 | LAKE BUTLER WTP | UNION | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2630202 | LAKE BUTLER WTP | UNION | COMMUNITY | SOC | DI(2-ETHYLHEXYL)PHTHALATE | QUARTERLY | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2630202 | LAKE BUTLER WTP | UNION | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2630202 | LAKE BUTLER WTP | UNION | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2634212 | WEST FRASER LUMBER MILL (FKA GILMAN BP) | UNION | NONTRANSIENT NONCOMMUNITY | DBP | TTHMS AND HAA5S | TRIENNIAL | 2025 | JULY | MEN'S ROOM OFFICE BATHROOM
2634212 | WEST FRASER LUMBER MILL (FKA GILMAN BP) | UNION | NONTRANSIENT NONCOMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2031 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2634212 | WEST FRASER LUMBER MILL (FKA GILMAN BP) | UNION | NONTRANSIENT NONCOMMUNITY | INOR | NITRATE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2634212 | WEST FRASER LUMBER MILL (FKA GILMAN BP) | UNION | NONTRANSIENT NONCOMMUNITY | INOR | NITRITE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2634212 | WEST FRASER LUMBER MILL (FKA GILMAN BP) | UNION | NONTRANSIENT NONCOMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2634212 | WEST FRASER LUMBER MILL (FKA GILMAN BP) | UNION | NONTRANSIENT NONCOMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025 | JUNE THROUGH SEPTEMBER | 5 SITES PER LCR SAMPLING PLAN
2634212 | WEST FRASER LUMBER MILL (FKA GILMAN BP) | UNION | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2031 | N/A | POINT OF ENTRY TO DISTRIBUTION
2634212 | WEST FRASER LUMBER MILL (FKA GILMAN BP) | UNION | NONTRANSIENT NONCOMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2031 | N/A | POINT OF ENTRY TO DISTRIBUTION
2634212 | WEST FRASER LUMBER MILL (FKA GILMAN BP) | UNION | NONTRANSIENT NONCOMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2031 | N/A | POINT OF ENTRY TO DISTRIBUTION
2634212 | WEST FRASER LUMBER MILL (FKA GILMAN BP) | UNION | NONTRANSIENT NONCOMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2025* | N/A | POINT OF ENTRY TO DISTRIBUTION | *SOC WAIVER MAY BE SUBMITTED INSTEAD OF SAMPLE RESULTS
2634212 | WEST FRASER LUMBER MILL (FKA GILMAN BP) | UNION | NONTRANSIENT NONCOMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2634222 | RECEPTION AND MEDICAL CENTER | UNION | COMMUNITY | DBP | TTHMS AND HAA5S | ANNUAL | 2025 | JULY | 3 COLB WWTP OFFICE/LAB BLDG
2634222 | RECEPTION AND MEDICAL CENTER | UNION | COMMUNITY | INOR | ASBESTOS | EVERY 9 YEARS | 2030 | N/A | IN DISTRIBUTION WHERE ASBESTOS HAS BEEN IDENTIFIED | "NO-ASBESTOS" WAIVER AVAILABLE IF APPLICABLE
2634222 | RECEPTION AND MEDICAL CENTER | UNION | COMMUNITY | INOR | NITRATE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2634222 | RECEPTION AND MEDICAL CENTER | UNION | COMMUNITY | INOR | NITRITE | ANNUAL | 2025 | N/A | POINT OF ENTRY TO DISTRIBUTION
2634222 | RECEPTION AND MEDICAL CENTER | UNION | COMMUNITY | INOR | PRIMARY INORGANICS (16 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2634222 | RECEPTION AND MEDICAL CENTER | UNION | COMMUNITY | LCR | LEAD AND COPPER TAP SAMPLING | TRIENNIAL | 2025 | JUNE THROUGH SEPTEMBER | 10 SITES PER LCR SAMPLING PLAN
2634222 | RECEPTION AND MEDICAL CENTER | UNION | COMMUNITY | RAD | COMBINED RADIUM-226 AND 228 | EVERY 3, 6, OR 9 YRS | 2030 | N/A | POINT OF ENTRY TO DISTRIBUTION
2634222 | RECEPTION AND MEDICAL CENTER | UNION | COMMUNITY | RAD | COMBINED URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2634222 | RECEPTION AND MEDICAL CENTER | UNION | COMMUNITY | RAD | GROSS ALPHA EXCL RADON AND URANIUM | EVERY 3, 6, OR 9 YRS | 2033 | N/A | POINT OF ENTRY TO DISTRIBUTION
2634222 | RECEPTION AND MEDICAL CENTER | UNION | COMMUNITY | SEC | SECONDARY STANDARDS (14 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2634222 | RECEPTION AND MEDICAL CENTER | UNION | COMMUNITY | SOC | SYNTHETIC ORGANIC CONTAMINANTS (29 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION
2634222 | RECEPTION AND MEDICAL CENTER | UNION | COMMUNITY | VOC | VOLATILE ORGANIC CONTAMINANTS (21 PARAMETERS) | TRIENNIAL | 2027 | N/A | POINT OF ENTRY TO DISTRIBUTION