###### FLORIDA DEPARTMENT OF ENVIRONMENTAL PROTECTION

###### Division of Water Resource Management, Bureau of Watershed Management

NORTHEAST DISTRICT • LOWER ST. JOHNS RIVER BASIN

TMDL Report

Fecal Coliform TMDL for

Butcher Pen Creek,

WBID 2322

David Wainwright

September 2005

Acknowledgments

Editorial assistance provided by: Wayne Magley, Ph.D., Jan Mandrup-Poulsen, Daryll Joyner, and Linda Lord.

For additional information on the watershed management approach and impaired waters in the Lower St. Johns River Basin, contact

Jennifer Gihring

Florida Department of Environmental Protection

Bureau of Watershed Management

Watershed Planning and Coordination Section

2600 Blair Stone Road, Mail Station 3565

Tallahassee, FL 32399-2400

Email: jennifer.gihring@dep.state.fl.us

Phone: (850) 245-8418; SunCom: 205-8418

Fax: (850) 245-8434

Access to all data used in the development of this report can be obtained by contacting

David Wainwright

Florida Department of Environmental Protection

Bureau of Watershed Management

Watershed Assessment Section

2600 Blair Stone Road, Mail Station 3555

Tallahassee, FL 32399-2400

Email: david.wainwright@dep.state.fl.us

Phone: (850) 245-8469; SunCom: 205-8469

Fax: (850) 245-8536

Contents

Chapter 1:  INTRODUCTION	1

1.1  Purpose of Report	1

1.2  Identification of Waterbody	1

1.3  Background	5

Chapter 2:  DESCRIPTION OF WATER QUALITY PROBLEM	6

2.1  Statutory Requirements and Rulemaking History	6

2.2  Information on Verified Impairment	6

Chapter 3.  DESCRIPTION OF APPLICABLE WATER QUALITY STANDARDS AND TARGETS	8

3.1  Classification of the Waterbody and Criteria Applicable to the TMDL	8

3.2  Applicable Water Quality Standards and Numeric Water Quality Target	8

Chapter 4:  ASSESSMENT OF SOURCES	9

4.1  Types of Sources	9

4.2  Potential Sources of Coliform in the Butcher Pen Creek Watershed	9

4.2.1  Point Sources	9

4.2.2  Land Uses and Nonpoint Sources	10

4.4  Source Summary	16

4.3.1  Summary of Fecal Coliform Loadings to Butcher Pen Creek from Various Sources	16

Chapter 5:  DETERMINATION OF ASSIMILATIVE CAPACITY	18

5.1 Determination of Loading Capacity	18

5.1.1  Data Used in the Determination of the TMDL	18

5.1.2  TMDL Development Process	20

5.2.3  Critical Conditions/Seasonality	21

Chapter 6:  DETERMINATION OF THE TMDL	24

6.1  Expression and Allocation of the TMDL	24

6.2  Load Allocation	25

6.3  Wasteload Allocation	25

6.3.1  NPDES Wastewater Discharges	25

6.3.2  NPDES Stormwater Discharges	25

6.4  Margin of Safety	25

Chapter 7:  NEXT STEPS:  IMPLEMENTATION PLAN DEVELOPMENT AND BEYOND	26

7.1  Basin Management Action Plan	26

References	30

Appendices	31

Appendix A:  Background Information on Federal and State Stormwater Programs	31

Appendix B:  Table of Fecal Coliform Concentrations from Sunny Acres Mobile Park WWTF (Buffcar, Inc. WWTF), 1996–2004	32

Appendix C:  Table of Flow from Sunny Acres Mobile Park WWTF (Buffcar, Inc. WWTF), 1996–2004	35

Appendix D:  Historical Fecal Coliform Observations in Butcher Pen Creek, WBID 2322	38

Appendix E: Kruskall–Wallis Analysis of Fecal Coliform Observations versus Season in Butcher Pen Creek, WBID 2322	40

Appendix F:  Kruskall–Wallis Analysis of Fecal Coliform Observations versus Month in Butcher Pen Creek, WBID 2322	41

Appendix G:  Chart of Fecal Coliform Observations and Stations in Butcher Pen Creek, WBID 2322	42

Appendix H:  Chart of Rainfall for JIA, 1990–2004	44

Appendix I:  Spearman Correlation Matrix Analysis for Precipitation and Fecal Coliform in Butcher Pen Creek, WBID 2322	45

Appendix J: Analysis of Fecal Coliform Observations and Precipitation in Butcher Pen Creek, WBID 2322	46

Appendix K:  Table of Monthly and Annual Precipitation at JIA, 1955–2004	49

Appendix L:  Graph of Annual and Monthly Average Precipitation at JIA, 1955–2004	50

Appendix M:  Executive Summary of Tributary Pollution Assessment Project	51

Appendix N: Departmental Responses to Comments Regarding this TMDL for Butcher Pen Creek	53

List of Tables

Table 2.1.	Summary of Fecal Coliform Data by Month for the Verified Period (January 1, 1996 – June 30, 2003)	7

Table 2.2.	Summary of Fecal Coliform Data by Season for the Verified Period (January 1, 1996–June 30, 2003)	7

Table 2.3.	Summary of Fecal Coliform Data by Year for the Verified Period (January 1, 1996–June 30, 2003)	7

Table 4.1.	Classification of Land Use Categories in the Butcher Pen Creek Watershed	11

Table 4.2.  Estimation of Average Household Size in the Butcher Pen Creek Watershed, WBID 2322	14

Table 4.3.	Estimation of Annual Fecal Coliform Loading from Failed Septic Tanks in the Butcher Pen Creek Watershed, WBID 2322	14

Table 4.4. 	Estimated Loading from Dogs in the Butcher Pen Creek Watershed, WBID 2322	16

Table 4.5. 	Estimated Loading from Wastewater Collection Systems	16

Table 4.6. 	Summary of Estimated Potential Coliform Loading From Various Sources in the Butcher Pen Creek Watershed, WBID 2322	17

Table 5.1.	Sampling Station Summary for the Butcher Pen Creek Watershed, WBID 2322	18

Table 5.2.	Statistical Summary of Historical Data for Butcher Pen Creek, WBID 2232	18

Table 5.3.	Calculation of Reductions for the Fecal Coliform TMDL for Butcher Pen Creek, WBID 2322	21

Table 5.4.	Summary of Fecal Coliform Data by Hydrologic Condition	23

Table 6.1.	TMDL Components for Butcher Pen Creek, WBID 2322	25

Table 7.1.	List of WBIDs Included in the TPAP Study	27

List of Figures

Figure 1.1.	Location of Butcher Pen Creek, WBID 2322, and Major Geopolitical Features in the Lower St. Johns River Basin	2

Figure 1.2.	Overview of Butcher Pen Creek, WBID 2322	3

Figure 1.3.	WBIDs in the Ortega River Planning Unit	4

Figure 4.1.	Location of the Sunny Acres Mobile Home Park WWTF (Buffcar, Inc.) in the Butcher Pen Creek Watershed, WBID 2322	10

Figure 4.2.	Principle Level 1 Land Uses in the Butcher Pen Creek Watershed, WBID 2322	12

Figure 4.3.	Population Density in the Butcher Pen Creek Watershed, WBID 2322	13

Figure 4.4.	Septic Tank Repair Permits Issued for the Butcher Pen Creek Area, March 1990–April 2004	15

Figure 5.1.	Historical Sampling Sites in the Butcher Pen Creek Watershed, WBID 2322	19

Figure 5.2.	Historical Fecal Coliform Observations for Butcher Pen Creek, WBID 2322	20

Figure 5.3.	Fecal Coliform Data by Hydrologic Condition Based on Rainfall	23

Figure 7.1.	Map of WBIDs Included in the TPAP Study	28

Web sites

Florida Department of Environmental Protection, Bureau of Watershed Management

TMDL Program

http://www.dep.state.fl.us/water/tmdl/index.htm

Identification of Impaired Surface Waters Rule

http://www.dep.state.fl.us/water/tmdl/docs/AmendedIWR.pdf

STORET Program

http://www.dep.state.fl.us/water/storet/index.htm

2004 305(b) Report

http://www.dep.state.fl.us/water/docs/2004_Integrated_Report.pdf

Criteria for Surface Water Quality Classifications

http://www.dep.state.fl.us/legal/rules/shared/62-302t.pdf

Basin Status Reports

http://www.dep.state.fl.us/water/tmdl/stat_rep.htm

Water Quality Assessment Reports

http://www.dep.state.fl.us/water/tmdl/stat_rep.htm

Allocation Technical Advisory Committee (ATAC) Report

http://www.dep.state.fl.us/water/tmdl/docs/Allocation.pdf

U.S. Environmental Protection Agency

Region 4:  Total Maximum Daily Loads in Florida

http://www.epa.gov/region4/water/tmdl/florida/

National STORET Program

http://www.epa.gov/storet/

# Chapter 1:  INTRODUCTION

## 1.1  Purpose of Report

This report presents the Total Maximum Daily Load (TMDL) for fecal coliform for Butcher Pen Creek in the Ortega River Planning Unit, within the Lower St. Johns River Basin.  The creek was verified as impaired for fecal coliform and was included on the Verified List of impaired waters for the Lower St. Johns River Basin that was adopted by Secretarial Order in May 2004.  The TMDL establishes the allowable loadings to Butcher Pen Creek that would restore the waterbody so that it meets its applicable water quality criterion for fecal coliform.

## 1.2  Identification of Waterbody

Butcher Pen Creek is located in Duval County, in northeast Florida.  Its drainage area of about 1.31 square miles (mi2) flows directly into the Cedar River and then the Ortega River, before reaching the St. Johns River (Figures 1.1 and 1.2).  The creek, which is approximately 1.6 miles long, is a second-order stream.  The Butcher Pen Creek watershed is located on the southwestern edge of the City of Jacksonville, in an area known as Cedar Hills, and as a result is highly urbanized.  Additional information about the creek’s hydrology and geology are available in the Basin Status Report for the Lower St. Johns River Basin (Florida Department of Environmental Protection [Department], June 2002).

For assessment purposes, the Department has divided the Lower St. Johns River Basin into water assessment polygons with a unique waterbody identification (WBID) number for each watershed or stream reach.  Butcher Pen Creek consists of one segment, WBID 2322 (Figure 1.2), which this TMDL addresses.

Butcher Pen Creek is part of the Ortega River Planning Unit.  Planning units are groups of smaller watersheds (WBIDs) that are part of a larger basin—in this case the Lower St. Johns River Basin.  The Ortega River Planning Unit consists of 30 WBIDs.  Figure 1.3 shows the location of Butcher Pen Creek in the planning unit, and lists the planning unit’s WBIDs.

Figure 1.1.	Location of Butcher Pen Creek, WBID 2322, and Major Geopolitical Features in the Lower St. Johns River Basin

Figure 1.2.	Overview of Butcher Pen Creek, WBID 2322

Figure 1.3.	WBIDs in the Ortega River Planning Unit

## 1.3  Background

This report was developed as part of the Department’s watershed management approach for restoring and protecting state waters and addressing TMDL Program requirements.  The watershed approach, which is implemented using a cyclical management process that rotates through the state’s 52 river basins over a five-year cycle, provides a framework for implementing the TMDL Program–related requirements of the 1972 federal Clean Water Act and the 1999 Florida Watershed Restoration Act (FWRA, Chapter 99-223, Laws of Florida).

A TMDL represents the maximum amount of a given pollutant that a waterbody can assimilate and still meet water quality standards, including its applicable water quality criteria and its designated uses.  TMDLs are developed for waterbodies that are verified as not meeting their water quality standards.  They provide important water quality restoration goals that will guide restoration activities.

This TMDL Report will be followed by the development and implementation of a Basin Management Action Plan, or BMAP, to reduce the amount of fecal coliform that caused the verified impairment of Butcher Pen Creek.  These activities will depend heavily on the active participation of the St. Johns River Water Management District (SJRWMD), the City of Jacksonville, Jacksonville Electric Authority (JEA), local businesses, and other stakeholders.  The Department will work with these organizations and individuals to undertake or continue reductions in the discharge of pollutants and achieve the established TMDLs for impaired waterbodies.

# Chapter 2:  DESCRIPTION OF WATER QUALITY PROBLEM

## 2.1  Statutory Requirements and Rulemaking History

Section 303(d) of the federal Clean Water Act requires states to submit to the U. S. Environmental Protection Agency (EPA) a list of surface waters that do not meet applicable water quality standards (impaired waters) and establish a TMDL for each pollutant causing impairment of these waters on a schedule.  The Department has developed such lists, commonly referred to as 303(d) lists, since 1992.  The list of impaired waters in each basin, referred to as the Verified List, is also required by the FWRA (Subsection 403.067[4], Florida Statutes [F.S.]), and the state’s 303(d) list is amended annually to include basin updates.

Florida’s 1998 303(d) list included 55 waterbodies and 277 parameters in the Lower St. Johns River Basin.  However, the FWRA (Section 403.067, F.S.) stated that all previous Florida 303(d) lists were for planning purposes only and directed the Department to develop, and adopt by rule, a new science-based methodology to identify impaired waters.  After a long rulemaking process, the Environmental Regulation Commission adopted the new methodology as Chapter 62-303, Florida Administrative Code (F.A.C.) (Identification of Impaired Surface Waters Rule, or IWR), in April 2001.

## 2.2  Information on Verified Impairment

The Department used the IWR to assess water quality impairments in Butcher Pen Creek and has verified that the creek is impaired for fecal coliforms based on data in the Department’s IWR database.  Tables 2.1 through 2.3 provide summary results for fecal coliform data for the verification period, which for Group 2 waters was January 1, 1996 – June 30, 2003, by month, season, and year, respectively.

There is a 95 percent overall exceedance rate for fecal coliforms in Butcher Pen Creek.  Exceedances occur in all months and all seasons (Tables 2.1 and 2.2).  In fact, there is a 100 percent exceedance rate for all months except April, which has a 66.67 percent exceedance rate (Table 2.1).

Two of the three monitoring stations in the watershed have fewer than five samples, which make it difficult to analyze spatial trends.  Section 5.1 discusses sampling stations in greater detail.

Table 2.1.	Summary of Fecal Coliform Data by Month for the Verified Period (January 1, 1996 – June 30, 2003)

| Month | N | Minimum | Maximum | Median | Mean | Number of Exceedances1 | % Exceedance | Mean Precipitation2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| January | 2 | 1,300 | 2,300 | 1,800 | 1,800 | 2 | 100.00% | 2.39 |
| February | 1 | 6,000 | 6,000 | 6,000 | 6,000 | 1 | 100.00% | 3.14 |
| March | 1 | 492 | 492 | 492 | 492 | 1 | 100.00% | 3.95 |
| April | 3 | 270 | 1,700 | 1,100 | 1,023 | 2 | 66.67% | 2.80 |
| May | 2 | 460 | 500 | 480 | 480 | 2 | 100.00% | 1.61 |
| June | 0 | - | - | - | - | - | - | 7.40 |
| July | 1 | 90,000 | 90,000 | 90,000 | 90,000 | 1 | 100.00% | 6.72 |
| August | 1 | 2,400 | 2,400 | 2,400 | 2,400 | 1 | 100.00% | 6.72 |
| September | 4 | 500 | 2,400 | 1,801 | 1,626 | 4 | 100.00% | 9.94 |
| October | 2 | 3,000 | 9,000 | 6,000 | 6,000 | 2 | 100.00% | 3.39 |
| November | 1 | 800 | 800 | 800 | 800 | 1 | 100.00% | 1.81 |
| December | 3 | 1,425 | 5,200 | 4,800 | 3,808 | 3 | 100.00% | 3.12 |

Coliform counts are #/100 mL

1 Exceedances represent values above 400 counts/100 mL

2 Mean precipitation is from Jacksonville International Airport (JIA) in inches.  Mean precipitation is the long term (1955 – 2004) mean for the stated month

Table 2.2.	Summary of Fecal Coliform Data by Season for the Verified Period (January 1, 1996–June 30, 2003)

| Season | N | Minimum | Maximum | Median | Mean | Number of Exceedances | % Exceedance | Mean Precipitation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Winter | 4 | 492 | 6,000 | 1,800 | 2,523 | 4 | 100.00% | 3.16 |
| Spring | 5 | 270 | 1,700 | 500 | 806 | 4 | 80.00% | 3.82 |
| Summer | 6 | 500 | 90,000 | 2,134 | 16,484 | 6 | 100.00% | 7.79 |
| Fall | 6 | 800 | 9,000 | 3,900 | 4,038 | 6 | 100.00% | 2.77 |

Coliform counts are #/100 mL

Winter = January – March; spring = April – June; summer = July – September; fall = October - December

Exceedances represent values above 400 counts/100 mL

Mean precipitation is from Jacksonville International Airport (JIA) in inches, and is the long term mean (1955 – 2004) for all three months of the season

Table 2.3.	Summary of Fecal Coliform Data by Year for the Verified Period (January 1, 1996–June 30, 2003)

| Year | N | Minimum | Maximum | Median | Mean | Number of Exceedances | % Exceedance | Total Precipitation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1996 | 1 | 800 | 800 | 800 | 800 | 1 | 100.00% | 60.63 |
| 1998 | 4 | 500 | 90,000 | 5,368 | 25,309 | 4 | 100.00% | 56.72 |
| 1999 | 4 | 270 | 3,000 | 2,350 | 1,993 | 3 | 75.00% | 42.44 |
| 2000 | 4 | 1,300 | 4,800 | 2,050 | 2,550 | 4 | 100.00% | 39.77 |
| 2001 | 4 | 500 | 6,000 | 1,263 | 2,256 | 4 | 100.00% | 49.14 |
| 2002 | 4 | 460 | 5,200 | 1,180 | 2,005 | 4 | 100.00% | 54.72 |

Table represents years for which data exist.

Coliform counts are #/100 mL

Exceedances represent values above 400 counts/100 mL

Total precipitation is from Jacksonville International Airport (JIA) in inches, and represents total precipitation for year shown

# Chapter 3.  DESCRIPTION OF APPLICABLE WATER QUALITY STANDARDS AND TARGETS

## 3.1  Classification of the Waterbody and Criteria Applicable to the TMDL

Florida’s surface waters are protected for five designated use classifications, as follows:

Class I		Potable water supplies

Class II		Shellfish propagation or harvesting

Class III		Recreation, propagation, and maintenance of a healthy, well-balanced population of fish and wildlife

Class IV		Agricultural water supplies

Class V	Navigation, utility, and industrial use (there are no state waters currently in this class)

Butcher Pen Creek is a Class III fresh waterbody, with a designated use of recreation, propagation, and maintenance of a healthy, well-balanced population of fish and wildlife.  The Class III water quality criterion applicable to the impairment addressed by this TMDL is for fecal coliforms.

## 3.2  Applicable Water Quality Standards and Numeric Water Quality Target

#### 3.2.1  Fecal Coliform Criterion

Numeric criteria for bacterial quality are expressed in terms of fecal coliform bacteria concentrations.  The water quality criterion for the protection of Class III waters, as established by Chapter 62-302, F.A.C., states the following:

Fecal Coliform Bacteria:

The most probable number (MPN) or membrane filter (MF) counts per 100 mL of fecal coliform bacteria shall not exceed a monthly average of 200, nor exceed 400 in 10 percent of the samples, nor exceed 800 on any one day.

The criterion states that monthly averages shall be expressed as geometric means based on a minimum of 10 samples taken over a 30-day period.  However, there were insufficient data (fewer than 10 samples in a given month) available to evaluate the geometric mean criterion for fecal coliform bacteria.  Therefore, the criterion selected for the TMDL was not to exceed 400 counts/100 m/L.

# Chapter 4:  ASSESSMENT OF SOURCES

## 4.1  Types of Sources

An important part of the TMDL analysis is the identification of pollutant source categories, source subcategories, or individual sources of nutrients in the watershed and the amount of pollutant loading contributed by each of these sources.  Sources are broadly classified as either “point sources” or “nonpoint sources.”  Historically, the term “point sources” has meant discharges to surface waters that typically have a continuous flow via a discernable, confined, and discrete conveyance, such as a pipe.  Domestic and industrial wastewater treatment facilities (WWTFs) are examples of traditional point sources.  In contrast, the term “nonpoint sources” was used to describe intermittent, rainfall-driven, diffuse sources of pollution associated with everyday human activities, including runoff from urban land uses, agriculture, silviculture, and mining; discharges from failing septic systems; and atmospheric deposition.

However, the 1987 amendments to the Clean Water Act redefined certain nonpoint sources of pollution as point sources subject to regulation under the EPA’s National Pollutant Discharge Elimination System (NPDES) Program.  These nonpoint sources included certain urban stormwater discharges, including those from local government master drainage systems, construction sites over five acres, and a wide variety of industries (see Appendix A for background information on the federal and state stormwater programs).

To be consistent with Clean Water Act definitions, the term “point source” will be used to describe traditional point sources (such as domestic and industrial wastewater discharges) AND stormwater systems requiring an NPDES stormwater permit when allocating pollutant load reductions required by a TMDL (see Section 6.1).  However, the methodologies used to estimate nonpoint source loads do not distinguish between NPDES stormwater discharges and non-NPDES stormwater discharges, and as such, this source assessment section does not make any distinction between the two types of stormwater.

## 4.2  Potential Sources of Coliform in the Butcher Pen Creek Watershed

### 4.2.1  Point Sources

There is one domestic wastewater facility, Sunny Acres Mobile Park WWTF (also known as Buffcar, Inc. WWTF – permit #FLA0043915), that is authorized to discharge into Butcher Pen Creek (Figure 4.1).  The facility, located in the southwestern corner of the watershed (Figure 4.1), discharges to the creek via a ditch.  It has a design capacity and annual average discharge limit of 0.015 million gallons per day (MGD), and according to the Department’s monitoring records, the average monthly flow for 2004 was 0.0065 MGD.  Appendix B summarizes fecal coliform values from 1996 through 2004.  The average concentration during this time was 43 counts/100mL, and the median was 2 counts/100mL.  Reported data show one violation of the state or permitted criterion for fecal coliform during the verified period (January 1, 1996–June 2003) in July 1996, when the average monthly count was 1,600 counts/100mL.  Appendix C provides flow data from the facility from Department records.  Based on data supplied to the Department, the average fecal coliform concentration discharged from the Sunny Acres Mobile Home WWTF between January 1996 and December 2004 was 1.55 x 107 counts/day.

Figure 4.1.	Location of the Sunny Acres Mobile Home Park WWTF (Buffcar, Inc.) in the Butcher Pen Creek Watershed, WBID 2322

#### Municipal Separate Storm Sewer System Permittees

The City of Jacksonville and the Florida Department of Transportation (FDOT) District 2 are co-permittees for a Phase I NPDES municipal separate storm sewer system (MS4) permit (FLS000012) that covers the Butcher Pen Creek watershed.  The Cities of Jacksonville, Neptune Beach, and Atlantic Beach share responsibility for the permit.  However, the City of Jacksonville is the only one with an interest in the watershed.

### 4.2.2  Land Uses and Nonpoint Sources

Additional coliform loadings to Butcher Pen Creek are generated from nonpoint sources in the watershed.  Potential nonpoint sources of coliform include loadings from surface runoff, wildlife, pets, leaking or overflowing sewer lines, and leaking septic tanks.

#### Land Uses

The spatial distribution and acreage of different land use categories were identified using the 2000 land use coverage contained in the Department’s geographic information system (GIS) library, initially provided by the SJRWMD.  Land use categories and acreages in the watershed were aggregated using the Level 3 codes tabulated in Table 4.1.  Figure 4.2 shows the principle land uses in the watershed.

The Butcher Pen Creek watershed is a small but highly urbanized area.  As Table 4.1 shows, the majority of the land is high-density residential (68.7 percent), followed by commercial and services (12.2 percent) and medium-density residential (7.2 percent).  Natural land use types (pine flatwoods, streams, marshes, mixed wetland hardwoods, and wetland forested mixed) comprise 46.7 acres—a mere 5.6 percent of the land use in the watershed.  According to land use coverage information, there are no livestock or agricultural land uses categories in the watershed.

Table 4.1.	Classification of Land Use Categories in the Butcher Pen Creek Watershed

| Level 3 Land Use Code | Attribute | Acres | % of Total |
| --- | --- | --- | --- |
| 1300 | Residential, high density–6 or more dwelling units/acre | 576.44 | 68.67% |
| 1400 | Commercial and services | 102.44 | 12.20% |
| 1200 | Residential, medium density–2-5 dwelling units/acre | 60.70 | 7.23% |
| 6170 | Mixed wetland hardwoods | 20.73 | 2.47% |
| 1700 | Institutional | 20.67 | 2.46% |
| 8140 | Roads and highways (divided 4-lanes with medians) | 17.15 | 2.04% |
| 1850 | Parks and zoos | 14.00 | 1.67% |
| 6300 | Wetland forested mixed | 11.45 | 1.36% |
| 5100 | Streams and waterways | 10.19 | 1.21% |
| 4110 | Pine flatwoods | 2.20 | 0.26% |
| 1860 | Community recreational facilities | 1.42 | 0.17% |
| 6410 | Freshwater marshes | 1.36 | 0.16% |
| 5300 | Reservoirs–pits, retention ponds, dams | 0.73 | 0.09% |
|  | TOTAL | 839.48 | 100.00% |

#### Population

According to the U. S. Census Bureau, census block population densities in the Butcher Pen Creek watershed in the year 2000 ranged from 0 to 9,971 persons per square mile, with an average of 3,180 persons per square mile in the watershed (Figure 4.3).  Based on this average, the estimated population in the Butcher Pen Creek watershed is 4,167.  The Census Bureau reports that for all of Duval County, the total population for 2000 was approximately 780,000, with 329,778 housing units and an average occupancy rate of 92.1 percent (303,747 units).  For all of Duval County, the Bureau reported a housing density of 426 units/mi².  Thus Duval County ranks seventh in housing densities and population in Florida (U. S. Census Bureau Web site, 2005).  The average housing density in the Butcher Pen watershed is 1,211 units/mi², which is many times higher than that of the county average.

Figure 4.2.	Principle Level 1 Land Uses in the Butcher Pen Creek Watershed, WBID 2322

Figure 4.3.	Population Density in the Butcher Pen Creek Watershed, WBID 2322

#### Septic Tanks

Using data supplied by the Florida Department of Revenue and Florida Department of Health (FDOH), it is estimated that approximately 57 percent of residences within Duval County are connected to a wastewater treatment plant, with the rest using septic tanks (Florida Department of Revenue cadastral data, 2003; FDOH Web site, 2005).  The FDOH reports that as of fiscal year 2003–04, there were 88,834 permitted septic tanks in Duval County (FDOH Web site, 2005).  For fiscal years 1994 through 2004, 4,954 permits for repairs were issued, or a countywide average of approximately 450 repairs annually (FDOH Web site, 2005).

As noted previously, there are an estimated 3,180 persons/mi2 in the WBID, or 4,167 persons in the watershed area.  The average household in the Butcher Pen Creek watershed has 2.62 persons (Table 4.2).  According to the FDOH, there is an annual average of 450 repairs (fiscal years 1994–2004) in Duval County.  Based on this information, there is an annual average of less than one failure in the Butcher Pen Creek watershed.

The Department obtained septic tank repair permit data from JEA for its service area, which includes the Butcher Pen Creek watershed.  The data include septic tank repair permit records issued from March 1990 through April 2004, areas serviced by a WWTF, and areas where large numbers of failing septic tanks are present.  Figure 4.4 presents this information in map form.  The data show that 15 permits for repairs were issued in the watershed during this period, or an average of one repair per year.  This estimate equals that based on the FDOH countywide data.  The Butcher Pen Creek watershed has no septic tank phaseout areas, or high-priority areas for sewering to eliminate septic tanks due to high failure rates.

Based on the data provided by JEA, which is more watershed specific than the countywide FDOH data, an average of 1 permit was issued annually in the watershed for septic tank repairs.  If this estimate is rounded up to 2 (to allow for septic tanks where failures may not be known or have not been repaired), and using 70 gallons/day/person (EPA, 2001), a daily loading of 1.39 x 1010 counts/day is derived, or 5.07 x 1012 counts/year.  Table 4.3 shows these estimations.

Table 4.2.  Estimation of Average Household Size in the Butcher Pen Creek Watershed, WBID 2322

| Household Size | Number of Households | Percentage of Total | Number of People |
| --- | --- | --- | --- |
| 1-person household | 357 | 23% | 357 |
| 2-person household | 553 | 35% | 1,106 |
| 3-person household | 270 | 17% | 810 |
| 4-person household | 224 | 14% | 896 |
| 5-person household | 119 | 8% | 595 |
| 6-person household | 46 | 3% | 276 |
| 7-or-more-person household | 18 | 1% | 126 |
| TOTAL | 1,587 | 100% | 4,166 |
| AVERAGE HOUSEHOLD SIZE | 2.62 |

Data from U. S. Census Bureau Web site, 2005, based on Duval County blocks in the Butcher Pen Creek watershed.

Table 4.3.	Estimation of Annual Fecal Coliform Loading from Failed Septic Tanks in the Butcher Pen Creek Watershed, WBID 2322

| Estimated Population Density | WBID Area (mi2) | Estimated Population in Watershed | Estimated Number of Tank Failures1 | Estimated Load From Failed Tank2 | Gallons/ Person/ Day2 | Estimated Number of Persons Per Household3 | Estimated Load From Failing Tanks | Estimated Load From Failing Tanks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3,180 | 1.31 | 4,167 | 2 | 1.00 x 104/mL | 70 | 2.62 | 1.39 x 1010 | 5.07 x 1012 |

1 Based on septic tank repair permits issued in the watershed from March 1990 through April 2004 (FDOH and JEA information); see text.

2 From Protocol for Developing Pathogen TMDLs (EPA, January 2001).

3 From U. S Census Bureau; see Table 4.2 for more information on this estimate

Figure 4.4.	Septic Tank Repair Permits Issued for the Butcher Pen Creek Area, March 1990–April 2004

#### Agriculture

According to Level 3 land use data, there are no agricultural areas in the Butcher Pen Creek watershed.  As noted in Section 4.2.2, the majority of land use (88.1 percent) consists of residential and commercial and services.  It is doubtful that agriculture has any influence on the watershed, because the area is highly urbanized, with a large number of persons per square mile.

#### Pets

Pets, especially dogs, may be affecting the creek.  The Department has been unable to obtain data on the number of dogs in the area, but estimates can be made using literature-based values of dog ownership rates (Table 4.4).  For example, using household-to-dog ratio estimates from the American Veterinary Medical Association (AVMA), and assuming that coliform from10 percent of dogs reaches the waterbody and is viable upon reaching it, the approximate loading would be 2.86 x 1011 counts/day.  This is an estimate, as the actual loading from dogs is not known.

Table 4.4. 	Estimated Loading from Dogs in the Butcher Pen Creek Watershed, WBID 2322

| Estimated Number of Households | Estimated Household:Dog Ratio1 | Estimated Total Dog Population in Watershed | Estimated Loading of Total | Estimated Number of Dogs with Impact to Creek | Estimated Counts/Pet/Day2 | Estimated Daily Load (counts/day) | Estimated Annual Load (counts/year) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1,587 | 0.361 | 573 | 10% | 57 | 5 x 109 | 2.86 X 1011 | 1.05 X 1014 |

1 From the AVMA Web site, which states the original source to be the U.S Pet Ownership and Demographics Sourcebook, 2002.

2 From Protocol for Developing Pathogen TMDLs (EPA, January 2001).

#### Leaking or Overflowing Wastewater Collection Systems

As noted previously, about 57 percent of households in Duval County are connected to wastewater facilities.  Assuming that there are 1,587 homes in the watershed, with 2.62 people per home and a 70-gallon-per-person-per-day discharge, and also assuming that the countywide average of 57 percent of homes connected to a WWTF applies in Butcher Pen Creek, a daily flow of approximately 6.27 x 105 L (0.166 mgd) is transported through the collection system.  The document Protocol for Developing Pathogen TMDLs (EPA, 2001) suggests that a 5 percent leakage rate from collection systems is realistic.  Based on this rate and EPA values for fecal coliform in raw sewage, the potential daily loading of fecal coliform from leaking sewer lines is 1.57 x 1012 counts/day (Table 4.5).

Table 4.5. 	Estimated Loading from Wastewater Collection Systems

| Coliform | Estimated Number of Homes on Central Sewer | Estimated Daily Flow (L) | Daily Leakage (L) | Raw Sewage Counts/100mL | Estimated (counts/day) | Estimated (counts/year) |
| --- | --- | --- | --- | --- | --- | --- |
| Fecal | 905 | 6.27 x 105 | 3.14 x 104 | 5 x 106 | 1.57 X 1012 | 5.73 X 1014 |

## 4.4  Source Summary

### 4.3.1  Summary of Fecal Coliform Loadings to Butcher Pen Creek from Various Sources

Table 4.6 summarizes the estimates from various sources.  It is important to note that this is not a complete list (wildlife, for example, is missing) and represents estimates of potential loadings.  Proximity to the creek, rainfall frequency and magnitude, and temperature are just a few of the factors that could influence and determine the actual loadings from sources that reach Butcher Pen Creek.

Table 4.6. 	Summary of Estimated Potential Coliform Loading From Various Sources in the Butcher Pen Creek Watershed, WBID 2322

| Source | Fecal Coliform |
| --- | --- |
|  | Estimated Daily Load (counts/100 mL) | Estimated Annual Load (counts/100 mL) |
| Point Sources | 1.55 x 107 | 5.67 x 109 |
| Septic Tanks | 1.39 x 1010 | 5.07 x 1012 |
| Dogs | 2.86 x 1011 | 1.05 x 1014 |
| Collection Systems | 1.57 x 1012 | 5.73 x 1014 |

# Chapter 5:  DETERMINATION OF ASSIMILATIVE CAPACITY

## 5.1 Determination of Loading Capacity

The methodology used for this TMDL was the “percent reduction” methodology.  The Department generally prefers to use the load duration curve or “Kansas” method for coliform TMDLs, but this method could not be used because there are no stream gaging stations on Butcher Pen Creek.  To determine the TMDL, the percent reduction that would be required for each of the exceedances to meet the applicable criterion was determined, and the median value of all of these reductions for fecal coliform determined the overall required reduction, and therefore the TMDL.

### 5.1.1  Data Used in the Determination of the TMDL

Three sampling stations on Butcher Pen Creek have historical coliform observations (Figure 5.1).  The primary collector of historical data is the city of Jacksonville, which maintained a routine (quarterly) sampling site at Wesconnet Boulevard (STORET ID: CR2).  The SJRWMD also collected some data in 1992 and 1993, and the Department in 1998.  Table 5.1 shows data collection information for each of the stations, and Table 5.2 provides a brief overview of the data from each site.  Figure 5.1 shows the locations of the sample sites, Figure 5.2 shows the observed historical data analysis, and Appendix D contains the historical fecal coliform observations in Butcher Pen Creek for the planning and verified periods.  All observed exceedances were used in the calculation of the TMDL.

Table 5.1.	Sampling Station Summary for the Butcher Pen Creek Watershed, WBID 2322

| Station | STORET ID | Station Owner1 | Years With Data | N |
| --- | --- | --- | --- | --- |
| Butcher Pen Creek at Blanding Blvd. | 21FLA 20030580 | FDEP | 1998 | 1 |
| Butcher Pen Creek at Westconnet Blvd. | 21FLJXWQCR2 | COJ | 1991–96, 1998–2002 | 39 |
| Butcher Pen Creek Near Mouth | 21FLSJWMLSJ910 | SJRWMD | 1992–93 | 4 |

1 FDEP = Florida Department of Environmental Protection; COJ = City of Jacksonville; SJRWMD = St. Johns River Water Management District.

Table 5.2.	Statistical Summary of Historical Data for Butcher Pen Creek, WBID 2232

| Station | N | Minimum | Maximum | Median | Mean | Exceedances | % Exceedances |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Butcher Pen Creek at Blanding Blvd. | 1 | 1,735 | 1,735 | 1,735 | 1,735 | 1 | 100% |
| Butcher Pen Creek at Westconnet Blvd. | 39 | 270 | 160,000 | 3,000 | 13,434 | 37 | 95% |
| Butcher Pen Creek Near Mouth | 4 | 550 | 2,100 | 900 | 1,113 | 4 | 100% |

Coliform concentrations are counts/100mL.

Figure 5.1.	Historical Sampling Sites in the Butcher Pen Creek Watershed, WBID 2322

Figure 5.2.	Historical Fecal Coliform Observations for Butcher Pen Creek, WBID 2322

### 5.1.2  TMDL Development Process

Due to the lack of supporting flow information, a simple calculation was performed to determine the needed reduction.  Exceedances of the state criterion were compared with the criterion of 400 counts/100mL.  For each individual exceedance, an individual required reduction was calculated using the following:

[(observed value) – (state criterion)] x 100

(observed value)

After the individual results were calculated, the median of the individual values was calculated as 83 percent.  This means that in order to meet the state criterion of 400 counts/100mL, an 83 percent reduction in current loading is necessary; thus this is the TMDL for Butcher Pen Creek.  Table 5.3 shows the data used in the calculation of the TMDL, which includes all exceedances.

Table 5.3.	Calculation of Reductions for the Fecal Coliform TMDL for Butcher Pen Creek, WBID 2322

| Sample Date | Location | Observed Exceedance | Required Reduction |
| --- | --- | --- | --- |
| 2/12/1991 | Butcher Pen Creek at Westconnet Blvd. | 1,700 | 76.47% |
| 4/10/1991 | Butcher Pen Creek at Westconnet Blvd. | 90,000 | 99.56% |
| 7/2/1991 | Butcher Pen Creek at Westconnet Blvd. | 5,000 | 92.00% |
| 10/14/1991 | Butcher Pen Creek at Westconnet Blvd. | 8,000 | 95.00% |
| 1/7/1992 | Butcher Pen Creek at Westconnet Blvd. | 900 | 55.56% |
| 5/4/1992 | Butcher Pen Creek at Westconnet Blvd. | 50,000 | 99.20% |
| 5/11/1992 | Butcher Pen Creek Near Mouth | 2,100 | 80.95% |
| 7/22/1992 | Butcher Pen Creek at Westconnet Blvd. | 5,000 | 92.00% |
| 8/4/1992 | Butcher Pen Creek Near Mouth | 600 | 33.33% |
| 10/7/1992 | Butcher Pen Creek at Westconnet Blvd. | 160,000 | 99.75% |
| 11/4/1992 | Butcher Pen Creek Near Mouth | 1,200 | 66.67% |
| 1/19/1993 | Butcher Pen Creek at Westconnet Blvd. | 1,700 | 76.47% |
| 1/20/1993 | Butcher Pen Creek Near Mouth | 550 | 27.27% |
| 4/5/1993 | Butcher Pen Creek at Westconnet Blvd. | 3,000 | 86.67% |
| 7/14/1993 | Butcher Pen Creek at Westconnet Blvd. | 3,000 | 86.67% |
| 10/18/1993 | Butcher Pen Creek at Westconnet Blvd. | 800 | 50.00% |
| 4/18/1994 | Butcher Pen Creek at Westconnet Blvd. | 5,000 | 92.00% |
| 7/20/1994 | Butcher Pen Creek at Westconnet Blvd. | 24,000 | 98.33% |
| 10/24/1994 | Butcher Pen Creek at Westconnet Blvd. | 17,000 | 97.65% |
| 1/11/1995 | Butcher Pen Creek at Westconnet Blvd. | 5,000 | 92.00% |
| 4/25/1995 | Butcher Pen Creek at Westconnet Blvd. | 3,000 | 86.67% |
| 7/11/1995 | Butcher Pen Creek at Westconnet Blvd. | 5,000 | 92.00% |
| 11/6/1996 | Butcher Pen Creek at Westconnet Blvd. | 800 | 50.00% |
| 5/26/1998 | Butcher Pen Creek at Westconnet Blvd. | 500 | 20.00% |
| 7/13/1998 | Butcher Pen Creek at Westconnet Blvd. | 90,000 | 99.56% |
| 9/1/1998 | Butcher Pen Creek at Blanding Blvd. | 1,735 | 76.95% |
| 10/7/1998 | Butcher Pen Creek at Westconnet Blvd. | 9,000 | 95.56% |
| 1/5/1999 | Butcher Pen Creek at Westconnet Blvd. | 2,300 | 82.61% |
| 8/18/1999 | Butcher Pen Creek at Westconnet Blvd. | 2,400 | 83.33% |
| 10/20/1999 | Butcher Pen Creek at Westconnet Blvd. | 3,000 | 86.67% |
| 1/10/2000 | Butcher Pen Creek at Westconnet Blvd. | 1,300 | 69.23% |
| 4/17/2000 | Butcher Pen Creek at Westconnet Blvd. | 1,700 | 76.47% |
| 9/19/2000 | Butcher Pen Creek at Westconnet Blvd. | 2,400 | 83.33% |
| 12/18/2000 | Butcher Pen Creek at Westconnet Blvd. | 4,800 | 91.67% |
| 2/8/2001 | Butcher Pen Creek at Westconnet Blvd. | 6,000 | 93.33% |
| 4/26/2001 | Butcher Pen Creek at Westconnet Blvd. | 1,100 | 63.64% |
| 9/5/2001 | Butcher Pen Creek at Westconnet Blvd. | 500 | 20.00% |
| 12/11/2001 | Butcher Pen Creek at Westconnet Blvd. | 1,425 | 71.93% |
| 3/20/2002 | Butcher Pen Creek at Westconnet Blvd. | 492 | 18.70% |
| 5/16/2002 | Butcher Pen Creek at Westconnet Blvd. | 460 | 13.04% |
| 9/9/2002 | Butcher Pen Creek at Westconnet Blvd. | 1,867 | 78.58% |
| 12/10/2002 | Butcher Pen Creek at Westconnet Blvd. | 5,200 | 92.31% |
|  | MEDIAN | 2,400 | 83.33% |

Coliform concentrations are counts/100mL

### 5.2.3  Critical Conditions/Seasonality

Exceedances in Butcher Pen Creek cannot be associated with flows, as no flow data in the watershed have been reported.  Therefore, the effects of flow under various conditions cannot be determined or be considered as a critical condition.

Appendix D provides historical fecal coliform observations in Butcher Pen Creek.  Coliform data are presented by month, season, and year to determine whether certain patterns are evident in the dataset.

A nonparametric test (Kruskal–Wallis) was applied to the fecal coliform dataset.  At an alpha (α) level of 0.05, there are significant differences among months and seasons (Appendices E and F).  It is very difficult to evaluate possible patterns among months due to the small sample sizes.  For example, the range in monthly observations for fecal coliform varies from one to fourteen in a given month, with seven months having fewer than seven observations.  Grouping observations by season increased sample sizes for statistical comparison and, as seen in Table 2.2, winter (January–March), summer (July–September), and fall (October–December) all have a 100 percent exceedance rate.  Rainfall patterns are a likely factor contributing to these monthly or seasonal differences.  Appendix G provides comparisons of fecal coliform observations and monitoring stations in Butcher Pen Creek.

Rainfall records for JIA (Appendix H contains rainfall data from 1990–2004) were used to determine rainfall amounts associated with individual sampling dates.  Rainfall recorded on the day of sampling (1D), the cumulative total for the day of and the previous two days (3D), the cumulative total for the day of and the previous six days (7D) were all paired with the respective coliform observation.  A Spearman correlation matrix was generated that summarized the simple correlation coefficients between the various rainfall and coliform values (Appendix I).  The simple correlations (r values in the Spearman correlation table) between both fecal coliform and the various rainfall totals were positive, suggesting that as rainfall (and possible runoff) increased, so did the number of coliform bacteria.

Simple linear regressions were performed between coliform observations and rainfall totals to determine whether any of the relationships were significant at an α level of 0.05.  Although the r2 values were low, the correlations between fecal coliform and the 1D and 3D precipitation were not significant, but when compared with the 7D rainfall totals, there is some significance (Appendix J).  The table of historical monthly average rainfall in Appendix K indicates that monthly rainfall totals increase in June, peak in September, and by October return to levels observed in February and March.  Appendix L contains a graph of annual rainfall from 1955 through 2004, versus the long-term average (52.27 inches) over the same period.  The years 1996 through 1998 represented above-average rainfall years, while 1999 through 2001 were below average, and 2002 was again above average.  For years where data exist (1996 and 1998–2002), all but 1999 have a 100 percent exceedance rate.  In 1999, there was a 75 percent exceedance rate.  Exceedances most likely are due to a combination of factors and stem from both point and nonpoint sources.

Since no flow data were available, hydrologic conditions were analyzed using rainfall.  A loading curve–type chart that would normally be applied to flow events was created using precipitation data from JIA from 1990 through 2004.  The chart was divided as if flow were being analyzed, where extreme precipitation events represent the upper percentiles (0–5th percentile), followed by large precipitation events (5th–15th percentile), medium precipitation events (15th–40th percentile), small precipitation events (40th–60th percentile), and no recordable precipitation events (60th–100th percentile).  The analysis used three-day (the day of and two days prior) precipitation accumulations.

Data show that fecal coliform exceedances occurred over all hydrologic conditions; however, the lowest percentage of exceedances (89.47 percent) occurred when no measurable rainfall was reported.  The highest percentage of exceedances (100 percent) occurred with all other precipitation events.  If a large percentage of exceedances were to occur during no measurable precipitation days, point sources would be suspected as contributors.  Likewise, if a large percentage of exceedances were to occur after large and extreme precipitation events, this might indicate that exceedances were more nonpoint source driven, perhaps from stormwater conveyance systems or various land uses.  With such a high exceedance rate, the exceedances most likely stem from a variety of point and nonpoint sources.  Table 5.4 summarizes data by hydrologic condition.  Figure 5.3 shows the same data visually.

Table 5.4.	Summary of Fecal Coliform Data by Hydrologic Condition

| Precipitation Event | Event Range | Total Values | Number of Exceedances | % Exceedance | Number of Non-exceedances | % Non-exceedance |
| --- | --- | --- | --- | --- | --- | --- |
| Extreme | >2.1" | 3 | 3 | 100.00% | 0 | 0.00% |
| Large | 1.33"–2.1" | 4 | 4 | 100.00% | 0 | 0.00% |
| Medium | 0.18"–1.33" | 7 | 7 | 100.00% | 0 | 0.00% |
| Small | 0.01"–0.18" | 12 | 12 | 100.00% | 0 | 0.00% |
| None/Not Measurable | <0.01" | 19 | 17 | 89.47% | 2 | 10.53% |

Figure 5.3.	Fecal Coliform Data by Hydrologic Condition Based on Rainfall

# Chapter 6:  DETERMINATION OF THE TMDL

## 6.1  Expression and Allocation of the TMDL

The objective of a TMDL is to provide a basis for allocating acceptable loads among all of the known pollutant sources in a watershed so that appropriate control measures can be implemented and water quality standards achieved.  A TMDL is expressed as the sum of all point source loads (wasteload allocations, or WLAs), nonpoint source loads (load allocations, or LAs), and an appropriate margin of safety (MOS), which takes into account any uncertainty concerning the relationship between effluent limitations and water quality:

TMDL =  WLAs +  LAs + MOS

As discussed earlier, the WLA is broken out into separate subcategories for wastewater discharges and stormwater discharges regulated under the NPDES Program:

TMDL (  WLAswastewater +  WLAsNPDES Stormwater  +  LAs + MOS

It should be noted that the various components of the revised TMDL equation may not sum up to the value of the TMDL because (a) the WLA for NPDES stormwater is typically based on the percent reduction needed for nonpoint sources and is also accounted for within the LA, and (b) TMDL components can be expressed in different terms (for example, the WLA for stormwater is typically expressed as a percent reduction, and the WLA for wastewater is typically expressed as mass per day).

WLAs for stormwater discharges are typically expressed as “percent reduction” because it is very difficult to quantify the loads from MS4s (given the numerous discharge points) and to distinguish loads from MS4s from other nonpoint sources (given the nature of stormwater transport).  The permitting of stormwater discharges also differs from the permitting of most wastewater point sources.  Because stormwater discharges cannot be centrally collected, monitored, and treated, they are not subject to the same types of effluent limitations as wastewater facilities, and instead are required to meet a performance standard of providing treatment to the “maximum extent practical” through the implementation of best management practices (BMPs).

This approach is consistent with federal regulations (40 CFR § 130.2[I]), which state that TMDLs can be expressed in terms of mass per time (e.g., pounds per day), toxicity, or other appropriate measure.  The TMDL for Butcher Pen Creek is expressed in terms of both counts per 100 mL and percent reduction, and represents the maximum daily load the creek can assimilate and maintain the fecal coliform criterion (Table 6.1).

Table 6.1.	TMDL Components for Butcher Pen Creek, WBID 2322

| WBID | Parameter | TMDL (counts/100mL) | WLA | LA (% Reduction) | MOS |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Wastewater (colonies/day) | NPDES Stormwater |  |  |
| 2322 | Fecal Coliform | 400 | Point Sources Must Meet Permit Limits | 83% | 83% | Implicit |

## 6.2  Load Allocation

A fecal coliform reduction of 83 percent is required from nonpoint sources.  It should be noted that the load allocation includes loading from stormwater discharges that are not part of the NPDES stormwater program.

## 6.3  Wasteload Allocation

### 6.3.1  NPDES Wastewater Discharges

The WLA for the Sunny Acres Mobile Park WWTF is the applicable water quality criterion for fecal coliform, which is the current effluent limit for the facility.  Any future discharge permits issued in the Butcher Pen Creek watershed will also be required to meet the state Class III criterion for fecal coliform as well as the TMDL value, and therefore permitted discharges will not be allowed to exceed 200 counts/100mL as a monthly average, 400 counts/100mL in more than 10 percent of the samples, or 800 counts/100mL at any given time.

.

### 6.3.2  NPDES Stormwater Discharges

The WLA for the city of Jacksonville and FDOT’s MS4 permit is an 83 percent reduction in current anthropogenic fecal coliform loading.  It should be noted that any MS4 permittee is only responsible for reducing the loads associated with stormwater outfalls that it owns or otherwise has responsible control over, and it is not responsible for reducing other nonpoint source loads in its jurisdiction.

## 6.4  Margin of Safety

Consistent with the recommendations of the Allocation Technical Advisory Committee (Department, February 2001), an implicit MOS was used in the development of this TMDL.  A MOS was included in the TMDL by not allowing any exceedances of the state criterion, even though intermittent natural exceedances would be expected and would be taken into account when determining impairment.  Additionally, the TMDL calculated for fecal coliform was based on meeting the water quality criterion of 400 counts/100mL without any exceedances, while the actual criterion allows for 10 percent exceedances.

# Chapter 7:  NEXT STEPS:  IMPLEMENTATION PLAN DEVELOPMENT AND BEYOND

## 7.1  Basin Management Action Plan

Following the adoption of this TMDL by rule, the next step in the TMDL process is to develop an implementation plan for the TMDL, referred to as the BMAP.  This document, in cooperation with local stakeholders, will attempt to reach consensus on detailed allocations and on how load reductions will be accomplished.  The BMAP will include, among other things:

- Appropriate load reduction allocations among the affected parties,

- A description of the load reduction activities to be undertaken, including structural projects, nonstructural BMPs, and public education and outreach,

- A description of further research, data collection, or source identification needed in order to achieve the TMDL,

- Timetables for implementation,

- Confirmed and potential funding mechanisms,

- Any applicable signed agreement(s),

- Local ordinances defining actions to be taken or prohibited,

- Any applicable local water quality standards, permits, or load limitation agreements,

- Milestones for implementation and water quality improvement, and

- Implementation tracking, water quality monitoring, and follow-up measures.

An assessment of progress toward the BMAP milestones will be conducted every five years, and revisions to the plan will be made as appropriate, in cooperation with basin stakeholders.

The BMAP for Butcher Pen Creek will include the results of a JEA-funded project that will consider 51 drainage basins in the general area of the city of Jacksonville, including Butcher Pen Creek.  The project, known as the Tributary Pollution Assessment Project (TPAP), is directed by a Tributary Assessment Team (TAT) consisting of representatives from JEA, the Department, city of Jacksonville, Duval County Health Department, Water and Sewer Expansion Authority, U. S. Army Corps of Engineers, St. Johns Riverkeepers, and PBS&J, the primary contractor for the project.

The goal of the TPAP is to devise a standard manual that can be used for tributary sanitary surveys in the Duval County area.  The manual will be developed by studying 6 of the 51 watersheds deemed to be of the highest priority by JEA and the contractors, along with a control watershed.  After the manual has been developed, it will be applied to the remaining 45 watersheds and may then be expanded to other watersheds in the Duval County area.  The manual will be used to help better determine the health of these watersheds and potential sources of contamination, especially from fecal coliform.  This will help JEA, the area’s sewer utility provider, concentrate repair efforts and identify areas where failing septic tanks may be playing a role in contamination.  Figure 7.1 shows the drainage basins included in this initial study; Table 7.1 provides a list.

Table 7.1.	List of WBIDs Included in the TPAP Study

Big Davis Creek (2356)

Big Fishwier Creek (2280)

Blockhouse Creek (2207)

Broward River (2191)

Butcher Pen Creek (2322)

Cedar River (2262)

Christopher Branch (2321)

Cormorant Branch (2381)

Cow Head Creek (2244)

Craig Creek (2297)

Deep Bottom Creek (2361)

Deer Creek (2256)

Dunn Creek (2181)

Durbin Creek (2365)

Fishing Creek (2324)

Gin House Creek (2248)

Goodbys (2326)

Greenfield Creek (2240)

Hogan Creek (2252)

Hogpen Creek (2270)

Hopkins Creek (2266)

Jones Creek (2246)

Julington Creek (2351)

Little Potsburg Creek (2284)

Little Sixmile Creek (2238)

Long Branch (2233)

Mandarin Drain (2385)

McCoy Creek (2257)

McGirts Creek (2249B)

Miller Creek (2287)

Moncrief Creek (2228)

New Castle Creek (2235)

New Rose Creek (2306)

Nine Mile Creek (2220)

Oldfield Creek (2370)

Open Creek (2299)

Ortega River (2213P)

Ortega River (2249A)

Potsburg Creek (2265B)

Red Bay Branch (2254)

Ribault River (2224)

Sherman Creek (2227)

Silversmith Creek (2278)

Sixmile Reach (2232)

Strawberry Creek (2239)

Terrapin Creek (2204)

Trout River (2203)

West Branch (2210)

Williamson Creek (2316)

Wills Branch (2282)

Figure 7.1.	Map of WBIDs Included in the TPAP Study

The WBIDs included in the study have been categorized based on the primary land use (SJRWMD, 2000 data) in the WBID—urban, suburban, or rural.  Further efforts were made to identify potential sources of fecal coliform contamination based on land uses, JEA information, and survey data.  The WBIDs were then prioritized based on this information and on existing data.  Six WBIDs of highest concern were selected for the initial study (3 urban, 2 suburban, and 1 rural).  At the time this report was compiled, a control waterbody had yet to be selected.

Initial sampling for the study is set to begin on the six initial WBIDs on July 26, 2005, and end on February 1, 2006.  The final deliverable (manual) will be submitted to JEA on June 1, 2006, and will be available for public review and comment on June 16, 2006.  Four types of fecal indicators (fecal coliform, E. coli., Enterococci, and coliphages) will be studied.  Enterococcus faecalis will be studied in an attempt to further identify potential sources of sewage, and samples will be checked for human/ruminant primers.  In addition, optical brighteners (using fluorometric techniques) will be included to bolster the identification of potential sewage sources.

The executive summary submitted to the Department by JEA and PBS&J is attached as Appendix M.  It is expected that the results of this study will be used to help identify restoration projects during BMAP development.  In addition to addressing failing septic tanks, BMAP plans may include some sort of public education in picking up after dogs.  As Table 4.4 shows, potential impacts from dogs and cats could be significant.  If pet owners are educated on the potential impacts their pets are having on Butcher Pen Creek, and they are inclined to take action, this could potentially decrease a significant source load to the creek.

Again, considering the significance of rainfall on the number of exceedances, a closer look at current stormwater management practices may be warranted.  This is further supported when considering that the highest concentrations of coliform are, by far, found in the summer months when precipitation can occur nearly every day, with occasional significant amounts of rainfall.  The BMAP for Butcher Pen Creek may include improved stormwater management.

# References

American Veterinary Medical Association Web site, 2005.  Available:  http://www.avma.org/membshp/marketstats/formulas.asp.

Florida Administrative Code.  Chapter 62-302, Surface Water Quality Standards.

Florida Administrative Code.  Chapter 62-303, Identification of Impaired Surface Waters.

Florida Department of Environmental Protection.  February 2001.  A Report to the Governor and the Legislature on the Allocation of Total Maximum Daily Loads in Florida.  Tallahassee, Florida:  Bureau of Watershed Management.

Florida Department of Environmental Protection.  March 2003.  Lower St. Johns Basin Status Report.  Tallahassee, Florida.  Available:  http://www.dep.state.fl.us/water/tmdl/stat_rep.htm.

Florida Department of Environmental Protection.  November 2001.  Ocklawaha Basin Status Report.  Tallahassee, Florida.  Available:  http://www.dep.state.fl.us/water/tmdl/stat_rep.htm.

Florida Department of Health Web site.  2005.  Available:  http://www.doh.state.fl.us/.

Florida Department of Health Web site.  2005.  Available:  http://www.doh.state.fl.us/environment/OSTDS/statistics/NewInstallations.htm.

Florida Department of Health Web site.  2005.  Available:  http://doh.state.fl.us/environment/ostds/statistics/repairs.htm.

Florida Watershed Restoration Act.  Chapter 99-223, Laws of Florida.

U. S. Census Bureau Web site.  2005.  Available:  http://www.census.gov/.

U. S. Environmental Protection Agency.  January 2001.  Protocol for developing pathogen TMDLs. EPA 841-R-00-002.  Washington, D. C.:  Office of Water.

# Appendices

## Appendix A:  Background Information on Federal and State Stormwater Programs

In 1982, Florida became the first state in the country to implement statewide regulations to address the issue of nonpoint source pollution by requiring new development and redevelopment to treat stormwater before it is discharged.  The Stormwater Rule, as authorized in Chapter 403, F.S., was established as a technology-based program that relies on the implementation of BMPs that are designed to achieve a specific level of treatment (i.e., performance standards) as set forth in Chapter 62-40, F.A.C.

The rule requires the state’s water management districts (WMDs) to establish stormwater pollutant load reduction goals (PLRGs) and adopt them as part of a Surface Water Improvement and Management (SWIM) plan, other watershed plan, or rule.  Stormwater PLRGs are a major component of the load allocation part of a TMDL.  To date, stormwater PLRGs have been established for Tampa Bay, Lake Thonotosassa, the Winter Haven Chain of Lakes, the Everglades, Lake Okeechobee, and Lake Apopka.  No PLRG had been developed for Newnans Lake at the time this report was developed.

In 1987, the U. S. Congress established Section 402(p) as part of the federal Clean Water Act Reauthorization.  This section of the law amended the scope of the federal NPDES stormwater permitting program to designate certain stormwater discharges as “point sources” of pollution.  These stormwater discharges include certain discharges that are associated with industrial activities designated by specific standard industrial classification (SIC) codes, construction sites disturbing 5 or more acres of land, and master drainage systems of local governments with a population above 100,000, which are better known as MS4s.  However, because the master drainage systems of most local governments in Florida are interconnected, the EPA has implemented Phase 1 of the MS4 permitting program on a countywide basis, which brings in all cities (incorporated areas), Chapter 298 urban water control districts, and the FDOT throughout the 15 counties meeting the population criteria.

An important difference between the federal and state stormwater permitting programs is that the federal program covers both new and existing discharges, while the state program focuses on new discharges.  Additionally, Phase 2 of the NPDES Program will expand the need for these permits to construction sites between 1 and 5 acres, and to local governments with as few as 10,000 people.  The revised rules require that these additional activities obtain permits by 2003.  While these urban stormwater discharges are now technically referred to as “point sources” for the purpose of regulation, they are still diffuse sources of pollution that cannot be easily collected and treated by a central treatment facility, as are other point sources of pollution such as domestic and industrial wastewater discharges. The Department recently accepted delegation from the EPA for the stormwater part of the NPDES Program.  It should be noted that most MS4 permits issued in Florida include a re-opener clause that allows permit revisions to implement TMDLs once they are formally adopted by rule.

## Appendix B:  Table of Fecal Coliform Concentrations from Sunny Acres Mobile Park WWTF (Buffcar, Inc. WWTF), 1996–2004

| Facility ID | Facility Name | Monitoring Date | Parameter Description | Value (#/100mL) | Limit (#/100mL) | Concen. Base | No Discharge |
| --- | --- | --- | --- | --- | --- | --- | --- |
| FL0043915 | Buffcar Inc. WWTF | 1/31/96 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 2/29/96 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 3/31/96 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 4/30/96 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 5/31/96 | Coliform, Fecal | 7 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 6/30/96 | Coliform, Fecal | 220 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 7/31/96 | Coliform, Fecal | 1,600 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 8/31/96 | Coliform, Fecal | 130 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 9/30/96 | Coliform, Fecal | 240 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 10/31/96 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 11/30/96 | Coliform, Fecal | 13 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 12/31/96 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 1/31/97 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 2/28/97 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 3/31/97 | Coliform, Fecal | 80 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 4/30/97 | Coliform, Fecal | 130 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 5/31/97 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 6/30/97 | Coliform, Fecal | 4 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 7/31/97 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 8/31/97 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 9/30/97 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 10/31/97 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 11/30/97 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 12/31/97 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 1/31/98 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 2/28/98 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 3/31/98 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 4/30/98 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 5/31/98 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 6/30/98 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 7/31/98 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 8/31/98 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 9/30/98 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 10/31/98 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 11/30/98 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 12/31/98 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 1/31/99 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 2/28/99 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 3/31/99 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 4/30/99 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 5/31/99 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 6/30/99 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 7/31/99 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 8/31/99 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 9/30/99 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 10/31/99 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 11/30/99 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 12/31/99 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 1/31/2000 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 2/29/2000 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 3/31/2000 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 4/30/2000 | Coliform, Fecal | 2 | 800 | Daily Max. |  |
| FL0043915 | Buffcar Inc. WWTF | 5/31/2000 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 6/30/2000 | Coliform, Fecal | 86 | 800 | Maximum |  |
| FL0043915 | Buffcar Inc. WWTF | 7/31/2000 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 8/31/2000 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 9/30/2000 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 10/31/2000 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 11/30/2000 | Coliform, Fecal | 10 | 800 | Maximum |  |
| FL0043915 | Buffcar Inc. WWTF | 12/31/2000 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 1/31/2001 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 2/28/2001 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 3/31/2001 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 4/30/2001 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 5/31/2001 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 6/30/2001 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 7/31/2001 | Coliform, Fecal |  | 800 | Maximum |  |
| FL0043915 | Buffcar Inc. WWTF | 8/31/2001 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 9/30/2001 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 9/30/2001 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 10/31/2001 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 11/30/2001 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 12/31/2001 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 1/31/2002 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 2/28/2002 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 3/31/2002 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 4/30/2002 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 5/31/2002 | Coliform, Fecal | 2 | 800 | Maximum |  |
| FL0043915 | Buffcar Inc. WWTF | 6/30/2002 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 7/31/2002 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 8/31/2002 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 9/30/2002 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 10/31/2002 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 11/30/2002 | Coliform, Fecal | 2 | 800 | Maximum |  |
| FL0043915 | Buffcar Inc. WWTF | 12/31/2002 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 1/31/2003 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 2/28/2003 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 3/31/2003 | Coliform, Fecal | 38 | 800 | Maximum |  |
| FL0043915 | Buffcar Inc. WWTF | 4/30/2003 | Coliform, Fecal | 39 | 800 | Maximum |  |
| FL0043915 | Buffcar Inc. WWTF | 5/31/2003 | Coliform, Fecal | 112 | 800 | Maximum |  |
| FL0043915 | Buffcar Inc. WWTF | 6/30/2003 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 7/31/2003 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 8/31/2003 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 9/30/2003 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 10/31/2003 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 11/30/2003 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 12/31/2003 | Coliform, Fecal |  | 800 | Maximum |  |
| FL0043915 | Buffcar Inc. WWTF | 1/31/2004 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 2/29/2004 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 3/31/2004 | Coliform, Fecal | 4 | 800 | Maximum |  |
| FL0043915 | Buffcar Inc. WWTF | 4/30/2004 | Coliform, Fecal | 4 | 800 | Maximum |  |
| FL0043915 | Buffcar Inc. WWTF | 5/31/2004 | Coliform, Fecal | 4 | 800 | Maximum |  |
| FL0043915 | Buffcar Inc. WWTF | 6/30/2004 | Coliform, Fecal |  | 800 | Maximum | B |
| FL0043915 | Buffcar Inc. WWTF | 7/31/2004 | Coliform, Fecal | 4 | 800 | Maximum |  |
| FL0043915 | Buffcar Inc. WWTF | 8/31/2004 | Coliform, Fecal | 4 | 800 | Maximum |  |
| FL0043915 | Buffcar Inc. WWTF | 9/30/2004 | Coliform, Fecal | 4 | 800 | Maximum |  |
| FL0043915 | Buffcar Inc. WWTF | 10/31/2004 | Coliform, Fecal | 4 | 800 | Maximum |  |
| FL0043915 | Buffcar Inc. WWTF | 11/30/2004 | Coliform, Fecal |  | 800 | Maximum |  |
| FL0043915 | Buffcar Inc. WWTF | 12/31/2004 | Coliform, Fecal |  | 800 | Maximum |  |

Remark Codes:  B – No flow was detected.

Note:  Shaded cells indicate facilities that exceeded permit limits for the month.

## Appendix C:  Table of Flow from Sunny Acres Mobile Park WWTF (Buffcar, Inc. WWTF), 1996–2004

| Facility ID | Facility Name | Monitoring Date | Parameter Description | Value (mgd) | Design Capacity | Concen. Base |
| --- | --- | --- | --- | --- | --- | --- |
| FL0043915 | Buffcar Inc. WWTF | 1/31/96 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 2/29/96 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 3/31/96 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 4/30/96 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 5/31/96 | Flow | 0.006 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 6/30/96 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 7/31/96 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 8/31/96 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 9/30/96 | Flow | 0.009 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 10/31/96 | Flow | 0.009 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 11/30/96 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 12/31/96 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 1/31/97 | Flow | 2 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 2/28/97 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 3/31/97 | Flow | 0.006 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 4/30/97 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 5/31/97 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 6/30/97 | Flow | 0.009 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 7/31/97 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 8/31/97 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 9/30/97 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 10/31/97 | Flow | 0.006 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 11/30/97 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 12/31/97 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 1/31/98 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 2/28/98 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 3/31/98 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 4/30/98 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 5/31/98 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 6/30/98 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 7/31/98 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 8/31/98 | Flow | 0.009 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 9/30/98 | Flow | 0.009 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 10/31/98 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 11/30/98 | Flow | 0.009 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 12/31/98 | Flow | 0.011 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 1/31/99 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 2/28/99 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 3/31/99 | Flow | 0.011 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 4/30/99 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 5/31/99 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 6/30/99 | Flow | 0.011 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 7/31/99 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 8/31/99 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 9/30/99 | Flow | 0.011 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 10/31/99 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 11/30/99 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 12/31/99 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 1/31/2000 | Flow | 0.009 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 2/29/2000 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 3/31/2000 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 4/30/2000 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 5/31/2000 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 6/30/2000 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 7/31/2000 | Flow | 0.009 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 8/31/2000 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 9/30/2000 | Flow | 0.10 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 10/31/2000 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 11/30/2000 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 12/31/2000 | Flow | 0.010 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 1/31/2001 | Flow | 0.009 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 2/28/2001 | Flow | 0.009 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 3/31/2001 | Flow | 0.009 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 4/30/2001 | Flow | 0.009 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 5/31/2001 | Flow | 0.009 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 6/30/2001 | Flow | 0.009 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 7/31/2001 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 8/31/2001 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 9/30/2001 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 9/30/2001 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 10/31/2001 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 11/30/2001 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 12/31/2001 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 1/31/2002 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 2/28/2002 | Flow | 0.006 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 3/31/2002 | Flow | 0.006 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 4/30/2002 | Flow | 0.006 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 5/31/2002 | Flow | 0.005 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 6/30/2002 | Flow | 0.005 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 7/31/2002 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 8/31/2002 | Flow | 0.008 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 9/30/2002 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 10/31/2002 | Flow | 0.07 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 11/30/2002 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 12/31/2002 | Flow | 0.006 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 1/31/2003 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 2/28/2003 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 3/31/2003 | Flow | 0.009 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 4/30/2003 | Flow | 0.005 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 5/31/2003 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 6/30/2003 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 7/31/2003 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 8/31/2003 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 9/30/2003 | Flow | 0.005 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 10/31/2003 | Flow | 0.006 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 11/30/2003 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 12/31/2003 | Flow | 0.05 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 1/31/2004 | Flow | 0.005 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 2/29/2004 | Flow | 0.006 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 3/31/2004 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 4/30/2004 | Flow | 0.006 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 5/31/2004 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 6/30/2004 | Flow | 0.006 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 7/31/2004 | Flow | 0.006 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 8/31/2004 | Flow | 0.006 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 9/30/2004 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 10/31/2004 | Flow | 0.007 | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 11/30/2004 | Flow |  | 0.015 | Mo Avg |
| FL0043915 | Buffcar Inc. WWTF | 12/31/2004 | Flow | 0.008 | 0.015 | Mo Avg |

Note:  Shaded cells represent values exceeding 0.015 MGD, which is the annual average limit and the design capacity of the facility.

## Appendix D:  Historical Fecal Coliform Observations in Butcher Pen Creek, WBID 2322

| Waterbody | WBID | Sample Date | Station | Location | Value (#/100mL) | Remark Code |
| --- | --- | --- | --- | --- | --- | --- |
| Butcher Pen Creek | 2322 | 2/12/1991 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 1,700 |  |
| Butcher Pen Creek | 2322 | 2/12/1991 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 1,700 |  |
| Butcher Pen Creek | 2322 | 4/10/1991 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 90,000 |  |
| Butcher Pen Creek | 2322 | 4/10/1991 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 90,000 |  |
| Butcher Pen Creek | 2322 | 7/2/1991 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 5,000 |  |
| Butcher Pen Creek | 2322 | 7/2/1991 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 5,000 |  |
| Butcher Pen Creek | 2322 | 10/14/1991 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 8,000 |  |
| Butcher Pen Creek | 2322 | 10/14/1991 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 8,000 |  |
| Butcher Pen Creek | 2322 | 1/7/1992 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 900 |  |
| Butcher Pen Creek | 2322 | 1/7/1992 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 900 |  |
| Butcher Pen Creek | 2322 | 5/4/1992 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 50,000 |  |
| Butcher Pen Creek | 2322 | 5/4/1992 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 50,000 |  |
| Butcher Pen Creek | 2322 | 5/11/1992 | 21FLSJWMLSJ910 | Butcher Pen Creek Near Mouth | 2,100 |  |
| Butcher Pen Creek | 2322 | 7/22/1992 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 5,000 |  |
| Butcher Pen Creek | 2322 | 7/22/1992 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 5,000 |  |
| Butcher Pen Creek | 2322 | 8/4/1992 | 21FLSJWMLSJ910 | Butcher Pen Creek Near Mouth | 600 | P |
| Butcher Pen Creek | 2322 | 10/7/1992 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 160,000 | L |
| Butcher Pen Creek | 2322 | 10/7/1992 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 160,000 | L |
| Butcher Pen Creek | 2322 | 11/4/1992 | 21FLSJWMLSJ910 | Butcher Pen Creek Near Mouth | 1,200 | B |
| Butcher Pen Creek | 2322 | 1/19/1993 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 1,700 |  |
| Butcher Pen Creek | 2322 | 1/19/1993 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 1,700 |  |
| Butcher Pen Creek | 2322 | 1/20/1993 | 21FLSJWMLSJ910 | Butcher Pen Creek Near Mouth | 550 |  |
| Butcher Pen Creek | 2322 | 4/5/1993 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 3,000 |  |
| Butcher Pen Creek | 2322 | 4/5/1993 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 3,000 |  |
| Butcher Pen Creek | 2322 | 7/14/1993 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 3,000 |  |
| Butcher Pen Creek | 2322 | 7/14/1993 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 3,000 |  |
| Butcher Pen Creek | 2322 | 10/18/1993 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 800 |  |
| Butcher Pen Creek | 2322 | 10/18/1993 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 800 |  |
| Butcher Pen Creek | 2322 | 1/25/1994 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 300 |  |
| Butcher Pen Creek | 2322 | 1/25/1994 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 300 |  |
| Butcher Pen Creek | 2322 | 4/18/1994 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 5,000 |  |
| Butcher Pen Creek | 2322 | 4/18/1994 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 5,000 |  |
| Butcher Pen Creek | 2322 | 7/20/1994 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 24,000 |  |
| Butcher Pen Creek | 2322 | 7/20/1994 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 24,000 |  |
| Butcher Pen Creek | 2322 | 10/24/1994 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 17,000 |  |
| Butcher Pen Creek | 2322 | 10/24/1994 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 17,000 |  |
| Butcher Pen Creek | 2322 | 1/11/1995 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 5,000 |  |
| Butcher Pen Creek | 2322 | 1/11/1995 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 5,000 |  |
| Butcher Pen Creek | 2322 | 4/25/1995 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 3,000 |  |
| Butcher Pen Creek | 2322 | 4/25/1995 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 3,000 |  |
| Butcher Pen Creek | 2322 | 7/11/1995 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 5,000 |  |
| Butcher Pen Creek | 2322 | 7/11/1995 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 5,000 |  |
| Butcher Pen Creek | 2322 | 11/6/1996 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 800 |  |
| Butcher Pen Creek | 2322 | 11/6/1996 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 800 |  |
| Butcher Pen Creek | 2322 | 5/26/1998 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 500 |  |
| Butcher Pen Creek | 2322 | 5/26/1998 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 500 |  |
| Butcher Pen Creek | 2322 | 7/13/1998 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 90,000 |  |
| Butcher Pen Creek | 2322 | 7/13/1998 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 90,000 |  |
| Butcher Pen Creek | 2322 | 9/1/1998 | 21FLA 20030580 | Butcher Pen Cr. at Blanding Blvd. | 1,735 | Q |
| Butcher Pen Creek | 2322 | 10/7/1998 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 9,000 |  |
| Butcher Pen Creek | 2322 | 10/7/1998 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 9,000 |  |
| Butcher Pen Creek | 2322 | 1/5/1999 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 2,300 |  |
| Butcher Pen Creek | 2322 | 1/5/1999 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 2,300 |  |
| Butcher Pen Creek | 2322 | 4/14/1999 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 270 |  |
| Butcher Pen Creek | 2322 | 4/14/1999 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 270 |  |
| Butcher Pen Creek | 2322 | 8/18/1999 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 2,400 |  |
| Butcher Pen Creek | 2322 | 8/18/1999 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 2,400 |  |
| Butcher Pen Creek | 2322 | 10/20/1999 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 3,000 |  |
| Butcher Pen Creek | 2322 | 10/20/1999 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 3,000 |  |
| Butcher Pen Creek | 2322 | 1/10/2000 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 1,300 |  |
| Butcher Pen Creek | 2322 | 1/10/2000 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 1,300 |  |
| Butcher Pen Creek | 2322 | 4/17/2000 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 1,700 |  |
| Butcher Pen Creek | 2322 | 4/17/2000 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 1,700 |  |
| Butcher Pen Creek | 2322 | 9/19/2000 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 2,400 |  |
| Butcher Pen Creek | 2322 | 9/19/2000 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 2,400 |  |
| Butcher Pen Creek | 2322 | 12/18/2000 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 4,800 |  |
| Butcher Pen Creek | 2322 | 12/18/2000 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 4,800 |  |
| Butcher Pen Creek | 2322 | 2/8/2001 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 6,000 |  |
| Butcher Pen Creek | 2322 | 2/8/2001 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 6,000 |  |
| Butcher Pen Creek | 2322 | 4/26/2001 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 1,100 |  |
| Butcher Pen Creek | 2322 | 4/26/2001 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 1,100 |  |
| Butcher Pen Creek | 2322 | 9/5/2001 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 500 |  |
| Butcher Pen Creek | 2322 | 9/5/2001 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 500 |  |
| Butcher Pen Creek | 2322 | 12/11/2001 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 1,340 |  |
| Butcher Pen Creek | 2322 | 12/11/2001 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 1,510 |  |
| Butcher Pen Creek | 2322 | 3/20/2002 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 492 |  |
| Butcher Pen Creek | 2322 | 5/16/2002 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 460 |  |
| Butcher Pen Creek | 2322 | 9/9/2002 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 1,867 |  |
| Butcher Pen Creek | 2322 | 12/10/2002 | 21FLJXWQCR2 | Butcher Pen Creek at Westconnet Blvd. | 5,200 |  |
| Butcher Pen Creek | 2322 | 12/10/2002 | 21FLA 20030760 | Butcher Pen Creek at Westconnet Blvd | 5,200 |  |

|  | Shaded cells indicate monitoring stations with values that exceed the state criterion of 400 counts/100mL. |
| --- | --- |
| Remark Codes: L – Off-scale high. Actual value not known, but known to be greater then value shown. |
| Q – Sample held beyond normal holding time. |
| P – Too numerous to count. |
| B – Results based on colony counts outside the acceptable range. |
| Note: Some samples were seen as duplicates (i.e., the same date and location) and were averaged, per the IWR, for TMDL determination. Appendix D includes all data contained in the IWR database. For this reason, some discrepancies may exist between Appendix D and the tables in the text. |

## Appendix E: Kruskall–Wallis Analysis of Fecal Coliform Observations versus Season in Butcher Pen Creek, WBID 2322

Categorical values encountered during processing are:

SEASON2 (4 levels)

1,        2,        3,        4

Kruskal-Wallis One-Way Analysis of Variance for 80 cases

Dependent variable is VALUE

Grouping variable is SEASON2

Group       Count   Rank Sum

1               18     527.000

2               20     744.000

3               21     966.000

4               21    1003.000

Kruskal-Wallis Test Statistic =        7.860

Probability is        0.049 assuming Chi-square distribution with 3 df

## Appendix F:  Kruskall–Wallis Analysis of Fecal Coliform Observations versus Month in Butcher Pen Creek, WBID 2322

Categorical values encountered during processing are:

MONTH (11 levels)

1,        2,        3,        4,        5,        7,        8,

9,       10,       11,       12

Kruskal-Wallis One-Way Analysis of Variance for 80 cases

Dependent variable is VALUE

Grouping variable is MONTH

Group       Count   Rank Sum

1               13     337.000

2                4     184.000

3                1       6.000

4               14     541.000

5                6     203.000

7               12     718.000

8                3      89.000

9                6     159.000

10              12     682.000

11               3      50.000

12               6     271.000

Kruskal-Wallis Test Statistic =       28.703

Probability is        0.001 assuming Chi-square distribution with 10 df

## Appendix G:  Chart of Fecal Coliform Observations and Stations in Butcher Pen Creek, WBID 2322

| STORET ID | Location |
| --- | --- |
| 21FLA 20030580 | BUTCHER PEN CR AT BLANDING BLVD |
| 21FLJXWQCR2 | BUTCHER PEN CREEK AT WESTCONNET BLVD. |
| 21FLSJWMLSJ910 | BUTCHER PEN CREEK NEAR MOUTH |

## Appendix H:  Chart of Rainfall for JIA, 1990–2004

## Appendix I:  Spearman Correlation Matrix Analysis for Precipitation and Fecal Coliform in Butcher Pen Creek, WBID 2322

|  | MONTH | DAY | VALUE | V1D_PREC | V3D_PREC |
| --- | --- | --- | --- | --- | --- |
| MONTH | 1.000 |  |  |  |  |
| DAY | -0.092 | 1.000 |  |  |  |
| VALUE | 0.237 | -0.153 | 1.000 |  |  |
| V1D_PREC | 0.073 | -0.208 | 0.161 | 1.000 |  |
| V3D_PREC | 0.338 | -0.164 | 0.074 | 0.649 | 1.000 |
| V7D_PRE | 0.303 | -0.171 | 0.315 | 0.425 | 0.480 |
| MONTH_PR | 0.275 | -0.170 | 0.216 | 0.106 | 0.247 |
| SEASON2 | 0.977 | -0.055 | 0.304 | 0.070 | 0.313 |
| EXCEEDANCE2 | 0.243 | -0.189 | 0.378 | 0.135 | 0.225 |
| PEREXCEED | 0.238 | -0.154 | 1.000 | 0.161 | 0.074 |

|  | V7D_PRE | MONTH_PR | SEASON2 | EXCEEDANCE2 | PEREXCEED |
| --- | --- | --- | --- | --- | --- |
| V7D_PRE | 1.000 |  |  |  |  |
| MONTH_PR | 0.298 | 1.000 |  |  |  |
| SEASON2 | 0.343 | 0.314 | 1.000 |  |  |
| EXCEEDANCE2 | 0.329 | 0.007 | 0.221 | 1.000 |  |
| PEREXCEED | 0.315 | 0.214 | 0.305 | 0.378 | 1.000 |

## Appendix J: Analysis of Fecal Coliform Observations and Precipitation in Butcher Pen Creek, WBID 2322

FECAL COLIFORM DATA VERSUS DAY OF SAMPLING PRECIPITATION

Dep Var: VALUE   N: 80   Multiple R: 0.140   Squared multiple R: 0.020

Adjusted squared multiple R: 0.007   Standard error of estimate: 31186.285

| Effect | Coefficient | Std Error | Std Coef | Tolerance | t | P(2 Tail) |
| --- | --- | --- | --- | --- | --- | --- |
| CONSTANT | 11632.498 | 3689.376 | 0.000 | . | 3.153 | 0.002 |
| V1D_PREC | 18411.316 | 14728.516 | 0.140 | 1.000 | 1.250 | 0.215 |

Analysis of Variance

| Source | Sum-of-Squares | df | Mean-Square | F-ratio | P |
| --- | --- | --- | --- | --- | --- |
| Regression | 1.51977E+09 | 1 | 1.51977E+09 | 1.563 | 0.215 |
| Residual | 7.58616E+10 | 78 | 9.72584E+08 |  |  |

*** WARNING ***

Case          432 has large leverage   (Leverage =        0.641)

Case          433 is an outlier        (Studentized Residual =        5.667)

Case          434 is an outlier        (Studentized Residual =        5.667)

Durbin-Watson D Statistic          1.261

First Order Autocorrelation        0.367

FECAL COLIFORM DATA VERSUS DAY OF SAMPLING

AND TWO DAYS PRIOR PRECIPITATION

Dep Var: VALUE   N: 80   Multiple R: 0.121   Squared multiple R: 0.015

Adjusted squared multiple R: 0.002   Standard error of estimate: 31264.564

| Effect | Coefficient | Std Error | Std Coef | Tolerance | t | P(2 Tail) |
| --- | --- | --- | --- | --- | --- | --- |
| CONSTANT | 11227.215 | 3919.123 | 0.000 | . | 2.865 | 0.005 |
| V3D_PREC | 5178.233 | 4798.155 | 0.121 | 1.000 | 1.079 | 0.284 |

Analysis of Variance

| Source | Sum-of-Squares | df | Mean-Square | F-ratio | P |
| --- | --- | --- | --- | --- | --- |
| Regression | 1.13846E+09 | 1 | 1.13846E+09 | 1.165 | 0.284 |
| Residual | 7.62429E+10 | 78 | 9.77473E+08 |  |  |

*** WARNING ***

Case          432 has large leverage   (Leverage =        0.430)

Case          433 is an outlier        (Studentized Residual =        5.675)

Case          434 is an outlier        (Studentized Residual =        5.675)

Durbin-Watson D Statistic          1.214

First Order Autocorrelation        0.391

FECAL COLIFORM DATA VERSUS DAY OF SAMPLING

AND SIX DAYS PRIOR PRECIPITATION

Dep Var: VALUE   N: 80   Multiple R: 0.656   Squared multiple R: 0.430

Adjusted squared multiple R: 0.423   Standard error of estimate: 23783.384

| Effect | Coefficient | Std Error | Std Coef | Tolerance | t | P(2 Tail) |
| --- | --- | --- | --- | --- | --- | --- |
| CONSTANT | -2752.624 | 3371.352 | 0.000 | . | -0.816 | 0.417 |
| V7D_PRE | 14103.205 | 1839.186 | 0.656 | 1.000 | 7.668 | 0.000 |

Analysis of Variance

| Source | Sum-of-Squares | df | Mean-Square | F-ratio | P |
| --- | --- | --- | --- | --- | --- |
| Regression | 3.32607E+10 | 1 | 3.32607E+10 | 58.801 | 0.000 |
| Residual | 4.41207E+10 | 78 | 5.65649E+08 |  |  |

*** WARNING ***

Case          433 has large leverage   (Leverage =        0.308)

Case          434 has large leverage   (Leverage =        0.308)

Durbin-Watson D Statistic          1.129

First Order Autocorrelation        0.429

## Appendix K:  Table of Monthly and Annual Precipitation at JIA, 1955–2004

| Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1955 | 3.09 | 2.46 | 1.66 | 1.5 | 4.51 | 2.7 | 5.53 | 3.85 | 10.56 | 5.36 | 1.9 | 0.21 | 43.33 |
| 1956 | 2.91 | 2.94 | 0.81 | 2.33 | 3.98 | 7.87 | 8.25 | 5.24 | 2.89 | 13.44 | 0.38 | 0.04 | 51.08 |
| 1957 | 0.33 | 1.69 | 3.87 | 1.61 | 5.25 | 7.1 | 12.34 | 3.3 | 8.33 | 3.5 | 1.55 | 1.31 | 50.18 |
| 1958 | 3.39 | 3.74 | 3.38 | 8.24 | 3.79 | 3.96 | 4.37 | 4.67 | 4.75 | 5.07 | 2.02 | 2.76 | 50.14 |
| 1959 | 2.97 | 5.22 | 9.75 | 2.65 | 9.2 | 2.94 | 4.51 | 2.86 | 5.67 | 3.12 | 2.24 | 0.95 | 52.08 |
| 1960 | 2.07 | 5.17 | 6.94 | 3.54 | 1.18 | 4.7 | 16.21 | 6.5 | 8.57 | 2.95 | 0.11 | 1.51 | 59.45 |
| 1961 | 2.87 | 4.85 | 1.17 | 4.16 | 3.06 | 5.27 | 3.48 | 10.64 | 1.02 | 0.27 | 0.89 | 0.47 | 38.15 |
| 1962 | 2.16 | 0.52 | 3.1 | 2.36 | 1.12 | 8.22 | 6.31 | 10.07 | 4.37 | 1.13 | 2.08 | 2.46 | 43.90 |
| 1963 | 5.39 | 6.93 | 2.23 | 1.75 | 1.74 | 12.49 | 6.47 | 4.95 | 4.88 | 1.53 | 2.7 | 3.6 | 54.66 |
| 1964 | 7.29 | 6.55 | 1.76 | 4.65 | 4.8 | 4.67 | 6.12 | 5.63 | 10.31 | 5.09 | 3.33 | 4.83 | 65.03 |
| 1965 | 0.65 | 5.5 | 3.91 | 0.95 | 0.94 | 9.79 | 2.71 | 9.58 | 11.02 | 1.75 | 1.92 | 3.75 | 52.47 |
| 1966 | 4.56 | 5.97 | 0.71 | 2.25 | 10.43 | 7.74 | 11.09 | 3.88 | 5.94 | 1.38 | 0.21 | 1.14 | 55.30 |
| 1967 | 3.05 | 4.35 | 0.81 | 2 | 1.18 | 12.9 | 5.22 | 12.31 | 1.8 | 1.13 | 0.24 | 4.69 | 49.68 |
| 1968 | 0.82 | 3.05 | 1.2 | 0.99 | 2.17 | 12.25 | 6.84 | 16.24 | 2.68 | 5.09 | 1.3 | 1.09 | 53.72 |
| 1969 | 0.84 | 3.39 | 4.23 | 0.34 | 3.78 | 5.12 | 5.89 | 15.1 | 10.33 | 9.81 | 4.56 | 3.87 | 67.26 |
| 1970 | 4.18 | 8.85 | 9.98 | 1.77 | 1.84 | 2.65 | 7.6 | 10.96 | 3.2 | 3.95 | 0 | 1.57 | 56.55 |
| 1971 | 2.01 | 2.55 | 2.41 | 4.07 | 1.9 | 5.52 | 5.07 | 12.83 | 4.17 | 6.46 | 0.83 | 5.87 | 53.69 |
| 1972 | 5.77 | 3.48 | 4.43 | 2.98 | 8.26 | 6.75 | 3.15 | 9.76 | 2.6 | 4.46 | 4.22 | 1.43 | 57.29 |
| 1973 | 4.64 | 5.07 | 10.18 | 11.61 | 5.33 | 4.1 | 5.45 | 7.49 | 7.86 | 4.08 | 0.44 | 4.32 | 70.57 |
| 1974 | 0.28 | 1.28 | 3.47 | 1.53 | 4.14 | 5.53 | 9.83 | 11.23 | 8.13 | 0.34 | 1.03 | 1.73 | 48.52 |
| 1975 | 3.48 | 2.58 | 2.46 | 5.78 | 7 | 5.21 | 6.36 | 6.23 | 5.24 | 3.63 | 0.39 | 1.79 | 50.15 |
| 1976 | 2.29 | 1.05 | 3.41 | 0.63 | 10.02 | 4.26 | 5.41 | 6.37 | 8.56 | 1.63 | 2.43 | 4.81 | 50.87 |
| 1977 | 2.96 | 3.24 | 1.03 | 1.76 | 3.07 | 2.65 | 1.97 | 7.26 | 7.45 | 1.68 | 3.11 | 3.38 | 39.56 |
| 1978 | 4.64 | 4.17 | 2.83 | 2.24 | 9.18 | 2.62 | 6.67 | 2.39 | 4.4 | 1.26 | 0.8 | 1.84 | 43.04 |
| 1979 | 6.28 | 3.75 | 1 | 4.18 | 7.54 | 5.91 | 4.67 | 4.78 | 17.75 | 0.25 | 3.64 | 2.01 | 61.76 |
| 1980 | 2.61 | 1.06 | 6.83 | 3.91 | 3.02 | 4.59 | 5.29 | 3.97 | 3.03 | 2.69 | 2.32 | 0.21 | 39.53 |
| 1981 | 0.92 | 4.53 | 5.41 | 0.32 | 1.48 | 3.31 | 2.46 | 6.47 | 1.22 | 1.35 | 4.92 | 3.38 | 35.77 |
| 1982 | 3 | 1.67 | 4.26 | 3.6 | 3.55 | 8.06 | 3.81 | 6.93 | 9.32 | 3.37 | 1.93 | 2.02 | 51.52 |
| 1983 | 7.19 | 4.27 | 8.46 | 4.65 | 1.38 | 6.86 | 6.11 | 4.63 | 4.61 | 4.29 | 3.32 | 6.42 | 62.19 |
| 1984 | 2.13 | 4.67 | 5.77 | 3.14 | 1.46 | 4.76 | 6.01 | 3.78 | 12.28 | 1.53 | 3.3 | 0.13 | 48.96 |
| 1985 | 1.05 | 1.45 | 1.26 | 2.76 | 2.08 | 3.71 | 6.33 | 8.93 | 16.82 | 8.34 | 2.07 | 3.59 | 58.39 |
| 1986 | 4.19 | 4.72 | 5.44 | 0.93 | 2.13 | 2.53 | 3.27 | 9.6 | 1.99 | 1.8 | 2.85 | 4.65 | 44.10 |
| 1987 | 4.09 | 6.47 | 6.27 | 0.14 | 0.75 | 4.18 | 4.4 | 4.48 | 7.13 | 0.3 | 5.02 | 0.16 | 43.39 |
| 1988 | 6.36 | 6.08 | 2.65 | 3.44 | 1.35 | 3.71 | 4.5 | 8.48 | 16.36 | 2.35 | 4.27 | 1.13 | 60.68 |
| 1989 | 1.73 | 1.77 | 2.14 | 2.79 | 1.55 | 3.66 | 8.98 | 9.16 | 14.37 | 1.39 | 0.51 | 3.4 | 51.45 |
| 1990 | 1.84 | 4.07 | 1.59 | 1.34 | 0.18 | 1.59 | 6.53 | 3.81 | 2.6 | 4.54 | 1.17 | 1.94 | 31.20 |
| 1991 | 10.2 | 1.52 | 7.33 | 6.31 | 9.35 | 11.7 | 15.9 | 3.48 | 6.2 | 6.36 | 0.71 | 0.57 | 79.63 |
| 1992 | 5.79 | 2.64 | 4.09 | 5.33 | 5.97 | 7.04 | 3.32 | 10.76 | 7.33 | 8.34 | 1.92 | 0.65 | 63.18 |
| 1993 | 3.86 | 2.89 | 5.98 | 0.85 | 1.6 | 2.52 | 7.54 | 2.96 | 7.6 | 8.84 | 3.58 | 1.9 | 50.12 |
| 1994 | 6.58 | 0.92 | 2.14 | 1.51 | 3.15 | 13.96 | 8.26 | 3.29 | 9.79 | 10.23 | 3.49 | 3.94 | 67.26 |
| 1995 | 1.91 | 2.07 | 3.67 | 1.77 | 1.77 | 5.35 | 9.45 | 9.93 | 5.41 | 3.53 | 3.2 | 2.19 | 50.25 |
| 1996 | 1.11 | 1.11 | 6.83 | 2.85 | 0.72 | 11.41 | 4.2 | 7.83 | 8.49 | 11.46 | 1.39 | 3.23 | 60.63 |
| 1997 | 2.91 | 1.28 | 1.84 | 4.56 | 3.43 | 6.33 | 7.69 | 8.24 | 3.97 | 4.84 | 2.41 | 9.77 | 57.27 |
| 1998 | 3.49 | 11.12 | 2.64 | 4.71 | 0.96 | 2.95 | 7.29 | 10.09 | 7.65 | 3.01 | 2.39 | 0.42 | 56.72 |
| 1999 | 4.63 | 1.7 | 0.4 | 1.92 | 1.02 | 7.75 | 3.56 | 3.51 | 13 | 3.24 | 0.83 | 0.88 | 42.44 |
| 2000 | 2.77 | 1.17 | 1.79 | 2.6 | 1.15 | 2.43 | 5.69 | 7.38 | 11.64 | 0.23 | 1.55 | 1.37 | 39.77 |
| 2001 | 0.91 | 0.68 | 5.48 | 0.62 | 2.56 | 5.59 | 8.31 | 3.58 | 16.03 | 0.81 | 1.44 | 3.13 | 49.14 |
| 2002 | 4.48 | 0.82 | 4.38 | 2.41 | 0.47 | 6.24 | 7.8 | 8.14 | 9.31 | 2.58 | 2.68 | 5.41 | 54.72 |
| 2003 | 0.07 | 4.66 | 10.71 | 2.63 | 2.54 | 6.75 | 7.33 | 1.83 | 3.04 | 2.98 | 0.74 | 1.19 | 44.47 |
| 2004 | 1.64 | 4.47 | 1.36 | 2.02 | 1.24 | 17.15 | 8.6 | 9.85 | 16.31 | 1.32 | 2.85 | 2.66 | 69.47 |
| AVG | 3.32 | 3.50 | 3.96 | 2.88 | 3.45 | 5.92 | 6.44 | 7.05 | 7.38 | 3.81 | 2.05 | 2.51 | 52.27 |

Note:  Rainfall is in inches and represents data from JIA.

## Appendix L:  Graph of Annual and Monthly Average Precipitation at JIA, 1955–2004

## Appendix M:  Executive Summary of Tributary Pollution Assessment Project

The Tributary Pollution Assessment Project (TPAP) involves developing and evaluating a methodology for conducting tributary pollution assessments for listed waterbodies in the Duval County area, as referenced in the Reasonable Assurance (RA) Plan.  Duval County has approximately 100 tributary waterbody IDs (WBIDs), i.e., small to large tributaries of the St. Johns River, identified by the state.  The RA Plan provides reasonable assurance that the fecal coliform levels of the 51 top-ranked WBIDs will be reduced sufficiently to restore them to their designated use for recreation.  The 51 WBIDs are grouped into four priority groups in the RA Plan.

PBS&J was contracted by JEA to develop a methodology for conducting tributary pollution assessments for sources of fecal coliform contamination in the listed tributaries.  This methodology will be field-verified by conducting sanitary surveys of selected tributary waterbody segments, and revised based on lessons learned from this process. The final product of this endeavor will be a Tributary Pollution Assessment Manual that can be used as a blueprint for conducting sanitary surveys.

The TPAP is a continuation of the effort started under the RA Plan.  The RA Plan participants have been brought together to form the Tributary Assessment Team (TAT).  The TAT will serve as an advisory committee to the PBS&J Project Team throughout the development of the Tributary Pollution Assessment Manual. The TAT is composed of representatives from the following:

- JEA

- City of Jacksonville Environmental Quality Division

- City of Jacksonville Public Works Department

- Duval County Health Department

- Florida Department of Environmental Protection

- St. Johns Riverkeeper

- Water and Sewer Expansion Authority

- U. S. Army Corps of Engineers

Other representatives (from these and additional entities) may be included in the TAT activities in varying roles, as relevant.

Our approach for developing and evaluating a methodology for conducting tributary pollution assessments is divided into six major phases, including the following:

1) Pre-planning;

2) Planning;

3) Development of Tributary Pollution Assessment Manual;

4) Evaluation of Methodology/Manual by Conducting Sanitary Surveys;

5) Summary Report; and

6) Public Workshop.

The Pre-Planning phase (Phase I) entailed four main goals, as follows:

1) To obtain and review all documents included in the RA Plan;

2) To develop categories for tributary classification and categorize the 51 priority WBIDs;

3) To overlay each WBID onto land use, infrastructure, and historical sampling maps to begin assessing probable sources and migration pathways; and

4) To develop the Draft Work Plan.

The Planning phase (Phase II) begins with the organization and initial meeting of the TAT with the ultimate goal of finalizing the Work Plan.

The Development of the Tributary Pollution Assessment Manual phase (Phase III) primarily involves the formulation of the assessment methodology for each tributary category described in the Pre-Planning phase, the use of a decision tree to determine which assessment methodology corresponds to each of the highest-ranked WBIDs, and the establishment of a model monitoring plan for each tributary category.  This phase will be completed upon submitting the Manual to the TAT for review.

The next phase, Evaluation of Methodology/Manual by Conducting Sanitary Surveys (Phase IV), entails field-verification of the methodology described in the Draft Tributary Pollution Assessment Manual for the highest ranked waterbodies for each category (or as determined to ensure adequate geographical representation of the study area) and applying the results to recommend generic corrective actions and revise the methodology, if necessary.  The outcome of this phase would be the Tributary Pollution Assessment Manual.

The final two phases, Summary Report (Phase V) and Public Workshop (Phase VI), would entail providing a summary of the results of the tributary pollution assessments, including a discussion of lessons learned and site-specific corrective actions, to JEA and presenting the results from the Tributary Pollution Assessment Manual to the public.  The final phase would also include a written summary of public input received at the workshop.

For additional information, please contact Don Deis, PBS&J Project Manager, at (904) 363-8442 or drdeis@pbsj.com.

## Appendix N: Departmental Responses to Comments Regarding this TMDL for Butcher Pen Creek

- The WLA for the NPDES facility should be expressed as a load and not as a concentration.  The TMDL should require the facility to comply with its permit limits (especially given DMR data indicate violations).  It seems odd that the facility reports daily flow in excess of the plant’s design capacity (see Appendix B of the TMDL report).  It’s unclear from the report if DEP permits flow, but on the months the flow exceeded the design capacity, it’s likely the system was overcharged and inadequate treatment occurred.

RESPONSE:  (The responder assumes it is actually Appendix C that is being referred to, and not Appendix B, which does not contain flow information).  Estimated loads for Sunny Acres Mobile Home WWTF was presented and discussed in Section 4.2.1 of the text.  It is possible that some overloading occurred during those months when the design flow was exceeded.  However, in looking at the data, the months where this did occur, the maximum coliform concentration was 2 counts/100 mL; other months the fecal coliform counts were below detection (as indicated by a “B” code).  In addition, with the number and magnitude of exceedances observed in the creek, the effects of this discharge is likely to be minimal, especially considering that when the some of the highest observed values are seen, the facility reported some its lowest loadings.

It was found subsequent to writing the TMDL that this facility, as of May 23, 2005, was inactivated.  Text has been edited to reflect the inactivation of the facility.

- The TMDL (expressed as percent reduction) appears to be based on the median value of the data violating the water quality criteria using all data collected in the WBID (i.e., includes data collected prior to January 1996 for Group 2 waters).  The resulting load reduction proposed in the TMDL for fecal coliform is 83%.  As a check, the percent reductions proposed in the TMDL were compared to those calculated using the 90th percentile concentration of samples collected during the listing cycle (EPA’s group 3 approach for estimating the TMDL when expressed as a percent reduction) and resulted in a 93% reduction for fecal coliform.  Using the data collected during the listing cycle the reduction is 79%.  The difference in reductions using the different data periods and methods is not significant and modification to the TMDL value is not necessary.

RESPONSE:  No response necessary by FDEP.

- The pet waste loadings seem too high.  The calculations assume 10% of the load reaches the stream but decay is not factored into the calculations.  The calculations could be considered conservative but the relative magnitude compared to the other loads in the watershed could be an issue during implementation as controlling this load is voluntary.

RESPONSE:  The Department did not consider decay rates when calculating the estimates from pets, thereby making it a conservative estimate.  The Department used published data in its calculation.  The Department does not have the site specific data that would be required to take decay into consideration (i.e. the size of the dog, how many owners pick up after their dog, disposal practices of collected waste, proximity of waste to stream or collection system, etc.).

As mentioned at the end of the document, the City of Jacksonville is currently developing a sanitary survey manual, which will be used to more accurately assess potential sources of coliforms in this and other basins.  What the Department proposed is just an estimate, and further analysis will be done as part of the BMAP phase.

The following comments were general comments regarding coliform TMDLs developed in the Lower St. Johns River basin.

- Specifying a load rather than a concentration for the TMDL WLA - The Department does not currently issue load limit permits for coliforms.  The Department feels that concentration based permits for coliforms are more appropriate.  Concentrations are flow independent, and therefore should meet state water quality criteria no matter what the discharge flow is.  A load limit would be discharge flow dependent, and could allow higher concentrations of coliforms if the facility is not discharging at permitted flow.  For example, a facility may be discharging at 50 percent of design flow.  If a load based WLA was in effect, effluent coliform concentrations could be two-times the state criterion, and still be meeting the WLA.  A concentration based WLA would not allow effluent coliform concentrations to exceed the state criteria, no matter what the discharge flow is.  The Department feels that a concentration based WLA is more appropriate, and more protective of state water quality criteria.

- The septic tank loading estimates are higher than those for leaking wastewater collection systems, or seem high in general - As discussed in the document, the estimates of loading from collection systems are based on general information which is available to the Department.  The document clearly states that these estimates are “potential” loads, and site specific information (such as soil types/characteristics, water level, proximity of drainfields to surface waters, etc.), which the Department does not have, would be required to calculate estimates closer to actual loading.  The numbers used in the calculations are published numbers.  The septic tank loading estimate is based on the number of failures, according to JEA data, which is much more site specific than that of collection systems.

As mentioned at the end of the document, the City of Jacksonville is currently developing a sanitary survey manual, which will be used to more accurately assess potential sources of coliforms in this and other basins.  What the Department proposed are just estimates, and further analysis will be done as part of the BMAP phase as an attempt to better quantify individual source contributions.

- It may be more appropriate to base leaking wastewater collection system estimates on the design flow of the WWTP adjusted for the percent that leaks out of the system and the percent of linear feet of collection lines within the WBID rather than population - The Department feels that the approach used to estimate potential loads from leaking wastewater systems is adequate.  The Department does not have direct access to the linear feet of collection line in the basin, or for the service area.  In addition, the wastewater facility services several industrial facilities, which if estimates were based on the method proposed above, would not fairly represent the true loads from the collection system.  Even if the necessary data were available, the suggested approach would be very time intensive, but more importantly, would not be likely to produce better estimates.

Furthermore, the design capacity of the Buckman WWTF, which services the majority of the coliform TMDL in the basin, is 52.5 MGD.  From 2000 – 2004 the average monthly flow was 30.6 MGD – 58 percent of the design flow.  By basing calculations on the design flow, in this case, could severely over estimate the loading from leaking collection pipes.  Even if the average flow was used to calculate the loading, non-domestic discharges to the system would still be included in the estimate, and would still result in an overestimation.

The estimate proposed in the document is just that, an estimate, that the Department feels has been fairly calculated based on the estimated number of households in the basin and the number of people per household.  The numbers used in the estimates (coliform concentrations and gallons/person/day) were based on numbers published by EPA in Protocol for Developing Pathogen TMDLs.

# Text boxes

Florida Department of Environmental Protection

Division of Water Resource Management

Bureau of Watershed Management

2600 Blair Stone Road, Mail Station 3565

Tallahassee, Florida 32399-2400

(850) 245-8561

www.dep.state.fl.us/water/

SEASONS

FALL

SPRING

SUMMER

WINTER